From: 	Tom Errico <thomas.errico@tylin.com>
To:	Helen Donaldson <HCD@portlandmaine.gov>
CC:	David Margolis-Pineo <DMP@portlandmaine.gov>, Michael Farmer <Mfarmer@portlandmaine.gov>, Katherine Earley <KAS@portlandmaine.gov>, Jeremiah Bartlett <JBartlett@portlandmaine.gov>, Jeff Tarling <JST@portlandmaine.gov>
Date: 	11/7/2013 2:22 PM
Subject: 	130 Eastern Promenade

Hi Nell ‑ I have reviewed the details of the proposed project and I find conditions to be acceptable from a traffic perspective. I would note that I support waivers from our technical standards for parking stall and aisle width dimensions.  It is my professional opinion that the majority of site circulation maneuvers can occur on‑site and if backing maneuvers do occur, Wilson Street is a very low volume and speed roadway.

If you have any questions, please contact me.

Best regards,

Thomas A. Errico, PE
Senior Associate
Traffic Engineering Director
[T.Y. Lin International]T.Y. Lin International
12 Northbrook Drive
Falmouth, ME 04105
207.781.4721 main
207.347.4354 direct
207.400.0719 mobile
207.781.4753 fax
thomas.errico@tylin.com
Visit us online at www.tylin.com
Twitter | Facebook | LinkedIn | YouTube

"One Vision, One Company"

Please consider the environment before printing.