From: 	David Margolis-Pineo
To:	Barbara Barhydt
CC:	DEVELOPMENT REVIEW GROUP 
Date: 	Friday, May 02, 2014 3:57 PM
Subject: 	Re: 130 Eastern Promenade - Review Comments

May 2, 2014
 
Memo To:        Barbara Barhydt
From:               David Margolis-Pineo
Re:                   Review comments for 130 Eastern Promenade
 
The Department of Public Services have the following comments on the proposed above mentioned project.
 
1.      It is understood that drive apron, though not defined, will be concrete.
2.      Please provide note to score a defined joint between the proposed concrete walk infill and the existing concrete walk.
3.      Proposed weep hole through wall may cause icing problem and the city may ask for the weep holes to be plugged.  May want to consider an alternative.
4.      Please provide stamped survey plan.
 
We have no further comments.

>>> Barbara Barhydt 5/2/2014 2:12 PM >>>
Hi:
 
Dave Senus pointed out to me yesterday that the documents for this project were not in e-plan.  My apologies.  I have just loaded them up.  This has been in the queue for awhile and it is an amendment to an approved plan.  Please review it and get me your comments as soon as possible.  Pat Carroll is looking for feedback.  
 
Thank you. 
 
Barbara