# CITY OF PORTLAND, MAINE

# PLANNING BOARD

Elizabeth Boepple, Chair
Sean Dundon, Vice Chair
Bill Hall
Carol Morrissette

Jack Soley

Dave Eaton

February 10, 2016

| Ethan Boxer-Macomber Adams Apple, LLC 30 Danforth Street, Suite 213 Portland, ME 04101 |  |
| --- | --- |

Project Name:	65 Munjoy Street Condominiums	Project ID:	2015-225

Address:	65 Munjoy Street			CBL:  		003-M-5

Applicant:	Adams Apple, LLC

Planner: 	Nell Donaldson

Dear Mr. Boxer-Macomber:

On February 9, 2016, the Planning Board considered your 8-unit affordable housing project at 65 Munjoy Street.  The Planning Board reviewed the proposal for conformance with the standards of the site plan and subdivision ordinances.  The Planning Board voted 6-0 to approve the application with the waivers and condition(s) presented below.

Waivers

The Planning Board voted 6-0 to find the following:

- The Planning Board found, based upon the consulting transportation engineer’s review, that extraordinary conditions exist or undue hardship may result from strict compliance with the Technical Manual standard (Section 1.14) which requires that aisle width for right-angle parking be 24 feet per Figure I-27, that substantial justice and the public interest are secured with the proposed variation in this standard, and that the variation is consistent with the intent of the ordinance.  The Planning Board waived the Technical Manual standard (Section 1.14) to allow a 19 foot wide aisle in the parking area;

- The Planning Board found, based upon the consulting transportation engineer’s review, that extraordinary conditions exist or undue hardship may result from strict compliance with the Technical Manual standard (Section 1.14) which requires that a standard parking space be 9’ x 18’, that substantial justice and the public interest are secured with the proposed variation in this standard, and that the variation is consistent with the intent of the ordinance.  The Planning Board waived the Technical Manual standard (Section 1.14) to allow two 9’ x 15’ spaces and one 8’ x 18’ space;

- The Planning Board found that the applicant has demonstrated that site constraints prevent the planting of all required street trees in the right-of-way.  The Planning Board waived the site plan standard (Section 14-526 (b) (iii)) to allow for a contribution of $400 to Portland’s tree fund to be substituted for the provision of additional trees on site.

SUBDIVISION REVIEW

The Planning Board voted 6-0 that the plan is in conformance with the subdivision standards of the Land Use Code, subject to the following condition(s) of approval, which must be met prior to the signing of the plat:

      - The applicant shall finalize the subdivision plat for review and approval by Corporation Counsel, the Department of Public Services, and the Planning Authority; and

      - Prior to Certificate of Occupancy, the applicant shall finalize condominium documents for review and approval by Corporation Counsel.

Site Plan Review

The Planning Board voted 6-0 that the plan is in conformance with the site plan standards of the Land Use Code, subject to the following condition(s) of approval which must be met prior to the issuance of a building permit:

- The applicant shall obtain a license agreement for grading and landscaping to be performed on the adjacent city park property for review and approval by the Department of Public Works and Corporation Counsel;

- The applicant shall provide a revised plan set either eliminating the brick driveway apron or obtain a change in sidewalk material policy from City Council and submit a maintenance agreement for review and approval by the Department of Public Works;

- The applicant shall submit a revised landscaping plan depicting plant types and locations as requested by the city’s arborist for review and approval by the city arborist; and

- The applicant shall submit additional design materials which demonstrate the treatment of the top of the bay window, the depth and articulation of the façade, and related detailing for review and approval by the Planning Authority.

The approval is based on the submitted plans and the findings related to site plan and subdivision review standards as contained in Planning Board Report for application 2015-225 which is attached.

- Standard Conditions of Approval

Please note the following standard conditions of approval and requirements for all approved site plans:

- Storm Water Management Condition of Approval

The developer/contractor/subcontractor must comply with conditions of the construction stormwater management plan and sediment and erosion control plan based on City standards and state guidelines.

The owner/operator of the approved stormwater management system and all assigns shall comply with the conditions of Chapter 32 Stormwater including Article III, Post Construction Stormwater Management, which specifies the annual inspections and reporting requirements.

A maintenance agreement for the stormwater drainage system, as attached, or in substantially the same form with any changes to be approved by Corporation Counsel, shall be submitted and signed prior to the issuance of a building permit with a copy to the Department of Public Works.

- Subdivision Recording Plat  A revised recording plat listing all conditions of subdivision approval must be submitted for review and signature prior to the issuance of a performance guarantee.  The performance guarantee must be issued prior to the release of the recording plat for recording at the Cumberland County Registry of Deeds.

- Subdivision Waivers  Pursuant to 30-A MRSA section 4406(B)(1), any waiver must be specified on the subdivision plan or outlined in a notice and the plan or notice must be recorded in the Cumberland County Registry of Deeds within 90 days of the final subdivision approval).

- Develop Site According to Plan The site shall be developed and maintained as depicted on the site plan and in the written submission of the applicant. Modification of any approved site plan or alteration of a parcel which was the subject of site plan approval after May 20, 1974, shall require the prior approval of a revised site plan by the Planning Board or the Planning Authority pursuant to the terms of Chapter 14, Land Use, of the Portland City Code.

- Separate Building Permits Are Required This approval does not constitute approval of building plans, which must be reviewed and approved by the City of Portland’s Inspection Division.

- Site Plan Expiration The site plan approval will be deemed to have expired unless work has commenced within one (1) year of the approval or within a time period up to three  (3) years from the approval date as agreed upon in writing by the City and the applicant.  Requests to extend approvals must be received before the one (1) year expiration date.

- Subdivision Plan Expiration The subdivision approval is valid for up to three years from the date of Planning Board approval.

- Performance Guarantee and Inspection Fees A performance guarantee covering the site improvements as well as an inspection fee payment of 2.0% of the guarantee amount and seven (7) final sets of plans must be submitted to and approved by the Planning Division and Public Services Department prior to the release of a subdivision plat for recording at the Cumberland County of Deeds, and prior to the release of a building permit, street opening permit or certificate of occupancy for site plans.  If you need to make any modifications to the approved plans, you must submit a revised site plan application for staff review and approval.

- Defect Guarantee A defect guarantee, consisting of 10% of the performance guarantee, must be posted before the performance guarantee will be released.

- Preconstruction Meeting  Prior to the release of a building permit or site construction, a pre-construction meeting shall be held at the project site.  This meeting will be held with the contractor, Development Review Coordinator, Public Service's representative and owner to review the construction schedule and critical aspects of the site work.  At that time, the Development Review Coordinator will confirm that the contractor is working from the approved site plan.  The site/building contractor shall provide three (3) copies of a detailed construction schedule to the attending City representatives.  It shall be the contractor's responsibility to arrange a mutually agreeable time for the pre-construction meeting.

- Department of Public Services Permits If work will occur within the public right-of-way such as utilities, curb, sidewalk and driveway construction, a street opening permit(s) is required for your site.  Please contact Carol Merritt at 874-8300, ext. 8828.  (Only excavators licensed by the City of Portland are eligible.)

- As-Built Final Plans Final sets of as-built plans shall be submitted digitally to the Planning Division, on a CD or DVD, in AutoCAD format (*,dwg), release AutoCAD 2005 or greater.

- Mylar Copies Mylar copies of the as-built drawings for the public streets and other public infrastructure in the subdivision must be submitted to the Public Services Dept. prior to the issuance of a certificate of occupancy.

The Development Review Coordinator must be notified five (5) working days prior to date required for final site inspection.  The Development Review Coordinator can be reached at the Planning Division at 874-8632.  All site plan requirements must be completed and approved by the Development Review Coordinator prior to issuance of a Certificate of Occupancy.  Please schedule any property closing with these requirements in mind.

If there are any questions, please contact Nell Donaldson  at 874-8723

Sincerely,

Elizabeth Boepple, Chair

Portland Planning Board

Attachments:

1.	Planning Board Report

- City Code, Chapter 32

- Sample Stormwater Maintenance Agreement

- Performance Guarantee Packet

Electronic Distribution:

- cc:  	Jeff Levine, AICP, Director of Planning and Urban Development

- Stuart G. O’Brien, City Planning Director

- Barbara Barhydt, Development Review Services Manager

- , Planner/Senior Planner

- Philip DiPierro, Development Review Coordinator, Planning

- Ann Machado, Zoning Administrator, Inspections Division

- Tammy Munson, Inspections Division Director

- Jonathan Rioux, Inspections Division Deputy Director

- Jeanie Bourke, Plan Reviewer/CEO, Inspections Division

- Brad Saucier, Administration, Inspections Division

- Katherine Earley, Engineering Services Manager, Public Services

- Bill Clark, Project Engineer, Public Services

- David Margolis-Pineo, Deputy City Engineer, Public Services

- Doug Roncarati, Stormwater Coordinator, Public Services

- Greg Vining, Associate Engineer, Public Services

- Michelle Sweeney, Associate Engineer

- John Low, Associate Engineer, Public Services

- Rhonda Zazzara, Field Inspection Coordinator, Public Services

- Mike Farmer, Project Engineer, Public Services

- Jane Ward, Administration, Public Services

- Jeff Tarling, City Arborist, Public Services

- Jeremiah Bartlett, Public Services

- Keith Gautreau, Fire Department

- Jennifer Thompson, Corporation Counsel

- Thomas Errico, P.E., TY Lin Associates

- David Senus, P.E., Woodard and Curran

- Rick Blackburn, Assessor’s Department

- Approval Letter File