# SECTION 01330 - SUBMITTAL PROCEDURES

# PART 1 - GENERAL

# 1.1	RELATED DOCUMENTS

A.	Site drawings produced by Pinkham and Greer Consulting Engineers, foundation/basement plan drawings produced by TFH Architects PA and Structural Design Consulting, building drawings produced by TFH Architects, mechanical drawings produced by TFH Architects, electrical and lighting drawings produced by TFH Architects.  Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections apply to all sections.

# 1.2	SUMMARY

- This Section includes administrative and procedural requirements for submitting Product Data, Samples, and other miscellaneous submittals.

B.	Related Sections include the following:

1.	Division 1 Section "Payment Procedures" for submitting Applications for Payment.

2.	Division 1 Section "Project Management and Coordination" for submitting Coordination Drawings.

4.	Division 1 Section "Closeout Procedures" for submitting warranties.

5.	Division 1 Section "Operation and Maintenance Data" for operation and maintenance manual requirements.

# 1.3	DEFINITIONS

A.	Action Submittals:  Written and graphic information that requires Architect's responsive action.

B.	Informational Submittals:  Written information that does not require Architect's approval.  Submittals may be rejected for not complying with requirements.

# 1.4	SUBMITTAL PROCEDURES

A.	Coordination:  Coordinate preparation and processing of submittals with performance of construction activities.

1.	Coordinate each submittal with fabrication, purchasing, testing, delivery, other submittals, and related activities that require sequential activity.

2.	Coordinate transmittal of different types of submittals for related parts of the Work so processing will not be delayed because of need to review submittals concurrently for coordination.

a.	Architect reserves the right to withhold action on a submittal requiring coordination with other submittals until related submittals are received.

B.	Submittals Schedule:  Comply with requirements in Division 1 Section "Construction Progress Documentation" for list of submittals and time requirements for scheduled performance of related construction activities.

C.	Processing Time:  Allow enough time for submittal review, including time for re-submittals, as follows.  Time for review shall commence on Architect's receipt of submittal.

1.	Initial Review:  Allow 10 days for initial review of each submittal.  Allow additional time if processing must be delayed to permit coordination with subsequent submittals.  Architect will advise Contractor when a submittal being processed must be delayed for coordination.

4.	If intermediate submittal is necessary, process it in same manner as initial submittal.

5.	Allow 10 days for processing each re-submittal.

6.	No extension of the Contract Time will be authorized because of failure to transmit submittals enough in advance of the Work to permit processing.

D.	Identification:  Place a permanent label or title block on each submittal for identification.

1.	Indicate name of firm or entity that prepared each submittal on label or title block.

2.	Provide a space approximately 4 by 5 inches  on label or beside title block to record Contractor's review and approval markings and action taken by Architect.

3.	Include the following information on label for processing and recording action taken:

a.	Project name.

b.	Date.

c.	Name and address of Architect.

d.	Name and address of Contractor.

e.	Name and address of subcontractor.

f.	Name and address of supplier.

g.	Name of manufacturer.

h.	Unique identifier, including revision number.

i.	Number and title of appropriate Specification Section.

j.	Drawing number and detail references, as appropriate.

k.	Other necessary identification.

E.	Deviations:  Highlight, encircle, or otherwise identify deviations from the Contract Documents on submittals.

F.	Additional Copies:  Unless additional copies are required for final submittal, and unless Architect observes noncompliance with provisions of the Contract Documents, initial submittal may serve as final submittal.

1.	Additional copies submitted for maintenance manuals will be marked with action taken and will be returned.

G.	Transmittal:  Package each submittal individually and appropriately for transmittal and handling.  Transmit each submittal using a transmittal form.  Architect will received from sources other than Contractor.

1.	On an attached separate sheet, prepared on Contractor's letterhead, record relevant information, requests for data, revisions other than those requested by Architect  on previous submittals, and deviations from requirements of the Contract Documents, including minor variations and limitations.  Include the same label information as the related submittal.

2.	Include Contractor's certification stating that information submitted complies with requirements of the Contract Documents.

3.	Transmittal Form:  Use AIA Document G810.

H.	Distribution:  Furnish copies of final submittals to manufacturers, subcontractors, suppliers, fabricators, installers, authorities having jurisdiction, and others as necessary for performance of construction activities.  Show distribution on transmittal forms.

I.	Use for Construction:  Use only final submittals with mark indicating action taken by Architect in connection with construction.

# PART 2 - PRODUCTS

# 2.1	ACTION SUBMITTALS

A.	General:  Prepare and submit Action Submittals required by individual Specification Sections.

1.	Number of Copies:  Submit four copies of each submittal, unless otherwise indicated.  Architect will return two copies.  Mark up and retain one returned copy as a Project Record Document.

2.	Number of Copies:  Submit copies of each submittal, as follows, unless otherwise indicated:

a.	Initial Submittal:  Submit a preliminary single copy of each submittal where selection of options, color, pattern, texture, or similar characteristics is required.  Architect will return submittal with options selected.

b.	Final Submittal:  Submit four copies, unless copies are required for operation and maintenance manuals.  Submit five copies where copies are required for operation and maintenance manuals.  Architect will retain two copies; remainder will be returned.  Mark up and retain one returned copy as a Project Record Document.

B.	Product Data:  Collect information into a single submittal for each element of construction and type of product or equipment.

1.	If information must be specially prepared for submittal because standard printed data are not suitable for use, submit as Shop Drawings, not as Product Data.

2.	Mark each copy of each submittal to show which products and options are applicable.

3.	Include the following information, as applicable:

a.	Manufacturer's written recommendations.

b.	Manufacturer's product specifications.

c.	Manufacturer's installation instructions.

d.	Standard color charts.

e.	Manufacturer's catalog cuts.

f.	Wiring diagrams showing factory-installed wiring.

g.	Printed performance curves.

h.	Operational range diagrams.

i.	Mill reports.

j.	Standard product operating and maintenance manuals.

k.	Compliance with recognized trade association standards.

l.	Compliance with recognized testing agency standards.

m.	Application of testing agency labels and seals.

n.	Notation of coordination requirements.

C.	Samples:  Prepare physical units of materials or products, including the following:

1.	Samples for Initial Selection:  Submit manufacturer's color charts consisting of units or sections of units showing the full range of colors, textures, and patterns available.

2.	Samples for Verification:  Submit full-size units or Samples of size indicated, prepared from the same material to be used for the Work, cured and finished in manner specified, and physically identical with the product proposed for use, and that show full range of color and texture variations expected.  Samples include, but are not limited to, the following:  partial sections of manufactured or fabricated components; small cuts or containers of materials; complete units of repetitively used materials; swatches showing color, texture, and pattern; color range sets; and components used for independent testing and inspection.

3.	Preparation:  Mount, display, or package Samples in manner specified to facilitate review of qualities indicated.  Prepare Samples to match Architect's sample where so indicated.  Attach label on unexposed side that includes the following:

a.	Generic description of Sample.

b.	Product name or name of manufacturer.

c.	Sample source.

5.	Submit Samples for review of kind, color, pattern, and texture for a final check of these characteristics with other elements and for a comparison of these characteristics between final submittal and actual component as delivered and installed.

a.	If variation in color, pattern, texture, or other characteristic is inherent in the product represented by a Sample, submit at least three sets of paired units that show approximate limits of the variations.

b.	Refer to individual Specification Sections for requirements for Samples that illustrate workmanship, fabrication techniques, details of assembly, connections, operation, and similar construction characteristics.

6.	Number of Samples for Initial Selection:  Submit one full set[s] of available choices where color, pattern, texture, or similar characteristics are required to be selected from manufacturer's product line.  Architect will return submittal with options selected.

D.	Schedule of Values:  Comply with requirements in Division 1 Section "Application for Payment."

# 2.2	INFORMATIONAL SUBMITTALS

A.	General:  Prepare and submit Informational Submittals required by other Specification Sections.

1.	Number of Copies:  Submit two copies of each submittal, unless otherwise indicated.  Architect  will not return copies.

2.	Certificates and Certifications:  Provide a notarized statement that includes signature of entity responsible for preparing certification.  Certificates and certifications shall be signed by an officer or other individual authorized to sign documents on behalf of that entity.

3.	Test and Inspection Reports:  Comply with requirements in Division 1 Section "Quality Control."

B.	Contractor's Construction Schedule:  Comply with requirements in Division 1 Section "Construction Progress Documentation."

C.	Product Certificates:  Prepare written statements on manufacturer's letterhead certifying that product complies with requirements.

D.	Material Certificates:  Prepare written statements on manufacturer's letterhead certifying that material complies with requirements.

E.	Maintenance Data:  Prepare written and graphic instructions and procedures for operation and normal maintenance of products and equipment.  Comply with requirements in Division 1 Section "Closeout Procedures"

F.	Manufacturer's Instructions:  Prepare written or published information that documents manufacturer's recommendations, guidelines, and procedures for installing or operating a product or equipment.  Include name of product and name, address, and telephone number of manufacturer.  Include the following, as applicable:

1.	Preparation of substrates.

2.	Required substrate tolerances.

3.	Sequence of installation or erection.

4.	Required installation tolerances.

5.	Required adjustments.

6.	Recommendations for cleaning and protection.

G.	Insurance Certificates and Bonds:  Prepare written information indicating current status of insurance or bonding coverage.  Include name of entity covered by insurance or bond, limits of coverage, amounts of deductibles, if any, and term of the coverage.

H.	Material Safety Data Sheets:  Submit information directly to Owner.  If submitted to Architect, Architect will not review this information but will return it with no action taken.

# PART 3 - EXECUTION

# 3.1	CONTRACTOR'S REVIEW

A.	Review each submittal and check for compliance with the Contract Documents.  Note corrections and field dimensions.  Mark with approval stamp before submitting to Architect.

B.	Approval Stamp:  Stamp each submittal with a uniform, approval stamp.  Include Project name and location, submittal number, Specification Section title and number, name of reviewer, date of Contractor's approval, and statement certifying that submittal has been reviewed, checked, and approved for compliance with the Contract Documents.

# 3.2	ARCHITECT'S ACTION

A.	General:  Architect will not review submittals that do not bear Contractor's approval stamp and will return them without action.

B.	Action Submittals:  Architect will review each submittal, make marks to indicate corrections or modifications required, and return it.  Architect will stamp each submittal with an action stamp and will mark stamp appropriately to indicate action taken.

C.	Informational Submittals:  Architect will review each submittal and will not return it, or will reject and return it if it does not comply with requirements.  Architect will forward each submittal to appropriate party.

# END OF SECTION 01330