# SECTION 04800 – THIN BRICK VENEER

PART 1 - GENERAL

# 1.1	RELATED DOCUMENTS

A.	Site drawings produced by Pinkham and Greer Consulting Engineers, foundation/basement plan drawings produced by TFH Architects PA and Structural Design Consulting, building drawings produced by TFH Architects, mechanical drawings produced by TFH Architects, electrical and lighting drawings produced by TFH Architects.  Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections apply to all sections.

  - SUMMARY

A.	Related Documents: General and Supplementary Conditions of the Contract, Division 1 General Requirements, and Drawings are applicable to this Section.

- Section Includes:

  - Adhesive adhered, solid, manufactured thin brick/panel brick veneer for exterior panelized system and individual unit application on rigid backer board or thin brick panel lock system over building substrate.

  - Adhesives, fasteners and mortar.

  - Moisture barrier.

- Related Sections:

  - Section 06100 "Rough Carpentry" for exterior sheathing.

  - Section 07920 "Sealants" for sealants at control joints and intersections with dissimilar materials.

  - SUBMITTALS

A.	Submit following in accordance with Section 01330.

- Product Data: Submit for all specified products. Include all applicable physical and performance data.

- Samples: Submit 4 samples of thin brick/panel brick veneer units to illustrate color, texture, and size range of each type unit.

- Manufacturer’s detailed installation instructions.

- List of projects on which manufacturer has supplied thin brick/panel brick veneer materials.

1.3	FIELD SAMPLES

A.	General: Comply with Section 01400.

B.	Sample Installation: Construct thin brick to 3 feet by 4 feet panel size, including sub-framing, substrate surfaces, fasteners, adhesive bonding, joint work, moisture barrier, grout color, expansion joints and control joints.

- Obtain Architect’s approval before beginning work. Protect and retain sample as a basis on which the quality of the work will be judged. Do not remove until Substantial Completion.

- Accepted Field Sample: May remain as part of completed Work.

1.4	QUALITY ASSURANCE

A.	Installer: Experienced in similar types of work of similar scope and be able to furnish list of previous jobs and references if requested by Architect.

B.	Expansion Joints: Provide expansion joints as indicated on Drawings or, if not indicated, install at frequency and in accordance with details and as recommended by manufacturer. Confirm locations and frequency with Architect before beginning work.

C.	Certifications:

- Provide written documentation that products have met or exceeded at least one of the following certifications for a minimum of 10 years:

  - FHA-HUD.

  - BOCA — Building Officials and Code Administrators International, Research Report No. 97-18.

  - PROJECT CONDITIONS

A.	Environmental Requirements:

- Minimum air temperature of 40 degrees F (4 degrees C) prior to, during, and for 48 hours after completion of work; and

- Cold Weather Requirements: IMIAC (International Masonry Industry All-Weather Council) - Recommended Practices and Guide Specifications for Cold Weather Masonry Construction.

  - DELIVERY, STORAGE, AND HANDLING

A.	Deliver, store, handle, and protect materials in accordance with Section 01600.

- Store mortar materials on pallets in dry place.

- Protect materials from rain, moisture, and freezing temperatures.

- Store manufactured thin brick/panel brick veneer above ground on level platforms, which allow air circulation under stacked units.

- Handle units on pallets or flat bed barrow.

  - WARRANTY

A.	Special Warranty: Prepare and submit in accordance with Section 01780.

1.	Provide a 20-year warranty against manufacturing defects in manufactured thin brick/panel brick veneer products.

PART 2  - PRODUCTS

  - ACCEPTABLE THIN BRICK/PANEL BRICK VENEER PRODUCT

A.	Subject to compliance with requirements, provide the following product:

- Rbrick, Insulock or EZ Wall systems as manufactured by American Brick Company. 20549 Seminole St, Redford, MI 48240, 1-800-248-8280.

- Thin Brick as manufactured by Endicott Tile LLC, POB 645, Fairbury, NE 68352. 402-729-3323

- Brickettes as manufactured by Panel Brick Manufacturing, Inc., 1120 Ewing Road, Owensboro, Kentucky  42302, (270) 684-7268.

- Substitutions with prior approval of architect,

2.2           THIN BRICK VENEER

A.	Thin brick veneer:

- Kiln fired thin brick, composed of following materials:

  - Clay, shale, fire clay, sand or mixtures thereof, kiln fired to fusion to produce clay masonry units per ASTM C1088, Type TBS (Standard).

- Durability: ASTM C1088, Grade Exterior.

- Freeze and Thawing: No breakage and not greater than 0.5% loss in dry weight when tested in accordance with ASTM C1088.

- Thin brick veneer size: 7 5/8 inches by 2 1/4 inches by 1/2 inch.

- Color to be selected from manufactures standard range or styles & colors.

B.	Thin brick special shapes such as, but not limited to, corner units, sills, edge caps, starters as indicated and required.

2.3		PANEL BRICK VENEER ACCESSORIES

A.	Rigid Backer Board: High density, asphalt impregnated, fiberboard nail base, ASTM C 208. Rigid backer board shall meet requirements specified in Federal Specification LLL-1-535B, Class E, Style 2 and ANSI/AHA A194, 1-1985, Type IV, Class 2.

1.	Manufacturer: Temple Inland Corporation.

B.	Approved alternate to rigid backer board: ‘Loxon’ metal panel thin brick locking system..

1.	Manufacturer: Bricksystems, Inc., POB 466, Charlotte, MI 48813

C.	Adhesive: Exterior, waterproof, synthetic rubber base adhesive, complying with APA AFG-01. For exterior application of individual thin brick veneer units, exterior water base, non-flammable adhesive.

1.	Manufacturer: Panel Brick Manufacturing Inc. P.O. Box 907, 1120 Ewing Road, Owensboro, Kentucky 42302, (270) 684-7268.

D.	Mortar: A rich mixture of the following materials, mixed in accordance with the manufacturers detailed installation instructions for tuck pointing thin brick veneer joints.

1.	Portland Cement: ASTM C 150, Type I or II, except Type III may be used for cold-weather construction. Provide natural color or white cement as required to produce mortar color indicated.

2.	Hydrated Lime: ASTM C 207, Type S.

3.	Aggregate for Mortar: ASTM C 144.

a.	For mortar that is exposed to view, use washed aggregate consisting of natural sand or crushed stone.

b.	 White-Mortar Aggregates: Natural white sand or crushed white stone.

c.	Colored-Mortar Aggregates: Natural sand or crushed stone of color necessary to produce required mortar color.

4.	Water: Potable.

5.	Thoroughly mix grout ingredients in quantities needed for immediate use. Mix grout to ASTM C 270, Type S proportions.

E.	Mortar Mixes:

1.	Do not use admixtures, including pigments, air-entraining agents, accelerators, retarders, water-repellent agents, antifreeze compounds, or other admixtures, unless otherwise indicated.

2.	Limit cementitious materials in mortar to Portland Cement and Lime.

F.	Moisture Barrier:

1.	Tyvek Stucco Wrap, by E.I. Dupont, or comparable product as approved by Architect. Provide tape to seal joints, seams, and tears, of same permeance as membrane.

G.	Joint Sealant: Refer to Section 07920.

H.	Fasteners: Coated 1-1/2 inch nails, staples, or screws of type and for spacing as recommended by thin brick veneer manufacturer for loads encountered.

I.	Cleaner: Nonacid cleaner as recommended by thin brick veneer manufacturer.

PART 3 - EXECUTION

  - EXAMINATION AND PREPARATION

A.	Examination

1.	Verify that field conditions are acceptable and are ready to receive work in accordance with the manufacturers written installation instructions.

2.	Verify that built-in items are in proper location and ready for roughing into masonry work.

3.	Consult architect if deficiencies exist.  Correct deficiencies in accordance with requirements of thin brick veneer manufacturers written installation instructions.

B.	Protect surround area from possible damage during installation work.

C.	Initiating installation constitutes installer’s acceptance of substrates.

3.2		INSTALLATION

A.	Moisture barrier:

1.	Apply sheets horizontally, starting at the base of the wall and lapping each successive upper sheet over the previous lower sheet.

2.	Lap horizontal and vertical joints six inches.

3.	Cut and seal joints, penetrations, openings and projections with manufacturers recommended tape.

4.	Install with corrosion-resistant staples.

B.	Individual thin brick veneer unit application:

1.	Exterior:  Cover the wall substrate with exterior adhesive in accordance with the manufacturers written installation instructions.

2.	Place individual units in position level, with 3/8 inch joint spacing, plumb with surrounding units.  Apply firm pressure to bed the unit solidly in the adhesive base.

a.	Bond pattern:  Running bond, or as indication on the drawings.

b.	Install outside corner return units with short and long lengths alternated.

c.	Plan work to minimize job site cutting.  Perform necessary cutting with proper tools to provide uniform edges; take care to prevent breaking unit corners or edges.

C.	Panelized thin brick veneer (panel brick) system application:

1.	Mechanically fasten rigid backer board with thin brick veneer facing to substrate and supporting structure with screw fasteners, two fasteners per square foot minimum, in accordance with the manufacturers written installation instructions.

a.	Fastener schedule:  Provided by the thin brick veneer manufacturer.

2.	Interlock rigid backer board panels in a one-half running bond.

D.	Jointing:

1.	Allow adhesive to set and cure in accordance with the manufacturers instructions for individual thin brick veneer units.

2.	Install mortar to think brick veneer joints using a tuck pointing tool, metal tipped mortar bag or a grout setting machine in accordance with the manufacturers written installation instructions.

a.	Fill joints completely with mortar.

b.	Remove excess mortar; do not allow mortar to dry on face of units.

c.	Tool exposed joints slightly concave when thumbprint hard, using a jointer larger than joint thickness, unless otherwise indicated.

d.	Clean and finish joints in accordance with manufacturer’s instructions.

E.	Control joints:  Size in accordance with Section 07920 for sealant performance, but in no case larger than adjacent mortar joints in exposed thin brick veneer units.

F.	Expansion joints:  Provide where indicated on drawings or as recommended by system manufacturer.

G.	Built-in work:  As work progresses, build in door and window frames, nailing strips, anchor bolts, plates and other items specified in various sections.

1.	Built-in items plumb and level.

2.	Do not build in organic materials subject to deterioration.

3.3		ADJUSTING

A.	Cutting and fitting:  Cut and fit for chases, pipes, conduit, sleeves and grounds.  Cooperate with other sections of work to provide correct size, shape and location.

3.4		CLEANING AND SEALING

A.	Cleaning:  Comply with Section 01740.

1.	Remove excess mortar and smears using brush or steel wool.

2.	Replace defective mortar.  Match adjacent work.

3.	Clean soiled surfaces with non-acidic solution, acceptable to the thin brick veneer manufacturer, which will not harm masonry or adjacent materials.

4.	Leave surfaces thoroughly clean and free of mortar and other soiling.

5.	Use non-metallic tools in cleaning operations.

END OF SECTION 04800