From: 	Jean Fraser
To:	Senatore, Ryan
CC:	Culley, Jonathan;  Deniord, Soren
Date: 	2/13/2014 12:53 PM
Subject: 	"Sign Off" re Lighting-   Munjoy Heights Revised Photometric

Ryan & Co
 
There are couple places where the levels reach 7.3 and the Technical Standards specify 5 as the max-  but in the context of the large "woonerf" is area I think it is acceptable and the proposed lighting looks OK.
 
I would encourage the inclusion of (maybe solar) lighting for the trail down to East Cove, as since the review the trail use  hours have been extended to 10pm and lighting is needed to "design out crime".
 
Thank you
Jean
 
>>> Ryan Senatore <ryan@senatorearchitecture.com> 2/10/2014 9:22 AM >>>
Jean,

Here is the photometric plan with the exterior building fixtures shown.

Ryan Senatore, AIA  LEED-AP BD+C
Maine Licensed Architect
RYAN SENATORE ARCHITECTURE
207-650-6414
ryan@senatorearchitecture.com
www.senatorearchitecture.com