From:  	Adam Flaherty

For Coastal Bay Properties, LLC

223A Cumberland Avenue

Portland, Maine 04101

(207)347-1909 (c)

To:	City of Portland

Inspections and Fire Prevention Offices

380 Congress Street

Portland, Maine 04101

Date:		18 November 2009

RE:  		Plan of Action for 1-9 Montgomery Street

Fire alarm system

A commercial fire alarm system shall be installed in compliance with all City and State requirements by:				 5/15/2010

A fire alarm and an electrical permit will be submitted by:

12/15/2009

Fire rating not maintained

Fire rating of the first floor storage room shall be repaired by:

11/18/2009

Fire Doors are not Self-closing

Where the fire doors are not self-closing, they will have 2 self-closing hinges installed on each by:  				 2/15/2010

Fire Doors required

A 60-minute fire door assembly shall be installed between the stairs at #7 and #9 Montgomery Street on the ground floor by:

1/15/2010

Certify Electrical System

All junction boxes, outlets, switches and panels shall be covered in an approved manor and all other electrical deficiencies corrected by: 											12/1/2009

The master shut off shall be repaired by:			12/1/2009

No Smoking Signs required

No smoking signs shall be installed and maintained in all common areas of the building by:							11/18/2009

All new tenant leases will prohibit smoking in the common areas.

Adam Flaherty 										Date