December 10, 2012

Re. Safety Code Violations at 117 Sheridan Street

Plan of Action

Sumner Place

117 Sheridan Street

Portland, Maine 04101

We have initiated corrections of the violations as follows:

- Violation #1 - No grills:  we have provided all condo owners with notice that all grills as described in the violation are prohibited and must be removed immediately

- Violation #2 – Junction Box Cover- (floor 3) cover  has been installed

- Violation #3 -   Self-closing fire doors -  the small wooden wedges utilized to keep the doors open have been removed and owners have been notified that said doors must be kept closed.

- Violation #4 - Obstructed Hallways – we are developing a policy regarding what can and cannot be left in the hallways.

- Violation #5 – Sprinkler System needs service - not scheduled; we will notify you when it is scheduled.

- Violations #6 & #7 – Fire Extinguishers - Scheduled to be serviced on 12/11/1012; they will all be hung on brackets as soon as we can arrange for brackets to be installed and you will be notified.

Mimi Dunn/Ron Shapiro

President Sumner Place Condo Association

Cc: Board Members- Sarah Coburn (#7), Kelley Race (#2)