PLANNING BOARD REPORT #20-06

OCEAN GATEWAY GARAGE, 25 INDIA STREET OFFICE BUILDING, AND THE LONGFELLOW RESIDENCES AND RETAIL

AND

AMENDMENT TO THE OCEAN GATEWAY, MARINE PASSENGER FACILITY SITEPLAN

SUBDIVISION, MAJOR SITE PLAN AND TRAFFIC MOVEMENT PERMIT REVIEW

IN THE VICINITY OF INDIA STREET, FORE STREET, MIDDLE STREET AND HANCOCK STREET

RIVERWALK, LLC; OCEAN GATEWAY GARAGE, LLC; MIDDLE AND HANCOCK, LLC; 25 INDIA, LLC; AND LRAR, LLC, APPLICANTS

Submitted to:

Portland Planning Board

April 25, 2006

Submitted by:

Bill Needelman, Senior Planner

1.	Introduction

Riverwalk, LLC, developers of the project, request a public hearing to review a proposed mixed condominium, retail, office building and parking garage project located in the lower India Street neighborhood.    The project has been heard at three previous workshops and has held the required neighborhood meeting. (Please see attachment 26 for neighborhood meeting information.)

Please note that subsequent to the previous meeting, the applicant provided options for sale of portions of the project to four related LLC corporations:  Hancock and Middle, LLC, 25 India LLC, Ocean Gateway Garage, LLC, and LRAR, LLC.  These entities are all wholly owned by Riverwalk LLC and are now considered co-applicants to the Planning Board’s application.  Please refer to Attachment 10a to view the material documenting these transactions.

New Information

Among the new information provided with this report, the Board is asked to pay particular attention to the following:  Revised architectural renderings (Attachment A1 and A2), revised civil engineering plans (Attachment D), revised landscaping plans for both short and long-term phasing (Attachment C), draft subdivision recording plat for the northerly block (Attachment H), and site lighting (Attachments 25 and I).  In addition to the  above referenced supporting documentation, Woodard and Curran Engineers have provided a revised response narrative answering questions raised by City review authorities, Planning Board members, and the public.  This document provides a helpful update on the status of issues that were outstanding as of the last workshop on April 11.

Scope of Review:

Zoning: 	The site is located in both the B-6 and B-5b zones.  The Zoning Administrator has provided her approval of the project, subject to two conditions, which are included in the suggested motions.

Site Plan and Subdivision:  	The project will be reviewed for conformance with the Site Plan and Subdivision Ordinances.  The southerly block, as described below, is to hold 117 residential units in a single connected multi-family condominium development with retail/restaurant use of the first floor.  There is to be no division of land associated with the development of the southerly block. The northerly block is to be divided into four lots, each with a specific development purpose.  Final recording plats have not been provided and a condition of approval is suggested in the motions.

Traffic: 	The project requires a Traffic Movement Permit to be issued under the City’s delegated review authority.

Historic Preservation:  	Portions of the project are located in the Waterfront Historic Preservation District requiring review by the Historic Preservation (HP) Board under the standards for alteration of historic structures and for new construction.  The Planning Board will review those portions of the project that are located outside of, but within 100 feet of, the HP district under Site Plan Standard 14-526 (18), the so-called “not in congruous standard.”  The Historic Preservation Board has recently unanimously approved the portions of the project under their jurisdiction, subject to conditions.  Please refer to HP Report #10-06 in attachment 17 to review the issues addressed.  A summary of the HP Board’s findings will be provided at the Public Hearing.

Previous Review:		Portions of the site are included within the scope of the Ocean Gateway site plan.  Accordingly, the Longfellow project constitutes an amendment to the Ocean Gateway Site Plan at the local level, as well as an amendment to the Ocean Gateway Site Location of Development permit with the State DEP.  A revised Ocean Gateway site plan has been provided and is included in Attachment E.

Comprehensive Plan:		Finally, the applicant’s agreement with the City for purchase of a major portion of the site includes a provision recognizing the City’s goals as expressed in the Comprehensive Plan.  The applicable comprehensive plan elements include the Eastern Waterfront Master Plan and its associated Design Guidelines.  Additionally, as a subdivision, the Board is required to find that the project “is in conformance with the land development plan or its successor;” 14-497 (a)(9).  Please note that current elements of the Comprehensive Plan are the successor to the “land development plan.”   The applicant has provided a narrative addressing the design review suggested by the applicable Comprehensive Plan elements and the City’s Urban Designer, Carrie Marsh, has prepared a review memo in Attachment 20.  Corporation Counsel has provided additional direction regarding the application of policy documents in a memo presented at the last workshop and included herein as Attachment 23.

Design and Review Team

Applicant:		Riverwalk, LLC, Drew Swenson, Principal

Design Team:

Engineering – 	Woodard and Curran Engineers, Barry Sheff, P.E. and David Senus, P.E.

Architecture -	Scott Simons, Garage and Office Structure

The Architectural Team, Inc., Residences and Retail

Traffic - 	Gorrill Palmer Engineers, Tom Gorrill

City Reviewing Engineer:	Deluca Hoffman Engineers, Steve Bushey, P.E.

2.	Site and Development Description

Site Description

The total building site encompasses 2.92 acres of land located on four parcels split between two city blocks in the Eastern Waterfront District.

Southerly block - The block located east of India Street, south of Fore Street, west of Hancock Street (extension), and north of Commercial Street (extension) includes 1.62 acres of project site split between two parcels.  The applicant has a purchase and sale agreement with the City of Portland over 1.06 acres that previously was included in the Ocean Gateway project site.  Previously designed as a gravel parking lot, the City parcel was the subject of a recent request for proposals for development with Riverwalk, LLC being the selected developer.  The City parcel has been combined with a .56 acre parcel at 1 India Street.  Currently occupied by the former administrative building for the Grand Trunk Railroad (now Turner Barker Insurance), the 1 India Street parcel is included in the City’s Waterfront Historic District.  A portion of the 1 India Street parcel is subject to an easement with the City and will be incorporated into the expanded Commercial Street right of way.  The balance of this block is comprised of the Portland Water District pump station parcel.

The southerly block is entirely located within the newly established B-6 zone and is subject to a maximum 65 foot building height restriction.

Northerly Block - The block east of India Street, north of Fore Street, west of Hancock Street (extension), and south of Middle Street includes 1.30 acres of project site located on two parcels.  The 0.11 acre parcel at 33 India Street currently houses the “Breakaway Tavern” building, which is to be demolished.  The larger 1.11 acre parcel located along a Hancock Street extension between Middle and Fore Streets is currently part of the Shipyard Brewery complex.  The shipyard parcel is largely devoted to surface parking along with two shed structures slated for removal.  The balance of this block is owned and occupied by the Miccuci’s grocery store at India and Middle Streets.

The northerly bock is entirely located within the B-5b zone and is subject also subject to a maximum 65 foot building height restriction.

Project Description and Design Review

The project is fully described in the applicant’s packet as provided in Attachment 1 and briefly summarized below.  The total projected development includes over 530,000 square feet of new building area making the Longfellow project one of the largest developments on the Portland peninsula in recent memory.  For comparison, the recently approved Westin Hotel project totals 470,000 square feet.

Southerly Block – The southerly block, described above, is proposed to hold the residential core of the project, as well as the reuse of the 1 India Street building, within a 50,500 square ft footprint.  The first floor of the southerly block includes retail, restaurant, spa, lobby, and service space in a “u” shaped layout around private courtyard.  Additionally, there is a row of townhouse residential units set adjacent to India Street, running parallel to the 1 India Street building.  The majority of the southerly block will be constructed above a sub-grade parking structure holding 75 parking spaces.  Please refer to the attached rendered plans for floor plan layouts and program delineation.  Attachment B shows the program layout of the southerly block.

Northerly Block. – The northerly block includes two separate structures:  A six-story, 719 space parking garage set along Fore Street, and a five-story, 29,000 square foot retail/office structure at the corner of Fore and India Streets.   The garage structure is proposed to have a 5000 square foot, two story (one floor) retail face at Fore Street as a second phase.  This later development is mandated in the purchase and sale agreement with the City and is required to allow the building to meet the maximum building setback requirement of the B5-b zone.

In addition to the updated visual material (rendered drawings, Attachment A, plans and elevations, Attachment B), the applicant has provided two design related narratives for the Board’s review:  a response to previously drafted design comments by Carrie Marsh, Urban Designer (included at the end of Attachment 1a), and a lengthy memo comparing the project against the Eastern Waterfront Master Plan and Design Guidelines (Attachment 15.)  Ms. Marsh’s updated design review is included in Attachment 20.

In summary, the design of the project has been developed to sufficient degree to allow adequate design review and in general appears to be consistent with applicable standards and guideline documents.  Two areas of concern remain:  (1) A general lack of detail on the Fore Street façade of the southerly block, specifically regarding the design of service entrances and a lack prominence of pedestrian entrances; and (2) A lack of clarity on the materials choices for the office building at 25 India Street.  Ms. Marsh suggests two condition of approval referring these issues to Planning staff for further clarification and development.

As noted above, the Historic Preservation Board has conditionally approved the portions of the project located in the HP district.  HP Report #10-06 is included as Attachment 17 for the Board’s information and additional architectural description.

Note on New Streets

Please note that the parcel blocks described above are defined by new sections of public streets – the Commercial Street and Hancock Street extensions.  The Ocean Gateway project, as designed and currently under way, will construct the southerly link in the Hancock Street right of way between Fore and Commercial Street, as well as the Commercial Street extension along the entire project site.  These sections of public streets include full utility infrastructure available for connection to private development.  The project will, however, be responsible for the installation of brick sidewalks adjacent to the Longfellow project.

The project anticipates a further extension of Hancock Street north of Fore Street to its intersection with the existing right of way at Middle Street.  This portion of Hancock Street is not part of the Ocean Gateway site and is to be developed by the City.  The property proposed for the northerly Hancock Street link is currently owned by the Shipyard Brewery and is to be transferred to the City (as a separate lot within the subject subdivision) as part of the deal established with the garage RFP.  The Board should that while the applicant’s landscaping and lighting plans (Attachments C, I and 25, respectively) show a fully developed Hancock Street, the link between Middle and Fore Street has not yet been designed and is not considered part of this project.

3.	Site Plan Standards Review

Please note that the standards are shown in italics with staff comments provided below.

# Sec. 14-526. Standards.

Traffic and Parking

- The provisions for vehicular loading and unloading and parking and for vehicular and pedestrian circulation on the site and onto adjacent public streets and ways; and the incremental volume of traffic will not create or aggravate any significant hazard to safety at or to and including intersections in any direction where traffic could be expected to be impacted; and will not cause traffic congestion on any street which reduces the level of service below Level "D" as described in the 1985 Highway Capacity Manual published by the Transportation Research Board of the National Research Council, a copy of which manual is on file with the pubic works authority, or substantially increase congestion on any street which is already at a level of service below Level "D";

The project is not anticipated to reduce levels of service to below “D” assuming improvements to be constructed as part of the ongoing Ocean Gateway project.  Please see the traffic discussion below.

(2)	a. 	NA

b.	Where construction is proposed of new structures having a total floor area in excess of fifty thousand (50,000) square feet, the planning board shall establish the parking requirement for such structures. The parking requirement shall be determined based upon a parking analysis submitted by the applicant, which shall be reviewed by the city traffic engineer, and upon the recommendation of the city traffic engineer.

Circulation:

The project anticipates introducing new curb cuts into both of the blocks described above.

Southerly block:  The southerly block is proposed to have two areas of primary vehicular circulation: one on Fore Street and one on Commercial Street extension.

Fore Street shows a three-lane entrance adjacent to the pump station at the northwest corner of the site.  This entrance will provide ramped access to the lower level garage (in and out) and a Fore Street level loading area (Please look to attachment B1.)  Three pedestrian entrances to the building are also located on Fore Street serving the condominium lobby, administrative area and loading area.

Valet Parking:		The Commercial Street side of the building shows a “valet plaza” between the primary wings of the structure.  This area previously showed two curb cuts totaling in a +/-120 foot disruption in the sidewalk and a loss of potential on-street parking.  The revised plan shows a “bump in” to allow pick up, drop off and valet service at the front of the building while being somewhat removed from the westerly flow of traffic along the new Commercial Street.  The valet area has room for three cars and is further separated from Commercial Street traffic by a proposed cobble stone “rumble strip” set flush within the pavement parallel with the west bound travel lane.

Traffic Review: 	The applicants have engaged Gorrill Palmer Engineers to produce a traffic management plan for the project  (Attachment 15a.)  The applicant’s traffic summary anticipates that the project will add 187 pm peak hour vehicular trips into the India Street area.  Please note that the cars parking in the proposed garage, which are not attributable to the project, are not included in this number.    The impacts of those cars will be assessed as part of projects generating their use.

The traffic considerations of the project were presented in detail at the April 4 workshop.  As of that time, City consulting traffic engineer, Tom Errico, had provided a list of comments and the applicant’s traffic engineer, Gorrill Palmer provided an itemized reply.  The traffic engineers continue to have a dialogue over specific details regarding elements of the traffic design, the record of which are included in the attachments.  Please refer to the following:

1b.	Updated written statement (4-5-06) with Woodard and Curran responses to Tom Errico’s, (City consulting traffic engineer) and John Peverada’s, (City Parking Manger) previous comments.

15b.	Traffic update, Gorrill Palmer (4-4-06), response to Tom Errico review included in the 4-4-06 Planning Board memo.

15c.	Traffic Review memo (4-7-06), Tom Errico

15d.	Traffic Review memo, Final (4-14-06), Tom Errico

15e.	Traffic update, Gorrill Palmer (4-11-06),

In Mr. Errico’s latest review memo, he addressed several specific design issues that should be addressed prior to public hearing.  The applicant has, in response indicated concurrence on many of these issues, Mr. Errico and the City Engineer, Eric Labelle, currently find the project acceptable from a Traffic Movement permit perspective and from a City infrastructure perspective.

In summary, Mr. Errico recommends three conditions of approval:

i.	The applicant shall contribute $8,100.00 to the implementation of

possible future improvements (including signalization) at the Middle

Street/India Street intersection.  I would suggest that the monetary contribution be placed in an escrow account to be applied to unspecified future transportation improvements at the subject intersection.  If the escrow money is not used within ten years of the escrow agreement date, the money and accrued interest shall be returned to the applicant.

ii.	The applicant shall conduct all work necessary for the installation of a multi-way stop controlled intersection at the Middle Street/India Street intersection prior to occupancy.  Plans for the installation of subject improvements shall be reviewed by the City prior to implementation.

iii.	The applicant shall contribute $5,000.00 to the partial-funding of a post-occupancy traffic monitoring study for the eastern promenade area of the City.

Furthermore, the City’s Transportation Engineer, Jim Carmody, Mr. Errico and the City Engineer, Eric Labelle, all recommend that the “valet area” at the Commercial Street extension of the southerly block be revised to show a straight curb line with no “bump in.”  The reasons expressed behind this recommendation regard the loss of at least two on-street parking spaces, more difficult winter maintenance, and the precedent set for other residential developments.  A condition of approval is suggested in the motions.

Traffic Demand Management:  	Included in the applicant’s proposal, the Gorrill Palmer report recommends Traffic Demand Management (TDM) techniques to further reduce the total traffic impact of the project.  Planning Board members asked the applicant to elaborate how these measures would be maintained over the life of the project.

No new information has been provided on this issue by the applicant.  In conversations with the applicant and Mr. Errico, it is clear that the recommendation for TDM is a preference for the project, but does not underlie the assumptions of the traffic study, nor the anticipated impacts (i.e., the project did not discount trips assuming a lower impact because of TDM.)  As a result, Mr. Errico’s finding that the project meets the applicable traffic standards (with conditions) does not depend on TDM.

In attachment 1c, the applicant’s updated response narrative, on page 10 the specifics for provision of bike storage are described in detail.

Parking:

The project will supply 75 spaces below the southerly residential and retail bock and provide 719 spaces in the “Ocean Gateway Garage” on the northerly block.  Of the 719 spaces, the subject project is proposed to generate a 243 demand for the garage.  Mr. Errico has agreed that theses proposed spaces will adequately serve the project.

As stated previously, the southerly block site is currently occupied by commercial parking. These displaced parkers, along with area island parkers, are to be offered space in the garage at market rates.  Once the garage is full, islanders will be given preference on any waiting lists that may develop in the future.

(3)(4)	The bulk, location or height of proposed buildings and structures.

The bulk, height and location of the proposed structure are not anticipated to cause harm to or substantially diminish the value of neighboring structures.

(5)	The development will not overburden the sewers, sanitary and storm drains, water, solid waste disposal or similar public facilities and utilities;

Sewer:		The applicant has provided Public Works with their anticipated impact and a sewer capacity letter is provided in Attachment 27.  Board members should note that the project will remove a significant amount of stormwater from the India Street combined sewer system, resulting in a significant reduction in demand during large rain events.  Please see below.

Stormwater:	The project has provided a revised stormwater management plan (attachment 6). The plan has been reviewed by the City’s consulting review engineer, Steve Bushey, P.E., and Mr. Bushey finds that the proposal meets City Standards for stormwater management.

In the existing condition, which anticipates the Ocean Gateway project infrastructure currently under construction, the site is entirely impervious.  Under Ocean Gateway, the southerly block drains into a separated system and receives treatment in a stormwater quality unit prior to outletting into Portland Harbor.  The Northerly block drains entirely into the surrounding street system, which is combined with sanitary waste and pumped to the East End wastewater treatment facility.  Combined sewer overflow is a problem in this area during large rain storms.

The proposed system would route stormwater from the majority of both blocks into the Ocean Gateway system (Commercial and Hancock Street extensions.)  The resulting system would continue to use the combined sewer in India Street for only 14% of the total site (for that area directly adjacent to India Street at the proposed office building.)  Mr. Bushey’s review of the Woodard and Curran stormwater plan is included as Attachment 6b.

Responses to Mr. Bushey’s comments are provided in Attachment 1c, and have been reviewed by the City Engineer, Eric Labelle.  Given that the project, as noted above, will increase the amount and rate of stormwater flow in the City’s separated system (which is a desirable condition to alleviate overflow in the combined system,) Mr. Labelle recommends a waiver of the technical standard requiring detain stormwater on-site to pre-development conditions.  Mr. Labelle further recommends that the outfall and stormwater quality unit that ultimately processes the project stormwater though the City system (located at the water’s edge east of the Ocean Gateway project) be provided with a bypass structure to account for a reduction in system capacity.  Both the stormwater quantity waiver  and the bypass requirement are suggested in the motions.

(6)	The on-site landscaping provides adequate buffering between the development and neighboring properties so as to adequately protect each from any detrimental features of the other;

The proposed landscape plan has been developed with the input of the City arborist and has been designed in conjunction with the neighboring scheme at the Ocean Gateway project.

At the previous workshop, Board members asked to see additional landscaping in the “future phase” areas of the site at Fore Street and Middle Street portions of the northerly block.  Attachment C includes both short and long-term plans for  the “future phase” areas at both the southerly and northerly portion of the garage block.

In review of the landscaping for the project, Jeff Tarling, City Arborist, has provided the following comments:

I reviewed the proposed landscape plan for the Longfellow project …..with Pat Carroll (project landscape architect.)  We discussed various vine options to grow onto the columns of the parking garage.  I reviewed and agree with the tree types shown on the plan.  The applicant proposes to submit a revised plan reflecting changes.  I noted two areas that could use some landscape treatment, the first one is the sidewalk area on the Southeast side or the Fore Street side of the parking garage and the open area in the northerly corner that are future building addition sites.

Revised plans propose a double row of street trees along Fore Street which would improve the Fore Street front.  This would leave the northerly lot, I would recommend a grove of trees near the garage to soften that view.

Jeff Tarling

City Arborist

The plans submitted in Attachment C reflect Mr. Tarling’s comments and two conditions of approval are suggested in the minutes regarding the timing of landscaping for the Middle and Hancock Street lot and the need for greater detail in paving, materials and construction details for the plaza and sidewalk grates.

(7)	The site plan minimizes, to the extent feasible, any disturbance or destruction of significant existing vegetation;

There is no significant vegetation on site.

(8)	The site plan does not create any significant soil and drainage problems, whether on- or off-site, and adequately provides for control of erosion and sedimentation during construction and afterward;

The original submittal contains a sedimentation and control plan that has received review and a recommendation for approval by Mr. Bushey.

(9)	The provision for exterior lighting will not be hazardous to motorists traveling on adjacent public streets; is adequate for the safety of occupants or users of the site; and such lighting will not cause significant glare or direct spillover onto adjacent properties and complies with the applicable specifications of the City of Portland Technical and Design Standards and Guidelines;

A comprehensive lighting plan has been provided in Attachment 25 with a photometric contour map provided in Attachment I.  The applicants propose several non-cutoff building mounted and bollard fixtures for the area around the One India Street building and at the southerly entrance to the Longfellow structure.  These fixtures are not anticipated to cause undue glare or problems to sensitive areas and a waiver of the cutoff fixture requirement is provided in the motions.

The exterior lighting for the roof of the garage show some portion at the interior where the foot candle illumination levels are higher than required by the technical standards.  A condition of approval is provided that suggests a revised lighting plan for the garage roof.  Additionally, no “interior” lighting information for the garage is provided.  Given open nature of the garage design, Planning staff requests details on these fixtures as well to ensure a lack of exterior light impacts.

(10)	The development will not create fire or other safety hazards and provides adequate access to the site and to the buildings on the site for emergency vehicles;

The buildings are all to be sprinklered and review of the interior fire safety will be conducted as part of the building permit process.  The project area has fire hydrants located along all of the adjacent streets within 500 feet of the subject site.  No new hydrants are proposed. And adequate access to the buildings is provided.

Planning staff has not received final confirmation from the City Fire Prevention officer that the existing hydrants are sufficient.  It is assumed that this confirmation will be provided for the Public Hearing.  If no confirmation is provided, or if Fire Prevention requests additional hydrants, a condition of approval will be provided for the Board’s consideration at the Public Hearing.

(11)	The proposed development is designed so as to be consistent with off-premises infrastructure, existing or planned by the city;

As stated previously, the site has been anticipated for intensive redevelopment as part of the Eastern Waterfront Master Plan and is consistent with existing and planned off-site infrastructure.

(12)	NA

(13)	NA

(14)	NA

(15)	Multiple-family development.. shall meet the following standards:

Please refer to the Urban Designer’s memo as previously distributed as attachment 20.

a.	Proposed structures and related site improvements shall meet the following standards:

1.	(a) The exterior design of the proposed two-family structures, lodging houses and emergency shelters, including architectural style, facade materials, roof pitch, building form and height, shall be designed to complement and enhance the nearest residential neighborhood;

The design of the facility is proposed to be an extension of the downtown.  The design is compatible with the recently approved Westin Hotel and condominium project, which is the nearest residential neighbor.  The design, while larger in scale, responds to the integrated One India Street (Grand Trunk Railroad) building and is designed to provide a complement to the broader India Street neighborhood.

(b)	The exterior design of the proposed special needs independent living unit, bed and breakfast or multiple-family structures, including architectural style, facade materials, roof pitch, building form and height, window pattern and spacing, porches and entryways, cornerboard and trim details, and facade variation in projecting or recessed building elements, shall be designed to complement and enhance the nearest residential neighborhood. The design of exterior facades shall provide positive visual interest by incorporating appropriate architectural elements;

The design is a highly detailed composition, though certain elements have been identified as needing additional articulation. The Fore Street elevation, particularly, has been identified as needing more emphasis on pedestrian entrances and detailing on the service entrances. A condition of approval is provided in the motions.

2.	The proposed development shall respect the existing relationship of buildings to public streets. New development shall be integrated with the existing city fabric and streetscape including building placement, landscaping, lawn areas, porch and entrance areas, fencing, and other streetscape elements;

As noted above, greater emphasis on pedestrian entrances is generally encouraged.

3.	Open space on the site for all two-family, special needs independent living unit, bed and breakfast and multiple-family development shall be integrated into the development site. Such open space in a special needs independent living unit or a multiple-family development shall be designed to complement and enhance the building form and development proposed on the site. Open space functions may include but are not limited to buffers and screening from streets and neighboring properties, yard space for residents, play areas, and planting strips along the perimeter of proposed buildings;

In general, the open space is integrated into the design of the project subject to the suggested condition of approval regarding the development of the Middle and Hancock Street lot.

4.	The design of proposed dwellings shall provide ample windows to enhance opportunities for sunlight and air in each dwelling in principal living areas and shall also provide sufficient storage areas;

The project is amply fenestrated.

5.	The scale and surface area of parking, driveways and paved areas are arranged and landscaped to properly screen vehicles from adjacent properties and streets;

All parking is structured.

- NA

- NA

(17)	The applicant has submitted all information required by this article and the development complies with all applicable provisions of this Code;

With the exception of a signage plan, the project application is complete.

(18)	If any part of a proposed structure or object is within one hundred (100) feet of any landmark, historic district, or historic landscape district designated or otherwise subject to the protection of article IX and not separated from such landmark or district by any public street, or any portion of any such street, such structure or object shall be determined not to be incongruous to the architectural style or character of those portions of such designated landmark or district as are currently visible to the development when viewed from a street or public open space;

As stated previously, portions of the site lie within the Waterfront Historic District.  The Historic Preservation Board continues to review the project.  Those areas outside of the district, but within 100 feet of its bounds, are subject to the “not incongruous” standard quoted above.  The greatest inconsistency between the current design and the character of the prevailing development pattern, as noted before, is the lack of a continuous street wall along Commercial Street.  The Zoning Administrator has provided an opinion that any development within 25 feet of the Commercial Street side line needs to be at least three floors tall, creating a conflict between the developer’s program, the desire for street wall development, and the market necessity for views from the interior courtyard residential units.

(19)	View corridors: The placement and massing of proposed development shall not substantially obstruct those public views to landmarks and natural features from those locations identified on the View Corridor Protection Plan, a copy of which is on file in the department of planning and urban development;

No identified view corridors are impacted

(20)	The proposed development shall have no adverse impact upon the existing natural resources including groundwater quantity and quality, surface water quantity and quality, wetlands, unusual natural areas, and wildlife and fisheries habitats. Stormwater runoff from paved areas shall be treated to the extent practicable to minimize contaminants;

Please see discussion above.

(21)	The proposed development shall not pose an unreasonable risk that a discharge to a significant groundwater aquifer will occur.

No groundwater impacts are anticipated

(22)	Signs:

No signage information has been provided.

(23)	NA

(24)	All major or minor businesses shall meet the following requirements:

a.	Signs: Signs shall not adversely affect visibility at intersections or access drives. Such signs shall be constructed, installed and maintained so as to ensure the safety of the public. Such signs shall advertise only services or goods available on the premises.

Please see above.

b.	Circulation: No ingress or egress driveways shall be located within thirty (30) feet from an intersection. No entrance or exit for vehicles shall be in such proximity to a playground, school, church, other places of public assembly, or any residential zone that the nearness poses a threat or potential danger to the safety of the public.

Please see traffic section above.

c.	Drive-up features:

NA

d.	Car washes:

NA

(25)	NA

(26)	Development located in the B-5 and B-5b zones shall meet the following additional standards:

a.	Shared infrastructure:

The project provides shared parking for other uses in the vicinity, as suggested by this standard.

b.	Buildings and uses shall be located close to the street where practicable. Corner lots shall fill into the corner and shall provide an architectural presence and focus to mark the corner.

Assuming the the retail phase of development is achieved, this standard is met.

c.	Buildings shall be oriented toward the street and shall include prominent facades with windows and entrances oriented toward the street. Uses that include public access to a building or commercial/office uses in mixed-use developments shall be oriented toward major streets whenever possible.

As stated above, greater emphasis on pedestrian entrances is encouraged.

d.	Parking lots shall be located to the maximum extent practicable toward the rear of the property and shall be located along property lines where joint use or combined parking areas with abutting properties are proposed or anticipated.

No surface lots are proposed.

e.	Modifications to siting standards for the B-5 zone: In the B-5 zone, the planning board may modify or waive standards a. through d. of this subsection as may be reasonably necessary to suit the operational or marketing needs of the user(s) of the property.

4.	Subdivision Review under Sec. 14-497

(a)	Review criteria. When reviewing any subdivision for approval, the planning board shall consider, among others, the following review criteria and before granting approval shall determine that the proposed subdivision:

(1)	Will not result in undue water or air pollution. In making this determination it shall at least consider the elevation of land above sea level and its relation to the flood plains, the nature of soils and subsoils and their ability to adequately support waste disposal; the slope of the land and its effect on effluents; the availability of streams for disposal of effluents; the conformity to the applicable state and local health and water resources regulations;

No undue pollution is anticipated. Given the reduction in flow of stormwater to the combined system, fewer raw sewer overflows are hoped for at the India Street outfall.

(2)	Has sufficient water available for the reasonably foreseeable needs of the subdivision;

A water capacity letter was previously submitted in attachment 5.

(3)	Will not cause unreasonable burden on an existing water supply;

Please see above.

(4)	Will not cause unreasonable soil erosion or reduction in the capacity of the land to hold water so that a dangerous or unhealthy condition may result;

Please see the site plan section above.

(5)	Will not cause unreasonable highway or public road congestion or unsafe conditions with respect to use of the highway or public roads existing or proposed;

Please see the site plan section above.

(6)	Will provide for adequate sanitary waste and storm water disposal and will not cause an unreasonable burden on municipal services if they are utilized;

Please see the site plan section above.

(7)	Will not cause an unreasonable burden on the ability of the city to dispose of solid waste and sewage if municipal services are to be utilized;

Solid waste is the responsibility of the developer.   For sewage, please see the site plan section above.

(8)	Will not have an undue adverse effect on the scenic or natural beauty of the area, aesthetics, historic sites, significant wildlife habitat identified by the department of inland fisheries and wildlife or by the city, or rare and irreplaceable natural areas or any public rights for physical or visual access to the shoreline. For subdivisions within historic districts designated pursuant to article IX of this chapter, the planning board shall apply the standards of section 14-651(c) of article IX.   (Standards for review of construction) The planning board may request that the historic preservation committee prepare an evaluation of the proposed subdivision based upon the standards of section 14-651(c);

Review pending by Historic Preservation Board.

Concerns have also been raised regarding impacts to potentially significant archeological resources in the area.  While no direct protections exist outside of the Historic Preservation district, the applicant is encouraged to allow for the exploration of these resources if at all possible.

(9)	Is in conformance with the land development plan or its successor;

Corporation Counsel has provided a memo for the Board regarding the application of the Comprehensive Plan to this project. Please see attachment 23.

(10)	The subdivider has adequate financial and technical capacity to meet the standards of this section;

Please see attachment 9 of the original submission.

(11)	Whenever situated, in whole or in part, within the watershed of any pond or lake or within two hundred fifty (250) feet of any wetland, great pond or river as defined in Title 38, chapter 3, subchapter I, article 2-B, will not adversely affect the quality of such body of water or unreasonably affect the shoreline of such body of water;

Adverse impacts to coastal wetlands are not anticipated.  As noted above, CSO impacts may be reduced.

(12)	Will not, alone or in conjunction with existing activities, adversely affect the quality or quantity of groundwater;

Please see the site plan section above.

(13)	Is or is not in a flood-prone area,

NA

(14)	Wetlands

NA

(15)	River, stream or brook

NA

5.	Ocean Gateway Amendments

Attachment E shows a revised Ocean Gateway site plan that removes the Riverwalk (Longfellow) site from the transportation facility.  Physically, the Ocean Gateway site is otherwise unchanged.  Board Members should note that during the completion of construction documents, the Ocean Gateway plan did experience some minor modifications from the plan that was approved by the Planning Board in May of 2005.

- The Receiving Station (the smaller building located near to Commercial Street) has moved closer to the water, resulting in a wider sidewalk and pedestrian drop off area between the station and the vehicle area.

- The Maine Narrow Gauge Railroad line has been changed to have a platform in front of the Receiving Station.

- Street lighting has been modified to a revised fixture consistent with the Eastern Prom Trail light.

- Sidewalks adjacent to the gravel parking lots north of Commercial Street have been modified to bituminous material in anticipation of future redevelopment of these sites (as seen with the subject property.)

Functionally, the project is anticipated to work as approved.  The parking displaced by the subject project is currently occupied by Auto Europe commercial tenants and the City has the ability to relocate these spaces to the proposed garage, assuming the tenants so desire.  The City’s parking lease with Riverwalk, LLC. and a statement of parking changes to the Ocean Gateway plan provided by City Marine Operations Manager, Ben Snow, is included in Attachment 22.

6.	Recommendations

Subject to the conditions suggested below, the Planning staff recommends that the Planning Board approve the subject project for Site Plan, Subdivision, Traffic Movement Permit, and the specified waivers requested.

7.	Motions for Consideration

On the basis of plans and materials submitted by the applicant and on the basis of information contained in Planning Report #26-06 relevant to standards for site plan, subdivision regulations, and other findings, the Planning Board makes the following motions:

A.	Zoning

1.	Building Height

That the applicant provides the basis for building height calculations to the zoning administrator prior to issuance of a building permit.

2.	B5-b, Maximum setback line

The applicant shall construct the retail phase of the parking garage along Fore Street within (2 years) of issuance of any certificate of occupancy for the garage.

B.	Traffic Movement Permit

The Planning Board finds that the project is in conformance with the standards of a Traffic Movement Permit subject to the following condition of approval:

i.	The applicant shall contribute $8,100.00 to the implementation of

possible future improvements (including signalization) at the Middle

Street/India Street intersection.  I would suggest that the monetary contribution be placed in an escrow account to be applied to unspecified future transportation improvements at the subject intersection.  If the escrow money is not used within ten years of the escrow agreement date, the money and accrued interest shall be returned to the applicant.

ii.	The applicant shall conduct all work necessary for the installation of a multi-way stop controlled intersection at the Middle Street/India Street intersection prior to occupancy.  Plans for the installation of subject improvements shall be reviewed by the City prior to implementation.

iii.	The applicant shall contribute $5,000.00 to the partial-funding of a post-occupancy traffic monitoring study for the eastern promenade area of the City.

C.	Subdivision

The Planning Board finds that the plan is in conformance with the subdivision standards of the land use code subject to the following condition of approval:

i.	That the applicant provides recording plats (for both northerly and southerly blocks) for Planning Board signature prior to issuance of a building permit.

D.	Waivers

1.	Stormwater Quantity Standard

The Planning Board finds that an increase in the stormwater flow in the City drainage system will not cause negative downstream impacts, and therefore waives the technical standards for stormwater quantity, subject to the following condition of approval:

i.	That the applicant shall design and fund a stormwater bypass at the Ocean Gateway stormwater quality unit to mitigate increased flow through the City stormwater system resulting from the subject project.  The design of the bypass shall be presented to the Public Works Department for review and approval prior to issuance of the building permit.

2.	Lighting Standard

The Planning Board finds that the non-cutoff decorative lighting fixtures proposed by the applicant (namely, S8, S9, S10, S11, and S12 in the lighting submission dated 4-11-06) will not cause undue glare or light trespass, and therefore waives the full cutoff requirement for these fixtures in the locations shown on the submitted lighting plan.

E.	Site Plan

The Planning Board finds that the plan is in conformance with the Site Plan Standards of the Land Use Code subject to the following conditions of approval:

i.	That any additional signage be provided for Planning, Zoning and Historic Preservation staff review and approval, as applicable.

ii.	The long-term landscape plan for the lot at the corner of Middle Street and Hancock Street, as shown in attachment C, shall be constructed as shown prior to final release of the project performance guarantee if no alternative development application has been submitted to the City.

iii.	Materials and construction details, including but not limited to paving and tree grate choices, for both short and long-term landscape plans shall be submitted to the Planning Authority and City Arborist for review and approval prior to issuance of a building permit.

iv.	The applicant shall submit a revised lighting plan for the roof of the garage showing reduced illumination levels consistent with City Lighting Standards.  The applicant shall also provide lighting details for the lower decks of the garage for review and approval of the Planning Authority.

v.	The applicant shall submit a revised utility plan showing, limits of work and trench details for India Street utility work, and underground electrical/telephone/cable connections to Public Works for review and approval prior to issuance of a building permit.

vi.	The applicant shall revise the valet area along the Commercial Street extension to show a straight curb line and sidewalk.

vii.	The applicant shall provide rendering of the Fore Street (northerly) elevation of the southerly block for staff review. The design treatment of the service doors to the loading and parking areas shall be evaluated and the applicant shall work with Planning staff on the final treatment of these doors in order to enhance the pedestrian experience on Fore Street.

viii.	Material samples for the 25 India Street office building shall be provided, and the final selection of this mix of materials be reviewed and approved by the Planning staff.

Attachments:

1.	Development Description with Vicinity Maps

1a.	Updated written statement  (4-4-06)

1b.	Updated written statement (4-5-06) with Woodard and Curran responses to Tom Errico’s, (City consulting traffic engineer) and John Peverada’s, (City Parking Manger) previous comments.

1c.	Updated written statement (4-13-06) with Woodard and Curran summary responses to civil engineering, traffic, and planning Board comments

2.	Development Project Area – Tab 1

3.	Easements

4.	Solid Waste

5.	Utility Capacity and Off Site Facilities

6.	Revised Stormwater Report (Please replace previously submitted attachment 6 from the 2-7-06 workshop Planning Board memo.

6b.	Engineering Review memo, Steve Bushey, P.E., City consulting review engineer, review of stormwater and civil engineering (4-6-06)

6c.	Stormwater report addendum, Haley and Aldrich (4-12-06)

7.	Construction Plan

8.	State and Federal Permitting

9.	Technical and Financial Capacity

10.	Right, Title and Interest (including purchase and sale with the City)

10a.	Option Documents between co-applicants

11.	Environmental and Historic Resources Statement

12.	Electronic Submission

13.	Solid Waste

14.	Subdivision Statement

15.	Traffic – preliminary information/request for Traffic Movement Permit

15a.	Traffic Impact Study

15b.	Traffic update, Gorrill Palmer (4-4-06), response to Tom Errico review included in the 4-4-06 Planning Board memo.

15c.	Traffic review memo (4-7-06), Tom Errico

15d.	Traffic review memo (4-14-06), Tom Errico, final comments and suggested conditions of approval.

15e.	Updated traffic statement, Gorrill Palmer Engineers (4-11-06)

16.	Letter from Woodard and Curran, utility updates

17.	Historic Preservation Report #10-06 (4-12-06)

18.	Fish and Wildlife Department letter of minimal impact (1-13-06)

19.	Applicant’s narrative on compliance with Eastern Waterfront Master Plan and Design Guidelines.

20.	Updated Urban Design memo (4-20-06)

21.	City Valet Parking Policy

22.	City Parking Lease with Riverwalk, LLC and Parking Statement regarding Ocean Gateway amendment.

23.	City Corporation Counsel memo on Comprehensive Plan jurisdiction to the subject application.

24.	City Zoning Memos

25.	Lighting submission

26.	Neighborhood meeting information

27.	Sewer capacity letter (4-20-06)

A1	Architectural Renderings, southerly block (updated)

A2.	Architectural Renderings, northerly block (updated)

B1.	Architectural plan and elevation set, southerly block (residential and retail)

B2	Architectural elevations, Northerly block (office and garage)

C.	Landscape plans (updated)

D.	Civil engineering plans (updated)

E.	Revised Ocean Gateway Siteplan

F.	Stormwater Plans, revised

G.	Vehicle turning movement plans

H.	Subdivision Plan, Northerly Block

I.	Lighting photometric plan