## Memorandum

Department of Planning and Development

Planning Division

To:		Chair Beal and Members of the Portland Planning Board

From:		Bill Needelman, Senior Planner

Date:		March 31, 2006

Re:		Longfellow at Ocean Gateway Project

Vicinity of India Street, Fore Street, Hancock Street, Middle Street, and Commercial Street.

Riverwalk, LLC, Applicant

April 4, 2006 Workshop

1.	Introduction:

Riverwalk, LLC, developers of the project, request a second workshop to further describe the project to the Board and to continue the formal review process.  It is envisioned, given the size and complexity of the site and program, that a minimum of one additional workshop will be required, currently scheduled for April 11.  The applicants ask that the Planning Board hold a public hearing on April 25.

The Board has been provided with a substantial amount of new information for review at the April 4 meeting.  Given the volume of material, only new or revised material has been included with the attachments.  The total packet of information will be re-assembled for the final report.  If Planning Board members would like additional copies of previously submitted material, please request these documents at any time.

The material provided and the review included in this memo concentrate on the traffic and parking for the project and the architectural design.  The project description and background sections found below have been excerpted and updated from the previous workshop on February 7.

It is anticipated that the April 11workshop will concentrate on the civil engineering aspects of the project and resolving issues raised at this workshop.

Scope of Review:

Zoning: 	The site is located in both the B-6 and B-5b zones.

Site Plan and Subdivision:  	The project will be reviewed for conformance with the Site Plan and Subdivision Ordinances.

Traffic: 	The project requires a Traffic Movement Permit to be issued under the City’s delegated review authority.

Historic Preservation:  	Portions of the project are located in the Waterfront Historic Preservation District requiring review by the Historic Preservation (HP) Board under the standards for alteration of historic structures and for new construction.  The Planning Board will review those portions of the project that are located outside of, but within 100 feet of, the HP district under Site Plan Standard 14-526 (18), the so-called “not in congruous standard.”  City legal staff will provide additional clarification on how the Board should review the project with regards to Historic Preservation.

Previous Review:		Portions of the site are included within the scope of the Ocean Gateway site plan.  Accordingly, the Longfellow project constitutes an amendment to the Ocean Gateway Site Plan at the local level, as well as an amendment to the Ocean Gateway Site Location of Development permit with the State DEP.  A revised Ocean Gateway site plan has been provided and is included in Attachment E.

Comprehensive Plan:		Finally, the applicant’s agreement with the City for purchase of a major portion of the site includes a provision recognizing the City’s goals as expressed in the Comprehensive Plan.  The applicable comprehensive plan elements include the Eastern Waterfront Master Plan and its associated Design Guidelines.  Additionally, as a subdivision, the Board is required to find that the project “is in conformance with the land development plan or its successor;” 14-497 (a)(9).  Please note that current elements of the Comprehensive Plan are the successor to the “land development plan.”   The applicant has provided a narrative addressing the design review suggested by the applicable Comprehensive Plan elements and the City’s Urban Designer, Carrie Marsh, has prepared a review memo in Attachment 20.

Design and Review Team

Applicant:		Riverwalk, LLC, Drew Swenson, Principal

Design Team:

Engineering – 	Woodard and Curran Engineers, Barry Sheff, P.E. and David Senus, P.E.

Architecture -	Scott Simons, Garage and Office Structure

The Architectural Team, Inc., Residences and Retail

Traffic - 	Gorrill Palmer Engineers, Tom Gorrill

City Reviewing Engineer:	Deluca Hoffman Engineers, Steve Bushey, P.E.

2.	Site and Development Description

Site Description:

The total building site encompasses 2.92 acres of land located on four parcels split between two city blocks in the Eastern Waterfront District.

Southerly block - The block located east of India Street, south of Fore Street, west of Hancock Street (extension), and north of Commercial Street (extension) includes 1.62 acres of project site split between two parcels.  The applicant has a purchase and sale agreement with the City of Portland over 1.06 acres that previously was included in the Ocean Gateway project site.  Previously designed as a gravel parking lot, the City parcel was the subject of a recent request for proposals for development with Riverwalk, LLC being the selected developer.  The City parcel has been combined with a .56 acre parcel at 1 India Street.  Currently occupied by the former administrative building for the Grand Trunk Railroad (now Turner Barker Insurance), the 1 India Street parcel is included in the City’s Waterfront Historic District.  A portion of the 1 India Street parcel is subject to an easement with the City and will be incorporated into the expanded Commercial Street right of way.  The balance of this block is comprised of the Portland Water District pump station parcel.

The southerly block is entirely located within the newly established B-6 zone and is subject to a maximum 65 foot building height restriction.

Northerly Block - The block east of India Street, north of Fore Street, west of Hancock Street (extension), and south of Middle Street includes 1.30 acres of project site located on two parcels.  The 0.11 acre parcel at 33 India Street currently houses the “Breakaway Tavern” building, which is to be demolished.  The larger 1.11 acre parcel located along a Hancock Street extension between Middle and Fore Streets is currently part of the Shipyard Brewery complex.  The shipyard parcel is largely devoted to surface parking along with two shed structures slated for removal.  The balance of this block is owned and occupied by the Miccuci’s grocery store at India and Middle Streets.

The northerly bock is entirely located within the B-5b zone and is subject also subject to a maximum 65 foot building height restriction.

Project Description and Design Review

The total projected development includes over 530,000 square feet of new building area making the Longfellow project one of the largest developments on the Portland peninsula in recent memory.  For comparison, the recently approved Westin Hotel project totals 470,000 square feet.

In addition to the updated visual material (rendered drawings, Attachment A, plans and elevations, Attachment B), the applicant has provided two design related narratives for the Board’s review:  a response to previously drafted design comments by Carrie Marsh, Urban Designer (included at the end of Attachment 1a), and a lengthy memo comparing the project against the Eastern Waterfront Master Plan and Design Guidelines (Attachment 15.)  Ms. Marsh’s updated design review is included in Attachment 20 and contains a complete architectural description of the project (as revised from her previous memo.)

In summary, the design of the project has been developed to sufficient degree to allow adequate design review and in general appears to be moving in a direction consistent with applicable standards and guideline documents.  Two areas of concern remain:  (1) The lack of continuous street wall along the extended Commercial Street, and (2) A general lack of prominence of pedestrian entrances along all street frontages.

As noted above, the Historic Preservation Board will also review elements of the project.   The project has had two workshops with the HP Board and the support memos from those meetings are included as Attachment 17 for the Board’s information and additional architectural description.

Southerly Block – The southerly block, described above, is proposed to hold the residential core of the project, as well as the reuse of the 1 India Street building, within a 50,500 square ft footprint.  The first floor of the southerly block includes retail, restaurant, spa, lobby, and service space in a “u” shaped layout around private courtyard.  Additionally, there is a row of townhouse residential units set adjacent to India Street, running parallel to the 1 India Street building.  The majority of the southerly block will be constructed above a sub-grade parking structure holding 75 parking spaces.  Please refer to the attached rendered plans for floor plan layouts and program delineation.  Attachment B shows the program layout of the southerly block.

Northerly Block. – The northerly block includes two separate structures:  A six-story, 719 space parking garage set along Fore Street, and a five-story, 29,000 square foot retail/office structure at the corner of Fore and India Streets.

Note on New Streets:

Please note that the parcel blocks described above are defined by new sections of public streets – the Commercial Street and Hancock Street extensions.  The Ocean Gateway project, as designed and currently under way, will construct the southerly link in the Hancock Street right of way between Fore and Commercial Street, as well as the Commercial Street extension along the entire project site.  These sections of public streets include full utility infrastructure available for connection to private development.  The project will, however, be responsible for the installation of brick sidewalks adjacent to the Longfellow project.

The project anticipates a further extension of Hancock Street north of Fore Street to its intersection with the existing right of way at Middle Street.  This portion of Hancock Street is not part of the Ocean Gateway site and is to be developed by the City.  The property proposed for the northerly Hancock Street link is currently owned by the Shipyard Brewery and is to be transferred to the City as part of the deal established with the garage RFP.

4.	Circulation and Traffic

Circulation:

The project anticipates introducing new curb cuts into both of the blocks described above.

Southerly block:  The southerly block is proposed to have two areas of primary vehicular circulation: one on Fore Street and one on Commercial Street extension.

Fore Street shows a three-lane entrance adjacent to the pump station at the northwest corner of the site.  This entrance will provide ramped access to the lower level garage (in and out) and a Fore Street level loading area (Please look to attachment B1.)  Three pedestrian entrances to the building are also located on Fore Street serving the condominium lobby, administrative area and loading area.

Valet Parking:		The Commercial Street side of the building shows a “valet plaza” between the primary wings of the structure.  This area previously showed two curb cuts totaling in a +/-120 foot disruption in the sidewalk and a loss of potential on-street parking.  The revised plan shows a “bump in” to allow pick up, drop off and valet service at the front of the building while being somewhat removed from the westerly flow of traffic along the new Commercial Street.  The valet area has room for three cars and is further separated from Commercial Street traffic by a proposed cobble stone “rumble strip” set flush within the pavement parallel with the west bound travel lane.

City Parking Manager, John Peverada has reviewed the application and has provided the Board with a copy of the City’s valet parking policy (Attachment 21) and provides the following comments:

- Loading docks for retail space within the garage & for the condos?

- Stairs are they adequately spaced per code and will they serve interest to the north side of the project namely the proposed building to be built on Middle St.?

- What will happen to the existing on street parking on Middle St?

- Will the current on street parking on Fore St. be moved to the south side of the street abutting the condos?

- On street parking on Hancock St. extension?

- SNOW Dump for the garage is it adequate?

- Traffic circulation within the garage?

- Valet per Public Safety Guidelines approved last year

The revision to the valet area is consistent with a design concept suggested for exploration by the Planning Staff in the previous memo. In reviewing the plan, Consulting Traffic Engineer, Tom Errico, provides comments that question the need fro any change in the curb line, preferring to see a straight curb line with short-term parking spot that could be used of valet use.  Mr. Errico’s full comments are provided below.

Northerly Block:	The northerly block is designed to have vehicle entrances from both Fore Street and Middle Street.  The primary vehicle entrance for the 719 space garage is proposed for Middle Street.  This entrance will need to be carefully planned with the proposed entrance to the Village at Ocean Gate project across the street.

The Fore Street portion of the block is proposed to have a secondary vehicle entrance to the garage and as well as an alley drive between the office structure and the garage. The relationship between the planned and existing curbcuts on the southerly block will be evaluated during the Traffic Permit review process. The Board should note that the Ocean Gateway project is required to install a traffic signal at the Fore and India Street intersection.

Pedestrian entrances for the northerly block are provided at both Fore Street corners of the garage and at the Fore and India Street corner of the office building.

Brick sidewalks are to be provided along all street frontages.

Traffic:

The applicants have engaged Gorrill Palmer Engineers to produce a traffic management plan for the project  (Attachment 15a.)  The applicant’s traffic summary anticipates that the project will add 187 pm peak hour vehicular trips into the India Street area.  Please note that the cars parking in the proposed garage, which are not attributable to the project, are not included in this number.    The impacts of those cars will be assessed as part of projects generating their use.

The City’s traffic engineering consultant, Tom Errico has provided the following comments in review of the Gorrill Palmer Traffic Impact Study:

My initial comments (in consultation with Jim Carmody, City Transportation Engineer) are noted below and are based upon the March 2006 Traffic Impact Study prepared by Gorrill-Palmer Consulting Engineers, Inc. and site plans prepared by Woodard and Curran.

- Fore Street is proposed to have a width of 24 feet.  The street should probably have a minimum curb-to-curb width of approximately 28 feet.  Eric Labelle should be consulted for the appropriate width.

- I do not support the vehicle turn-out on Commercial Street.  I would suggest that the curb line remain tangential along Commercial Street and the parking spaces have appropriate regulation that reflects the needs of the development.

- The applicant should investigate the feasibility of providing a curb extension on the northeast corner of the India Street/Commercial Street intersection.

- The curb openings for the Pump Station at the corner of India Street and Fore Street should be designed with “mountable” curbing, such that the infrequent entry and exit maneuvers can occur.  Because of the infrequent volume, I would suggest that the curb-cut widths be minimized.

- Information should be provided as to the types of vehicles expected to use the truck loading alley on Fore Street between the Parking Garage and the Office Building.  “Auto-Turn” vehicle template graphics should be provided that illustrates the feasibility of the maneuvers.

- The curb-cut for the residential underground parking garage is very wide.  It is my understanding that this width is to accommodate entry and exit movements from the garage and access to a truck loading facility.  I would suggest that the applicant consider pavement treatments that provide delineation between the primary entry/exit lanes and the truck loading lane.

- The applicant should provide information that the truck loading area in the residential parking garage can support a WB-50 Tractor trailer.

- The primary parking garage exit onto Fore Street will be restricted to right-turn movements only.  The design of the facility should attempt to incorporate features that physically prevent left-turn maneuvers.

- The applicant needs to provide a plan that illustrates the roadway alignment features along Fore Street between the new section adjacent to the project and the existing section east of Hancock Street.

- The applicant needs to provide a recommendation on the provision of on-street parking on Middle Street between India Street and Hancock Street.

- The applicant will be expected to make a financial contribution to the implementation of future improvements at the India Street/Middle Street intersection.

- The applicant should provide “Auto-Turn” vehicle template graphics for all right-turn movements at the Fore Street/Hancock, Middle Street/Hancock Street, Commercial Street/Hancock Street and India Street/Commercial Street intersections for Passenger Car, SU-30, and WB-50 vehicles types.

- Traffic impacts to the eastern promenade area including Mountfort Street has long been a concern associated with development activity in the Eastern Waterfront area.  This project should participate in a monitoring program.

- The Traffic Impact Study illustrates a significant number of trips turn right from Middle Street onto India Street.  It is unclear where these trips are destined to.  An explanation should be provided.

- I do not support the provision of a right-turn lane on Middle Street at India Street.  Loss of on-street parking spaces in this area should be minimized.

- The applicant should evaluate the feasibility of providing a multi-way stop sign installation at the India Street/Middle Street intersection.  The applicant should assess whether the intersection meets MUTCD warrants and assess queuing issues on India Street between Middle Street and Fore Street.

- The trip generation calculations are based upon building areas that do not match those provided in the body of the report.  An explanation should be provided.

- I do not fully endorse the adjustments included for traffic generation in the traffic impact study.  I support the concept of alternative journey-to-work modes for urban developments, but in my professional opinion insufficient information/research has been provided to make a definitive conclusion for Portland.  However, in my opinion the adjustment incorporated was relatively minor and I do not believe the conclusions would change if no adjustment was applied.

- The traffic impact study suggests that Travel Demand Management techniques be incorporated, including Promotion of Public Transit, Ridesharing Program, and provision of Bicycle Amenities.  The applicant should elaborate on these items and how they will be implemented.

5.	Stormwater and Utilities

The stormwater and utility plans for the project are still in development and will be reviewed in detail at a later workshop.  A brief stormwater discussion is proved below as an introduction.

Southerly Block – 	The stormwater flowing from the southerly block, as described above, was previously accounted for in the Ocean Gateway site plan design.  The site, which is quite flat and largely impervious compact gravel, was provided with stormwater collection and integrated into the new Commercial Street separated system.  The Commercial Street system is designed to flow through a stormwater treatment structure prior to out letting into Portland Harbor.  The current design provides a new storm line directly into the new Commercial Street system in the area of the westerly wing of the building.

Northerly Block -  	The northerly block, which is currently part of the Shipyard complex, is entirely impervious surface exhibiting a southerly sheet flow into the combined sewer at Fore Street.  The submitted plan proposes to collect the stormwater from the roof drains of the office and garage structures and route stormwater into the Ocean Gateway system by way of the new Hancock Street extension.

Stormwater and other utility infrastructure will be reviewed in detail at the upcoming April 11 workshop.

6.	Ocean Gateway Amendments

Attachment E shows a revised Ocean Gateway site plan that removes the Riverwalk (Longfellow) site from the transportation facility.  Physically, the Ocean Gateway site is otherwise unchanged.  Board Members should note that during the completion of construction documents, the Ocean Gateway plan did experience some minor modifications from the plan that was approved by the Planning Board in May of 2005.

- The Receiving Station (the smaller building located near to Commercial Street) has moved closer to the water, resulting in a wider sidewalk and pedestrian drop off area between the station and the vehicle area.

- The Maine Narrow Gauge Railroad line has been changed to have a platform in front of the Receiving Station.

- Street lighting has been modified to a revised fixture consistent with the Eastern Prom Trail light.

- Sidewalks adjacent to the gravel parking lots north of Commercial Street have been modified to bituminous material in anticipation of future redevelopment of these sites (as seen with the subject property.)

Functionally, the project is anticipated to work as approved.  The parking displaced by the subject project is currently occupied by Auto Europe commercial tenants and the City has the ability to relocate these spaces to the proposed garage, assuming the tenants so desire.  The City’s parking lease with Riverwalk, LLC. and a statement of parking changes to the Ocean Gateway plan provided by City Marine Operations Manager, Ben Snow, are included in Attachment 22.

# Attachments

New and revised material

1a.	Updated written statement

15a.	Traffic Impact Study

17.	Historic Preservation Review memos (2-15-06, 3-22-06)

18.	Fish and Wildlife Department letter of minimal impact (1-13-06)

19.	Applicant’s narrative on compliance with Eastern Waterfront Master Plan and Design Guidelines.

20.	Updated Urban Design memo (3-31-06)

21.	City Valet Parking Policy

22.	City Parking Lease with Riverwalk, LLC and Parking Statement regarding Ocean Gateway amendment.

A.	Architectural Renderings

B1.	Architectural plan and elevation set, Southerly block (residential and retail)

B2	Architectural elevations, Northerly block (office and garage)

C.	Landscape plans (updated)

D.	Civil engineering plans (updated)

E.	Revised Ocean Gateway Siteplan

Attachments previously submitted and to be re-incorporated into final review report:

1.	Development Description with Vicinity Maps

2.	Development Project Area – Tab 1

3.	Easements

4.	Solid Waste

5.	Utility Capacity and Off Site Facilities

6.	Stormwater and Sedimentation Control (calculations omitted)

7.	Construction Plan

8.	State and Federal Permitting

9.	Technical and Financial Capacity

10.	Right, Title and Interest (including purchase and sale with the City)

11.	Environmental and Historic Resources Statement

12.	Electronic Submission

13.	Solid Waste

14.	Subdivision Statement

15.	Traffic – preliminary information/request for Traffic Movement Permit

16.	Letter from Woodard and Curran, utility updates