From: 	Michael Farmer
To:	McGlone, Maureen
CC:	Barhydt, Barbara;  Donaldson, Helen;  Margolis-Pineo, David
Date: 	10/26/2015 2:59 PM
Subject: 	AC Hotel - 158 Fore Street
Attachments:	Ocean Gateway Garage Elec Service Plan.PDF; Ocean Gateway Garage Underground Electrical Layout CMP.PDF

Maureen:
 
I attached copies of two electric utility plans prepared for the Fore Street part of the Ocean Gateway Garage project.  One plan was prepared by CMP Co. and the other was prepared by Woodard & Curran.  The CMP plan was prepared first.  I think the CMP plan it is a concept plan, in that it is intended to show the schematic layout of the underground electric utility improvements, not necessarily the precise locations of all the components.  The Woodard & Curran plan has a later date than the CMP plan.  I think the electrical system component locations shown on the W & C plan may reflect the "as built" conditions more closely than the CMP plan.  The W&C plan suggests that an underground conduit duct bank has already been extended to the southest side of Fore Street, close to the AC Hotel project area.   

Michael Farmer, Project Engineer
Portland Dept. of Public Services
55 Portland Street
Portland, ME 04101
phone: 207-874-8845
fax: 207-874-8852