|  |
| --- |
| **LEVEL III REVIEW (14-526):**  |
|  |  | **Preliminary Review** |
| **Transportation** | * 1. Impact on Surrounding Street Systems
 |  |
| * 1. Access and Circulation
 | * Please specify where sloped granite curb transitions to vertical granite curb in the turnaround and confirm ADA access into the main entrance to the hotel from this approach.
 |
| * 1. Public Transit Access
 |  |
| * 1. Parking
 | * The revised submittal includes a copy of the deed transferring ownership of the garage and notes that the garage ownership was subsequently sold. Please provide a copy of the lease agreement for garage spaces.
* On-street parking on Fore should be designated as 1-hour parking
* Show the loading zone proposed on Hancock Street
 |
| * 1. Transportation Demand Management (TDM)
 |  |
| **Environmental Quality** | 1. Preservation of Significant Natural Features
 |  |
| 1. Landscaping and Landscape Preservation
 |  |
| 1. Water Quality, Storm Water Management and Erosion Control
 |  |
| **Public Infrastructure and Community Safety**  | 1. Consistency with Master Plans
 |  |
| 1. Public Safety and Fire Prevention
 |  |
| 1. Availability and Adequate Capacity of Public Utilities
 | * Need water capacity letter.
 |
| **Site Design** | 1. Massing, Ventilation and Wind Impact
 |  |
| 1. Shadows
 |  |
| 1. Snow and Ice Loading
 |  |
| 1. View Corridors
 |  |
| 1. Historic Resources
 |  |
| 1. Exterior Lighting
 |  |
| 1. Noise and Vibration
 |  |
| 1. Signage and Wayfinding
 |  |
| 1. Zoning Related Design Standards
 |  |

**Final Plan Revisions**

Please show awnings and grease trap on final site plan

**Zoning**

Please provide the average grade calculation