From: 	Will Conway <wconway@sebagotechnics.com>
To:	Helen Donaldson <HCD@portlandmaine.gov>
CC:	Joe Dasco <Joedasco@comcast.net>, Ali Malone <ali.malone@gmail.com>, "Matt Provencal" <matt@muellerarchitects.com>, Mark Mueller <mark@muellerarchitects.com>, Matthew Gagnon <mgagnon@landryfrenchconstruction.com>
Date: 	10/22/2014 4:39 PM
Subject: 	Seaport Lighting
Attachments:	10.22.14 - Site Lighting Revision.pdf; sconce fixture.pdf

Hi Nell, this is our submittal for Site Condition # 9 for review and approval  . We went with the contemporary option, unified on building and on site . These fixtures use either an incandescent or screw ‑ in LED bulbs. Manufacturer cannot do photometrics for this fixture, but it is a full cutoff, mounted below the top of retaining walls and fencing, therefore there is no chance for spillover.

Now working on HVAC and 911 conditions, best,

Will

William T. Conway, RLA, LEED‑AP
Vice President, Landscape Architecture

[logo]

www.sebagotechnics.com
An Employee Owned Company

Office:    207.200.2100
Fax:        207.856.2206

This notice and disclaimer regards the transmittal and use of electronic files generated and forwarded by Sebago Technics, Inc.  This message contains confidential information and is intended only for the individual named. If you are not the named addressee, you should not disseminate, distribute or copy this email.  Please notify the sender immediately by email if you have received this email by mistake and delete this email from your system.  Email transmission cannot be guaranteed to be secure or error‑free, as information could be intercepted, corrupted, lost, destroyed, arrive late or incomplete, or contain viruses.  The sender, therefore, does not accept liability for any errors or omissions in the contents of this message which arise as a result of email transmission. If verification is required, please request a hard‑copy version.  The information contained in these electronic files is privileged and confidential and is intended only for the use of the individual or entity stated in the address above.  Any dissemination, distribution or copying of these electronic files is strictly prohibited.  The recipient of the electronic file acknowledges and consents to the fact that the sender, Sebago Technics, Inc. makes no claim that electronic files are current, accurate or correct.   Any use or reuse of the electronic file in any manner whatsoever is at the user's sole risk and the user agrees, to the fullest extent permitted by law, to hold Sebago Technics, Inc. harmless and to indemnify it from all claims, losses, damages, expenses and costs including all reasonable attorneys fees that may arise from its use or reuse.