## Memorandum

Department of Planning and Development

Planning Division

TO:		Inspections Department

FROM:	Philip DiPierro, Development Review Coordinator

DATE:	November 20, 2012

RE:		C. of O. for # 61 India Street, Reynolds Infill Project

(Id#2008-0116) (CBL 020 E 021001)

After visiting the site, I have the following comments:

Site work incomplete:

- Installation of the trash enclosure.

- Installation of the new exterior landing and stairs at the rear of the new addition.

- Miscellaneous minor site work.

I anticipate this work can be completed by June 1, 2013.

At this time, I recommend issuing a temporary Certificate of Occupancy.

Cc:	Tammy Munson, Inspection Services Manager

Barbara Barhydt, Development Review Services Manager

File:  1 Solution