## 75 York Street

## Portland, Maine 04101

## phone 207 772 4656

## fax 207 828 4656

www.simonsarchitects.com

### MEMORANDUM

| date: | 8/31/2007 |
| --- | --- |
| project: | Ocean Gateway Garage: 2005-0161 |
| to: | Steven M Pitts Ledgewood Construction 27 Main Street South Portland, ME 04106 |
| phone: | (207) 767-1866 |
| fax: | (207) 767-1869 |

| subject: | Inspections Conditions |
| --- | --- |

1) SDE to provide Code Compliance Certificate.

2) LC to modify application

3) OK

4) The drop in metal stair meets as applicable codes.

5) See attached openness calculations

6) See sheet A603 for typical details and section of a guard rail.

7) 1 HR & 2 HR CMU Walls  UL design U905 typical.

8) Net width of East stair

Between Guards: 3’-9 ¾”

Between Handrails: 3’-2 ¼”

Handicapped emergency egress on east side is via the elevator so wider stairs are not required.

9) Stair treads and risers

Stair treads: 11” deep

Stair risers: 7” max