Copyright 1997, The American Institute of Architects (AIA)

SECTION 05500

METAL FABRICATIONS

GENERAL

SUMMARY

This Section includes the following:

Steel ladders.

Loose bearing and leveling plates.

Loose steel lintels.

Shelf angles.

Support angles for elevator door sills.

Elevator machine beams.

Steel framing and supports for overhead doors.

Steel framing and supports for mechanical and electrical equipment.

Exterior perforated metal panels.

Steel framing and supports for perforated metal panels.

Miscellaneous metal trim.

Pipe bollards.

Wire mesh.

PERFORMANCE REQUIREMENTS

Provide ladders meeting the OSHA requirements of 29CFR 1910.27.

Delete subparagraph above and below if pit ladders are in this Section.

SUBMITTALS

Shop Drawings:  Detail fabrication and erection of each metal fabrication indicated.  Include plans, elevations, sections, and details of metal fabrications and their connections.  Show anchorage and accessory items.

Provide templates for anchors and bolts specified for installation under other Sections.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

Welding Certificates:  Copies of certificates for welding procedures and personnel.

QUALITY ASSURANCE

Fabricator Qualifications:  A firm experienced in producing metal fabrications similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

Delete paragraph below if no welding.  Retain "Welding Certificates" Paragraph in "Submittals" Article if below is retained.  AWS states that welding qualifications remain in effect indefinitely unless welding personnel have not welded for more than six months or there is a specific reason to question their ability.

Welding:  Qualify procedures and personnel according to the following:

Retain applicable standards below.

AWS D1.1, "Structural Welding Code--Steel."

AWS D1.3, "Structural Welding Code--Sheet Steel."

Certify that each welder has satisfactorily passed AWS qualification tests for welding processes involved and, if pertinent, has undergone recertification.

PROJECT CONDITIONS

Field Measurements:  Where metal fabrications are indicated to fit walls and other construction, verify dimensions by field measurements before fabrication and indicate measurements on Shop Drawings.  Coordinate fabrication schedule with construction progress to avoid delaying the Work.

Delete below if not allowed.

Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating metal fabrications without field measurements.  Coordinate construction to ensure that actual dimensions correspond to established dimensions.  Allow for trimming and fitting.

COORDINATION

Coordinate installation of anchorages for metal fabrications.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

PRODUCTS

METALS, GENERAL

Metal Surfaces, General:  For metal fabrications exposed to view in the completed Work, provide materials with smooth, flat surfaces without blemishes.  Do not use materials with exposed pitting, seam marks, roller marks, rolled trade names, or roughness.

FERROUS METALS

Retain material types, qualities, and grades below that are indicated in Specifications or on Drawings for each fabrication type.  Add or delete to suit Project.

Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M.

Paragraph below specifies minimum yield point of 30 ksi (205 Mpa); revise if higher strength is required.

Revise paragraph below to hot-formed tubing (ASTM A 501), if required, only after verifying its availability.

Steel Tubing:  Cold-formed steel tubing complying with ASTM A 500.

Round steel tubing and pipe are sized differently.  Tubing is designated by OD and wall thickness.  Pipe is designated by nominal pipe size and weight or schedule number.  See Evaluations.

Steel Pipe:  ASTM A 53, standard weight (Schedule 40), unless another weight is indicated or required by structural loads.

Perforated Metal Panel, Garage Guard Rail, & Recessed Screen: 16 gage 14 gage thick plain steel perforated panel with 1/4 inch round holes on 3/8 inch staggered centers with 40 percent open area.  Provide 2 inch un-perforated margins at top and bottom of panels.  Provide by McNichols or approved substitute. Provide powder coat finish.

Perforated metal vertical screen panel: 11 gage thick plain steel perforated panel w/ ½ inch round holes on 11/16 inch staggered centers with 48 percent open area.  Provided by McNichols or approved substitute.  Powder coat finish.

Wire Mesh: Wirewall High Security Fencing. Fabricate welded mesh from low carbon steel wire conforming to ASTM A 853 Grade AISI 1006, having a minimum tensile strength of 70,000 PSI (485 MPa.) After welding the fabric is to be hot-dipped, galvanized with a minimum 1.2 oz zinc per square foot in accordance with ASTM A123 and followed by a 10 mil (0.25 mm) minimum PVC coating.

1 inch square mesh, 10.5 gage, as manufactured by Riverdale Mills Corporation or approved substitute.

2 3 inch square mesh, 10.5 gage, as manufactured by Riverdale Mills Corporation or approved substitute.

Paragraph below describes typical component of metal channel framing systems such as that manufactured by Unistrut Corporation.

Malleable-Iron Castings:  ASTM A 47, Grade 32510 (ASTM A 47M, Grade 22010).

Usually select paragraph above or below if castings are required; see Evaluations.  Revise if another grade or class is required for structural reasons.

Gray-Iron Castings:  ASTM A 48, Class 30 (ASTM A 48M, Class 200), unless another class is indicated or required by structural loads.

Delete paragraph and subparagraph below if not applicable.  If retaining, verify safety factor with Project's structural engineer.

Cast-in-Place Anchors in Concrete:  Anchors of type indicated below, fabricated from corrosion-resistant materials capable of sustaining, without failure, the load imposed within a safety factor of 4, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

Threaded or wedge type; galvanized ferrous castings, either ASTM A 47 (ASTM A 47M) malleable iron or ASTM A 27/A 27M cast steel.  Provide bolts, washers, and shims as needed, hot-dip galvanized per ASTM A 153/A 153M.

Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

PAINT

Select paragraph above or below.  Revise above if Division 9 Section "Special Coatings" is used.

Select paragraph above or below.  Above is a typical primer; provides minimum protection to steel.  Below provides better protection; is suitable for more severe environments.

Delete paragraph below if no galvanized fabrications.

Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

Bituminous Paint:  Cold-applied asphalt mastic complying with SSPC-Paint 12, except containing no asbestos fibers, or cold-applied asphalt emulsion complying with ASTM D 1187.

Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Sealmastic, Type 1; W. R. Meadows

Hydrocide 600; Sonneborn Building Products.

Karnak 100 AF; Karnac Chemical Corp.

FASTENERS

General:  Provide Type 304 or 316 stainless-steel fasteners for exterior use and zinc-plated fasteners with coating complying with ASTM B 633, Class Fe/Zn 5, where built into exterior walls.  Select fasteners for type, grade, and class required.

Delete paragraphs below if no detailed fastening requirements.  Revise first paragraph if ASTM A 325 bolts are required for connecting miscellaneous steel framing and supports.

Bolts and Nuts:  Regular hexagon-head bolts, ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6); with hex nuts, ASTM A 563 (ASTM A 563M); and, where indicated, flat washers.

Anchor Bolts:  ASTM F 1554, Grade 36.

Machine Screws:  ASME B18.6.3 (ASME B18.6.7M).

Lag Bolts:  ASME B18.2.1 (ASME B18.2.3.8M).

Wood Screws:  Flat head, carbon steel, ASME B18.6.1.

Plain Washers:  Round, carbon steel, ASME B18.22.1 (ASME B18.22M).

Lock Washers:  Helical, spring type, carbon steel, ASME B18.21.1 (ASME B18.21.2M).

Expansion Anchors:  Anchor bolt and sleeve assembly of material indicated below with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four times the load imposed when installed in concrete, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

Material:  Carbon-steel components zinc-plated to comply with ASTM B 633, Class Fe/Zn 5.

Subparagraph above and below are examples only.  Above protects against corrosion in an indoor atmosphere.  Revise to suit other conditions after verifying availability of thicker coatings.

Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

a.	Hilti Kwik-Bolt Stud Anchors

b.	Red Head Wedge Anchors

c.	Rawl Power-Fast Anchors

d.	Fastenal Stud Anchors

Toggle Bolts:  FS FF-B-588, tumble-wing type, class and style as needed.

Adhesive Anchors:  Threaded anchors with a chemical capsule containing prepared amounts of liquid polyester resin, quartz aggregate, and a catalyst.  Size and embedment depth shall be as noted on the drawings, or if not noted, as required to withstand required loading.  Acceptable products include, but are not limited to:

Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Hilti HVA Adhesive Anchors

Red Head Redi-Chem Anchors

Rawl Needle-Capsule Anchors System

Fastenal Chemical Capsule Anchors

Sleeve Anchors:  Hilti with Hex Nut (HX).  Provide tamperproof nut as indicated.

Renovation Anchors:  Hilti, HY-20 system, with screen tubes.

GROUT

Retain paragraph below for heavy-duty grouting applications.  Do not use in wet areas or on exterior.

Retain below for grouting applications where nonstaining grout is required.

Nonshrink, Nonmetallic Grout:  Factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107.  Provide grout specifically recommended by manufacturer for interior and exterior applications.

Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Five Star Grout by Five Star Products, Inc.

Masterflow 928 Grout by Master Builders Technologies.

Sonogrout 10K by Sonneborn.

14K Hy Flow by Sonneborn.

CONCRETE FILL

Delete this Article if not required for concrete-filled bollards or wheel guards.

Concrete Materials and Properties:  Comply with requirements in Division 3 Section "Cast-in-Place Concrete" for normal-weight, air-entrained, ready-mix concrete with a minimum 28-day compressive strength of 3000 psi (20 MPa), unless otherwise indicated.

FABRICATION, GENERAL

Shop Assembly:  Preassemble items in shop to greatest extent possible to minimize field splicing and assembly.  Disassemble units only as necessary for shipping and handling limitations.  Use connections that maintain structural value of joined pieces.  Clearly mark units for reassembly and coordinated installation.

Shear and punch metals cleanly and accurately.  Remove burrs.

Ease exposed edges to a radius of approximately 1/32 inch (1 mm), unless otherwise indicated.  Form bent-metal corners to smallest radius possible without causing grain separation or otherwise impairing work.

Weld corners and seams continuously to comply with the following:

Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

Obtain fusion without undercut or overlap.

Remove welding flux immediately.

At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

Provide for anchorage of type indicated; coordinate with supporting structure.  Fabricate and space anchoring devices to secure metal fabrications rigidly in place and to support indicated loads.

Cut, reinforce, drill, and tap metal fabrications as indicated to receive finish hardware, screws, and similar items.

Fabricate joints that will be exposed to weather in a manner to exclude water, or provide weep holes where water may accumulate.

Paragraph below is for exterior metalwork.  Revise to suit Project conditions and metalwork exposure.

Allow for thermal movement resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening up of joints, overstressing of components, failure of connections, and other detrimental effects.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions.

Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

Form exposed work true to line and level with accurate angles and surfaces and straight sharp edges.

Remove sharp or rough areas on exposed traffic surfaces.

Form exposed connections with hairline joints, flush and smooth, using concealed fasteners where possible.  Use exposed fasteners of type indicated or, if not indicated, Phillips flat-head (countersunk) screws or bolts.  Locate joints where least conspicuous.

STEEL LADDERS

ANSI A14.3 specifies minimum design requirements for ladders and safety cages.

General:  Fabricate ladders for locations shown, with dimensions, spacings, details, and anchorages as indicated.

Comply with ANSI A14.3, unless otherwise indicated.

For elevator pit ladders, comply with ASME A17.1.

Fabricate ladders from materials as detailed on the drawings or if not indicated, as follows:

Siderails:  Continuous, 1/2-by-2-1/2-inch (12-by-64-mm) steel flat bars, with eased edges, spaced 18 inches (457 mm) apart.

Bar Rungs:  3/4-inch- (19-mm-) diameter steel bars, spaced 12 inches (300 mm) o.c.

Fit rungs in centerline of side rails; plug-weld and grind smooth on outer rail faces.

Support each ladder at top and bottom and not more than 60 inches (1500 mm) o.c. with welded or bolted steel brackets.  Size brackets to support design loads specified in ANSI A14.3.

Provide nonslip surfaces on top of each rung, either by coating rung with aluminum-oxide granules set in epoxy-resin adhesive or by using a type of manufactured rung filled with aluminum-oxide grout.

Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Mebac; IKG Borden.

SLIP-NOT; W. S. Molnar Company.

Delete paragraph above or below.  Products below are claimed to wear better than those above.

Delete paragraph below if no ladders are galvanized.

Galvanize ladders, including brackets and fasteners for all locations.

Delete paragraph below if no ship's ladders are galvanized.

LOOSE BEARING AND LEVELING PLATES

Provide loose bearing and leveling plates for steel items bearing on masonry or concrete construction.  Drill plates to receive anchor bolts and for grouting.

Delete below if plates are not galvanized.

LOOSE STEEL LINTELS

Fabricate loose structural-steel lintels from steel angles and shapes of size indicated for openings and recesses in masonry walls and partitions at locations indicated.

Weld adjoining members together to form a single unit where indicated.

Delete paragraph below if bearing lengths are indicated on Drawings or in schedules.

Size loose lintels to provide bearing length at each side of openings equal to one-twelfth of clear span, but not less than 8 inches (200 mm), unless otherwise indicated.

Delete below if not required.

Galvanize loose steel lintels located in all locations.

SHELF ANGLES

Retain this Article for angles supported from concrete frame.  Angles connected to structural-steel framing are specified with that work in another Division 5 Section.

Fabricate shelf angles from steel angles of sizes indicated and for attachment to concrete framing.  Provide horizontally slotted holes to receive 3/4-inch (19-mm) bolts, spaced not more than 6 inches (150 mm) from ends and 24 inches (600 mm) o.c., unless otherwise indicated.

For cavity walls, provide vertical channel brackets to support angles from backup masonry and concrete.  Align expansion joints in angles with indicated control and expansion joints in cavity-wall exterior wythe.

Delete paragraph below if not required.

Galvanize shelf angles to be installed in exterior walls.

Delete below if inserts are specified in Division 3 Section "Cast-in-Place Concrete."

MISCELLANEOUS FRAMING AND SUPPORTS

Delete paragraph above and retain paragraph below if building does not have a structural-steel frame.

General:  Provide steel framing and supports indicated and as necessary to complete the Work.

Fabricate units from structural-steel shapes, plates, and bars of welded construction, unless otherwise indicated.  Fabricate to sizes, shapes, and profiles indicated and as necessary to receive adjacent construction retained by framing and supports.  Cut, drill, and tap units to receive hardware, hangers, and similar items.

Delete three subparagraphs below if not required.

Where units are indicated to be cast into concrete or built into masonry, equip with integrally welded steel strap anchors 1-1/4 inches (32 mm) wide by 1/4 inch (6 mm) thick by 8 inches (200 mm) long at 24 inches (600 mm) o.c., unless otherwise indicated.

Furnish inserts if units must be installed after concrete is placed.

Below are sample requirements; revise to suit Project.  Add similar provisions for other supports, such as for ceiling hung toilet compartments, overhead doors, etc.  Base support and bracing sizes on recommendations of manufacturer of item being supported.  Insert requirements for other specific applications.

Delete below if no miscellaneous framing and supports are galvanized.  If retaining, indicate galvanized items on Drawings.

Galvanize miscellaneous framing and supports, unless noted otherwise.

MISCELLANEOUS STEEL TRIM

Unless otherwise indicated, fabricate units from structural-steel shapes, plates, and bars of profiles shown with continuously welded joints, and smooth exposed edges.  Miter corners and use concealed field splices where possible.

Provide cutouts, fittings, and anchorages as needed to coordinate assembly and installation with other work.  Provide anchors, welded to trim, for embedding in concrete or masonry construction, spaced not more than 6 inches (150 mm) from each end, 6 inches (150 mm) from corners, and 24 inches (600 mm) o.c., unless otherwise indicated.

Delete paragraph below if no trim is galvanized.

Galvanize miscellaneous steel trim, unless noted otherwise

PIPE BOLLARDS

Fabricate pipe bollards from Schedule 40 steel pipe.

Usually select paragraph above.  Paragraph below is suitable for security applications.

Add other specific items here to suit Project.

FINISHES, GENERAL

Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

Finish metal fabrications after assembly.

STEEL AND IRON FINISHES

Galvanizing:  Provide coating for iron and steel fabrications applied by the hot-dipped process, Durogalv by Duncan Galvanizing.  The galvanizing bath shall contain high grade zinc and other earthly materials.  Immediately before galvanizing, the steel shall be immersed in a bath of zinc ammonium chloride.  The use of the wet kettle process is prohibited.  Comply with ASTM A123 for fabricated products and ASTM A 153 for hardware.  Provide thickness of galvanizing specified in referenced standards.

Power Coat Finish (Based on Duncan Product):  High-Performance Polyester Coating over Black (Uncoated) Steel or Aluminum:  Duncan Thermoset matching approved samples. Color as selected by the Architect.

Factory-applied metal coatings shall be performed in a facility acceptable to Tiger Drylac® U.S.A., Inc.

Materials:

Powder Coating Topcoat:  Polyester resin-based thermosetting powder, Series 28 (58)  High Performance Architectural Coating

Zinc Polyester Primer: Polyester resin based thermosetting zinc powder, 69/90350.

Coating to be applied only by a TIGER Drylac Series 28 Approved Applicator. Proof of current certification required for a valid Tiger Drylac 10 years warranty to go into effect.

Performance Criteria: Coating must meet or exceed the following performance criteria:

Adhesion – Method: ASTM D-3359

Flexibility – Method:  ASTM D-522 (Cylindrical Mandrel)

Hardness – Method: ASTM D-3363 (Pencil)

Salt Spray – Method: ASTM B-117

Humidity – Method: ASTM D-4585

Impact Resistance  - Method: ASTM D-2794

Surface will be brush blasted to produce a 1-3 mil profile on the surface to provide adhesion for the Duncan Thermoset. Surface shall exhibit a rugosity (smoothness) not greater than 4 rug (16-20 microns of variation) when measured by a profilometer over a 1 inch straight line on the surface. Profilometer shall be capable of operating in 1 micron increments.

All coating material shall be force cured in a calibrated oven capable of maintaining 500 deg F.

Finish Warranty:  Manufacturer to provide standard ten (10) year warranty.

Acceptable finishers include Performance Product Painting, Auburn, Maine or by Duncan Group, Everett, MA.

EXECUTION

INSTALLATION, GENERAL

Fastening to In-Place Construction:  Provide anchorage devices and fasteners where necessary for securing metal fabrications to in-place construction.  Include threaded fasteners for concrete and masonry inserts, toggle bolts, through-bolts, lag bolts, wood screws, and other connectors.

Cutting, Fitting, and Placement:  Perform cutting, drilling, and fitting required for installing metal fabrications.  Set metal fabrications accurately in location, alignment, and elevation; with edges and surfaces level, plumb, true, and free of rack; and measured from established lines and levels.

Provide temporary bracing or anchors in formwork for items that are to be built into concrete, masonry, or similar construction.

Fit exposed connections accurately together to form hairline joints.  Weld connections that are not to be left as exposed joints but cannot be shop welded because of shipping size limitations.  Do not weld, cut, or abrade surfaces of exterior units that have been hot-dip galvanized after fabrication and are for bolted or screwed field connections.

Field Welding:  Comply with the following requirements:

Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

Obtain fusion without undercut or overlap.

Remove welding flux immediately.

At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

Delete paragraph below if no aluminum.

Corrosion Protection:  Coat concealed surfaces of aluminum that will come into contact with grout, concrete, masonry, wood, or dissimilar metals with a heavy coat of bituminous paint.

Delete articles below not applicable to Project.  Insert others where needed to specify requirements applicable to a specific item not covered under general installation requirements above.

SETTING BEARING AND LEVELING PLATES

Clean concrete and masonry bearing surfaces of bond-reducing materials, and roughen to improve bond to surfaces.  Clean bottom surface of plates.

Set bearing and leveling plates on wedges, shims, or leveling nuts.  After bearing members have been positioned and plumbed, tighten anchor bolts.  Do not remove wedges or shims but, if protruding, cut off flush with edge of bearing plate before packing with grout.

Revise subparagraph below if only metallic grout is used at concealed, protected locations.

Use nonshrink, nonmetallic grout, unless otherwise indicated.

Delete below if not required.

Pack grout solidly between bearing surfaces and plates to ensure that no voids remain.

Where bearing plates are indicated with integral anchors, set in cement grout while grout is fluid.  Level the surface and provide temporary support while grout hardens.  Do not force anchors in partially hardened grout.

Revise subparagraph below if only metallic grout is used at concealed, protected locations.

Where non-shrink grout is indicated, pack between bearing surfaces as indicated above.

INSTALLING MISCELLANEOUS FRAMING AND SUPPORTS

General:  Install framing and supports to comply with requirements of items being supported, including manufacturers' written instructions and requirements indicated on Shop Drawings, if any.

INSTALLING PIPE BOLLARDS

Select one or more of first four paragraphs below for anchoring bollards.

Paragraph below can be used for bollards located in landscaping, in unit pavers, etc.

Delete paragraph below if bollards have metal caps.

Fill bollards solidly with concrete, mounding top surface.

Delete below if no removable bollards.

ADJUSTING AND CLEANING

Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

Apply by brush or spray to provide a minimum 2.0-mil (0.05-mm) dry film thickness.

Retain paragraph and subparagraph above if touchup painting is in this Section.  Retain paragraph below if it is in Division 9 Section "Painting."  Revise reference if another Division 9 Section, such as "Special Coatings," is used.

Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

END OF SECTION