Copyright 1997, The American Institute of Architects (AIA)

SECTION 05511

METAL STAIRS

GENERAL

SUMMARY

This Section includes the following:

Adjust list below to suit Project.

Steel stairs with concrete-filled treads.

Delete subparagraphs below if railings are in another Section.

Handrails and railings attached to metal stairs.

Handrails attached to walls adjacent to metal stairs.

Delete subparagraph below if not required.

Railing gates.

Subparagraphs below are examples of referenced Sections for materials that might be used for ornamental steel-framed stairs.  Select one or revise if ornamental stairs are required.

PERFORMANCE REQUIREMENTS

Delete this Article if requirements are indicated on Drawings or if authorities having jurisdiction require structural engineer of record to take full responsibility for structural design.

Structural Performance:  Provide metal stairs capable of withstanding the following structural loads without exceeding the allowable design working stress of the materials involved, including anchors and connections.  Apply each load to produce the maximum stress in each component of metal stairs.

Subparagraphs below are examples only.  Revise to suit Project and to comply with codes of authorities having jurisdiction.

Treads and Platforms of Metal Stairs:  Capable of withstanding a uniform load of 100 lbf/sq. ft. (4.79 kN/sq. m) or a concentrated load of 300 lbf (1.33 kN) on an area of 4 sq. in. (25.8 sq. cm), whichever produces the greater stress.

Stair Framing:  Capable of withstanding stresses resulting from loads specified above in addition to stresses resulting from railing system loads.

Limit deflection of treads, platforms, and framing members to L/360 or 1/4 inch (6.4 mm), whichever is less.

Paragraphs below are examples of performance requirements for railings that are also specified in Division 5 Section "Pipe and Tube Railings."  See Evaluations in that Section.

Paragraph below is based on 1996 BOCA Code.  1993 BOCA Code requires greater load for guard infill and greater uniform load for top of guard for nonresidential use.

Structural Performance of Railings:  Provide railings capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated:

Subparagraphs and associated subparagraphs below are examples only and are based on typical requirements of model codes.  For some occupancy categories under certain circumstances, model codes have less-stringent provisions; revise to suit Project and to comply with requirements of authorities having jurisdiction.

Handrails:

Uniform load of 50 lbf/ ft. (0.73 kN/ m) applied in any direction.

Concentrated load of 200 lbf (0.89 kN) applied in any direction.

Uniform and concentrated loads need not be assumed to act concurrently.

Top Rails of Guards:

First option in first subparagraph below applies to 1996 and 1999 BOCA Codes, 2000 International Building Code, and 1997 Uniform Building Code; second option applies to 1993 BOCA Code.

Uniform load of 50 lbf/ ft. (0.73 kN/m) applied in any direction.

Concentrated load of 200 lbf (0.89 kN) applied in any direction.

Uniform and concentrated loads need not be assumed to act concurrently.

Infill of Guards:

Concentrated load of 50 lbf (0.22 kN) applied horizontally on an area of 1 sq. ft. (0.093 sq. m).

Select subparagraph above or first subparagraph below.  First option above applies to 1996 and 1999 BOCA Codes and 2000 International Building Code; second option applies to 1993 BOCA Code.  Below applies to 1997 Uniform Building Code.

Uniform load of 25 lbf/sq. ft. (1.2 kN/sq. m) applied horizontally.

Infill load and other loads need not be assumed to act concurrently.

Revise paragraph below to indicate specific loads determined by Project's structural engineer or refer to loads indicated on Drawings.  Model building codes and ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

Seismic Performance:  Provide metal stairs capable of withstanding the effects of earthquake motions determined according to ASCE 7, "Minimum Design Loads for Buildings and Other Structures":  Section 9, "Earthquake Loads."

Requirements in paragraph and subparagraphs below are based on 1993 BOCA Code.

SUBMITTALS

Shop Drawings:  Show fabrication and installation details for metal stairs.  Include plans, elevations, sections, and details of metal stairs and their connections.  Show anchorage and accessory items.  Provide templates for anchors and bolts specified for installation under other Sections.

Retain subparagraph below, along with "Professional Engineer Qualifications" Paragraph in "Quality Assurance" Article, if Section or Drawings include requirements for products to withstand specific design loads.  Delete or modify below if Architect assumes or is required by law to assume design responsibility.

For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Retain paragraph below if procedures for welder certification are retained in "Quality Assurance" Article.

Welding Certificates:  Copies of certificates for welding procedures and personnel.

QUALITY ASSURANCE

Delete paragraph below if Contractor is not required to engage the services of a qualified professional engineer in "Submittals" Article.

Professional Engineer Qualifications:  A professional engineer who is legally qualified to practice in jurisdiction where Project is located and who is experienced in providing engineering services of the kind indicated.  Engineering services are defined as those performed for installations of metal stairs (including handrails and railing systems) that are similar to those indicated for this Project in material, design, and extent.

Fabricator Qualifications:  A firm experienced in producing metal stairs similar to those indicated for this Project and with a record of successful in-service performance, as well as sufficient production capacity to produce required units.

Welding:  Qualify procedures and personnel according to AWS D1.1, "Structural Welding Code--Steel," and AWS D1.3, "Structural Welding Code--Sheet Steel."

COORDINATION

Coordinate installation of anchorages for metal stairs.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

PRODUCTS

FERROUS METALS

Metal Surfaces, General:  Provide metal free from pitting, seam marks, roller marks, and other imperfections where exposed to view on finished units.  Do not use steel sheet with variations in flatness exceeding those permitted by referenced standards for stretcher-leveled sheet.

Retain material types, qualities, and grades below that are indicated in Specifications or on Drawings for each fabrication type.  Add or delete to suit Project.

Steel Plates, Shapes, and Bars:  ASTM A 36/A 36M.

Steel Tubing:  Cold-formed steel tubing complying with ASTM A 500.

Usually retain paragraph above and delete paragraph below for preassembled stairs, which are typically offered with square or round tube railings.

Steel Pipe:  ASTM A 53, standard weight (Schedule 40), unless another weight is indicated or required by structural loads.

Perforated Metal Infill Panel: 16 gage 11 gage thick plain steel perforated panel with 1/4 inch round holes on 3/8 inch staggered centers with 40 percent open area.  Provide 2 inch un-perforated margins at top and bottom of panels.  Provide by McNichols or approved substitute. Provide powder coat finish.  Provide form bent ‘U’ frame around perimeter of panel as provided by manufacturer.

Uncoated, Cold-Rolled Steel Sheet:  ASTM A 1008/A 1008M, either commercial steel, Type B, or structural steel, Grade 25 (Grade 170), unless another grade is required by design loads; exposed.

Delete paragraph above or below, or both, if all steel sheet is galvanized.  Cold-rolled sheet has smoother surface finish than hot-rolled sheet.  Most manufacturers use hot-rolled sheet.  Delete option in either paragraph to specify only structural steel if required.  Revise grade, if necessary, to suit structural requirements; grades indicated are lowest in referenced standards.

Uncoated, Hot-Rolled Steel Sheet:  ASTM A 1011/A 1011M, either commercial steel, Type B, or structural steel, Grade 30 (Grade 205), unless another grade is required by design loads.

Delete paragraph below if galvanized sheet is not used.  Revise paragraph to specify only structural quality if required.  Revise grade, if necessary, to suit structural requirements; grade indicated is lowest in referenced standard.

Galvanized Steel Sheet:  ASTM A 653/A 653M, G90 (Z275) coating, either commercial quality or structural quality, Grade 33 (Grade 230), unless another grade is required for design loads.

Welding Rods and Bare Electrodes:  Select according to AWS specifications for metal alloy welded.

FASTENERS

General:  Provide zinc-plated fasteners with coating complying with ASTM B 633, Class Fe/Zn 25 for exterior use, and Class Fe/Zn 5 where built into exterior walls.  Select fasteners for type, grade, and class required.

Delete paragraphs below if no detailed fastening requirements.  Retain for complex work.

Bolts and Nuts:  Regular hexagon-head bolts, ASTM A 307, Grade A (ASTM F 568M, Property Class 4.6); with hex nuts, ASTM A 563 (ASTM A 563M); and, where indicated, flat washers.

Machine Screws:  ASME B18.6.3 (ASME B18.6.7M).

Lag Bolts:  ASME B18.2.1 (ASME B18.2.3.8M).

Plain Washers:  Round, carbon steel, ASME B18.22.1 (ASME B18.22M).

Lock Washers:  Helical, spring type, carbon steel, ASME B18.21.1 (ASME B18.21.2M).

Expansion Anchors:  Anchor bolt and sleeve assembly of material indicated below with capability to sustain, without failure, a load equal to six times the load imposed when installed in unit masonry and equal to four times the load imposed when installed in concrete, as determined by testing per ASTM E 488, conducted by a qualified independent testing agency.

Material:  Carbon-steel components zinc-plated to comply with ASTM B 633, Class Fe/Zn 5.

Subparagraph above and below are examples only.  Above protects against corrosion in an indoor atmosphere.  Revise to suit other conditions after verifying availability of thicker coatings.

PAINT

Select paragraph above or below.  Revise above if Division 9 Section "Special Coatings" is used.

VOC limit in optional text below is the EPA limit for rust-preventive architectural coatings.

Select paragraph above or below.  Above is a typical primer; provides minimum protection to steel.  Below provides better protection; is suitable for more severe environments.

Delete paragraph below if no stairs are galvanized.

Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in steel, complying with SSPC-Paint 20.

Bituminous Paint:  Cold-applied asphalt mastic complying with SSPC-Paint 12, except containing no asbestos fibers or cold-applied asphalt emulsion complying with ASTM D 1187.

GROUT

Usually delete below.  Retain for stairs having stringers with grouted baseplates.

Nonshrink, Nonmetallic Grout:  Factory-packaged, nonstaining, noncorrosive, nongaseous grout complying with ASTM C 1107.  Provide grout specifically recommended by manufacturer for interior and exterior applications.

Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

Five Star Grout by Five Star Products, Inc.

Masterflow 928 Grout by Master Builders Technologies.

Sonogrout 10K by Sonneborn.

14K Hy Flow by Sonneborn.

CONCRETE FILL AND REINFORCING MATERIALS

Delete this Article if not required for prepoured stair treads.

Concrete Materials and Properties:  Comply with requirements in Division 3 Section "Cast-in-Place Concrete" for normal-weight, ready-mixed concrete with a minimum 28-day compressive strength of 3000 psi (20 MPa), unless higher strengths are indicated.

Delete or revise paragraph below if another finish is required or if concrete fill is to be covered with resilient stair treads.  Dayton Superior, Lambert, and Sonneborn market abrasive aggregate.

Welded Wire Fabric:  ASTM A 185, 6 by 6 inches (152 by 152 mm)--W1.4 by W1.4, unless otherwise indicated.

FABRICATION, GENERAL

Provide complete stair assemblies, including metal framing, hangers, struts, handrails, railings, clips, brackets, bearing plates, and other components necessary to support and anchor stairs and platforms on supporting structure.

Delete paragraph above and retain paragraph below if railings are specified in another Section.

Delete subparagraphs below if not required.

Join components by welding, unless otherwise indicated.

Use connections that maintain structural value of joined pieces.

Delete subparagraph below if no exterior stairs or if not applicable.

Fabricate treads and platforms of exterior stairs so finished walking surfaces slope to drain.

NAAMM standard below establishes minimum requirements only.

NAAMM Stair Standard:  Comply with "Recommended Voluntary Minimum Standards for Fixed Metal Stairs" in NAAMM AMP 510, "Metal Stairs Manual," for class of stair designated, unless more stringent requirements are indicated.

Select one or more of four subparagraphs below.  First is for decorative stairs in exposed locations.  Second is typical enclosed stair.  Third is economy enclosed stair.  Fourth is for industrial applications.

Commercial class, unless otherwise indicated.

Delete paragraph below if preassembled stairs are not required.

Form exposed work true to line and level with accurate angles and surfaces and straight sharp edges.  Shear and punch metals cleanly and accurately.  Remove sharp or rough areas on exposed surfaces.

Ease exposed edges to a radius of approximately 1/32 inch (1 mm), unless otherwise indicated.  Form bent-metal corners to smallest radius possible without causing grain separation or otherwise impairing work.

Weld connections to comply with the following:

Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

Obtain fusion without undercut or overlap.

Remove welding flux immediately.

Delete subparagraph below if appearance is not important or if economy is more important.

Weld exposed corners and seams continuously, unless otherwise indicated.

At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

Form exposed connections with hairline joints, flush and smooth, using concealed fasteners where possible.  Use exposed fasteners of type indicated or, if not indicated, Phillips flat-head (countersunk) screws or bolts.  Locate joints where least conspicuous.

Fabricate joints that will be exposed to weather in a manner to exclude water, or provide weep holes where water may accumulate.

STEEL-FRAMED STAIRS

Retain paragraph below for both industrial and preassembled stairs.

Stair Framing:  Fabricate stringers of galvanized structural-steel channels, plates, or a combination of both, as indicated.  Provide closures for exposed ends of stringers.  Construct platforms of galvanized structural-steel channel headers and miscellaneous framing members as indicated.  Bolt or weld headers to stringers; bolt or weld framing members to stringers and headers.  If using bolts, fabricate and join so bolts are not exposed on finished surfaces.

Delete subparagraph below if not required.

Delete subparagraph below if not required.

Delete paragraph and subparagraphs below if metal-pan stairs are not used.

Metal-Pan Stairs:  Form risers, subtread pans, and subplatforms to configurations shown from steel sheet of thickness necessary to support indicated loads, but not less than 0.0677 inch (1.7 mm).

Steel Sheet:  Galvanized steel sheet, unless otherwise indicated.

Retain subparagraph above for best appearance.  Retain subparagraph below and delete above if appearance is less important than cost.

Retain subparagraph below for best appearance.

Retain subparagraph below and delete above if appearance is less important than cost.  Below also allows risers and subtreads to be replaced if damaged during shipment or erection.

Attach risers and subtreads to stringers with brackets made of steel angles or bars.  Weld brackets to stringers and attach metal pans to brackets by welding, riveting, or bolting.

Shape metal pans to include nosing integral with riser.

Delete subparagraph below if cast or extruded nosings or precast or epoxy-filled treads are used.

Delete subparagraph below if not permitted or revise if required.

Treads below are an alternative to prefilled concrete treads.

Provide subplatforms of configuration indicated or, if not indicated, the same as subtreads.  Weld subplatforms to platform framing.

Delete subparagraph below if not applicable or retain and qualify if only applicable to selected metal stairs and if locations are indicated on Drawings.

Delete paragraph and subparagraphs below if abrasive-coating-finished formed-metal stairs are not used.

Delete two paragraphs and associated subparagraphs below if steel floor plate stairs are not used.

STEEL TUBE HANDRAILS AND RAILINGS

Usually retain this Article for handrails and railings included with preassembled stairs.  Square or round tube railings are typical for preassembled stairs rather than pipe railings.  Usually delete Article and specify in another Section for steel-framed ornamental and industrial stairs.

General:  Fabricate handrails and railings to comply with requirements indicated for design, dimensions, details, finish, and member sizes, including wall thickness of tube, post spacings, and anchorage, but not less than that needed to withstand indicated loads.

Select one of eight configurations below or revise depending on style of railing used and code requirements.  Delete all if shown on Drawings.

Configuration:  As indicated on the drawings.

Delete subparagraph below if not required.

Gates:  Form gates from steel tube of same size and shape as top rails.  Provide with hinges for fastening to wall and overlapping stop with rubber bumper to restrict gate to opening in the direction of egress.

Interconnect members by butt-welding or welding with internal connectors, at fabricator's option, unless otherwise indicated.

Revise paragraph above and subparagraph below if nonwelded connections are permitted.

At tee and cross intersections, cope ends of intersecting members to fit contour of tube to which end is joined, and weld all around.

Form changes in direction of handrails and rails as follows:

Retain one of six subparagraphs below; if retaining more than one, also retain last subparagraph.

As detailed.

By bending.

Delete subparagraph above and retain one of two subparagraphs below if zero-radius bends are desired or if radii are shown on Drawings.

By flush-radius bends.

By radius bends of radius indicated.

By inserting prefabricated flush-elbow fittings.

By any method indicated above, applicable to change of direction involved.

Retain paragraph below unless all bends are made with standard elbow fittings.

Form simple and compound curves by bending members in jigs to produce uniform curvature for each repetitive configuration required; maintain cross section of member throughout entire bend without buckling, twisting, cracking, or otherwise deforming exposed surfaces of components.

Close exposed ends of handrail and railing members with prefabricated end fittings.

Provide wall returns at ends of wall-mounted handrails, unless otherwise indicated.  Close ends of returns, unless clearance between end of rail and wall is 1/4 inch (6 mm) or less.

Brackets, Flanges, Fittings, and Anchors:  Provide wall brackets, end closures, flanges, miscellaneous fittings, and anchors for interconnecting railings and for attaching to other work.  Furnish inserts and other anchorage devices for connecting to concrete or masonry work.

Connect railing posts to stair framing by direct welding, unless otherwise indicated.

Retain paragraph below if any railings are supported from plaster or gypsum board walls.

Fillers:  Provide fillers made from steel plate, or other suitably crush-resistant material, where needed to transfer wall bracket loads through wall finishes to structural supports.  Size fillers to suit wall finish thicknesses and to produce adequate bearing area to prevent bracket rotation and overstressing of substrate.

Delete inapplicable requirements in paragraphs below or revise to suit Project.

Provide galvanized handrails and railings, fittings, brackets, fasteners, sleeves, and other ferrous-metal components.

FINISHES

Comply with NAAMM'S "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

Finish metal stairs after assembly.

Galvanizing:  Provide coating for iron and steel fabrications applied by the hot-dipped process, Durogalv by Duncan Galvanizing.  The galvanizing bath shall contain high grade zinc and other earthly materials.  Immediately before galvanizing, the steel shall be immersed in a bath of zinc ammonium chloride.  The use of the wet kettle process is prohibited.  Comply with ASTM A123 for fabricated products and ASTM A 153 for hardware.  Provide thickness of galvanizing specified in referenced standards.

Fill vent and drain holes that will be exposed in finished Work, unless indicated to remain as weep holes, by plugging with zinc solder and filing off smooth.

Provide galvanized finish on all stair parts except guard infill panels and perimeter frames.

Power Coat Finish (Based on Duncan Product):  High-Performance Polyester Coating over Black (Uncoated) Steel or Aluminum:  Duncan Thermoset matching approved samples. Color as selected by the Architect.

Factory-applied metal coatings shall be performed in a facility acceptable to Tiger Drylac® U.S.A., Inc.

Materials:

Powder Coating Topcoat:  Polyester resin-based thermosetting powder, Series 28 (58)  High Performance Architectural Coating

Zinc Polyester Primer: Polyester resin based thermosetting zinc powder, 69/90350.

Coating to be applied only by a TIGER Drylac Series 28 Approved Applicator. Proof of current certification required for a valid Tiger Drylac 10 years warranty to go into effect.

Performance Criteria: Coating must meet or exceed the following performance criteria:

Adhesion – Method: ASTM D-3359

Flexibility – Method:  ASTM D-522 (Cylindrical Mandrel)

Hardness – Method: ASTM D-3363 (Pencil)

Salt Spray – Method: ASTM B-117

Humidity – Method: ASTM D-4585

Impact Resistance  - Method: ASTM D-2794

Surface will be brush blasted to produce a 1-3 mil profile on the surface to provide adhesion for the Duncan Thermoset. Surface shall exhibit a rugosity (smoothness) not greater than 4 rug (16-20 microns of variation) when measured by a profilometer over a 1 inch straight line on the surface. Profilometer shall be capable of operating in 1 micron increments.

All coating material shall be force cured in a calibrated oven capable of maintaining 500 deg F.

Finish Warranty:  Manufacturer to provide standard ten (10) year warranty.

Acceptable finishers include Performance Product Painting, Auburn, Maine or by Duncan Group, Everett, MA.

EXECUTION

INSTALLATION, GENERAL

Fastening to In-Place Construction:  Provide anchorage devices and fasteners where necessary for securing metal stairs to in-place construction.  Include threaded fasteners for concrete and masonry inserts, through-bolts, lag bolts, and other connectors.

Cutting, Fitting, and Placement:  Perform cutting, drilling, and fitting required for installing metal stairs.  Set units accurately in location, alignment, and elevation, measured from established lines and levels and free from rack.

Delete paragraph below if other fastening methods are acceptable.

Install metal stairs by welding stair framing to steel structure or to weld plates cast into concrete, unless otherwise indicated.

Provide temporary bracing or anchors in formwork for items that are to be built into concrete, masonry, or similar construction.

Fit exposed connections accurately together to form hairline joints.  Weld connections that are not to be left as exposed joints but cannot be shop welded because of shipping size limitations.  Do not weld, cut, or abrade surfaces of exterior units that have been hot-dip galvanized after fabrication and are for bolted or screwed field connections.

Field Welding:  Comply with the following requirements:

Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

Obtain fusion without undercut or overlap.

Remove welding flux immediately.

At exposed connections, finish exposed welds and surfaces smooth and blended so no roughness shows after finishing and contour of welded surface matches that of adjacent surface.

Delete below if no precast treads.

INSTALLING STEEL TUBE RAILINGS AND HANDRAILS

Adjust handrails and railing systems before anchoring to ensure matching alignment at abutting joints.  Space posts at spacing indicated or, if not indicated, as required by design loads.  Plumb posts in each direction.  Secure posts and railing ends to building construction as follows:

Anchor posts to steel by welding directly to steel supporting members.

Anchor handrail ends to concrete and masonry with steel round flanges welded to rail ends and anchored with postinstalled anchors and bolts.

Attach handrails to wall with wall brackets.  Provide bracket with 1-1/2-inch (38-mm) 2 ¼ inch clearance from inside face of handrail and finished wall surface.  Locate brackets as indicated or, if not indicated, at spacing required to support structural loads.  Secure wall brackets to building construction as follows:

Retain subparagraph above or below.

Use type of bracket with predrilled hole for exposed bolt anchorage.

Delete subparagraphs below if not applicable or revise to suit Project.

For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

For hollow masonry anchorage, use toggle bolts.

For wood stud partitions, use hanger or lag bolts set into wood backing between studs.  Coordinate with carpentry work to locate backing members.

For steel-framed gypsum board assemblies, use hanger or lag bolts set into wood backing between studs.  Coordinate with stud installation to locate backing members.

Select subparagraph above or below if steel studs are used.  Revise if plaster is used instead of gypsum board.

ADJUSTING AND CLEANING

Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

Apply by brush or spray to provide a minimum 2.0-mil (0.05-mm) dry film thickness.

Retain paragraph and subparagraph above if touchup painting is in this Section.  Retain paragraph below if it is in Division 9 Section "Painting."  Revise reference if another Division 9 Section, such as "Special Coatings," is used.

Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

END OF SECTION