Copyright 1999, The American Institute of Architects (AIA)

SECTION 05811

ARCHITECTURAL JOINT SYSTEMS

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

SUMMARY

Types of joints for which architectural joint systems are specified include the following:

Edit list below to suit Project.

Exterior wall joints.

Interior ceiling joints.

Parking garage floor joints (see other spec section).

DEFINITIONS

The following definition is from ASTM E 1783, except "expanding foam seals" was added because these seals are specified in Division 7 Section "Joint Sealants."

Architectural Joint System:  Any filler or cover used to span, fill, cover, or seal a joint, except expanding foam seals and poured or foamed in-place sealants.

The following five definitions are excerpted from ASTM E 1399.

Cyclic Movement:  Periodic change between widest and narrowest joint widths in an automatically mechanically controlled system.

Maximum Joint Width:  Widest linear gap a joint system tolerates and performs its designed function without damaging its functional capabilities.

Minimum Joint Width:  Narrowest linear gap a joint system tolerates and performs its designed function without damaging its functional capabilities.

Movement Capability:  Value obtained from the difference between widest and narrowest widths of a joint opening typically expressed in numerical values (mm or inches) or a percentage of nominal value of joint width.

Revise below if it is impossible either to indicate nominal joint widths based on a prediction when the joint system will be installed or, if none is indicated, to establish them based on maximum and minimum joint widths.

Nominal Joint Width:  Width of linear gap indicated as representing the conditions existing when architectural joint systems will be installed or, if no nominal joint width is indicated, a width equal to the sum of maximum and minimum joint widths divided by two.

PERFORMANCE REQUIREMENTS

General:  Provide factory-fabricated architectural joint systems capable of withstanding the types of loads and of accommodating the kinds of movement, and the other functions for which they are designed including those specified below, without failure.  Types of failure include those listed in Appendix X3 of ASTM E 1399.

Edit list below to suit Project.

Exterior Joints:  Maintain continuity of weather enclosure.

SUBMITTALS

Product Data:  Include manufacturer's product specifications, construction details, material and finish descriptions, and dimensions of individual components and seals.

Shop Drawings:  For each joint system specified, provide the following:

Placement Drawings:  Include line diagrams showing entire route of each joint system, plans, elevations, sections, details, joints, splices, locations of joints and splices, and attachments to other Work.  Where joint systems change planes, provide Isometric Drawings depicting how components interconnect to achieve continuity of joint covers and fillers.

Delete paragraph and subparagraph below if no selections are available.

Samples for Selection:  Manufacturer's color charts consisting of units or sections of units showing the full range of colors, textures, and patterns available for each exposed metal and elastomeric material of joint system indicated.

Include similar Samples of material for joints and accessories involving color selection.

Delete paragraph and subparagraph above if colors and other characteristics are preselected and specified or scheduled.  Retain first paragraph below with or without above.

Product Test Reports:  From a qualified testing agency indicating architectural joint systems comply with requirements, based on comprehensive testing of current products.

Insert specific model code organization below or revise if report must be from another source.

Research/Evaluation Reports:  Evidence of architectural joint system's compliance with building code in effect for Project, from a model code organization acceptable to authorities having jurisdiction.

QUALITY ASSURANCE

Paragraph below is important if fire barriers are required, but may be too restrictive for manufacturers that do not provide all types of joint covers.

Source Limitations:  Obtain architectural joint systems through one source from a single manufacturer.  Coordinate compatibility with adjoining joint systems specified in other Sections.

Delete paragraph below if no fire-resistance-rated units are required.  See Evaluations.

Retain below to allow drawing details based on one manufacturer's product to establish requirements and still allow competition.  Retain with Part 2 paragraph titled "Available Products" or "Available Manufacturers."  Delete if retaining paragraph titled "Products" or "Basis-of-Design-Products."  Correlate with Division 1 requirements.

Product Options:  Drawings indicate size, profiles, and dimensional requirements of architectural joint systems and are based on the specific systems indicated.  Other manufacturers' systems complying with requirements may be considered.  Refer to Division 1 Section "Product Requirements."

Do not modify intended aesthetic effects, as judged solely by Architect, except with Architect's approval.  If modifications are proposed, submit comprehensive explanatory data to Architect for review.

PRODUCTS

MANUFACTURERS

Basis-of-Design Products:  The design for each architectural joint system specified in Part 2 "Architectural Joint Systems" Article below is based on the products named.  Subject to compliance with requirements, provide either the named products or comparable products by other manufacturers.

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."  Delete both if no products are named in Product Data sheets.  See Editing Instruction No. 1 in the Evaluations for cautions about naming products and manufacturers.

MATERIALS

Delete materials not required.

Aluminum:  ASTM B 221 (ASTM B 221M), alloy 6063-T5 for extrusions; ASTM B 209 (ASTM B 209M), alloy 6061-T6, sheet and plate.

Protect aluminum surfaces to be placed in contact with cementitious materials with a protective coating.

Description below applies to neoprene or santoprene compression seals and locked-in strip seal glands.

Extruded Preformed Seals:  Single or multicellular elastomeric profiles as classified under ASTM D 2000, designed with or without continuous, longitudinal, internal baffles.  Formed to fit compatible frames, in color indicated or, if not indicated, as selected by Architect from manufacturer's standard colors.

Description below applies to one- or two-part urethane- or polyurethane-bonded solid strip seals.

Accessories:  Manufacturer's anchors, fasteners, set screws, spacers, flexible moisture barrier and filler materials, drain tubes, lubricants, adhesive, and other accessories compatible with material in contact, as indicated or required for complete installations.

EXPANSION JOINT COVER ASSEMBLIES

General:  Provide joint systems of design, basic profile, materials, and operation indicated.  Provide units with the capability to accommodate joint widths indicated and variations in adjacent surfaces.

Furnish units in longest practicable lengths to minimize number of end joints.  Provide hairline mitered corners where joint changes directions or abuts other materials.

Include closure materials and transition pieces, tee-joints, corners, curbs, cross-connections, and other accessories as required to provide continuous joint systems.

Moisture Barrier:  Provide manufacturer's continuous, standard, flexible vinyl moisture barrier under covers at locations indicated.

Expansion Joint System for Exterior Masonry: Metal frames and preformed seals for exterior joints on walls.

Basis-of-Design Product:  Balco type FCWW-2 FCVS-2 & FCVS-6 100% movement joint: width 2” or 6” or a comparable product.

Nominal Joint Width: 2 inches (50 mm) & 6 inches (125 mm).

Movement Capability: Plus 2 inches (50 mm) 1 inch (25 mm) and minus 1 inch (25 mm) and plus 3inches (75 mm) & minus 3 inches (75 mm).

Type of Movement Capability:  Expansion and contraction.

Retain first subparagraph below only after verifying that products selected have been tested per ASTM E 1399.

Cyclic-Movement-Test-Response Characteristics:  No evidence of visual fatigue, inability to cycle between designated joint widths, or other types of failure as determined by testing products identical to those indicated per ASTM E 1399 including Appendix X3.

Preformed Seal Material:  Santoprene.

Seal Color:  As selected by the Architect.

Delete subparagraph below if not required.

Moisture Barrier:  Provide manufacturer's standard unit.

Expansion Joint System for Wall or Ceilings: Metal frames and compression seals for interior wall or ceiling joints.

Basis-of-Design Product:  Balco type 2W2 or a comparable product.

Nominal Joint Width: 2 inches (50 mm).

Movement Capability: Plus or minus 1 to 2 inches.

Type of Movement Capability:  Expansion and contraction.

Retain first subparagraph below only after verifying that products selected have been tested per ASTM E 1399.

Exposed Cover Material:  Primed paint finish aluminum for field painting.

Delete subparagraph below if not required.

Delete below if not required.

Retain below where fire rating is required, but cover is not required.

Delete type cover not required.

METAL FINISHES

General:  Comply with NAAMM "Metal Finishes Manual" for finish designations and application recommendations, except as otherwise indicated.  Apply finishes to products in factory after fabrication.  Protect finishes on exposed surfaces before shipment.

Aluminum Finishes:  Finish designations prefixed by AA conform to the system established by the Aluminum Association for designating aluminum finishes.

Mill Finish:  AA-M10 (unspecified mill finish).

Retain finishes below applicable to Project.  If more than one retained, indicate location of each on Drawings or by inserted description.

Paragraph below references AAMA standard for pigmented organic coating on extrusions.

Retain below for covers in contact with masonry or concrete.

Factory-Primed Concealed Surfaces:  Protect concealed metal surfaces to be placed in contact with concrete or masonry with a shop coat of manufacturer's standard primer on the contact surfaces.

EXECUTION

PREPARATION

Prepare substrates according to architectural joint system manufacturer's written instructions.

Coordinate and furnish anchorages, Placement Drawings, and instructions for installing joint systems to be embedded in or anchored to concrete or to have recesses formed into edges of concrete slab for later placement and grouting-in of frames.

Fastening to In-Place Construction:  Provide anchorage devices and fasteners where necessary to secure joint systems to in-place construction, including threaded fasteners with drilled-in expansion shields for masonry and concrete where anchoring members are not embedded in concrete.  Provide fasteners of metal, type, and size to suit type of construction indicated and to provide for secure attachment of joint systems.

INSTALLATION

Comply with manufacturer's written instructions for handling and installing architectural joint assemblies and materials, unless more stringent requirements are indicated.

Coordinate installation of architectural joint assembly materials and associated work so complete assemblies comply with assembly performance requirements.

Terminate exposed ends of exterior architectural joint assemblies with factory-fabricated termination devices to maintain waterproof system.

Install factory-fabricated transitions between building expansion-joint cover assemblies and roof expansion-joint assemblies, specified in Division 7 Section "Roof Expansion Assemblies," to provide continuous, uninterrupted, watertight construction.

Cutting, Fitting, and Placement:  Perform cutting, drilling, and fitting required to install joint systems.

Install joint cover assemblies in true alignment and proper relationship to joints and adjoining finished surfaces measured from established lines and levels.

Allow adequate free movement for thermal expansion and contraction of metal to avoid buckling.

Set covers in horizontal surfaces at elevations that place exposed surfaces flush with adjoining finishes.

Locate wall covers in continuous contact with adjacent surfaces.

Securely attach in place with required accessories.

Locate anchors at interval recommended by manufacturer, but not less than 3 inches (75 mm) from each end and not more than 24 inches (600 mm) o.c.

Continuity:  Maintain continuity of joint systems with a minimum number of end joints and align metal members.  Cut and fit ends to produce joints that will accommodate thermal expansion and contraction of metal to avoid buckling of frames.  Adhere flexible filler materials, if any, to frames with adhesive or pressure-sensitive tape as recommended by manufacturer.

Delete paragraph and subparagraphs below if not applicable.

Extruded Preformed Seals:  Install seals to comply with manufacturer's written instructions and with minimum number of end joints.

For straight sections, provide preformed seals in continuous lengths.

Vulcanize or heat-weld field splice joints in preformed seal material to provide watertight joints using procedures recommended by manufacturer.

Apply adhesive, epoxy, or lubricant adhesive approved by manufacturer to both frame interfaces before installing preformed seals.

Seal transitions according to manufacturer's written instructions.

Install foam seals with adhesive recommended by manufacturer and heat seal all splices.

Delete any of next three paragraphs below if not applicable.

Joint Systems with Seals:  Seal end joints within continuous runs and joints at transitions according to manufacturer's written instructions to provide a watertight installation.

Seismic Seals:  Install interior seals in continuous lengths.  Install exterior seal in standard lengths and vulcanize or heat-weld field splice joints to provide watertight joints using manufacturer's recommended procedures.  Seal transitions and end joints according to manufacturer's written instructions.

Delete below if fire-rated architectural joint assembly is not required.

CLEANING AND PROTECTION

Do not remove protective covering until finish work in adjacent areas is complete.  When protective covering is removed, clean exposed metal surfaces to comply with manufacturer's written instructions.

END OF SECTION