Copyright 1999, The American Institute of Architects (AIA)

SECTION 08110

STEEL DOORS AND FRAMES

GENERAL

SUMMARY

This Section includes the following:

Adjust list below to suit Project.

Steel doors.

Steel door frames.

Borrowed-light frames.

Fire-rated door and frame assemblies.

Fire-rated sliding window.

DEFINITIONS

Steel Sheet Thicknesses:  Thickness dimensions, including those referenced in ANSI A250.8, are minimums as defined in referenced ASTM standards for both uncoated steel sheet and the uncoated base metal of metallic-coated steel sheets.

SUBMITTALS

Product Data:  For each type of door and frame indicated, include door designation, type, level and model, material description, core description, construction details, label compliance, sound and fire-resistance ratings, and finishes.

Provide data on sliding window unit.

Usually delete paragraph and subparagraphs below.  The intent of this Section is that doors and frames comply with ANSI A250.8; therefore, Shop Drawings are not required.

Shop Drawings:  Show the following:

Delete subparagraphs below for doors if this Section is edited to include only steel frames for wood doors.

Elevations of each door design.

Details of doors including vertical and horizontal edge details.

Frame details for each frame type including dimensioned profiles.

Details and locations of reinforcement and preparations for hardware.

Details of each different wall opening condition.

Details of anchorages, accessories, joints, and connections.

Coordination of glazing frames and stops with glass and glazing requirements.

Usually retain paragraph below for a door schedule.

Door Schedule:  Use same reference designations indicated on Drawings in preparing schedule for doors and frames.

Delete below if not required.

QUALITY ASSURANCE

Retain paragraph below and other references to ANSI A250.8 for quality control.

Steel Door and Frame Standard:  Comply with ANSI A 250.8, unless more stringent requirements are indicated.

Source Limitations:  Obtain steel doors and frames from the same manufacturer.

Delete paragraph below if not applicable.

Fire-Rated Door Assemblies:  Assemblies complying with NFPA 80 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire-protection ratings indicated, based on testing according to NFPA 252.

Fire-Rated Window Assemblies:  Assemblies complying with NFPA 80 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire ratings indicated, based on testing according to NFPA 257.

Revise subparagraph below if positive-pressure testing is required.

Delete subparagraph below if not applicable or not acceptable to authorities having jurisdiction.  Oversize fire-rated doors are not covered in ANSI A250.8.

Delete subparagraph below if not required by code or revise to insert other ratings.  Below represents the temperature rating typically required by model codes for fire door assemblies in exit enclosures.

Delete below if not applicable.

DELIVERY, STORAGE, AND HANDLING

Deliver doors and frames cardboard-wrapped or crated to provide protection during transit and job storage.  Provide additional protection to prevent damage to finish of factory-finished doors and frames.

Inspect doors and frames on delivery for damage, and notify shipper and supplier if damage is found.  Minor damages may be repaired provided refinished items match new work and are acceptable to Architect.  Remove and replace damaged items that cannot be repaired as directed.

Store doors and frames at building site under cover.  Place units on minimum 4-inch- (100-mm-) high wood blocking.  Avoid using nonvented plastic or canvas shelters that could create a humidity chamber.  If door packaging becomes wet, remove cartons immediately.  Provide minimum 1/4-inch (6-mm) spaces between stacked doors to permit air circulation.

PRODUCTS

MANUFACTURERS

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Product Requirements."

Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 1 in the Evaluations for cautions about naming products and manufacturers.

Steel Doors and Frames:

Ceco Door Products; a United Dominion Company.

Curries Company.

Steelcraft; a division of Ingersoll-Rand.

Fire-Rated Sliding Window:  Steel Sliding Fire Window by Nissen & Company or approved substitute.

MATERIALS

Cold-Rolled Steel Sheets:  ASTM A 366/A 366M, Commercial Steel (CS), or ASTM A 620/A 620M, Drawing Steel (DS), Type B; stretcher-leveled standard of flatness.

Retain first paragraph below for exterior units or if required in high-humidity areas.

Metallic-Coated Steel Sheets (Galvanized):  ASTM A 653/A 653M, Commercial Steel (CS), Type B, with an A60 (ZF180) zinc-iron-alloy (galvannealed) coating; stretcher-leveled standard of flatness.

Electrolytic Zinc-Coated Steel Sheet:  ASTM A 591/A 591M, Commercial Steel (CS), Class B coating; mill phosphatized; suitable for unexposed applications; stretcher-leveled standard of flatness where used for face sheets.

DOORS

Refer to SDI 108 for recommended selection and usage guides.  Select levels and models.  See tables in the Evaluations for more information.

General:  Provide doors of sizes, thicknesses, and designs indicated.

Interior Doors:  Provide doors complying with requirements indicated below by referencing ANSI 250.8 for level and model and ANSI A250.4 for physical-endurance level:

Retain one or more levels and models below.  If more than one level and model are retained, indicate in a door and frame schedule on Drawings where each is required.

Level 1 doors above have 0.032-inch- (0.8-mm-) thick faces and apply to both 1-3/8- and 1-3/4-inch- (34.9- and 44.4-mm-) thick doors.  Level 2 doors below have 0.042-inch- (1.0-mm-) thick faces and apply only to 1-3/4-inch- (44.4-mm-) thick doors.

Level 2 (18 gage) and Physical Performance Level B (Heavy Duty), Model 2 (Seamless).

Level 3, Models 1, 2, and 3, doors below have 0.053-inch- (1.3-mm-) thick faces and apply only to 1-3/4-inch- (44.4-mm-) thick doors.

Level 4, Models 1 and 2, doors below have 0.067-inch- (1.7-mm-) thick faces and apply only to 1-3/4-inch- (44.4-mm-) thick doors.

Exterior Doors:  Provide doors complying with requirements indicated below by referencing ANSI A250.8 for level and model and ANSI A250.4 for physical-endurance level:

Level 3 (16 gage) and Physical Performance Level A (Extra Heavy Duty), Model 2 (Seamless).

Stair Tower and Elevator Lobby doors shall be 16 gauge steel typical.

Vision Lite Systems:  Manufacturer's standard kits consisting of glass lite moldings to accommodate glass thickness and size of vision lite indicated.

Level 4, Models 1 and 2, doors below have 0.067-inch- (1.7-mm-) thick faces and apply only to 1-3/4-inch- (44.4-mm-) thick doors.

Delete paragraph and subparagraphs below if door louvers are not required or revise to include other types, such as pierced louvers, adjustable louvers, air grilles, and galvanized exterior louvers with insect screens.

FRAMES

General:  Provide steel frames for doors, transoms, sidelights, borrowed lights, and other openings that comply with ANSI A250.8 and with details indicated for type and profile.  Conceal fastenings, unless otherwise indicated.

If more than one frame thickness is required for each steel door level or for each different type of wood door, retain the optional phrase ", unless otherwise indicated" for the frame thickness that is the default, and retain the optional phrase "where indicated" for the frame thickness whose location is indicated on Drawings, generally in a door and frame schedule.

Frames of 0.053-inch- (1.3-mm-) (16 gage) thick steel sheet for:

Door openings wider than 48 inches (1220 mm).

Level 2 steel doors.

Frames of 0.067-inch- (1.7-mm-) (14 gage) thick steel sheet for:

Exterior, Level 3 steel doors, stair tower doors, & elevator lobby doors.

Delete first paragraph below if adhesive-backed, "stick-on" silencers are used instead of push-in type.

Door Silencers:  Except on weather-stripped frames, fabricate stops to receive three silencers on strike jambs of single-door frames and two silencers on heads of double-door frames.

Plaster Guards:  Provide 0.016-inch- (0.4-mm-) thick, steel sheet plaster guards or mortar boxes to close off interior of openings; place at back of hardware cutouts where mortar or other materials might obstruct hardware operation.

Supports and Anchors:  Fabricated from not less than 0.042-inch- (1.0-mm-) thick, electrolytic zinc-coated or metallic-coated steel sheet.

Wall Anchors in Masonry Construction:  0.177-inch- (4.5-mm-) diameter, steel wire complying with ASTM A 510 (ASTM A 510M) may be used in place of steel sheet.

Inserts, Bolts, and Fasteners:  Manufacturer's standard units.  Where zinc-coated items are to be built into exterior walls, comply with ASTM A 153/A 153M, Class C or D as applicable.

STOPS AND MOLDINGS

Moldings for Glazed Lites in Doors:  Minimum 0.032 inch (0.8 mm) thick, fabricated from same material as door face sheet in which they are installed.

Fixed Frame Moldings:  Formed integral with standard steel frames, minimum 5/8 inch (16 mm) high, unless otherwise indicated.

Loose Stops for Glazed Lites in Frames:  Minimum 0.032 inch (0.8 mm) thick, fabricated from same material as frames in which they are installed.

Provide nonremovable stops on outside of exterior doors and on the outside of any locked room for interior windows and interior doors for glass, louvers, and other panels in doors.

FIRE-RATED SLIDING WINDOW

Fire resistant rating of 45 minutes in wall construction of masonry, wood or steel studs per report number 2781, as tested under fire tests of window assemblies, A.S.T.M.E. 163-65 and National Fire Protection Association number 257-70.  Windows are manufactured with an automatic closing device. A spring actuated closer which operates with a 160 degree fusible link mounted on the interior side of the frame.

Material:  Frame and sash members shall be fabricated of 16 gauge cold rolled steel, formed and assembled with 12 gauge gussets and 16 gauge angles. Material complies with ASTM A366.

Weatherstripping:  Sliding sash panel shall be fully weatherstripped with silicone treated wool pile or equivalent and vinyl. Fixed panel is bed in sealed to insure full perimeter weather seal.

Finish:  All steel frame and sash members shall be furnished with a primer coat on all surfaces, (Optional White or Bronze Finish) conforming to Underwriters Laboratory specifications.

Glazing:  Windows to be factory glazed with clear 1/4" wire glass. Lites to have minimum of 24 gauge wire with maximum opening of one square inch per Underwriters Laboratory. Individual lites of glass shall not exceed 720 square inches each. Glass complies with ANSI Z97.1 and ASTM C1036.

Hardware:  Sliding panels shall be furnished with a positive latching 1/8" thick steel latch, which is attached to the bottom rail. It engages on a 1/4" thick keeper that is surface mounted to the sill member. A spring actuated automatic closing device used in conjunction with a 160 degree fusible link assembly mounted on the unit. This assembly functions as a self closing latch.

FABRICATION

General:  Fabricate steel door and frame units to comply with ANSI A250.8 and to be rigid, neat in appearance, and free from defects including warp and buckle.  Where practical, fit and assemble units in manufacturer's plant.  Clearly identify work that cannot be permanently factory assembled before shipment, to assure proper assembly at Project site.

Delete first paragraph below if not required.  Revise to suit Project.  If doors fabricated from metallic-coated steel sheet are required at other than exterior locations because of high-humidity or corrosive interior environments, indicate locations on Drawings or insert descriptions here.

Exterior Door Construction:  For exterior locations and elsewhere as indicated, fabricate doors, panels, and frames from galvanized steel sheet at all doors onto garage deck.  Close top and bottom edges of doors flush as an integral part of door construction or by addition of 0.053-inch- (1.3-mm-) thick, galvanized steel channels with channel webs placed even with top and bottom edges.

Interior Door Faces:  Fabricate exposed faces of doors and panels, including stiles and rails of nonflush units, from the following material:

Cold-rolled steel sheet, unless otherwise indicated.

If both cold-rolled steel sheet above and optional metallic-coated steel sheet below are retained and the latter is the default requirement, retain optional text above and indicate on Drawings where doors faced with metallic-coated steel sheet are required.

Galvanized sheet where indicated at all doors onto garage deck.

Core Construction:  Manufacturer's standard core construction that produces a door complying with SDI standards.

Core constructions below are options; see Evaluations.  Delete those not desired for Project.

Polyurethane for exterior doors.

Sound deadened for interior doors.

Delete paragraph above or below.  Retain below with selected core constructions.

Clearances for Non-Fire-Rated Doors:  Not more than 1/8 inch (3.2 mm) at jambs and heads, except not more than 1/4 inch (6.4 mm) between pairs of doors.  Provide 3/4 inch (19 mm) at bottom.

Clearances for Fire-Rated Doors:  As required by NFPA 80.

If more than one edge profile is required, retain one edge profile as default and indicate on Drawings where other edge profile occurs.

Single-Acting, Door-Edge Profile: Beveled edge.

Verify availability of door-edge profile below in standard steel doors from manufacturers selected.  This profile is not recognized in ANSI A250.8.

Tolerances:  Comply with SDI 117, "Manufacturing Tolerances for Standard Steel Doors and Frames."

Fabricate concealed stiffeners, reinforcement, edge channels, louvers, and moldings from either cold- or hot-rolled steel sheet.

Door Reinforcement:  Lock and hinge stiles shall be reinforced with a one piece, full height, 14-gage steel channel, drilled and tapped for hinges and strike, or the hinge reinforcement shall be 7-gage extra heavy duty steel plate, drilled and tapped for hinge screws.  Provide not less than 12-gage channel reinforcement for closers and holders and 14-gage channel for rim exit devices.

Frame Reinforcement:  The hinge reinforcement for frames shall be 7-gage steel.  Door closer reinforcing shall be 12-gage steel.  Lock strike reinforcing shall be 14-gage.

Exposed Fasteners:  Unless otherwise indicated, provide countersunk flat or oval heads for exposed screws and bolts.

Delete paragraph and subparagraph below if not required.

Thermal-Rated (Insulating) Assemblies:  At exterior locations and elsewhere as shown or scheduled, provide doors fabricated as thermal-insulating door and frame assemblies and tested according to ASTM C 236 or ASTM C 976 on fully operable door assemblies.

Revise value below as required.

Unless otherwise indicated, provide thermal-rated assemblies with U-value of 0.41 Btu/sq. ft. x h x deg F (2.33 W/sq. m x K) or better.

Delete paragraph and subparagraph below if not required.

Hardware Preparation:  Prepare doors and frames to receive mortised and concealed hardware according to final door hardware schedule and templates provided by hardware supplier.  Comply with applicable requirements in ANSI A250.6 and ANSI A115 Series specifications for door and frame preparation for hardware.

Full hinge cut-outs for non-handed doors will not be acceptable.

Delete subparagraph below if no concealed overhead closers.

For concealed overhead door closers, provide space, cutouts, reinforcement, and provisions for fastening in top rail of doors or head of frames, as applicable.

Frame Construction:  Fabricate frames to shape shown.

Retain one or more of first four subparagraphs below to suit Project.  According to ANSI A250.8, seamless face joints are only provided if specified.

Fabricate frames with mitered or coped and continuously welded corners and seamless face joints.

All welded joints shall be ground and dressed to be smooth, flush and invisible.

Delete subparagraph below if not required.  According to ANSI A250.8, temporary spreader bars for welded frames will only be provided if specified and are intended for shipping and handling purposes only.

Provide welded frames with temporary spreader bars.

Delete subparagraph below if not required.  According to ANSI A250.8, terminated stops will only be provided if specified.

Reinforce doors and frames to receive surface-applied hardware.  Drilling and tapping for surface-applied hardware may be done at Project site.

Locate hardware as indicated on Shop Drawings or, if not indicated, according to ANSI A250.8.

Glazing Stops:  Manufacturer's standard, formed from 0.032-inch- (0.8-mm-) thick steel sheet.

Provide nonremovable stops on outside of exterior doors and on the outside of any locked room for interior windows and interior doors for glass, louvers, and other panels in doors.

Provide screw-applied, removable, glazing stops on inside of glass, louvers, and other panels in doors.

Delete below if no pairs of doors with fire ratings of more than one-and-one-half hours or if no pairs of doors requiring astragals for fire ratings.

Astragals:  As required by NFPA 80 to provide fire ratings indicated.

ACCESSORY MATERIALS

Bituminous Coating: Cold-applied asphalt-mastic paint complying with SSPC-Paint 12 requirements, except containing no asbestos.

FINISHES

Comply with NAAMM’s "Metal Finishes Manual" for recommendations relative to applying and designation finishes.

Comply with SSPC-PA1, "Paint Application Specification No. 1" for steel sheet finishes.

Apply primers to doors and frames after fabrication.

GALVANIZED STEEL SHEET FINISHES

Surface Preparation: Clean surfaces with non-petroleum solvent so that surfaces area of oil or other contaminants.  After cleaning, apply a conversion coating of the type suited to the organic coating applied over it.  Clean welds, mechanical connections, and abraded areas, and apply galvanizing repair paint specified below to comply with ASTM A 780.

Galvanizing Repair Paint: High-zinc-dust-content paint for re-galvanizing welds in galvanized steel, with dry film containing not less than 94 percent zinc dust by weight, and complying with DOD-P-21035 or SSPC-Paint 20.

Prime Finish:  Manufacturer's standard, factory-applied, baked, coat of rust-inhibiting primer complying with ANSI A250.10 for acceptance criteria.

STEEL SHEET FINISHES

Surface Preparation: Solvent-clean surfaces to comply with SSPC-SP 1 to remove dirt, oil, grease, and other contaminants that could impair paint bond.  Remove mill scale and rust, if present, from uncoated steel to comply with SSPC-SP 5 (White Metal Blast Cleaning) or SSPC-SP 8 (Pickling).

Pretreatment: Immediately after surface preparation, apply a conversion coating of type suited to organic coating applied over it.

Prime Finish:  Manufacturer's standard, factory-applied, baked, coat of rust-inhibiting primer complying with ANSI A250.10 for acceptance criteria.

Delete paragraph above if paragraph below is retained and all doors and frames are required to have factory-applied paint finish.  If only selected doors and frames are to have one of the other finishes, make one requirement the default and indicate on Drawings which doors and frames receive the other finish. Correlate with Division 9 Section "Painting."

EXECUTION

INSTALLATION

General:  Install steel doors, frames, and accessories according to Shop Drawings, manufacturer's data, and as specified.

At exterior walls and masonry walls, coat inside of frame profile with bituminous coating to a thickness of 1/16 inch (1.5 mm).

Placing Frames:  Comply with provisions in SDI 105, unless otherwise indicated.  Set frames accurately in position, plumbed, aligned, and braced securely until permanent anchors are set.  After wall construction is completed, remove temporary braces and spreaders, leaving surfaces smooth and undamaged.

Except for frames located in existing walls or partitions, place frames before construction of enclosing walls and ceilings.

Edit subparagraphs below to suit Project.

In masonry construction, provide at least three wall anchors per jamb; install adjacent to hinge location on hinge jamb and at corresponding heights on strike jamb.  Acceptable anchors include masonry wire anchors and masonry T-shaped anchors.

In existing concrete or masonry construction, provide at least three completed opening anchors per jamb; install adjacent to hinge location on hinge jamb and at corresponding heights on strike jamb.  Set frames and secure to adjacent construction with bolts and masonry anchorage devices. Provide filler (bondo) over fasteners flush with frame and prime paint.

In metal-stud partitions, provide at least three wall anchors per jamb; install adjacent to hinge location on hinge jamb and at corresponding heights on strike jamb.  Attach wall anchors to studs with screws.

Install fire-rated frames according to NFPA 80.

For openings 90 inches (2286 mm) or more in height, install an additional anchor at hinge and strike jambs.

Door Installation:  Comply with ANSI A250.8.  Fit hollow-metal doors accurately in frames, within clearances specified in ANSI A250.8.  Shim as necessary to comply with SDI 122 and ANSI/DHI A115.1G.

Retain applicable subparagraphs below.

Fire-Rated Doors:  Install within clearances specified in NFPA 80.

Smoke-Control Doors:  Install to comply with NFPA 105.

Fire-Rated Sliding Window Installation: The installer shall set out all window frames in a level, plumb and square conditioned without distortion. Units shall be promptly caulked, flashed and
anchored in accordance with good window installation practice.

ADJUSTING AND CLEANING

Galvanizing Repair Paint:  High-zinc-dust-content paint for regalvanizing welds in galvanized steel, with dry film containing not less than 94 percent zinc dust by weight, and complying with DOD-P-21035 or SSPC-Paint 20.

Prime-Coat Touchup:  Immediately after installation, sand smooth any rusted or damaged areas of prime coat and apply touch up of compatible air-drying primer.

Protection Removal:  Immediately before final inspection, remove protective wrappings from doors and frames.

END OF SECTION