Copyright 1995, The American Institute of Architects (AIA)

SECTION 08411

ALUMINUM-FRAMED ENTRANCES, AND STOREFRONTS, AND CURTAINWALL

GENERAL

SUMMARY

This Section includes the following:

Adjust list below to suit Project.

Exterior aluminum-framed storefronts.

Exterior manual-swing aluminum doors.

Exterior aluminum curtainwall

Related sections include the following:

List below only products, construction, and equipment for this Project that the reader might expect to find in this Section but are specified elsewhere.  Verify that the Section titles listed below are correct for this Project's Specifications.

Text includes requirements for structural and secondary silicone sealants for use in structural-sealant-glazed applications.  Delete below if all sealants are specified in this Section or revise to suit Project.

Division 8 Section "Door Hardware" for hardware to the extent not specified in this Section.

Division 8 Section "Glazing."

Section title listed below is a Supplemental Section.

PERFORMANCE REQUIREMENTS

General:  Provide aluminum-framed systems, including anchorage, capable of withstanding, without failure, the effects of the following:

Structural loads.

Thermal movements.

Movements of supporting structure indicated on Drawings including, but not limited to, story drift and deflection from uniformly distributed and concentrated live loads.

Specify dimensional tolerances for support system and adjacent construction in other Sections of this Project's Specifications.

Dimensional tolerances of building frame and other adjacent construction.

Failure includes the following:

Deflection exceeding specified limits.

Thermal stresses transferred to building structure.

Framing members transferring stresses, including those caused by thermal and structural movements, to glazing.

Delete first subparagraph below if no structural-sealant-glazed systems.

Glazing-to-glazing contact.

Noise or vibration created by wind and thermal and structural movements.

Loosening or weakening of fasteners, attachments, and other components.

Sealant failure.

Failure of operating units to function properly.

Structural Loads:

Show design loads determined by Project's structural engineer on Drawings or insert loads in two subparagraphs below.  Verify requirements of authorities having jurisdiction.  See Evaluations.

Wind Loads:  As indicated on Structural Drawings.

Delete subparagraph below if not applicable.  See Evaluations.

Seismic Loads:  As indicated on Structural Drawings.

Deflection of Framing Members:

Based on Project conditions, more stringent deflection criteria than specified in two subparagraphs below may be required; see "Deflection" Article in the Evaluations.  Option in first subparagraph is based on AAMA recommendations for systems supporting glass.  If framing systems will impact brittle finishes such as gypsum board, deflection limits of 1/240 or 1/360 may be appropriate.

Deflection Normal to Wall Plane:  Limited to 1/175 of clear span for spans up to 13 feet 6 inches (4.1 m) and to 1/240 of clear span plus 1/4 inch (6.35 mm) for spans greater than 13 feet 6 inches (4.1 m) or an amount that restricts edge deflection of individual glazing lites to 3/4 inch (19 mm), whichever is less.

First option in subparagraph below is based on typical deflection criteria for glass.  Second option is based on GANA's "Glazing Manual."

Deflection Parallel to Glazing Plane:  Limited to 1/360 of clear span or 1/8 inch (3.2 mm), whichever is smaller.

Before retaining testing requirements in remainder of this Article, verify that manufacturers have tested assemblies according to test method indicated and can meet criteria specified.  At minimum, systems are usually tested for structural performance, air infiltration, and water penetration under static pressure.

Structural-Test Performance:  Provide aluminum-framed systems tested according to ASTM E 330 as follows:

When tested at positive and negative wind-load design pressures, systems do not evidence deflection exceeding specified limits.

When tested at 150 percent of positive and negative wind-load design pressures, systems, including anchorage, do not evidence material failures, structural distress, and permanent deformation of main framing members exceeding 0.2 percent of span.

Test Durations:  As required by design wind velocity but not less than 10 seconds.

In windborne-debris regions of hurricane-prone areas, authorities having jurisdiction may require debris-impact and cyclic-pressure testing for glazed assemblies.  See "Wind Loads" Article in the Evaluations and verify requirements of authorities having jurisdiction before retaining paragraph below.

Windborne-Debris-Impact-Resistance-Test Performance:  Provide aluminum-framed systems that pass large and small missile-impact tests and cyclic-pressure tests according to testing requirements of authorities having jurisdiction.

Thermal Movements:  Provide aluminum-framed systems that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values below (for aluminum in particular) are suitable for most of the U.S.  Revise to suit local conditions and metal color and finish.

Temperature Change (Range):  120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

ASTM E 283 requires using a static-air-pressure difference of 1.57 lbf/sq. ft. (75 Pa), unless otherwise indicated, which is equivalent to a 25-mph (40-km/h) wind.  Static-air-pressure difference of 6.24 lbf/sq. ft. (300 Pa) is equivalent to a 50-mph (80-km/h) wind.

Air Infiltration:  Provide aluminum-framed systems with maximum air leakage through fixed glazing and framing areas of 0.06 cfm/sq. ft. (0.03 L/s per sq. m) of fixed wall area when tested according to ASTM E 283 at a minimum static-air-pressure difference of 1.57 lbf/sq. ft. (75 Pa).

For water-penetration test, static-air-pressure difference of 20 percent of wind-load design pressure provides satisfactory performance in most parts of the U.S.  Locations where high winds and heavy rains frequently occur simultaneously require higher test-pressure differences.  Lower test-pressure differences are acceptable for some locations.  Revise paragraph below to suit Project.

Water Penetration Under Static Pressure:  Provide aluminum-framed systems that do not evidence water penetration through fixed glazing and framing areas when tested according to ASTM E 331 at a minimum static-air-pressure difference of 20 percent of positive wind-load design pressure, but not less than 6.24 lbf/sq. ft. (300 Pa).

AAMA 501.1's definition of water leakage allows up to 1/2 oz. (15 mL) of water to accumulate on an interior stop or stool integral to system in a 15-minute period.

Maximum Water Leakage:  No uncontrolled water penetrating systems or appearing on systems' normally exposed interior surfaces from sources other than condensation.  Water controlled by flashing and gutters that is drained to exterior and cannot damage adjacent materials or finishes is not considered water leakage.

In paragraph below, insert condensation-resistance requirements for venting windows or doors if required.

Condensation Resistance:  Provide aluminum-framed systems with fixed glazing and framing areas having condensation-resistance factor (CRF) of not less than 45 when tested according to AAMA 1503.

In paragraph below, insert U-factors of specific system components if required.

Average Thermal Conductance:  Provide aluminum-framed systems with fixed glazing and framing areas having average U-factor of not more than 0.63 Btu/sq. ft. x h x deg F (3.57 W/sq. m x K) when tested according to AAMA 1503.

SUBMITTALS

Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for each type of product indicated.

Shop Drawings:  For aluminum-framed systems.  Include plans, elevations, sections, details, and attachments to other work.

Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

Include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

Delete subparagraph above and below if not required.

Include details of provisions for system expansion and contraction and for draining moisture occurring within the system to the exterior.

Retain subparagraph below for entrance systems or insert specific hardware schedule requirements.

For entrances, include hardware schedule and indicate operating hardware types, functions, quantities, and locations.

Samples for Selection:  Manufacturer's color charts showing the full range of colors available for units with factory-applied color finishes.

Samples for Verification:  Of each type of exposed finish required in manufacturer's standard sizes.  Where finishes involve normal color and texture variations, include Sample sets showing the full range of variations expected.

Product Test Reports:  Based on evaluation of tests performed by manufacturer and witnessed by a qualified independent testing agency, indicate compliance of entrance and storefront systems with requirements based on comprehensive testing of current systems.

Maintenance Data:  For aluminum-framed systems to include in maintenance manuals.

Warranties:  Special warranties specified in this Section.

QUALITY ASSURANCE

Installer Qualifications:  Engage an experienced installer to assume engineering responsibility and perform work of this Section who has specialized in installing entrance and storefront systems similar to those required for this Project and who is acceptable to manufacturer.

If custom systems are required, revise below to suit Project.  Correlate with shop drawing requirements in "Submittals" Article.

Engineering Responsibility:  Preparation of data for aluminum-framed systems including Shop Drawings based on testing and engineering analysis of manufacturer's standard units in assemblies similar to those indicated for this Project and submission of reports of tests performed on manufacturer's standard assemblies.

Delete below if no testing is required that involves Contractor's selecting the agency.

Source Limitations:  Obtain each type of entrance and storefront system through one source from a single manufacturer.

Retain below to allow Drawing details based on one manufacturer's products to establish requirements and still allow competition.  Revise below to identify specific proprietary systems or indicate on Drawings.  Correlate with Division 1 requirements and verify that the Section title listed below is correct for this Project's Specifications.

Product Options:  Drawings indicate size, profiles, and dimensional requirements of entrance and storefront systems and are based on the specific systems indicated.  Other manufacturers' systems with equal performance characteristics may be considered.  Refer to Division 1 Section "Product Requirements."

Revise below to suit Project.

Do not modify intended aesthetic effect, as judged solely by Architect, except with Architect's approval and only to the extent needed to comply with performance requirements.  Where modifications are proposed, submit comprehensive explanatory data to Architect for review.

Delete below if no structural-sealant-glazed storefront systems.

For custom systems or if required by authorities having jurisdiction, insert preconstruction testing requirements.

For welding, see Editing Instruction No. 3 in the Evaluations.

Welding Standards:  Comply with applicable provisions of AWS D1.2, "Structural Welding Code--Aluminum."

DELIVERY,STORAGE AND HANDLING

Deliver materials in manufacturers original, unopened, undamaged containers with identification labels intact.

Storage and Protection:  store materials protected from exposure to harmful weather conditions and at temperature conditions recommended by manufacturer.

PROJECT CONDITIONS

Field Measurements:  Verify dimensions by field measurements before fabrication and indicate measurements on Shop Drawings.  Coordinate fabrication schedule with construction progress to avoid delaying the Work.

Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish dimensions and proceed with fabricating systems without field measurements.  Coordinate construction to ensure actual dimensions correspond to established dimensions.

WARRANTY

When warranties are required, verify with the Owner's counsel that special warranties stated in this Article are not less than remedies available to the Owner under prevailing local laws.  Coordinate with Division 1 Section "Warranties."

General Warranty:  The special warranty specified in this Article shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and shall be in addition to, and run concurrent with, other warranties made by the Contractor under requirements of the Contract Documents.

Special Warranty:  Submit a written warranty executed by the manufacturer agreeing to repair or replace components of entrance and storefront systems that fail in materials or workmanship within the specified warranty period.  Failures include, but are not limited to, the following:

Structural failures including, but not limited to, excessive deflection.

Noise or vibration caused by thermal movements.

Deterioration of metals, metal finishes, and other materials beyond normal weathering.

Water leakage through fixed glazing and frame areas.

Failure of operating components to function properly.

Warranty Period:  2 years from date of Substantial Completion.

PRODUCTS

MANUFACTURERS

Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Butler Manufacturing Company; Vistawall Architectural Products.

EFCO Corporation.

International Aluminum Corporation; U.S. Aluminum.

Kawneer Company, Inc.

Products:

Exterior Aluminum-Framed Storefronts:

Kawneer:  Trifab VG 451 T

EFCO:  System 403.

U.S. Aluminum:  Series IT451

Vistawall: 3000 Thermal MultiPlane

Doors and Entrances:

Kawneer:  500 Heavy Wall

EFCO:  Series D518 DuraStile

U.S. Aluminum: Series 850 Durafront

Vistawall:  Rugged WS

Exterior Aluminum Curtainwall

Kawneer 1600 Wall System 1: 7 ½ inch x 2 ½ inch outside glazed as specified by manufacturer.

MATERIALS

Aluminum:  Alloy and temper recommended by manufacturer for type of use and finish indicated, complying with the requirements of standards indicated below.

Sheet and Plate:  ASTM B 209 (ASTM B 209M).

Extruded Bars, Rods, Shapes, and Tubes:  ASTM B 221 (ASTM B 221M).

Extruded Structural Pipe and Tubes:  ASTM B 429.

Bars, Rods, and Wire:  ASTM B 211 (ASTM B 211M).

For welding, see Editing Instruction No. 3 in the Evaluations.

Welding Rods and Bare Electrodes:  AWS A5.10.

Steel Reinforcement:  With manufacturer's standard corrosion-resistant primer complying with SSPC-PS Guide No. 12.00 applied immediately after surface preparation and pretreatment.  Select surface preparation methods according to recommendations in SSPC-SP COM and prepare surfaces according to applicable SSPC standard.

Structural Shapes, Plates, and Bars:  ASTM A 36/A 36M.

Cold-Rolled Sheet and Strip:  ASTM A 1008/A 1008M.

Hot-Rolled Sheet and Strip:  ASTM A 1011/A 1011M.

Bituminous Paint:  Cold-applied asphalt-mastic paint complying with SSPC-Paint 12 requirements, except containing no asbestos, formulated for 30-mil (0.762-mm) thickness per coat.

FRAMING SYSTEMS

Framing Members:  Manufacturer's standard extruded-aluminum framing members of thickness required and reinforced as required to support imposed loads.

Exterior Framing:  2 by 4-1/2 -inch, center glazed framing members that are composite assemblies of two separate extruded-aluminum components permanently bonded by an elastomeric material of low thermal conductance.

If required, insert operable window requirements.

Brackets and Reinforcements:  Provide manufacturer's standard brackets and reinforcements from stainless steel.  Provide nonstaining, nonferrous shims for aligning system components. Provide stainless steel backing plates for surface mounted hardware.

Fasteners and Accessories:  Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding fasteners and accessories compatible with adjacent materials.

Where fasteners are subject to loosening or turning out from thermal and structural movements, wind loads, or vibration, use self-locking devices.

Reinforce members as required to retain fastener threads.

Revise below to suit Project.  Verify if systems require exposed fasteners with manufacturers selected.

Do not use exposed fasteners, except for hardware application.  For hardware application, use countersunk Phillips flat-head machine screws finished to match framing members or hardware being fastened, unless otherwise indicated.

Delete below if not applicable or revise to suit Project.

Concrete and Masonry Inserts:  Hot-dip galvanized cast-iron, malleable-iron, or steel inserts complying with ASTM A 123 or ASTM A 153 requirements.

Flashing:  Manufacturer's standard corrosion-resistant, nonstaining, nonbleeding flashing compatible with adjacent materials.  Form exposed flashing from sheet aluminum finished to match framing and of sufficient thickness to maintain a flat appearance without visible deflection.

Framing System Gaskets and Sealants:  Manufacturer's standard recommended by manufacturer for joint type.

Subsills for Exterior Storefronts: Manufacturer’s standard thermally broken extruded aluminum sill flashing, color to match framing.

Head Receptor:  Provide manufacturer’s standard one-piece compensating receptor with weatherstripping with thermal break.

GLAZING SYSTEMS

Glazing as specified in Division 8 Section "Glazing."

Retain below for dry glazing system.  Silicone glazing gaskets are available in custom colors from some manufacturers.  If required, revise below to suit Project.

Glazing Gaskets:  Manufacturer's standard pressure-glazing system of black, resilient glazing gaskets, setting blocks, and shims or spacers, fabricated from an elastomer of type and in hardness recommended by system and gasket manufacturer to comply with system performance requirements.  Provide gasket assemblies that have corners sealed with sealant recommended by gasket manufacturer.

Insert specific gasket-material requirements, if any.

Delete paragraph above and retain paragraph below for structural-sealant-glazed systems.

Spacers, Setting Blocks, Gaskets, and Bond Breakers:  Manufacturer's standard permanent, nonmigrating types in hardness recommended by manufacturer, compatible with sealants, and suitable for system performance requirements.

Retain below for structural-sealant-glazed systems.

Retain below for structural-sealant-glazed systems.  Review secondary-sealant (weatherseal) requirements with system manufacturers.

Secondary Sealant:  For use as weatherseal, compatible with structural silicone sealant and other system components with which it comes in contact, and that accommodates a 50 percent increase or decrease in joint width at the time of application when measured according to ASTM C 719.

Color:  Black.

Retain above or below.  Verify color availability with manufacturers selected.

Delete below if not applicable.  Neutral-cure silicone sealants must be used with insulating glass.  See Evaluations.

Use neutral-cure silicone sealant with insulating-glass units.

Framing system gaskets, sealants, and joint fillers as recommended by manufacturer for joint type.

Revise above and below to suit Project.  If retaining below, verify that the Section title listed is correct for this Project's Specifications.

Sealants and joint fillers for joints at perimeter of entrance and storefront systems as specified in Division 7 Section "Joint Sealants."

DOORS

Doors:  Provide manufacturer's standard 1-7/8-inch- (47-mm-) minimum, thick heavy wall glazed doors with minimum 0.187-inch- (5-mm-) thick, extruded tubular rail and stile members.  Mechanically fasten corners with reinforcing brackets that are deep penetration and fillet welded or that incorporate concealed tie-rods.

Glazing Stops and Gaskets:  Provide manufacturer's standard snap-on extruded-aluminum glazing stops and preformed gaskets.

Retain one below.

Stile Design:  Wide stile; 5-inch nominal width with 10 inch high bottom rail.

Glazing Stops and Gaskets:  Beveled, snap-on, extruded-aluminum stops and preformed gaskets.

Weather Stripping:  Manufacturer's standard replaceable weather stripping as follows:

Compression Weather Stripping:  Molded neoprene complying with ASTM D 2000 requirements or molded PVC complying with ASTM D 2287 requirements.

DOOR HARDWARE

Delete this Article if entrance systems are not required or if hardware is specified in Division 8 Section "Door Hardware."

If various door and hardware combinations are required, insert requirements in Text or insert a schedule at the end of Part 3.

Before editing this Article, verify accessible entrance, means of egress doorway, and other requirements of authorities having jurisdiction and revise below or insert requirements to suit Project.  Coordinate with hardware requirements of manufacturers selected.

General:  Provide heavy-duty hardware units indicated in sizes, number, and type recommended by manufacturer for entrances indicated.  Finish exposed parts to match door finish, unless otherwise indicated.

Default hardware-finish requirement above may not be desired for certain hardware items.  Insert specific finishes required, if any, under each hardware requirement below.

Consider deleting descriptions below and specifying hardware by specific manufacturer's product and finish designations.

Retain one hinge requirement below unless concealed floor closers that include pivots are required.  Verify hinge requirements for door size and weight and revise to suit Project.

Verify availability of continuous gear hinges with manufacturers selected.  Retain below for single-acting doors only.

Continuous-Gear Hinges:  Manufacturer's standard with stainless-steel bearings between knuckles; fabricated to full height of door and frame.

Provide electric modification for doors 08 and 12.

Retain appropriate cylinder requirements below.

Retain below for cylinders keyed to match building's other doors.  Verify that cylinders specified coordinate with selected manufacturers' standard locking hardware and that the Section title listed is correct for this Project's Specifications.

Cylinders:  As specified in Division 8 Section "Door Hardware."

Retain below for doors without rim-mounted exit devices.

Revise below to suit Project.  Verify height and level-change requirements of authorities having jurisdiction.  Description below is based on ADAAG.

Thresholds:  At exterior doors, provide manufacturer's standard threshold with cutouts coordinated for operating hardware, with anchors and jamb clips, and not more than 1/2-inch- (12.7-mm-) high, with beveled edges providing a floor level change with a slope of not more than 1:2, and in the following material:

Material:  Aluminum, mill finish.

Retain above or below.

Retain below for center-pivoted doors.

Additional Hardware:  As specified in Division 8 Section "Door Hardware."

FABRICATION

Form aluminum shapes before finishing.

Delete first paragraph below if no welding.

Weld in concealed locations to greatest extent possible to minimize distortion or discoloration of finish.  Remove weld spatter and welding oxides from exposed surfaces by descaling or grinding.

Framing Members, General:  Fabricate components that, when assembled, have the following characteristics:

Profiles that are sharp, straight, and free of defects or deformations.

Accurately fitted joints with ends coped or mitered.

Means to drain water passing joints, condensation occurring within framing members, and moisture migrating within the system to exterior.

Physical and thermal isolation of glazing from framing members.

Accommodations for thermal and mechanical movements of glazing and framing to maintain required glazing edge clearances.

Provisions for field replacement of glazing from exterior.

Fasteners, anchors, and connection devices that are concealed from view to greatest extent possible.

Delete below if no glass glazing.  Glass manufacturers' recommendations for clearances sometimes vary from FGMA Manual.  For special products or applications, glass manufacturer's written instructions should be followed.  Revise to suit Project.

Glazing Channels:  Provide minimum clearances for thickness and type of glass indicated according to FGMA's "Glazing Manual."

Delete below if no plastic-sheet glazing.

Revise below to suit Project.  Indicate profiles and other requirements on Drawings.

Storefront Framing:  Fabricate framing in profiles indicated for flush glazing (without projecting stops).  Provide subframes and reinforcing of types indicated or, if not indicated, as required for a complete system.  Factory assemble components to greatest extent possible.  Disassemble components only as necessary for shipment and installation.

Door Frames:  Reinforce as required to support loads imposed by door operation and for installing hardware.

At exterior and interior doors, provide compression weather stripping at fixed stops.

Doors:  Reinforce doors as required for installing hardware.

At pairs of exterior doors, provide sliding weather stripping retained in adjustable strip mortised into door edge.

At exterior doors, provide weather sweeps applied to interior of door bottoms.

Hardware Installation:  Factory install hardware to the greatest extent possible.  Cut, drill, and tap for factory-installed hardware before applying finishes.

After fabrication, clearly mark components to identify their locations in Project according to Shop Drawings.

ALUMINUM FINISHES

General:  Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations relative to applying and designating finishes.

Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

Finish designations prefixed by AA conform to the system established by the Aluminum Association for designating aluminum finishes.

Retain finishes below applicable to Project.  If retaining more than one, indicate location of each on Drawings or by inserted description.  Revise mechanical finish if custom finish is required and availability is verified.

Above is standard finish with many manufacturers; below is heavy-anodized finish.  Above is generally not recommended for exterior applications.  Verify availability with manufacturers selected.

Above are examples only and may vary in color range and availability among manufacturers.  Retain 1 or delete all and retain 1 of 2 requirements below.  Coordinate selections with products specified in other sections of this Project's Specifications.

High-Performance Organic Finish (2-Coat Fluoropolymer):  AA-C12C40R1x (Chemical Finish:  cleaned with inhibited chemicals; Chemical Finish:  conversion coating; Organic Coating:  manufacturer's standard 2-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than 70 percent polyvinylidene fluoride resin by weight).  Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions.

Color and Gloss:  As selected by Architect from manufacturer's full range of choices for color and gloss.

To ensure obtaining exact finish desired, insert product and manufacturers' names of coating system or systems.

STEEL PRIMING

Retain this Article for steel reinforcement.  Revise to suit Project.

General:  Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations relative to applying primer.

Surface Preparation:  Perform manufacturer's standard cleaning operations to remove dirt, oil, grease, or other contaminants that could impair paint bond.  Remove mill scale and rust, if present, from uncoated steel.

Priming:  Apply manufacturer's standard corrosion-resistant primer immediately after surface preparation and pretreatment.

EXECUTION

EXAMINATION

Examine areas, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of entrance and storefront systems.  Do not proceed with installation until unsatisfactory conditions have been corrected.

INSTALLATION

Revise paragraphs below to suit Project.

General:  Comply with manufacturer's written instructions for protecting, handling, and installing entrance and storefront systems.  Do not install damaged components.  Fit frame joints to produce hairline joints free of burrs and distortion.  Rigidly secure nonmovement joints.  Seal joints watertight.

Metal Protection:  Where aluminum will contact dissimilar metals, protect against galvanic action by painting contact surfaces with primer or by applying sealant or tape recommended by manufacturer for this purpose.  Where aluminum will contact concrete or masonry, protect against corrosion by painting contact surfaces with bituminous paint.

Install components to drain water passing joints and condensation and moisture occurring or migrating within the system to the exterior.

Coordinate with recommendations of manufacturers selected and revise below to suit Project.  Verify that the Section title listed is correct for this Project's Specifications.

Set continuous sill members and flashing in a full sealant bed to provide weathertight construction, unless otherwise indicated.  Comply with requirements of Division 7 Section "Joint Sealants."

Install framing components plumb and true in alignment with established lines and grades without warp or rack of framing members.

Retain below for entrance systems.

Install entrances plumb and true in alignment with established lines and grades without warp or rack.  Lubricate operating hardware and other moving parts according to hardware manufacturers' written instructions.

Retain below for field-installed hardware items.  Indicate mounting heights on Drawings.

Install surface-mounted hardware according to manufacturer's written instructions using concealed fasteners to greatest extent possible. Provide Rivnuts for fastening hardware.

Insert requirements for operable windows if required.

Delete below if requirements for factory glazing are inserted in Part 2 or revise to suit Project.  Verify that the Section title listed is correct for this Project's Specifications.

Install glazing to comply with requirements of Division 8 Section "Glazing," unless otherwise indicated.

Delete subparagraphs below if no structural-sealant-glazed systems.

Remove excess sealant from component surfaces before sealant has cured.

Retain below if secondary sealant for structural-sealant-glazed systems is included in this Section.

Install secondary-sealant weatherseal according to sealant manufacturer's written instructions to provide weatherproof joints.  Install joint fillers behind sealant as recommended by sealant manufacturer.

Delete below if sealant requirements are included in this Section or revise to suit Project.  Verify that the Section title listed is correct for this Project's Specifications.

Install perimeter sealant to comply with requirements of Division 7 Section "Joint Sealants," unless otherwise indicated.

Erection Tolerances:  Install entrance and storefront systems to comply with the following maximum tolerances:

Variation from Plane:  Limit variation from plane or location shown to 1/8 inch in 12 feet (3 mm in 3.7 m); 1/4 inch (6 mm) over total length.

Alignment:  Where surfaces abut in line, limit offset from true alignment to 1/16 inch (1.5 mm).  Where surfaces meet at corners, limit offset from true alignment to 1/32 inch (0.8 mm).

Diagonal Measurements:  Limit difference between diagonal measurements to 1/8 inch (3 mm).

ADJUSTING AND CLEANING

Retain below for entrance systems.

Entrances:  Adjust operating hardware for smooth operation according to hardware manufacturers' written instructions.

Below is based on ADAAG requirements; verify requirements of authorities having jurisdiction.

For doors accessible to people with disabilities, adjust closers to provide a 3-second closer sweep period for doors to move from a 70-degree open position to 3 inches (75 mm) from the latch measured to the leading door edge.

PROTECTION

Provide final protection and maintain conditions, in a manner acceptable to manufacturer and Installer, that ensure entrance and storefront systems are without damage or deterioration at the time of Substantial Completion.

END OF SECTION