January 3, 2018

Fire Prevention Office, City of Portland, ME

Attn: Captain’s John Brennan and Chris Perone

Portland, ME 04101

RE: Benkay Japanese Restaurant ( Eight Middle Land Company LLC)

8 Middle St

Portland, ME 04101

Captain Brennan and Perone,

Please be advised that Interstate Fire Protection has completed the installation of an ANSUL Fire Suppression System for the protection of the Vent Hood and Appliances at the above mentioned location.

The System installation is in compliance with the State, Local and Federal Fire Codes as well as the manufacturers (ANSUL) specifications. It also complies with NFPA 17A Standard for Wet Chemical Extinguishing Systems.

The System has means of Automatic (Fusible Links) as well as a Remote Manual Pull Station Actuation. In the event of a System Actuation the appliances will be have the gas Feed shutdown through a mechanically released gas valve and Makeup Air will also de-energized.  There is also means to notify the Fire Department through a 24 hour Monitoring Company by Snap Action Micro-Switch activated by the Fire Suppression System actuation.

The System was Tested and witnessed by your office on Wednesday, January 3, 2018 at or around 3PM.

Thank you for the opportunity to submit this information, Should you require any more information, please do not hesitate to contact me.

Sincerely,

Steven D Cram

Office: 800-717-6454

Cell: 603-455-2380

Fax: 603-356-2763

E-mail: scram@interstatefire.com