|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Form Completion Date: | January 3, 2018 |  Supplemental Pages Attached: |       |  |

1. Property Information

|  |  |
| --- | --- |
| Name of property: |      Benkay Restaurant |
| Address: | 16 Middle Street, Portland |
| Description of property: | This is an addition to an existing system, a vacant commercial space added devices to the FA system |
| Name of property representative: |       |
| Address: |       |
| Phone: |       | Fax: |       | E-mail: |       |

2. INSTALLATION, SERVICE, TESTING, AND MONITORING INFORMATION

|  |  |
| --- | --- |
| Installation contractor: |      T.A. Napolitano |
| Address: | 968 Broadway, South Portland |
| Phone: | 799 0538 | Fax: |       | E-mail: |       |
| Service organization: |      Norris Inc |
| Address: | South Portland, Maine |
| Phone: | 207 883 3473 | Fax: |       | E-mail: |       |
| Testing organization: | Norris Inc |
| Address: | South Portland, Maine |
| Phone: | 207 883 3473 | Fax: |       | E-mail: |       |
| Effective date for test and inspection contract: |       |
| Monitoring organization: | Protection Professionals |
| Address: | Falmouth, Maine |
| Phone: | 207 775 5755 | Fax: |       | E-mail: |       |
| Account number: | T510149 | Phone line 1: |       | Phone line 2: |       |
| Means of transmission: |       |
| Entity to which alarms are retransmitted: | Protection Professionals | Phone: | 207 775 5755 |

3. DOCUMENTATION

|  |  |
| --- | --- |
| On-site location of the required record documents and site-specific software: |       |

4. DESCRIPTION OF SYSTEM OR SERVICE

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| This is a: | [ ]  New system | [x]  Modification to existing system  | Permit number: |       |
| NFPA 72 edition: |       |
|  |
| **4.1 Control Unit** |
| Manufacturer: |      Notifier | Model number: | Fire Warden 100 |
|  |
| **4.2 Software and Firmware** |
| Firmware revision number: | 7.1 |
|  |
| **4.3 Alarm Verification** | [ ]  This system does not incorporate alarm verification. |
| Number of devices subject to alarm verification: | 0 |  Alarm verification set for  |       | seconds |

5. SYSTEM POWER

|  |
| --- |
| **5.1 Control Unit** |
| **5.1.1 Primary Power** |
| Input voltage of control panel: | 120V |  Control panel amps: |       |
| Overcurrent protection: Type: |       |  Amps: |       |
| Branch circuit disconnecting means location: |       |  Number: |       |
|  |
| **5.1.2 Secondary Power** |
| Type of secondary power: | Battery Backup |
| Location, if remote from the plant: | In FACP Cabinet |
| Calculated capacity of secondary power to drive the system: |
| In standby mode (hours): |       |  In alarm mode (minutes): |       |
|  |
| **5.2 Control Unit** |
| [ ]  This system does not have power extender panels |
| [ ]  Power extender panels are listed on supplementary sheet A |

6. CIRCUITS AND PATHWAYS

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Pathway Type** | **Dual Media Pathway** | **Separate Pathway** | **Class** | **Survivability Level** |
| Signaling Line |       |       |       |       |
| Device Power |       |       |       |       |
| Initiating Device |       |       |       |       |
| Notification Appliance |       |       |       |       |
| Other (specify): |       |       |       |       |
|       |

7. REMOTE ANNUNCIATORS

|  |  |
| --- | --- |
| **Type** | **Location** |
|       |       |
|       |       |

8. INITIATING DEVICES

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Type** | **Quantity** | **Addressable or Conventional** | **Alarm or Supervisory** | **Sensing Technology** |
| Manual Pull Stations |       2 | Addressable | Alarm |       |
| Smoke Detectors |       4 | Addressable | Alarm |       |
| Duct Smoke Detectors |   |  |  |       |
| Heat Detectors |       2 | Addressable | Alarm |       |
| Gas Detectors |       |       |       |       |
| Waterflow Switches |   |  |  |       |
| Hood Suppression |      1 | Addressable | Alarm |       |

**9. NOTIFICATION APPLIANCES**

|  |  |  |
| --- | --- | --- |
| **Type** | **Quantity** | **Description** |
| Audible |       |       |
| Visible |      4 |      System Sensor, Powered by NAC 3 |
| Combination Audible and Visible |      5 |      System Sensor, powered by NAC 3 |

10. SYSTEM CONTROL FUNCTIONS

|  |  |
| --- | --- |
| **Type** | **Quantity** |
| Hold-Open Door Releasing Devices |       |
| HVAC Shutdown |       |
| Fire/Smoke Dampers |       |
| Door Unlocking |       |
| Elevator Recall |       |
| Elevator Shunt Trip |       |
|       |       |
|       |       |

11. INTERCONNECTED SYSTEMS

|  |
| --- |
| [ ]  This system does not have interconnected systems. |
| [ ]  Interconnected systems are listed on supplementary sheet |  | . |

12. CERTIFICATION AND APPROVALS

|  |
| --- |
| **12.1 System Installation Contractor** |
| This system as specified herein has been installed according to all NFPA standards cited herein. |
| Signed: |       | Printed name: | T.A. Napolitano | Date: | January 3, 2018 |
| Organization: | T. A. Napolitano | Title: |       | Phone: | 799 0538 |
|  |
| **12.2 System Operational Test** |
| This system as specified herein has tested according to all NFPA standards cited herein. |
| Signed: |       | Printed name: | Marc Elliott | Date: | January 3, 2018 |
| Organization: | Norris Inc | Title: | Technician | Phone: | 207 883 3473 |
|  |
| **12.3 Acceptance Test** |
| Date and time of acceptance test: | Afternoon of January 3, 2018 |
| Installing contractor representative: | T. A. Napolitano |
| Testing contractor representative: | Marc Elliott |
| Property representative: | 16 Middle St |
| AHJ representative: | Mike Clinton |