PLANNING BOARD REPORT

PORTLAND, MAINE

Mixed Use Retail and Residential Building

185 Fore Street

Level III site Plan and Subdivision

2014-066

Bateman Partners, LLC Applicant

| Submitted to: Portland Planning Board Public Hearing Date: May 26, 2015 | Prepared by: Shukria Wiar, Planner Date: May 22, 2015 |
| --- | --- |

I.	INTRODUCTION

Bateman Partners, LLC has submitted a final plan for a Level III Site Plan and Subdivision review for the vacant property located at 185 Fore Street. The applicant proposes to develop a four story mixed use building that contains 4,085 square feet of office/retail use on the first floor and eight residential units on the second through fourth floors. A total building floor area is 21,175 square feet, with a footprint of 5,372.

The site is located in the B5-b zone.  The proposed development site is located on the corner of Fore and India Streets.  Micucci’s Grocery is located directly northwest of the property. This proposal is being reviewed by the Planning Board under the Land Use Code Section 14-497 (Subdivision Ordinance), Section 14-526 (Site Plan), and Traffic Movement Permit (delegated authority from the State).  The project will also be reviewed against the B5-b Urban Commercial Business Zone and Multiple-Family Housing standards of the Design Manual.

This parcel was designated as a potential development site for the Longfellow Residence and Retail Project, which was proposed by Riverwalk LLC.  The site plan and subdivision was approved on April 25, 2006.  The subdivision for the project was recorded in the Cumberland County Registry of Deeds on January 29, 2007. The Planning Board approvals for the site plan have expired for that project.  The Planning Board held a workshop on this item on June 20, 2014.

Applicant:	 Bateman Partners, LLC, represented by Nathan Bateman

Consultants: 	Joseph A. Laverriere, P.E., Fay, Spofford & Thorndike and David Lloyd, Archtype Architects

Required Reviews:

| Review | Applicable Standards |
| --- | --- |
| Subdivision (Article IV) | The term subdivision shall also include the division of a new structure into three (3) or more dwelling units within a five-year period, this application is subject to Subdivision Review under Article IV of the Land Use Code, § 14-491 – 14-520 |
| Site Plan (Article V) | This application qualifies as a Level III Site Plan requiring Planning Board approval; the application is subject to Site Plan Review under Article V of the Land Use Code, § 14-521 – 14-540. |
| Traffic Movement Permit | The proposed development requires a State of Maine Traffic Movement Permit (TMP) as it generates more than 100 trips. The TMP would be issued by the City under delegated authority. |
| Design Manual | B5-b Urban Commercial Business Zone |
|  | (i) Two-Family, Special Needs Independent Living Units, Multiple-Family, Lodging Houses, Bed And Breakfasts, And Emergency Shelters |
| Waiver Requests | Applicable Standards |
| Street Trees –8 trees required, 2 proposed Waiver for 6 trees through the submission of a financial contribution of $1200 ($200/tree). | Site Plan Standard (Section 14-526(b)2.b(iii)), and Technical Manual standard 4.6.1 requiring one tree per residential unit with trees 30 to 45 feet apart on center. |
| Site Lighting: Illumination Levels and Light Trespass to allow localized highs up to 7.7 foot candles in approximately four locations under wall mounted lights and two small areas of trespass along the west boundary. | Technical Manual Sections 12.2.3 Illumination Levels and 12.2.5 Light Trespass which specify a maximum illumination level of 5.0 foot candles within the site and a maximum of .1 foot candle at the property line. |

II.	PROJECT DATA

| Existing Zoning: | B-5b |
| --- | --- |
| Existing Use: | Vacant Lot |
| Proposed Use: | Mixed Use Building |
| Existing number of lots: | one |
| Proposed number of lots: | one |
| Parcel Size: | 6,947 square feet |
| Impervious Surface Area: Existing: | 0 |
| Impervious Surface Area: Proposed | 5,372 sq. ft. |
| Impervious Surface Area: Net Change | 5,372 sq. ft. |
| Total Disturbed Area: | 6,947 sq. ft. |
| Proposed Building Area: | 21,175 sq. ft. |
| Proposed Building Net Change: | 21,175 sq. ft. |
| Proposed Building Footprint: | 5,372 sq. ft. |
| Proposed Residential Units: | 8 |
| Number of Units to be Demolished: | 0 |
| Number of Affordable Units: | 0 |
| Bedroom Mix | 4 two-bedroom and 4 three-bedroom units |
| Building Height(s): | 60.29 average grade per Architect |
| Parking Spaces Existing: | 96 (lease agreement) |
| Parking Spaces proposed: | 0 on-site – lease for 94 spaces in Ocean Gateway Garage |
| Number of Handicapped Spaces: | Not indicated in application |
| Bicycle Parking Spaces Existing: | 0 |
| Bicycle Parking Spaces Proposed: | 4 for non-residential uses – internal storage area for residential owners |
| Estimated Cost of Project: | $3,900,000 |
| Uses in Vicinity: | The site is on the corner of India and Fore Streets. Micucci’s and Ocean Gateway Garage are on either side of the lot. Parking lots are across the street. The site is in the B-5b zone with B-3, B-6 across from the site. |

III.	EXISTING CONDITIONS

The previous development on the site was associated with American Hoist & Derrick Company. It was razed and replaced with lawn area, although remnants of the foundation are still visible. The land area on the site slopes approximately 6% northwest to southwest towards Fore Street.  Most of the grade differential is along the India Street frontage. There is a masonry wall associated with the previous development still standing along the northwest side of the property adjacent to the Micucci’s parking lot, and there is a remnant of a temporary excavation system installed as part of the Ocean Gateway Garage development.   The site is currently enclosed with a 6 foot chain-link fence.

This parcel was designated as a potential office development site for the Longfellow Residence and Retail Project, which was proposed by Riverwalk LLC and approved in 2006.  The Planning Board approvals have expired for that project and Bateman Partners, LLC has obtained an option to purchase this separate parcel.

IV.	PROPOSED DEVELOPMENT

The proposed development site is located on the corner of Fore and India Streets.  Micucci’s Grocery is located directly northwest of the property. The proposal seeks to develop the property with a four story mixed-use development with one office unit on the first floor, and eight residential units on the second through fourth floors.  The second and third floor will each contain two residential units, and the 4th floor will contain two residential units each with its own mezzanine floor above. The residential units will be two and three-bedroom. The ground floor of the building has a footprint of 5,372 square feet with 4,085 square feet of ground floor office space.  There is a pedestrian connection between the proposed building and the adjacent Ocean Gateway Garage on an upper floor.

The office space has a primary entrance on Fore Street and a secondary entrance on India Street.  The residential units have a ground floor lobby with elevator access and a primary entrance on Fore Street toward the eastern corner of the building (next to the garage).

The applicant proposes to provide both office and residential tenants with ninety-six (96) spaces of existing parking in the abutting Ocean Gateway Garage.  There is direct garage access from the building on an upper floor.

Landscaping plans include replacement of one existing street tree on India Street, and the addition of one more street tree on India Street.  The project is required to provide eight street trees in total.  The applicant requested a waiver of the remaining six trees on-site that will not be provided and will make a financial contribution to the City’s Tree Fund of $200 per tree. The total will be $1,200.

Public utilities including water, sewer, natural gas, power and communications are readily available in the area. Electricity will be installed underground per the subdivision ordinance.

V.	PUBLIC COMMENT

A public notice appeared in the Portland Press Herald on May 18th and May 19th, 2014.  A total of 130 notices were sent to property owners within 500 feet and the interested citizen list.

The applicant held the required neighborhood meeting on June 12th, 2014 and the packet is included in the Applicant’s submission as Attachment 3F.  Generally, there has been positive reaction to the project.  At the neighborhood meeting, questions were asked about the height of the building and how the building affects views and interaction with the waterfront and also clarification of the parking agreement.

At the time of writing this report, there were no public inquiries or comments submitted since the Planning Board June, 2014 workshop.

VI.	RIGHT, TITLE AND INTEREST AND FINANCIAL/TECHNICAL CAPACITY

a.	The owner of the property is East India Land Company, LLC.  The applicant has provided a copy of a Memorandum of Purchase Option Agreement with the property owner as well as the Quitclaim Deed with Covenant of the property owner, recorded at the Cumberland County Registry of Deeds (Book 30624, Page 17), which demonstrates their right, title and interest in the property.

b. The estimated cost of the development is $3,900,000.  The applicant has submitted a letter from Michael P. O’Reilly of Bangor Savings Bank, dated May 2nd, 2014, stating the bank has a “high degree of interest in providing construction financing for the project” and has successfully worked with the Applicant in the past as demonstration of their financial and technical capacity to complete the proposed development.

VII.	Zoning Assessment

ZONING REVIEW- Marge Schmuckal, Zoning Administrator, June 3, 2014

This retail and eight units residential building is located in the B-5b zone. It is important to note that the front of the building faces Fore Street. That is where the maximum front setback is required. Because of the angle of Fore Street to the building points of the building are setbacks along the front.

All other B-5b dimensional requirements are being met. The maximum building height is 65' and the given height is approximately 60.29 feet.  The architect showed me how the average grade was determined and I accept that.  Section 14-332.1(g) exempts B-5 zones (which I interpret to include the B-5b zones) from having to meet any parking requirements under zoning.

Separate permits will be required for signage and HVAC systems. The HVAC systems shall meet the maximum allowable noise requirements. When permits are applied for, it will be necessary to show decibel outputs for any units.

VIII.	DEVELOPMENT REVIEW

- SITE PLAN SUBMISSION REQUIREMENTS (Section 14-527) and SUBDIVISION PLAT AND RECORDING PLAT REQUIREMENTS (Section 14-496)

The applicant has submitted a recording plat.  The final plat will need to be revised to reflect any waivers and conditions of approval that relate to the subdivision plan.  Any waivers granted must be recorded at the Registry of Deeds within 90 days of a Planning Board decision.  The final foundation easement shall be reviewed and approved by Corporation Counsel.  The applicant and staff are working together to finalize the final language for the easement.

David Margolis-Pineo, Deputy City Engineer, has requested that the four property corners shall have property pins set by a registered land surveyor prior to issuance to the certificate of occupancy.

- Subdivision Standards (Section 14-497)

The proposed development has been reviewed by staff for conformance with the relevant review standards of Portland’s Subdivision Ordinance and applicable regulations.  Staff comments are listed below.

- Will Not Result in Undue Water and Air Pollution (Section 14-497 (a) 1), and Will Not Result in Undue Soil Erosion (Section 14-497 (a) 4)

David Senus, P.E. Woodard and Curran, has reviewed the erosion and sediment control plan and finds the proposal to meet city standards.  The staff finds the proposed project in conformance with this standard.

- Sufficient Water Available (Section 14-497 (a) 2 and 3)

The project site does not currently have existing water service.  There is an 8-inch diameter ductile iron water main on the west side of India Street and a public fire hydrant located across the street from the site.  The Portland Water District has submitted a letter dated March 18, 2014 (Attachment 1-O), which indicates that the District is able to serve the project.  The staff finds the proposed project in conformance with this standard.

- Will Not Cause Unreasonable Traffic Congestion (Section 14-497 (a) 5)

Tom Errico, P.E. Ty Lin has reviewed the proposal and his complete review is listed under the site plan standards. The proposed project is not anticipated to cause unreasonable traffic congestion.  The staff finds the proposed project is in conformance with this standard.

- Will Provide for Adequate Sanitary Sewer and Stormwater Disposal (Section 14-497 (a) 6), and Will Not Cause an Unreasonable Burden on Municipal Solid Waste and Sewage (Section 14-497 (a) 7)

The City of Portland has not confirmed that the sewer system has sufficient capacity; a letter from Mr. Brancely with Department of Public Services will be required.  David Senus, P.E. Woodard and Curran, has reviewed the stormwater management plan finds the proposal to meet city standards (Attachment 3).  The staff finds the proposal is in conformance with the stormwater standard.

- Scenic Beauty, Natural, Historic, Habitat and other Resources (Section 14-497 (a) 8)

The proposal site is not within an historic district and is in an urban neighborhood surrounded by a variety of residential building types. The proposed building does not impact the natural beauty of the area or adversely affect any significant wildlife habitat, rare or irreplaceable natural areas, or any public access to the shoreline. The staff finds the proposal in conformance with this standard.

- Easements

The applicant is proposing three locations for building foundation, utility (electricity) and bicycle racks easements to allow the foundations of the proposed building and install bicycle racks on public right-of-way.  The applicant will be replacing a street lighting pole on their property and it will need an easement from Central Maine Power (CMP).  The staff finds the proposal in conformance with this standard subject to the following condition of approval:

- The final easement language for building foundation, utility, and bicycle racks must be reviewed and approved by Corporation Counsel.

- The final plat shall depict the utility easement required for CMP.

- Comprehensive Plan (Section 14-497 (a) 9)

Goals and policies from the Comprehensive Plan which are relevant to the proposed map amendment have been included below:

Portland Housing Goal:  Ensure that an adequate supply of housing is available to meet the needs, preferences, and financial capabilities of all Portland households, now and in the future.

Policies

- Encourage higher density housing for both rental and home ownership opportunities, particularly located near services, such as schools, businesses, institutions, employers, and public transportation.

- Increase Portland’s rental housing stock to maintain a reasonable balance between supply and demand 	yielding consumer choice, affordable rents, and reasonable return to landlords.

- Identify vacant land and redevelopment opportunities throughout the City to facilitate the construction 	of new housing.

- Evaluate and update current zoning, as needed, to encourage higher density multi-family developments and mixed use projects that incorporate housing, particularly along major public transportation routes, near services areas, and in redevelopment or infill areas, where appropriate.

Portland Housing Goal:  Maintain and enhance the livability of Portland’s neighborhoods as the City grows and evolves through careful land use regulations, design and public participation that respects neighborhood integrity.

Policies

- Encourage innovative new housing development, which is designed to be compatible with the scale, character, and traditional development patterns of each individual residential neighborhood.

- Encourage new housing development in proximity to neighborhood assets such as open space, schools, 	community services and public transportation.

- Ensure the integrity and economic value of Portland’s neighborhoods.

- Financial Capability (Section 14-497 (a) 10)

The estimated cost of the development is $3,900,000. The applicant has submitted a letter from Michael P. O’Reilly of Bangor Savings Bank, dated May 2nd, 2014, as demonstration of their financial and technical capacity to complete the proposed development.

- Site Plan Standards (Section 14-526)

- Transportation Standards

  - Impact on Surrounding Street Systems

The proposed development requires a State of Maine Traffic Movement Permit (TMP) as it generates more than 100 trips.  The TMP would be issued by the City under delegated authority. The project requires review under the City’s delegate review for a Traffic Movement Permit (TMP).  The scoping meeting was scheduled for June 25, 2014.  Mr. Errico’s, Consulting Traffic Engineer, has reviewed the traffic movement permit and the final application submitted on February 6, 2015; his comments are the following:

  - I would like to gain a better understanding of the possible tenant types as it relates to the ground floor retail spaces. The applicant should provide information on anticipated retail uses.

Status: The trip generation analysis was based upon a specialty retail use and seems representative of the project.  I find the trip generation to be acceptable and would note that if traffic generation is significantly higher than predicted in the traffic study, the applicant would be required to modify their Traffic Movement Permit.

  - The applicant conducted a Multi-Way STOP sign controlled warrant analysis at the India Street/Middle Street intersection.  The conclusion was that while volumes met criteria, the delay on the minor street did not meet criteria.  I need to continue to review analysis at this location as it relates to traffic control and improvement needs.

Status: The applicant shall conduct a traffic monitoring study following project occupancy at the subject intersection as it relates installation of an All-Way STOP controlled intersection.  The applicant shall also contribute $5,000.00 towards future multi-modal improvements at the subject intersection. I would note that the project is projected to add 46 vehicles in the AM peak hour and 48 vehicles in the PM peak hour.

  - The applicant conducted a traffic capacity evaluation at the India Street/Fore Street intersection and concluded that excellent levels of service conditions are predicted for both existing and post-development conditions.  Several years ago a traffic signal was programmed for installation, but given current conditions a traffic signal does not appear warranted. The applicant should provide an opinion as to whether a traffic signal would be warranted following project completion.

Status: Based upon my review of traffic information, a traffic signal does not appear to be warranted.  I have no further comment.

  - The India Street/Fore Street intersection is classified as a High Crash Location. I will continue to review and provide any suggested requirements.

Status: The applicant has noted that a pattern of angle collisions was identified. As a condition of approval the applicant should provide recommendations as it relates to mitigating the noted crash pattern.  The applicant will be responsible for all costs associated with implementation of the mitigation strategy, if identified.

  - Access and Circulation

Pedestrian access to the residential units is through an entry off the Fore Street public sidewalk.  The non-residential first floor has a primary entry off Fore Street with a secondary access from India Street.  The applicant is proposing a direct pedestrian connection from the building to the adjacent parking garage, Ocean Gateway Garage, where the applicant holds a lease for ninety-six (96) spaces for this proposal.

David Margolis-Pineo, Deputy City Engineer, has reviewed the final plans and the applicant has met his comments.

  - Public Transit Access

This project does not trigger the requirement to provide public transit facilities.  The METRO bus provides service on India Street with Routes 8 and 8A.

  - Parking

Location & Required Number of Vehicle Parking Spaces

The Applicant has submitted a copy of Parking Lease agreement between Ocean Gateway Garage LLC and East India Land Company, LLC (property owner) for ninety-six (96) parking spaces to serve the proposed development.  As the upper three floors of the development are to be residential units (condominiums), not lease tenants of the building, the condominium documents are being reviewed by Corporation Counsel.  The lease agreement is also being reviewed to ensure it is enforceable in regards to meeting parking space requirements.

Additionally, per the lease agreement, the ninety-six (96) spaces will not be designated or reserved for the units, so it is unclear if handicapped parking requirements have been met.

No parking is required by zoning, and they are meeting the parking demand as determined by the parking study to satisfy the site plan ordinance standard.

According to the applicant, the leased parking agreement was developed several years ago and made a part of the sale of the property.  The lease parking agreement provides "up to" 96 parking spaces for the site.  It is the applicant's intent to secure 44 parking spaces for the site to provide:

- 20 spaces for the first floor retail/office use

- 24 spaces for the residential use (8 units), which provides 3 parking spaces per residential unit

Mr. Errico, Traffic Engineer, has reviewed the parking demand for this project and finds the amount of parking spaces to be acceptable.  See his comment below:

- The applicant will be satisfying parking demand for the project by leasing 126 parking spaces for the Middle Street project and 44 parking spaces for the Fore Street project in the Ocean Gateway garage and this supply meets zoning requirements. The traffic study notes that 239 parking spaces will be deeded from the garage and clarification should be provided. My initial reaction is an adequate parking supply will be provided.

Status: I find parking conditions to be acceptable and I have no further comment.

Location & Required Number of Bicycle Parking Spaces

The applicant is proposing building residents use their ground floor storage units for bicycle parking which is currently only accessible through the back of the building.  Bike racks are also proposed outside of the building on-street on both India and Fore Streets.  .  These racks are in the right-of-way and will become the City infrastructure.  The bike racks shall meet City standards to be located in the right-of way.

David Margolis-Pineo, Deputy Engineer, initial review regarding the placement and location of exterior bike racks has been met

  - Transportation Demand Management (TDM)

This project does not trigger the requirement to submit a Transportation Demand Management Plan.

- Environmental Quality Standards

  - Preservation of Significant Natural Features

The site was formerly developed and has been vacant since the demolition of the structure.  There are not significant natural features to preserve on this site.

  - Landscaping and Landscape Preservation

The Applicant’s response to initial staff comments has not been reviewed by staff, however it should be noted that underground power conduits on Fore Street prevent the planting of street trees and the Applicant had proposed two planter boxes adjacent to the building.  Following is the review prepared by Jeff Tarling, City Arborist, for the initial submission.

Both of these projects 185 Fore Street and 16 Middle Street need to have three trees planted at each site.  At 185 Fore Street request one tree along the Fore Street frontage and two along India Street.  Due to the recent tree problems at a nearby project that was unable to plant 8 trees due to underground utilities, we have six NEENA tree grates and guards in the City's possession that can be used for this project.  It will offer uniformity.  We can work with the project team to decide on the recommended tree type.  Need to review the sunlight and space availability.

The Planning staff had noted that the planters are shown extending into the street right-of-way, which reduce the sidewalk to a width of 6 feet.  Staff had recommended that the planters be removed completely in order to maintain a wide sidewalk along Fore Street.

The proposed landscape plan includes two street trees along India Street.  According to the applicant, further street trees are not possible due to conflicts with underground electrical duct banks that are located beneath the India Street and Fore Street sidewalks.  The applicant has provided additional landscape plants along the India Street and Fore Street building frontages that that will provide a nice landscape element into the streetscape.

  - Water Quality, Storm Water Management and Erosion Control

David Senus, PE, Woodard and Curran, conducted a review of the plans submitted for 185 Fore Street.  He states in his memo dated 04.30.2015 that the applicant has adequately addressed his comments.  He also notes that the project is subject to previous environmental cleanup efforts that are restricted in the form of a restrictive deed covenant.

- Public Infrastructure and Community Safety Standards

  - Consistency with Master Plans

This property falls within the Eastern Waterfront and as such, is subject to the Master Plan and Design Guidelines for the Eastern Waterfront.  The project is consistent with applicable guidelines as outlined below but especially meets the intent of the Master Plan as an infill development project of mixed-use and with shared parking infrastructure.  The project does not seem to impact public view corridors or access to the waterfront.

A3. Sidewalks – the project maintains the current sidewalk widths; street trees are provided on India Street; Street lights will be maintained on India Street; Planters are provided on Fore Street where street trees are not feasible; Bicycle parking is provided near building entrances.  The project could potentially do more to enhance the sidewalk realm such as through its lighting scheme, for example.

A6. Underground Utilities – All utilities associated with this project are underground.

A8. Bicycle Safety – The project provides bicycle parking on-street near building entrances.

B1. Contextual Design – The infill nature of this development regulates the size and mass of the building footprint.  The surrounding buildings vary in scale, use, and form and the proposal is able to transition both in scale and architecture expression between the garage and smaller, historic buildings like Micucci’s.  The building meets the street edge and creates a desirable street wall.  The building entrances are oriented to the street, although staff would prefer more prominence given to India Street.  The ground-floor uses storefront design principles and adds to the pedestrian environment.

The India Street Sustainable Neighborhood Plan is being developed and has not been adopted at this date however, this project falls within the intent of that planning process in that it adds to the active street wall of India Street, is of a desirable height and scale, and shares parking infrastructure rather than creating more parking space.

  - Consistency with Public Safety and Fire Prevention

The Applicant did respond to Fire Department staff comment.  Comments regarding the Construction Management Plan were added by the Applicant to drawing C1.1 General Notes and Legend.  Captain Keith Gautreau has reviewed the Applicant’s responses to Fire Department comments from June 1, 2014 and is satisfied.

Mr. Errico, Traffic Engineer has also reviewed the Construction Management Plan and finds it acceptable with the following comment:

The applicant is proposing a temporary barrier protected sidewalk for 185 Forest Street.  I find the plan to be acceptable with final details of the barrier to be approved by DPS prior to construction.  I would also note that the temporary sidewalk must be ADA compliant.

  - Crime Prevention through Environmental Design

The Planning Staff had safety concerns regarding the alley between the proposed development and the Ocean Gateway Garage.  The revised plan and lighting plan shows light fixtures along this passage to improve the safety.

  - Availability and Adequate Capacity of Public Utilities

The City of Portland has not confirmed that the sewer system has sufficient capacity; a letter from Mr. Brancely with Department of Public Services will be required.

- Site Design Standards

  - Massing, Ventilation and Wind Impact

The proposed building does not trigger the requirement for a wind study.  Refer to Caitlin Cameron’s Design review of the building regarding the proposed massing of the building.

  - Shadows

The proposal does not trigger the requirement for a shadow study.

  - Snow and Ice Loading
According to the applicant, due to the proposed site development proposal, very little snow removal will be required (i.e.majority of site will be covered with building with flat rooftop).  Snow removal from the sidewalk along the rear of the building will be towards the adjacent open lawn area.  Any snow removal from the entrance to the parking garage will be towards the southwest side of the site.  If necessary, snow will be hauled away from the site.

  - View Corridors

The proposed building does not block any designated view corridors.

  - Historic Resources

The proposed development is not within an historic district and it is more than 100 feet from the Commercial Street Historic District. As part of the India Street Sustainable Neighborhood Plan, there is a proposal for creating an India Street Historic District, but the district is still in the planning stages and is not adopted.

  - Exterior Lighting

The Applicant has provided more detail in the electrical site plan including photometrics for proposed lighting.  The plan is showing three different fixtures being proposed for the site.  The fixtures are supposed to be full-cut offs. These fixtures are not anticipated to cause undue glare or problems to sensitive areas.

Staff had concerns with the presence of the building on India Street at night as well as the safety on less active frontage such as Fore Street and the corridor between the building and the garage.  The photometric plan shows that these areas will be well illuminated.

The City has established special street lighting districts and this parcel is in the Eastern Waterfront District.  Each lighting district is subject to individual street lighting specifications including but not limited to fixture type, pole and base type, pole height to top of fixture, pole spacing and color.  As part of this project, there will be three street lighting poles being proposed; two on India Street and one will be replaced on their property on Fore Street.  A utility easement will be required for this lighting pole; this will have to be finalized with Central Maine Power.  The City is reviewing wiring options for the proposed three new street lights.  It is the City's intent to acquire ownership of these lights.  Therefore a meter may be necessary for power billing purposes.

Caitlin Cameron, Urban Designer has reviewed the lighting plans and has the following comment:

The projects proposed at 185 Fore Street and 16 Middle Street fall within the Eastern Waterfront Street Lighting District and any new street lights installed for these projects should follow the City of Portland Technical Manual light standard for this district which calls for black in color that should match existing lights in size.  The City standard calls for LED lamps.

  - Noise and Vibration

All heating, ventilation and air conditioning equipment (HVAC), air handling units (AHU), emergency generators, and similar equipment will have to be shown on the plans and meet state and federal emissions requirements.   These mechanical equipment should be located to the interior of the site, away from abutting residential properties and be screened from view from any public street and from adjacent sites by structure walls, evergreen landscaping, fencing, masonry wall or a combination thereof.  This information will have to be submitted for review.

  - Signage and Wayfinding

The standard is not required.

  - Zoning Related Design Standards

A design review according to the City of Portland Design Manual Standards was performed for the revised application materials for the proposed new construction of a commercial building at 185 Fore Street.  The review was performed by Caitlin Cameron, Urban Designer and Alex Jaegerman, Division Director within the Planning Division of the Department of Planning & Urban Development.  The project was reviewed against the B5b Urban Commercial Business Zones Design Standards and Multiple-Family Design Standards (Section (c) and Section (i) of the Design Manual) and also took into consideration the previous design review comments from 5/29/15.

Below are the comments from the review:

B5b Urban Commercial Business Zones:

Standard 1a. Shared Infrastructure  – Met – Project uses adjacent parking structure to meet on-site parking requirement and building has physical connection to garage.

Standard 1b. Relationship to Street  – Building is set close to property line on all frontages including corner.  Staff requests that landscaping shown adjacent to retail façade on India Street be removed, especially on India Street.  Although staff recognizes the intent was to ameliorate the inability to provide street trees in these locations, staff is not in support of placing landscaping between sidewalk and active ground floor facades.  A wider sidewalk and easy access to the ground floor uses are preferred.  City Arborist is amenable to removing the proposed landscaping.  Landscaping on Fore Street might need to be maintained to meet Open Space requirement of Multiple-Family Design Standards for dwelling units without balcony.

Staff Update: The plans have been amended based on staff comments above.

Standard 1c. Building Orientation  – Met – Strong orientation to India Street is provided with retail frontage as well as an emphasized residential entrance on Fore Street.  Visual transmittance of glass should be .7 or higher at ground floor.

Standard 1d. Parking Lots  – Not applicable

Multiple-Family Design Standards:

Standard 1(a)1.  Exterior Design – Met – Project uses materials, fenestration patterns, and articulation consistent with the existing neighborhood fabric.  Balconies and differentiation in façade planes create visual interest and shadow lines.  The ground floor has a high level of fenestration/storefront which is desirable especially for India Street.  Project is located in an area that is more commercial/mixed-use in character than residential.  As a mixed-use building, it is compatible with the surrounding context and contributes to the character and coherence of the street.

Standard 1(a)2.  Relationship to Street – Met – Staff appreciates the infill nature of this project and its location and orientation contributes to the overall street wall and character of India Street.  Ground floor has been adjusted to be closer to property line/sidewalk.  As stated above, placement of landscaping between sidewalk and building on India Street is not desired and does not reflect typical condition in the neighborhood.

Standard 1(a)3. Open Space – Met – All but two dwelling units are provided with at least one balcony.  In the case of the dwelling units without direct access to open space, planted strips are proposed at the ground level of the project.

Standard 1(a)4. Livability – Met – Each dwelling unit provides ample windows for light and air as well as sufficient storage areas at ground floor and within unit.

Standard 1(a)5. Surface Parking – Not applicable

Standard 1(a)6. Lodging – Not applicable

- PROPOSED MOTIONS

WAIVERS

On the basis of the application (2014-066) plans, reports and other information submitted by the applicant, findings, recommendations, contained in the Planning Board Report for the 185 Fore Street site plan and subdivision (application 2014-066),  including but not limited to Section VIII Technical Waivers, of the report and the staff reviews relevant to Portland’s Technical and Design Standards and other regulations, as well as the Planning Board deliberations and the testimony presented at the Planning Board hearing, the Planning Board finds the following:

- Street Trees

The Planning Board (finds/does not find) that the applicant has demonstrated that due to site constraints preventing the planting of required street trees in the right of way, the requirements of Section 14-526(2)(b)(iii) of the Site Plan Ordinance cannot be met; and the Board (finds/does not find) that the applicant has satisfied the waiver criteria set out in Section 14-526(2)(b)(iii)(b) with the monetary contribution to the tree fund of $200 per tree for six (6) trees for a total of $1200.  The Planning Board therefore (waives/does not waive) Section 14-526 (b)(2)(b)(iii) Street Trees of the Site Plan Ordinance.

- Site Lighting:

The Planning Board (waives/does not waive) the Technical Standard, Sections 12.2.3 Illumination Levels and 12.2.5  Light Trespass, to allow four locations near the building where maximum light levels are exceeded by up to 7.7 foot candles, and to allow some minor trespass at the property boundaries that benefit the pedestrian areas.

Traffic Movement Permit

That the Planning Board finds that the proposed plan [is/is not] in conformance with 23 MRSA 704-A and Chapter 305 Rules and Regulations pertaining to Traffic Movement Permits.

Potential conditions of approval:

- That the applicant shall contribute $5,000 to an account maintained by the City that will be used to fund traffic improvements to the intersection at India/Middle Street.

SUBDIVISION PLAT

On the basis of the application (2014-066), plans, reports, and other information submitted by the applicant, findings and recommendations contained in Planning Board Report for application 2014-066 relevant to the Subdivision Ordinance, the MaineDEP Chapter 500 Stormwater Management Standards relative to Stormwater Permits under delegated review, and other regulations, as well as the Planning Board deliberations and the testimony presented at the Planning Board hearings,  the Planning Board finds the following:

That the plan (is/is not) in conformance with the subdivision standards of the land use code, subject to the following conditions;

  - The final plat and/or condominium plat, along with accompanying condominium documents, shall be submitted for review and approval by the Planning Authority, Department of Public Services, and Associate Corporation Counsel prior to recording.

  - That the following shall be finalized to the satisfaction of the Corporation Counsel prior to the issuance of a Certificate of Occupancy:

- Building foundation easements

- Utility easement for the street light pole on private property

- Stormwater management agreement

  - The recording plat shall depict the building foundation and utility easements.

  - The four property corners shall have property pins set by a registered land surveyor prior to issuance to the certificate of occupancy.

  - The recording plat shall be revised noting all waivers and conditions for review and approval by the Planning Authority prior to recording.   All waivers shall be recorded within 90 days of the Planning Board approval.

LEVEL III SITE PLAN

On the basis of the application (2014-066), plans, reports, and other information submitted by the applicant, findings and recommendations contained in Planning Board Report for application 2014-066 relevant to the Site Plan Ordinance, the MaineDEP Chapter 500 Stormwater Management Standards relative to Stormwater Permits under delegated review, and other regulations, as well as the Planning Board deliberations and the testimony presented at the Planning Board hearings,  the Planning Board finds the following:

That the plan (is/is not) in conformance with the site plan standards and all other applicable provisions of the land use code, subject to the following conditions:

- The applicant shall conduct a traffic monitoring study following project occupancy at the subject intersection as it relates installation of an All-Way STOP controlled intersection at India and Fore Streets.  The applicant shall also contribute $5,000.00 towards future multi-modal improvements at the subject intersection prior to the issuance of a building permit.

- The applicant has noted that a pattern of angle collisions was identified.  The applicant shall provide recommendations as it relates to mitigating the noted crash pattern prior to the issuance of a certificate of occupancy.  The applicant shall be responsible for all costs associated with implementation of the mitigation strategy, if identified.

- The Construction Management Plan shall include the final details of the temporary barrier protected sidewalk to be approved by the Department of Public Services prior to issuance of a building permit.  This temporary sidewalk shall be ADA compliant and shall have MUTCD compliant signage.

- The applicant shall address David Margolis-Pineo comments in his memorandum dated 05.21.2015.

- All HVAC systems and external mechanical equipment shall meet the maximum allowable noise requirements of the zone; each unit shall submit documentation of dBA output to confirm compliance of both the unit and the building in respect of rated noise levels and cumulative noise levels, to the satisfaction of the Zoning Administrator prior to the issuance of a Building Permit for that unit.

- The applicant and all assigns shall comply with the conditions of Chapter 32 Stormwater including Article III, Post-Construction Storm Water Management, which specifies the annual inspections and reporting requirements.  The developer/contractor/subcontractor must comply with conditions of the submitted Stormwater Management and Stormwater Pollution Prevention Plans (dated July 2014 and revised April 2015) and the approved plans, and meet City standards and state guidelines.

- The applicant shall submit a sanitary sewer capacity letter from the Department of Public Services confirming that the sewer system has sufficient capacity, prior to the issuance of building permit.

- The bicycle racks shall meet City’s Technical Standards to be located in the right-of way.

Attachments

Planning Board Report Attachments

- Traffic Engineering Review (Tom Errico, T Y Lin), comments dated May 20, 2015

- Department of Public Services Review, David Margolis-Pineo,  dated  May 21, 2015

- Civic Engineer Review, David Senus, dated April 30, 2015

- Urban Designer Review, Caitlin Cameron, dated February 25, 2015

- Captain Keith Gautreau, dated May 5, 2015

Applicant’s Submittal

1.	Cover letter dated February 6, 2015

- Cover Letter

- Building Rendering

- Application

- Response To Staff Comments On Preliminary Application

- Development Description

- Existing Site Photographs

- Owner’s Association Documents

- Right, Title and Interest

- Purchase Option Agreement

- Lease Parking Agreement

- Technical And Financial Capacity

- Letter of Financial Capacity

- Construction Management Plan

- Stormwater Management

- Utilities

- Solid Waste

- Fire Safety

- Conformity With Applicable Design Standards

- Verification Of Proposed HVAC Equipment

2. 	Traffic Impact Study dated February 6, 2015

3.	Cover letter dated April 15, 2015

- Response to Staff Comments

- Revised Inspection & Maintenance Manual

- Fabco Model 10080-1 StormBasin Cartridge Filter Unit Cut Sheet

- Sample Inspection Logs

- Summary Checklist Inspection and Maintenance

- Neighborhood Meeting Material

- Lighting Fixtures Catalogue Cuts

Plans

- C1 Cover Sheet

- C1.1 General Notes & Legend

- C2 Boundary & Topographic Survey

- C2.1 Amended Recording Plat 185 Fore

- C2.1 Existing Conditions & Demolition Plan

- C2.2 Existing Conditions & Demolition Plan

- C-2.3 Construction Management Plan

- C3 Site Layout Plan

- C4 Grading & Drainage Plan

- C5 Utility Plan

- C6 Pavement Curb & Sidewalk Details

- C6.1 Driveway Apron & Monument Details

- C6.1 Miscellaneous Details

- C6.1 Utility & Miscellaneous Details

- C6.2 Utility & Miscellaneous Details

- E1.01 Electrical Site Plan

- L-1.0 Fore St Ls Plan

- Landscape Plan

- 185 Fore St Photometric

- A1.1 First Floor Plan

- A1.2 Second Floor Plan

- A1.3 Third Floor Plan

- A1.4 Fourth Floor Plan

- A1.5 Roof-Mezzanine Plan

- A2.1 Building Elevations

- A2.2 Building Elevations

- 185 Fore Street Rendering

- Context Perspective 1

- Context Perspective 2