# SECTION 01700 – PROJECT CLOSEOUT

# PART I – GENERAL

  - RELATED DOCUMENTS

A.	Site drawings produced by Pinkham and Greer Consulting Engineers, foundation/basement plan drawings produced by TFH Architects PA and Structural Design Consulting, building drawings produced by TFH Architects, mechanical drawings produced by TFH Architects, electrical and lighting drawings produced by TFH Architects.  Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections apply to all sections.

  - SUMMARY

- This Section specifies administrative and procedural requirements necessary for project meetings including, but not necessarily limited to, the following:

  - Inspection procedures.

  - Project record document submittal.

  - Operation and maintenance manual submittal.

  - Submittal of warranties.

  - Final cleaning.

- Closeout requirements for specific construction activities are included in the appropriate Sections in Divisions 2 through 16.

  - SUBSTANTIAL COMPLETION

- Preliminary Procedures:  Before requesting inspection for certification of Substantial Completion, complete the following.  List exceptions in the request.

  - In the Application for Payment that coincides with, or first follows, the date Substantial Completion is claimed, show 100 percent completion for the portion of the Work claimed as substantially complete.

    - Include supporting documentation for completion as indicated in these Contract Documents and a statement showing an accounting of changes to the Contract Sum.

    - If 100 percent completion cannot be shown, include a list of incomplete items, the value of incomplete construction and reasons the Work is not complete.

  - Advise the Owner of pending insurance changeover requirements.

  - Submit specific warranties, workmanship bonds, maintenance agreements, final certifications and similar documents.

  - Obtain and submit releases enabling the Owner unrestricted use of the Work and access to services and utilities.  Include occupancy permits, operating certificates and similar releases.

  - Submit record drawings, maintenance manuals, final project photographs, damage or settlement surveys, property surveys and similar final record information.

  - Deliver tools, spare parts, extra stock and similar items.

  - Make final changeover of permanent locks and transmit keys to the Owner.  Advise the Owner’s personnel of changeover in security provisions.

  - Complete startup testing of systems and instruction of the Owner’s operation and maintenance personnel.  Discontinue and remove temporary facilities from the site, along with mockups, construction tools and similar elements.

  - Complete final cleanup requirements, including touchup painting.

  - Touch up and otherwise repair and restore marred, exposed finishes.

- Inspection Procedures:  On receipt of a request for inspection, the Architect will either proceed with inspection or advise the Contractor of unfilled requirements.  The Architect will prepare the Certificate of Substantial Completion following inspection or advise the Contractor of construction that must be completed or corrected before the certificate will be issued.

  - The Architect will repeat inspection when requested and assured that the Work is substantially complete.

  - Results of the completed inspection will form the basis of requirements for final acceptance.

  - FINAL ACCEPTANCE

- Preliminary Procedures:  Before requesting final inspection for certification of final acceptance and final payments, complete the following.  List exceptions in the request.

  - Submit the final payment request with releases and supporting documentation not previously submitted and accepted.  Include insurance certificates for products and completed operations where required.

  - Submit an updated final statement, accounting for final additional changes to the Contract Sum.

  - Submit a certified copy of the Architect’s final inspection list of items to be completed or corrected, endorses and dated by the Architect.  The certified copy of the list shall state that each item has been completed or otherwise resolved for acceptance and shall be endorsed and dated by the Architect.

- Re-inspection Procedure:  The Architect will re-inspect the Work upon receipt of notice that the Work, including inspection list items from earlier inspections, has been completed, except for items whose completion is delayed under circumstances acceptable to the Architect.

  - Upon completion of re-inspection, the Architect will prepare a certificate of final acceptance.  If the Work is incomplete, the Architect will advise the Contractor of Work that is incomplete or of obligations that have not been fulfilled but are required for final acceptance.

  - If necessary, re-inspection will be repeated.

  - RECORD DOCUMENT SUBMITTALS

- General:  Do not use record documents for construction purposes.  Protect record documents from deterioration and loss in a secure, fire-resistant location.  Provide access to record documentation for the Architect’s reference during normal working hours.

- Record Drawings:  Maintain a clean, undamaged set of blue or black line white-prints of Contract Drawings and Shop Drawings.  Mark the set to show the actual installation where the installation varies substantially from the Work as originally shown.  Mark which drawing is most capable of showing conditions fully and accurately.  Where Shop Drawings are used, record a cross-reference at the corresponding location on the Contract Drawings.  Give particular attention to concealed elements that would be difficult to measure and record at a later date.

  - Mark record sets with red erasable pencil.  Use other colors to distinguish between variations in separate categories of the Work.

  - Mark new information that is important to the Owner but was not shown on Contract Drawings or Shop Drawings.

  - Note related change-order numbers where applicable.

  - Organize record drawing sheets into manageable sets.  Bind sets with durable-paper cover sheets; print suitable titles, dates and other identification on the cover of each set.

- Record Specifications:  Maintain one complete copy of the Project Manual, including addenda.  Include with the Project Manual one copy of other written construction documents, such as Change Orders and modifications issued in printed form during construction.

  - Mark these documents to show substantial variations in actual Work performed in comparison with the text of the Specifications and modifications.

  - Give particular attention to substitutions and selection of options and information on concealed construction that cannot otherwise be readily discerned later by direct observation.

  - Note related record drawing information and Product Data.

  - Upon completion of the Work, submit record specifications to the Architect for the Owner’s records.

- Record Product Data:  Maintain one copy of each Product Data submittal.  Note related Change Orders and markup of record drawings and specifications.

  - Mark these documents to show significant variations in actual Work performed in comparison with information submitted.  Include variations in products delivered to the site and from the manufacturer’s installation instructions and recommendations.

  - Give particular attention to concealed products and portions f the Work that cannot otherwise be readily discerned later by direct observation.

- Record Sample Submitted:  Immediately prior to Substantial Completion, the Contractor shall meet with the Architect and the Owner’s personnel at the Project Site to determine which Samples are to be transmitted to the Owner for record purposes.  Comply with the Owner’s instructions regarding delivery to the Owner’s storage area.

- Miscellaneous Record Submittals:  Refer to other Specification Sections for requirements of miscellaneous record keeping and submittals in connection with actual performance of the Work.  Immediately prior to the date or dates of Substantial Completion, complete miscellaneous records and place in good order.  Identify miscellaneous records properly and bind or file, ready for continued use and reference.  Submit to the Architect for the Owner’s records.

# PART 2 – PRODUCTS (not applicable)

# PART 3 – EXECUTION (not applicable)

# END OF SECTION 01700