Copyright 2000, The American Institute of Architects (AIA)

# SECTION 10605 - WIRE MESH PARTITIONS

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

# PART 1 - GENERAL

# 1.1	RELATED DOCUMENTS

A.	Site drawings produced by Pinkham and Greer Consulting Engineers, foundation/basement plan drawings produced by TFH Architects PA and Structural Design Consulting, building drawings produced by TFH Architects, mechanical drawings produced by TFH Architects, electrical and lighting drawings produced by TFH Architects.  Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections apply to all sections.

# 1.2	SUMMARY

# A.	This Section includes the following items fabricated from wire mesh:

Adjust list below to suit Project.

1.	Standard-duty, interior partitions.

Window guards fabricated from wire mesh can be added to this Section if not specified with windows in Division 8.

# 1.3	DEFINITIONS

Retain terms that remain after this Section has been edited.  "Intermediate crimp" is also known as "intercrimped" and "triple crimped."  Lock crimp has a smoother appearance than intermediate crimp.

A.	Terms below shall be as defined in ASTM E 2016:

1.	Intermediate Crimp:  Wires pass over one and under the next adjacent wire in both directions, with wires crimped before weaving and with extra crimps between the intersections.

2.	Lock Crimp:  Deep crimps at points of intersection that lock wires securely in place.

Revise first paragraph below to indicate specific loads determined by Project's structural engineer or refer to loads indicated on Drawings.  Model building codes and ASCE 7 establish criteria for buildings subject to earthquake motions.  Verify requirements of authorities having jurisdiction.

# 1.4	SUBMITTALS

A.	Product Data:  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for wire mesh items.

B.	Shop Drawings:  Include plans, elevations, sections, details, and attachments to other work.

Retain subparagraph below if products are required to withstand specific design loads and design responsibilities have been delegated to Contractor or if structural data are required as another way to verify products' compliance with performance requirements.  Professional engineer qualifications are specified in Division 1 Section "Quality Requirements."

1.	For installed products indicated to comply with design loads, include structural analysis data signed and sealed by the qualified professional engineer responsible for their preparation.

C.	Samples for Initial Selection:  For units with factory-applied color finishes.

Delete paragraph above if colors are preselected and specified or scheduled.  Retain paragraph below with or without above.

D.	Samples for Verification:  12-by-12-inch (300-by-300-mm) panel constructed of specified frame members and wire mesh.  Show method of finishing members at intersections.

Coordinate first paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

# 1.5	QUALITY ASSURANCE

A.	Source Limitations:  Obtain wire mesh items through one source from a single manufacturer.

B.	Welding:  Qualify procedures and personnel according to the following:

Retain applicable standards below.

1.	AWS D1.1, "Structural Welding Code--Steel."

2.	AWS D1.3, "Structural Welding Code--Sheet Steel."

Delete below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

# 1.6	DELIVERY, STORAGE, AND HANDLING

Packaging in first paragraph below may increase cost but may be desirable for painted items.

A.	Deliver wire mesh items crated to provide protection during transit and Project-site storage.  Do not use nonvented plastic.

B.	Inventory wire mesh partition door hardware on receipt and provide secure lockup for wire mesh partition door hardware delivered to Project site.

1.	Tag each item or package separately with identification and include basic installation instructions with each item or package.

C.	Deliver keys to Owner by registered.

# 1.7	PROJECT CONDITIONS

A.	Field Measurements:  Verify actual locations of construction contiguous with wire mesh items by field measurements before fabrication and indicate measurements on Shop Drawings.

Delete below if not allowed.

1.	Established Dimensions:  Where field measurements cannot be made without delaying the Work, establish location dimensions and proceed with fabricating wire mesh items without field measurements.  Coordinate wall, floor and ceiling construction to ensure that actual location dimensions correspond to established dimensions.

# 1.8	COORDINATION

A.	Coordinate installation of anchorages for wire mesh items supported or anchored to permanent construction.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

# 1.9	EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A.	Furnish extra materials described below that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

Revise below to suit Project.  Replace percentage with a specific number of units.

1.	Door Locks:  One per building.

# PART 2 - PRODUCTS

# 2.1	MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

# A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

# B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1.	Acorn Wire & Iron Works, Inc.

2.	California Wire Products Corporation.

3.	G-S Company (The).

4.	Indiana Wire Products, Inc.

5.	Jesco Industries, Inc.

6.	King Wire Partitions, Inc.

7.	Miller Wire Works, Inc.

8.	Newark Wire Works Inc.

9.	SpaceGuard Products.

10.	Standard Wire & Steel Works.

11.	Wire Crafters, Inc.

# 2.2	MATERIALS

A.	Steel Wire:  ASTM A 510 (ASTM A 510M).

B.	Steel Plates, Channels, Angles, and Bars:  ASTM A 36/A 36M.

C.	Cold-Rolled Steel Sheet:  ASTM A 1008/A 1008M, Commercial Steel (CS), Type B.

D.	Steel Pipe:  ASTM A 53/A 53M, Schedule 40, unless another weight is indicated or required by structural loads.

Steel tubing and pipe are sized differently.  Pipe is designated by nominal pipe size and weight or schedule number.  Tubing is designated by OD and wall thickness.

E.	Square Steel Tubing:  Cold-formed structural-steel tubing, ASTM A 500.

F.	Metallic-Coated Steel Sheet:  ASTM A 653/A 653M, Commercial Steel (CS), Type B; with G60 (Z180) zinc (galvanized) or A60 (ZF180) zinc-iron-alloy (galvannealed) coating designation.

G.	Panel-to-Panel Fasteners:  Manufacturer's standard steel bolts.

H.	Power-Actuated Fasteners in Concrete:  Fastener system of type suitable for application indicated and fabricated from corrosion-resistant materials; with clips or other accessory devices for attaching hangers of type indicated, and with capability to sustain, without failure, a load equal to 10 times that imposed by wire mesh construction, as determined by testing per ASTM E 1190, conducted by a qualified testing and inspecting agency.

Below is an example.  Revise to suit Project.

I.	Seismic Bracing:  Angles with legs not less than 1-1/4 inch (32 mm) wide, formed from 0.04-inch- (1-mm-) thick, metallic-coated steel sheet; with bolted connections and 1/4-inch- (6-mm-) diameter bolts.

# 2.3	PAINT

A.	Shop Primers:  Provide primers to comply with applicable requirements in Division 9 painting Sections.

Delete paragraph above or two paragraphs below.

B.	Shop Primer for Ferrous Metal:  Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with performance requirements in FS TT-P-664; selected for good resistance to normal atmospheric corrosion, compatibility with finish paint systems indicated, and capability to provide a sound foundation for field-applied topcoats despite prolonged exposure.

Correlate primer selection above and below with paint and special coatings specified in Division 9 for application over prime-painted products specified in this Section.  Insert product names if required.  Delete below if no galvanized, shop-primed wire mesh items.

C.	Shop Primer for Galvanized Steel:  Zinc-dust, zinc-oxide primer formulated for priming zinc-coated steel and for compatibility with finish paint systems indicated, and complying with SSPC-Paint 5.

# 2.4	STANDARD-DUTY WIRE MESH PARTITIONS

A.	Mesh:  0.135-inch- (3.5-mm-) diameter, intermediate-crimp steel wire woven into 1-1/2-inch (38-mm) diamond mesh.

B.	Vertical Panel Framing:  1-1/4-by-5/8-by-0.0966-inch (32-by-16-by-2.5-mm) cold-rolled, C-shaped steel channels with 1/4-inch- (6-mm-) diameter bolt holes spaced not more than 18 inches (450 mm) o.c. along center of framing.

C.	Horizontal Panel Framing:  1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) cold-rolled steel channels.

D.	Horizontal Panel Stiffeners:  1-by-1/2-by-1/8-inch (25-by-13-by-3-mm) cold-rolled steel channels with wire woven through, or two 1-by-3/8-by-1/8-inch (25-by-9.5-by-3-mm) cold-rolled steel channels bolted or riveted toe to toe through mesh.

E.	Top Capping Bars:  2-1/4-by-1-inch (57-by-25-mm) cold-rolled steel channels.

F.	Posts for 90-Degree Corners:  1-1/4-by-1-1/4-by-1/8-inch (32-by-32-by-3-mm) steel angles with 1/4-inch- (6-mm-) diameter bolt holes aligning with bolt holes in vertical framing; with floor anchor clips.

G.	Posts for Other-Than-90-Degree Corners:  Manufacturer's standard steel pipe or tubing with 1/4-inch- (6-mm-) diameter bolt holes aligning with bolt holes in vertical framing.

1.	Partitions Up to 12 Feet (3.7 m) High:  1-1/4-inch (32 mm) OD.

H.	Adjustable Corner Posts:  Two, manufacturer's standard steel pipe or tubing posts connected by steel hinges at 36 inches (900 mm) o.c. attached to posts; with 1/4-inch- (6-mm-) diameter bolt holes aligning with bolt holes in vertical framing.

I.	Line Posts:  3-inch-by-4.1-lb (76-mm-by-1.9-kg) or 3-1/2-by-1-1/4-by-0.1265-inch (89-by-32-by-3.2-mm) steel channels; with 5-by-18-by-1/4-inch (125-by-450-by-6-mm) steel base plates punched for attachment to floor.

J.	Floor Shoes:  Steel, cast iron, or cast aluminum, 2 inches (50 mm) high; sized to suit vertical framing, drilled for attachment to floor, and with set screws for leveling adjustment.

K.	Swinging Doors:  Fabricated from same mesh as partitions, with framing fabricated from 1-1/4-by-1/2-by-1/8-inch (32-by-13-by-3-mm) steel channels or C-channels, banded with 1-1/4-by-1/8-inch (32-by-3-mm) flat steel bar cover plates on 3 sides, and with 1/8-inch- (3-mm-) thick angle strike bar and cover on strike jamb.

1.	Hinges:  Full-surface type, 3-by-3-inch (76-by-76-mm) steel, 1-1/2 pairs per door; bolted, riveted, or welded to door and jamb framing.

2.	Padlock Lug:  Mortised into door framing and enclosed with steel cover.

Retain subparagraph above or below.

3.	Cylinder Lock:  Mortise type with manufacturer's standard cylinder operated by key outside and recessed knob inside.

Retain subparagraph below for double doors.

4.	Inactive Leaf Hardware:  Cane bolt at bottom and chain bolt at top.

L.	Accessories:

First subparagraph below is for wainscot panels.

1.	Sheet Metal Base:  0.0598-inch- (1.5-mm-) thick, cold-rolled steel sheet.

2.	Adjustable Filler Panels:  0.0598-inch- (1.5-mm-) thick, cold-rolled steel sheet; capable of filling openings from 2 to 12 inches (50 to 300 mm).

3.	Wall Clips:  Manufacturer's standard, cold-rolled steel sheet allowing up to 1 inch (25 mm) of adjustment.

M.	Finishes for Interior Locations:  Shop coat.

1.	Color:  As selected by Architect from manufacturer's full range.

# 2.5	FABRICATION

A.	General:  Fabricate wire mesh items from components of sizes not less than those indicated.  Use larger-size components as recommended by wire mesh item manufacturer.  Provide bolts, hardware, and accessories as required for complete installation.

1.	Fabricate wire mesh items to be readily disassembled.

Retain one of four options in subparagraph below; options are listed with best appearance and highest cost first.

2.	Welding:  Weld corner joints of framing and leave as applied.

B.	Standard-Duty Wire Mesh Partitions:  Fabricate wire mesh partitions with cutouts for pipes, ducts, beams, and other items indicated.  Finish edges of cutouts to provide a neat, protective edge.

1.	Mesh:  Securely clinch mesh to framing.

2.	Framing:  Fabricate framing with mortise and tenon corner construction.

a.	Provide horizontal stiffeners as indicated or, if not indicated, as required by panel height and as recommended by wire mesh partition manufacturer.  Weld horizontal stiffeners to vertical framing.

b.	Fabricate partition and door framing with slotted holes for connecting adjacent panels.

3.	Fabricate wire mesh partitions with 3 inches (76 mm) of clear space between finished floor and bottom horizontal framing.

Retain subparagraph above or first subparagraph below.

4.	Fabricate wire mesh partitions with bottom horizontal framing flush with finished floor.

5.	Doors:  Align bottom of door with bottom of adjacent panels.

a.	For doors that do not extend full height of partition, provide transom over door, fabricated from same mesh and framing as partition panels.

6.	Hardware Preparation:  Mortise, reinforce, drill, and tap doors and framing as required to install hardware.

# 2.6	FINISHES

A.	General:  Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

1.	Finish wire mesh items after assembly.

2.	Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

B.	Galvanizing:  Where indicated, hot-dip galvanize wire mesh items to comply with ASTM A 123/A 123M.  Hot-dip galvanize hardware for hot-dip galvanized wire mesh items to comply with ASTM A 153/A 153M.

Delete subparagraph below if not required.

1.	Preparation for Shop Priming:  After galvanizing, thoroughly clean wire mesh items of grease, dirt, oil, flux, and other foreign matter, and treat with metallic-phosphate process.

C.	Preparation for Shop Priming Nongalvanized Surfaces:  Prepare nongalvanized surfaces to comply with minimum requirements indicated below for SSPC surface-preparation specifications and environmental exposure conditions of installed wire mesh items:

Retain or revise subparagraphs below to suit Project.  Insert other exposures and preparation requirements where applicable.  Refer to SSPC standard referenced.  Both subparagraphs apply to locations that would normally remain dry in service.

1.	Exteriors (SSPC Zone 1B):  SSPC-SP 6/NACE No. 3, "Commercial Blast Cleaning."

2.	Interiors (SSPC Zone 1A):  SSPC-SP 3, "Power Tool Cleaning."

D.	Shop Priming:  Apply shop primer to uncoated surfaces of wire mesh items, unless otherwise indicated.  Comply with SSPC-PA 1, "Paint Application Specification No. 1," for shop painting.

Delete subparagraph below if galvanized wire mesh items are shop primed.

1.	Do not apply primer to galvanized surfaces.

Delete subparagraph below if not required.  Stripe painting increases cost but helps ensure that hard-to-reach areas, such as crevices, inside corners, and welds, are thoroughly coated and that sharp edges (which are vulnerable to chipping and where the film may be thinner because of surface tension) receive adequate coverage.

2.	Stripe paint corners, crevices, bolts, welds, and sharp edges.

E.	Shop Coat Finish:  Immediately after cleaning and pretreating, apply manufacturer's standard one-coat, shop-coat finish.  Comply with paint manufacturer's written instructions for applying and curing.

# PART 3 - EXECUTION

# 3.1	EXAMINATION

A.	Examine areas, with installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of work.

B.	Examine floors for suitable conditions where wire mesh items will be installed.

C.	Examine walls and ceilings to which wire mesh items will be attached for properly located blocking, grounds, and other solid backing for attachment of support fasteners.

D.	Proceed with installation only after unsatisfactory conditions have been corrected.

# 3.2	ERECTION

A.	Wire Mesh Partitions:

1.	Anchor wire mesh partitions to floor with 3/8-inch- (9.5-mm-) diameter, postinstalled expansion anchors at 12 inches (305 mm) o.c. through anchor clips located at each post and corner.  Shim anchor clips as required to achieve level and plumb installation.

Retain subparagraph above or below.  Installation method below allows vertical adjustment.

2.	Anchor wire mesh partitions to floor with 3/8-inch- (9.5-mm-) diameter, postinstalled expansion anchors at 12 inches (305 mm) o.c. through floor shoes located at each post and corner.  Adjust wire mesh partition posts in floor shoes to achieve level and plumb installation.

Retain first subparagraph below with either subparagraph above.  Delete if not permitted.

a.	Anchors may be set with power-actuated fasteners instead of postinstalled expansion anchors if so indicated on Shop Drawings.

3.	Anchor wire mesh partitions to walls at 12 inches (305 mm) o.c. through back corner panel framing and as follows:

Delete subparagraphs below if not applicable or revise to suit Project.

a.	For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

b.	For wood stud partitions, use hanger or lag bolts set into wood backing between studs.  Coordinate with carpentry work to locate backing members.

4.	Secure top capping bars to top framing channels with 1/4-inch- (6-mm-) diameter "U" bolts spaced not more than 28 inches (700 mm) o.c.

5.	Provide line posts at locations indicated or, if not indicated, as follows:

Edit list below to suit Project.  Verify location and spacing for line posts with manufacturers because their recommendations differ.

a.	On each side of sliding door openings.

b.	For partitions that are 7 to 9 feet (2.1 to 2.7 m) high, spaced at 15 to 20 feet (4.6 to 6.1 m) o.c.

c.	For partitions that are 10 to 12 feet (3.0 to 3.7 m) high, located between every other panel.

d.	For partitions that are more than 12 feet (3.7 m) high, located between each panel.

Delete subparagraph below if not required.

6.	Provide seismic supports and bracing as indicated or, if not indicated, as recommended by manufacturer and as required for stability, extending and fastening members to supporting structure.

Delete first subparagraph below if custom-width wire mesh partition panels are required and dimensions are indicated on Drawings.

7.	Where standard-width wire mesh partition panels do not fill entire length of run, provide adjustable filler panels to fill openings.

8.	Install doors complete with door hardware.

9.	Weld or bolt sheet metal bases to where indicated.

10.	Bolt accessories to wire mesh partition framing.

# 3.3	ADJUSTING AND CLEANING

A.	Adjust doors to operate easily without binding.

B.	Check and readjust operating hardware items just before final inspection.  Leave work in complete and proper operating condition.  Remove and replace defective work including doors and framing that are warped, bowed, or otherwise unacceptable.

C.	Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint; paint exposed areas with same material as used for shop painting to comply with SSPC-PA 1 for touching up shop-painted surfaces.

Delete paragraph above or below, or both if no painted wire mesh items.

D.	Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Division 9 painting Sections.

Delete below if no galvanized materials.

E.	Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas; repair galvanizing to comply with ASTM A 780.

# END OF SECTION 10605