- SECTION 10801 – TOILET AND BATH ACCESSORIES

- PART 1 – GENERAL

  - RELATED DOCUMENTS

A.	Site drawings produced by Pinkham and Greer Consulting Engineers, foundation/basement plan drawings produced by TFH Architects PA and Structural Design Consulting, building drawings produced by TFH Architects, mechanical drawings produced by TFH Architects, electrical and lighting drawings produced by TFH Architects.  Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections apply to all sections.

  - SUMMARY

A.	This section includes the selection and installation of toilet and bath accessories.

- PART 2 – PRODUCTS

- 2.1      TOILET AND BATH ACCESSORIES

- A.	Toilet and Bath Accessories:  To be provided by General Contractor.  Provide wood blocking for all accessories.

B.	Medicine Cabinet 15 x 30: Recessed with mirror.  Provide one each in bathrooms and lavatories.  Submit manufacturer’s specifications.  Handicapped unit shall have mirror meeting ADA standards with separate accessible medicine cabinet.

C.	Grab Bars:  To be provided and installed in first level of ADA units only.  Provide adequate blocking to meet ADA standards.  1 ½” stainless steel with slip resistant surface as manufactured by Bares De Soutien or approved equal.

D.	The General Contractor should carry an allowance of $300 per triplex building for towel bars, toilet paper dispensers and toothbrush/cup holder.

- END OF SECTION 10801