Copyright 1999, The American Institute of Architects (AIA)

# SECTION 07531 - EPDM MEMBRANE ROOFING

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

# PART 1 - GENERAL

1.1	RELATED DOCUMENTS

A.	Site drawings produced by Pinkham and Greer Consulting Engineers, foundation/basement plan drawings produced by TFH Architects PA and Structural Design Consulting, building drawings produced by TFH Architects, mechanical drawings produced by TFH Architects, electrical and lighting drawings produced by TFH Architects.  Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections apply to all sections.

1.2	SUMMARY

A.	This Section includes the following:

Adjust list below to suit Project.

- Adhered membrane roofing system to the shallow slope area.

- Substrate board.

- Perimeter roof flashing.

- Accessory materials.

- Roof insulation related to EPDM membrane roofing.

- Wood blocking and nailers associated with roofing.

Delete first paragraph below if no acoustical roof deck is required.

- This Section includes the installation of roof substrate board.

C.	Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1.	Division 6 Section” Rough Carpentry” for wood nailers, curbs, and blocking; and wood-based structural-use roof deck panels.

2.	Division 7 Section "Sheet Metal Flashing and Trim" for metal roof penetration flashings, flashings, and counterflashings.

- Division 7 Section "Joint Sealants."

- Division 7 Section “Insulation for Insulation Beneath the Roof Deck.”

Unit prices may be required in bid documents.  One example is removal and replacement of wet roof insulation that may be discovered during reroofing.

1.3	DEFINITIONS

A.	Roofing Terminology:  Refer to ASTM D 1079 and glossary of NRCA's "The NRCA Roofing and Waterproofing Manual" for definition of terms related to roofing work in this Section.

Retain two definitions below if design uplift pressure subparagraphs based on SPRI's "Wind Load Design Guide for Fully Adhered and Mechanically Fastened Roofing Systems" are retained in "Performance Requirements" Article.  The membrane roofing system must resist, at a minimum, design uplift pressure.  Design uplift pressure, multiplied by a safety factor, produces the factored design uplift pressure.

1.4	PERFORMANCE REQUIREMENTS

A.	General:  Provide installed roofing membrane and base flashings that remain watertight; do not permit the passage of water; and resist specified uplift pressures, thermally induced movement, and exposure to weather without failure.

B.	Material Compatibility:  Provide roofing materials that are compatible with one another under conditions of service and application required, as demonstrated by roofing membrane manufacturer based on testing and field experience.

Retain paragraph and subparagraphs below if membrane roofing system is to be designed to withstand uplift pressure established by ASCE 7.  Revise design uplift pressures in subparagraphs below if local building code requirements are more stringent than ASCE 7.  Retain with "FMG Listing" Paragraph and subparagraphs below if both ASCE 7 and FMG criteria may apply.  Delineate dimensions of corners, perimeter, and field of roof on Drawings.  Delete paragraph and subparagraphs below if a loosely laid and ballasted membrane roofing system is required.

C.	Roofing System Design:  Provide a membrane roofing system that is identical to systems that have been successfully tested by a qualified testing and inspecting agency to resist uplift pressure calculated according to ASCE 7.

1.	Corner Uplift Pressure:  50 lbf/sq. ft. (kPa/sq. m).

2.	Perimeter Uplift Pressure:  50 lbf/sq. ft. (kPa/sq. m).

3.	Field-of-Roof Uplift Pressure:  50 lbf/sq. ft. (kPa/sq. m).

Retain paragraph and subparagraphs below if Project is FMG insured or if FMG requirements will set a minimum quality standard.  Coordinate requirements of FMG classification with other requirements in this Section.  Loosely laid and ballasted membrane roofing systems cannot be FMG approved but may be accepted by FMG on a project-by-project basis.

D.	FMG Listing:  Provide roofing membrane, base flashings, and component materials that comply with requirements in FMG 4450 and FMG 4470 as part of a membrane roofing system and that are listed in FMG's "Approval Guide" for Class 1 or noncombustible construction, as applicable.  Identify materials with FMG markings.

Select one option in first subparagraph below based on windstorm classification of Project.  FMG Loss Prevention Data Sheet 1-28 multiplies the actual field-of-roof uplift pressure by a factor of 2 to obtain the factored pressure, the number that establishes the minimum FMG approval rating.  Verify availability of roofing systems that meet these classifications.  Other options for classifications increase in increments of 15, e.g., Class 1A-135, 1A-150, 1A-165, and higher.  "Class 1A" signifies meeting ASTM E 108, Class A fire performance for FMG-approved Class 1 roof covers.  For areas having three or more hailstorms annually, FMG recommends SH (severe hail) rated roofing systems instead of MH (moderate hail).

# 1.	Fire/Windstorm Classification:  Class 1A-90.

Retain paragraph and subparagraphs below if membrane roofing system is to be designed to withstand wind loads established from SPRI's "Wind Load Design Guide for Fully Adhered and Mechanically Fastened Roofing Systems."  SPRI derives design uplift pressure using ASCE 7's wind load procedure and increases this pressure by a safety factor.  Delete below if a loosely laid and ballasted membrane roofing system is required.

E.	Roofing System Design:  Provide a roofing system that complies with roofing system manufacturer’s written design instructions and with the following:

SPRI requires the calculated design uplift pressure for each roof area to be multiplied by a safety factor to arrive at uplift resistance required of the membrane roofing system.  Delineate dimensions of corners, perimeter, and field of roof on Drawings.

# 1.	SPRI’s “Wind Design Guide for Adhered Roofing Systems”.

1.5	SUBMITTALS

A.	Product Data:  For each type of product indicated.

B.	Shop Drawings:  For roofing system.  Include plans, elevations, sections, details, and attachments to other Work.

Adjust list below to suit Project.

# 1.	Base flashings and membrane terminations.

C.	Samples for Verification:  For the following products:

Adjust list below to suit Project.

# 1.	12-by-12-inch (300-by-300-mm) square of sheet roofing, of color specified.

Retain paragraph below if Installer certification is required in "Quality Assurance" Article or a special warranty is required.

Retain below if manufacturer's final roof inspection report is required.

1.6	QUALITY ASSURANCE

FMG is launching a certified roofing installer program.  Add certification requirements to first paragraph below if Project is FMG insured and a certified roofing installer is required.

Preinstallation conference below is recommended with or without preliminary roofing conference above.

A.	Preinstallation Conference:  Conduct conference at Project site.  Comply with requirements in Division 1 Section "Project Management and Coordination."  Review methods and procedures related to roofing system including, but not limited to, the following:

Delete subparagraphs below not required.  If retaining, revise to include Project-specific requirements.  Insert additional requirements to suit Project.

1.	Meet with Owner; Architect; representatives of the governing housing authority; deck Installer; and installers whose work interfaces with or affects roofing, including installers of roof accessories and roof-mounted equipment.

2.	Review methods and procedures related to roofing installation, including manufacturer's written instructions.

3.	Review base flashings, special roofing details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect roofing system.

4.	Review temporary protection requirements for roofing system during and after installation.

- Review roof observation and repair procedures after roofing installation.

- Document proceedings, including corrective measures or actions required, and furnish copy of record to each participant.

1.7	DELIVERY, STORAGE, AND HANDLING

A.	Deliver roofing materials to Project site in original containers with seals unbroken and labeled with manufacturer's name, product brand name and type, date of manufacture, and directions for storing and mixing with other components.

B.	Store liquid materials in their original undamaged containers in a clean, dry, protected location and within the temperature range required by roofing system manufacturer.  Protect stored liquid material from direct sunlight.

1.	Discard and legally dispose of liquid material that cannot be applied within its stated shelf life.

1.8	PROJECT CONDITIONS

A.	Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit roofing system to be installed according to manufacturer's written instructions and warranty requirements.

  - WARRANTY

A.	Standard roofing manufacturer’s warranty:  Submit a written warranty, without monetary limitation, signed by roofing system manufacturer agreeing to promptly repair leaks resulting from defects in materials or workmanship for the following time warranty period:

1.		Warranty period:  15 years full system.

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Product Requirements."

Retain paragraph below if manufacturer's labor-and-materials warranty, covering roofing system, is required.  Verify coverage offered by manufacturers because roof insulation, fasteners, and other roofing components may be excluded unless part of a roofing membrane manufacturer's roofing system warranty.  If adding special provisions, retitle paragraph "Special Roofing Manufacturer's Warranty."  Verify warranty availability and coordinate choice of manufacturers in Part 2 accordingly.

# PART 2 - PRODUCTS

# 2.1	MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations in Division 7 Section "Elastomeric Membrane Roofing" for cautions about naming manufacturers and products.

Edit this Article with other Part 2 articles in which manufacturers and products, or manufacturers only, are named.  See Division 1 Section "Product Requirements" for an explanation of the terms "Available Products," "Products," "Available Manufacturers," and "Manufacturers" and the effect these terms have on "Comparable Product" and "Product Substitution" requirements.

A.	Manufacturers:  Subject to compliance with requirements, provide products by the manufacturers specified.

# 2.2	EPDM ROOFING MEMBRANE

Class A exterior fire-test rating for either an adhered or mechanically fastened EPDM roofing system may require a specially formulated fire-retardant sheet; verify with manufacturer.

A.	EPDM Roofing Membrane:  ASTM D 4637, Type I, non-reinforced, flexible sheet made from EPDM, and as follows:

1.	Manufacturers:

a.	Carlisle SynTec Incorporated.

b.	Celotex Corporation.

c.	ERSystems.

d.	Firestone Building Products Company.

e.	GenFlex Roofing Systems.

f.	International Diamond Systems.

g.	Johns Manville International, Inc.

Select thickness from options in subparagraph below.  First two thicknesses predominate.

# 2.	Thickness:  60 mils (1.5 mm), nominal.

Select color from options in subparagraph below.

# 3.	Exposed Face Color:  black.

Retain product below if specifying Carlisle's proprietary fleece-backed EPDM.

# 2.3	AUXILIARY MATERIALS

A.	General:  Auxiliary materials recommended by roofing system manufacturer for intended use and compatible with membrane roofing.

1.	Liquid-type auxiliary materials shall meet VOC limits of authorities having jurisdiction.

B.	Sheet Flashing:  60-mil- (1.5-mm-) thick EPDM, partially cured or cured, according to application.

C.	Flashing:  Perimeter flashing to be pre-finished .24 gauge coil stock steel.  Counter flash and lap joints.  Break corners.  Color by Architect from manufacturer’s standard range.

Delete first paragraph and subparagraphs below if not required.  Available from Carlisle, epichlorohydrin is intended to protect EPDM from hydrocarbons, non-aromatic solvents, grease, and oil.  Delete this sheet and replace with another sheet if applicable.

C.	Bonding Adhesive:  Manufacturer's standard bonding adhesive.

Retain paragraph below if fleece-backed roofing membrane is required to be set in cold fluid-applied adhesive.

D.	Cold Fluid-Applied Membrane Adhesive:  Manufacturer's standard cold fluid-applied bonding adhesive formulated to adhere fleece-backed roofing membrane to substrate.

Select one option in first paragraph below based on method of seaming required.  Retain both options if choice of seaming method is Contractor's option.

F.	Seaming Material:  Manufacturer's standard synthetic-rubber polymer primer and 3-inch- (75-mm-) wide minimum.

G.	Lap Sealant:  Manufacturer's standard single-component sealant, color to match roofing membrane.

H.	Water Cutoff Mastic:  Manufacturer's standard butyl mastic sealant.

# 2.4	SUBSTRATE BOARDS

Select one of three substrate boards below if required or delete this Article.  Substrate boards may serve as model building code-required thermal barriers, separating foam insulation from steel or wood deck.  They may also be used over steel deck as part of a fire-resistance-rated roofing system or to provide a smooth substrate for a vapor retarder.

- Cellulosic-Fiber Board Insulation:  ASTM C 208, Type II, Grade 2, fibrous-felted, rigid insulation boards of wood fiber or other cellulosic-fiber and water-resistant binders, asphalt impregnated, chemically treated for deterioration.

1.	Manufacturers:

a.	AlliedSignal Inc.; Commercial Roofing Systems.

b.	Carlisle SynTec Incorporated.

c.	Celotex Corporation.

d.	Firestone Building Products Company.

e.	GAF Materials Corp.

f.	Georgia-Pacific Corporation.

g.	Homasote Company (The).

h.	Huebert Fiberboard Co.

i.	Koppers Industries.

j.	Masonite Corp.

k.	Temple - Inland Inc.

B.	Fasteners:  Factory-coated steel fasteners and metal or plastic plates meeting corrosion-resistance provisions in FMG 4470, designed for fastening substrate panel to roof deck.

# 2.5	INSULATION ACCESSORIES

A.	General:  Furnish roof insulation accessories recommended by insulation manufacturer for intended use and compatible with membrane roofing.

Retain first paragraph below if insulation requires mechanical fastening.

# PART 3 - EXECUTION

# 3.1	EXAMINATION

A.	Examine substrates, areas, and conditions, with Installer present, for compliance with the following requirements and other conditions affecting performance of roofing system:

# 3.2	PREPARATION

A.	Clean substrate of dust, debris, moisture, and other substances detrimental to roofing installation according to roofing system manufacturer's written instructions.  Remove sharp projections.

B.	Complete terminations and base flashings and provide temporary seals to prevent water from entering completed sections of roofing system at the end of the workday or when rain is forecast.  Remove and discard temporary seals before beginning work on adjoining roofing

Retain below if acoustical roof deck rib insulation, shaped to fit into topside ribs of acoustical roof deck, is installed in this Section.

# 3.3	SUBSTRATE BOARD

Delete this Article if not required.

A.	Install substrate board with long joints in continuous straight lines, perpendicular to roof slopes with end joints staggered between rows.  Tightly butt substrate boards together.

Retain one of two subparagraphs below if mechanical fastening of thermal barrier is required.

# 3.4	ADHERED ROOFING MEMBRANE INSTALLATION

Retain this Article for adhered roofing membrane installations.

A.	Install roofing membrane over area to receive roofing according to membrane roofing system manufacturer's written instructions.  Unroll roofing membrane and allow to relax before installing.

Delete first paragraph below if not applicable.

B.	Accurately align roofing membrane and maintain uniform side and end laps of minimum dimensions required by manufacturer.  Stagger end laps.

Retain paragraph below for adhesive bonding membrane to substrate.

C.	Bonding Adhesive:  Apply bonding adhesive to substrate and underside of roofing membrane at rate required by manufacturer and allow to partially dry before installing roofing membrane.  Do not apply bonding adhesive to splice area of roofing membrane.

Retain paragraph below for bonding fleece-backed membrane in hot roofing asphalt.

D.	Cold Fluid-Applied Adhesive:  Apply cold fluid-applied adhesive to substrate at rate required by manufacturer and install fleece-backed roofing membrane.

E.	Adhesively fasten roofing membrane securely at terminations, penetrations, and perimeter of roofing.

Retain paragraph below for adhesive-splicing roofing membrane seams.

F.	Adhesive Seam Installation:  Clean both faces of splice areas, apply splicing cement, and firmly roll side and end laps of overlapping roofing membranes according to manufacturer's written instructions to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of roofing membrane terminations.

Retain subparagraph below if required.  Carlisle and Versico offer an in-seam sealant in adhesive-spliced seams.

1.	Apply a continuous bead of in-seam sealant before closing splice if required by membrane roofing system manufacturer.

Retain first paragraph below for tape-splicing roofing membrane seams.

G.	Tape Seam Installation:  Clean and prime both faces of splice areas, apply splice tape, and firmly roll side and end laps of overlapping roofing membranes according to manufacturer's written instructions to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of roofing membrane terminations.

H.	Repair tears, voids, and lapped seams in roofing that does not meet requirements.

I.	Spread sealant or mastic bed over deck drain flange at deck drains and securely seal roofing membrane in place with clamping ring.

Retain paragraph below if tie-ins to existing roofing are required.

J.	Install roofing membrane and auxiliary materials to tie in to existing roofing.

K.	Membrane penetrations include:  2 gravity ventilators and 1 smoke cap.

Delete below if not required.

Delete subparagraph below if not required or revise to suit Project.  Revise if one or more insulation layers are topped with a final layer of mortar-faced board insulation.

# 3.5	BASE FLASHING INSTALLATION

A.	Install sheet flashings and preformed flashing accessories and adhere to substrates according to membrane roofing system manufacturer's written instructions.

B.	Apply bonding adhesive to substrate and underside of sheet flashing at required rate and allow to partially dry.  Do not apply bonding adhesive to seam area of flashing.

C.	Flash penetrations and field-formed inside and outside corners with cured or uncured sheet flashing.

D.	Clean splice areas, apply splicing cement, and firmly roll side and end laps of overlapping sheets to ensure a watertight seam installation.  Apply lap sealant and seal exposed edges of sheet flashing terminations.

Select option below if mechanically anchoring sheet flashings.

E.	Terminate and seal top of sheet flashings.

# 3.6	FIELD QUALITY CONTROL

A.	Testing Agency:  The Owner at his own option may engage a qualified independent testing and inspecting agency to perform roof tests and inspections and to prepare test reports.

A roof inspection is required by manufacturer before warranty issue.  Revise scope of inspection and source of report to a qualified roofing consultant or an independent testing and inspecting agency if preferred.

B.	Repair or remove and replace components of membrane roofing system where test results or inspections indicate that they do not comply with specified requirements.

C.	Additional testing and inspecting, at Contractor's expense, will be performed to determine compliance of replaced or additional work with specified requirements.

# 3.7	PROTECTING AND CLEANING

A.	Protect membrane roofing system from damage and wear during remainder of construction period.  When remaining construction will not affect or endanger roofing, inspect roofing for deterioration and damage, describing its nature and extent in a written report, with copies to Architect and Owner.

B.	Correct deficiencies in or remove membrane roofing system that does not comply with requirements, repair substrates and repair or reinstall membrane roofing system to a condition free of damage and deterioration at time of Substantial Completion and according to warranty requirements.

Retain below if coating membrane or if using fluid-applied bonding materials.

C.	Clean overspray and spillage from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction.

# 3.8	ROOFING INSTALLER'S WARRANTY (sample to be provided by roofing contractor at acceptance of work)

Delete this Article, retain this warranty, or include another roofing Installer's warranty form if required.  Coordinate with Part 1 "Warranty" Article.  Another sample layout of this warranty is included in the Evaluations in Division 7 Section "Elastomeric Membrane Roofing."

A.	WHEREAS <Insert name> of <Insert address>, herein called the "Roofing Installer," has performed roofing and associated work ("work") on the following project:

1.	Owner:  <Insert name of Owner.>

2.	Address:  <Insert address.>

3.	Building Name/Type:  <Insert information.>

4.	Address:  <Insert address.>

5.	Area of Work:  <Insert information.>

6.	Acceptance Date:  <Insert date.>

7.	Warranty Period:  <Insert time.>

8.	Expiration Date:  <Insert date.>

B.	AND WHEREAS Roofing Installer has contracted (either directly with Owner or indirectly as a subcontractor) to warrant said work against leaks and faulty or defective materials and workmanship for a designated Warranty Period of 10 years.

C.	NOW THEREFORE Roofing Installer hereby warrants, subject to terms and conditions herein set forth, that during Warranty Period he will, at his own cost and expense, make or cause to be made such repairs to or replacements of said work as are necessary to correct faulty and defective work and as are necessary to maintain said work in a watertight condition.

D.	This Warranty is made subject to the following terms and conditions:

1.	Specifically excluded from this Warranty are damages to work and other parts of the building, and to building contents, caused by:

a.	lightning;

Insert required wind speed below.

b.	peak gust wind speed exceeding in excess of 90 mph);

c.	fire;

d.	failure of roofing system substrate, including cracking, settlement, excessive deflection, deterioration, and decomposition;

e.	faulty construction of parapet walls, copings, chimneys, skylights, vents, equipment supports, and other edge conditions and penetrations of the work;

f.	vapor condensation on bottom of roofing; and

g.	activity on roofing by others, including construction contractors, maintenance personnel, other persons, and animals, whether authorized or unauthorized by Owner.

2.	When work has been damaged by any of foregoing causes, Warranty shall be null and void until such damage has been repaired by Roofing Installer and until cost and expense thereof have been paid by Owner or by another responsible party so designated.

3.	Roofing Installer is responsible for damage to work covered by this Warranty but is not liable for consequential damages to building or building contents resulting from leaks or faults or defects of work.

4.	During Warranty Period, if Owner allows alteration of work by anyone other than Roofing Installer, including cutting, patching, and maintenance in connection with penetrations, attachment of other work, and positioning of anything on roof, this Warranty shall become null and void on date of said alterations, but only to the extent said alterations affect work covered by this Warranty.  If Owner engages Roofing Installer to perform said alterations, Warranty shall not become null and void unless Roofing Installer, before starting said work, shall have notified Owner in writing, showing reasonable cause for claim, that said alterations would likely damage or deteriorate work, thereby reasonably justifying a limitation or termination of this Warranty.

5.	During Warranty Period, if original use of roof is changed and it becomes used for, but was not originally specified for, a promenade, work deck, spray-cooled surface, flooded basin, or other use or service more severe than originally specified, this Warranty shall become null and void on date of said change, but only to the extent said change affects work covered by this Warranty.

6.	Owner shall promptly notify Roofing Installer of observed, known, or suspected leaks, defects, or deterioration and shall afford reasonable opportunity for Roofing Installer to inspect work and to examine evidence of such leaks, defects, or deterioration.

7.	This Warranty is recognized to be the only warranty of Roofing Installer on said work and shall not operate to restrict or cut off Owner from other remedies and resources lawfully available to Owner in cases of roofing failure.  Specifically, this Warranty shall not operate to relieve Roofing Installer of responsibility for performance of original work according to requirements of the Contract Documents, regardless of whether Contract was a contract directly with Owner or a subcontract with Owner's General Contractor.

E.	IN WITNESS THEREOF, this instrument has been duly executed this <Insert day>  day of <Insert month>, <Insert year>.

1.	Authorized Signature:  <Insert signature.>

2.	Name:  <Insert name.>

3.	Title:  <Insert title.>

# END OF SECTION 07531