Copyright 1997 , The American Institute of Architects (AIA)

# SECTION 07920 - JOINT SEALANTS

This Section uses the term "Architect." change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

# PART 1 - GENERAL

# 1.1	RELATED DOCUMENTS

A.	Site drawings produced by Pinkham and Greer Consulting Engineers, foundation/basement plan drawings produced by TFH Architects PA and Structural Design Consulting, building drawings produced by TFH Architects, mechanical drawings produced by TFH Architects, electrical and lighting drawings produced by TFH Architects.  Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections apply to all sections.

# 1.2	SUMMARY

A.	This Section includes sealants for the following..

Delete paragraph above or below.  Retain above if other Sections refer to this Section for sealant-related requirements; if not, retain below.

B.	This Section includes sealants for the following applications:

Adjust list below to suit Project.  List summarizes typical sealant joints; complement with schedules, details, and drawing designations indicating exactly where and what products are required.

1.	Exterior joints in the following vertical surfaces and non-traffic horizontal surfaces:

a.	Plywood sheathing, vinyl siding trim, exterior PVC trim, soffits, wood columns, decking..

b.	Joints between different materials listed above.

c.	Perimeter joints between materials listed above and frames of doors and windows and blocking for mechanical and electrical devices.

d.	Other joints as indicated.

Joints below cover traffic surfaces that are part of a building and not those in roads, sidewalks, and parking lots, which should be specified in Division 2 Section "Pavement Joint Sealants."

2.	Interior joints in the following vertical surfaces and horizontal non-traffic surfaces:

a.	Control and expansion joints on exposed interior surfaces of exterior walls where components are joined.

b.	Perimeter joints between interior wall surfaces and frames of interior doors, windows, and elevator entrances, window sills and gypsum wallboard.

c.	Joints between plumbing fixtures and adjoining walls, floors, and counters.

d.	Other joints as indicated.

C.	Related Sections include the following:

List below only construction that the reader might expect to find in this Section but is specified elsewhere.  Subparagraphs below do not include Sections that cross-reference this Section for requirements.

1.	Division 9 Section "Gypsum Board Assemblies" for sealing perimeter joints of gypsum board partitions to reduce sound transmission.

# 1.3	PERFORMANCE REQUIREMENTS

# A.	Provide elastomeric joint sealants that establish and maintain watertight and airtight continuous joint seals without staining or deteriorating joint substrates.

Delete above or below if not applicable.  Modify wording to reflect performance required for both interior and exterior joints.  Add specific applications where watertight or water-resistant performance may not be required or attainable with products selected.

# B.	Provide joint sealants for interior applications that establish and maintain airtight and water-resistant continuous joint seals without staining or deteriorating joint substrates.

# 1.4	SUBMITTALS

A.	Product Data:  For each joint-sealant product indicated.

B.	Samples for Initial Selection:  Manufacturer's color charts consisting of strips of cured sealants showing the full range of colors available for each product exposed to view.

Delete paragraph above if colors are preselected and specified or scheduled according to manufacturers' color designations in text or separate schedule, or if required to match Architect's Samples.  Retain below with or without above.

C.	Product Certificates:  Signed by manufacturers of joint sealants certifying that products furnished comply with requirements and are suitable for the use indicated.

Delete paragraph below if subparagraph requiring testing to obtain SWRI validation is not retained in "Quality Assurance" Article.

D.	SWRI Validation Certificate:  For each elastomeric sealant specified to be validated by SWRI's Sealant Validation Program.

E.	Qualification Data:  For firms and persons specified in "Quality Assurance" Article to demonstrate their capabilities and experience.  Include lists of completed projects with project names and addresses, names and addresses of architects and owners, and other information specified.

Delete all test reports below if not required for Project.  Correlate with testing requirements in "Quality Assurance" Article.

F.	Pre-construction Field Test Reports:  Indicate which sealants and joint preparation methods resulted in optimum adhesion to joint substrates based on pre-construction testing specified in "Quality Assurance" Article.

Delete paragraph above and paragraph below if testing described is not required elsewhere in Text.

G.	Compatibility and Adhesion Test Reports:  From sealant manufacturer indicating the following:

1.	Materials forming joint substrates and joint-sealant backings have been tested for compatibility and adhesion with joint sealants.

2.	Interpretation of test results and written recommendations for primers and substrate preparation needed for adhesion.

H.	Warranties:  Special warranties specified in this Section.

# 1.5	QUALITY ASSURANCE

If a manufacturer's warranty is specified requiring manufacturer's approval or licensing of Installer, revise paragraph below accordingly.

A.	Installer Qualifications:  An experienced installer who has experience in installing joint sealants similar in material, design, and extent to those indicated for this Project.

B.	Pre-installation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Meetings."

# 1.6	DELIVERY, STORAGE, AND HANDLING

A.	Deliver materials to Project site in original unopened containers or bundles with labels indicating manufacturer, product name and designation, color, expiration date, pot life, curing time, and mixing instructions for multi-component materials.

B.	Store and handle materials in compliance with manufacturer's written instructions to prevent their deterioration or damage due to moisture, high or low temperatures, contaminants, or other causes.

# 1.7	PROJECT CONDITIONS

A.	Environmental Limitations:  Do not proceed with installation of joint sealants under the following conditions:

1.	When ambient and substrate temperature conditions are outside limits permitted by joint sealant manufacturer.

Delete subparagraph above or below.  Below could be deleted for silicones applied to nonporous joint substrates provided they are kept dry during sealant application.

2.	When ambient and substrate temperature conditions are outside limits permitted by joint sealant manufacturer or are below 40 deg F (4.4 deg C).

3.	When joint substrates are wet.

B.	Joint-Width Conditions:  Do not proceed with installation of joint sealants where joint widths are less than those allowed by joint sealant manufacturer for applications indicated.

C.	Joint-Substrate Conditions:  Do not proceed with installation of joint sealants until contaminants capable of interfering with adhesion are removed from joint substrates.

# 1.8	WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Warranties."

A.	General Warranty:  Special warranties specified in this Article shall not deprive Owner of other rights Owner may have under other provisions of the Contract Documents and shall be in addition to, and run concurrent with, other warranties made by Contractor under requirements of the Contract Documents.

Revise warranty to period required and verify availability.

# PART 2 - PRODUCTS

2.1	PRODUCTS AND MANUFACTURERS

A.	Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the products specified in the sealant schedules at the end of Part 3.

Retain above for nonproprietary or below for semiproprietary Specification.  Name products in sealant schedules at end of Part 3.  Delete both, including Article title, if schedules are not used or products are not named in schedules.  Refer to Division 1 Section "Materials and Equipment."  See Editing Instruction No. 1 in the Evaluations for cautions about naming products and manufacturers.

2.2	MATERIALS, GENERAL

A.	Compatibility:  Provide joint sealants, backings, and other related materials that are compatible with one another and with joint substrates under conditions of service and application, as demonstrated by sealant manufacturer based on testing and field experience.

Retain one paragraph below.  If retaining second, indicate colors in a separate schedule.

B.	Colors of Exposed Joint Sealants:  As selected by Architect from manufacturer's full range for this characteristic.

  - THERMO PLASTIC SEALANT

A.	Super durable thermoplastic architectural one-component sealing compound for exterior multi-purpose.

2.4	ELASTOMERIC JOINT SEALANTS

Retain paragraph below with entries in the Elastomeric Joint-Sealant Schedule at end of Part 3 that are needed to specify elastomeric joint sealants for each application.  See Editing Instruction No. 2 and a sample schedule in the Evaluations for guidance.

A.	Elastomeric Sealant Standard:  Comply with ASTM C 920 and other requirements indicated for each liquid-applied chemically curing sealant in the Elastomeric Joint-Sealant Schedule at the end of Part 3, including those referencing ASTM C 920 classifications for type, grade, class, and uses.

Delete paragraph below if corresponding requirement is not retained in the Elastomeric Joint-Sealant Schedule at end of Part 3.  This requirement applies only to Class 25 sealants capable of movement in excess of 25 percent in both compression and extension per ASTM C 719.

Delete below if no sealants are indicated for applications where sealants will come in contact with food.  Indicate, on Drawings or by inserts in the Elastomeric Joint-Sealant Schedule, which products must comply.

B.	Suitability for Contact with Food:  Where elastomeric sealants are indicated for joints that will come in repeated contact with food, provide products that comply with 21 CFR 177.2600.

Delete any generic description of joint sealants in articles below if not required and not indicated in schedules at end of Part 3.

2.5	LATEX JOINT SEALANTS

A.	Latex Sealant Standard:  Comply with ASTM C 834 for each product of this description indicated in the Latex Joint-Sealant Schedule at the end of Part 3.

USG Corp. advertises its acoustical sealant as having flame-spread and smoke-developed ratings of less than 25 per ASTM E 84.  Insert this requirement above if required by authorities having jurisdiction.

2.6	JOINT-SEALANT BACKING

A.	General:  Provide sealant backings of material and type that are non-staining; are compatible with joint substrates, sealants, primers, and other joint fillers; and are approved for applications indicated by sealant manufacturer based on field experience and laboratory testing.

B.	Elastomeric Tubing Sealant Backings:  Neoprene, butyl, EPDM, or silicone tubing complying with ASTM D 1056, nonabsorbent to water and gas, and capable of remaining resilient at temperatures down to minus 26 deg F (minus 32 deg C).  Provide products with low compression set and of size and shape to provide a secondary seal, to control sealant depth, and otherwise contribute to optimum sealant performance.

C.	Bond-Breaker Tape:  Polyethylene tape or other plastic tape recommended by sealant manufacturer for preventing sealant from adhering to rigid, inflexible joint-filler materials or joint surfaces at back of joint where such adhesion would result in sealant failure.  Provide self-adhesive tape where applicable.

2.7	EXPANDING FOAM:  “TUFF-STUFF” OR APPROVED EQUAL.

# PART 3 - EXECUTION

# 3.1	EXAMINATION

A.	Examine joints indicated to receive joint sealants, with Installer present, for compliance with requirements for joint configuration, installation tolerances, and other conditions affecting joint-sealant performance.

B.	Proceed with installation only after unsatisfactory conditions have been corrected.

# 3.2	PREPARATION

A.	Surface Cleaning of Joints:  Clean out joints immediately before installing joint sealants to comply with joint sealant manufacturer's written instructions and the following requirements:

1.	Remove all foreign material from joint substrates that could interfere with adhesion of joint sealant, including dust, paints (except for permanent, protective coatings tested and approved for sealant adhesion and compatibility by sealant manufacturer), old joint sealants, oil, grease, waterproofing, water repellents, water, surface dirt, and frost.

2.	Clean porous joint substrate surfaces by brushing, grinding, blast cleaning, mechanical abrading, or a combination of these methods to produce a clean, sound substrate capable of developing optimum bond with joint sealants.  Remove loose particles remaining from above cleaning operations by vacuuming or blowing out joints with oil-free compressed air.  Porous joint surfaces include the following:

Delete porous substrates below if not applicable.  Insert additional items to suit Project.

- Concrete

3.	Remove laitance and form-release agents from concrete.

4.	Clean nonporous surfaces with chemical cleaners or other means that do not stain, harm substrates, or leave residues capable of interfering with adhesion of joint sealants.

Delete nonporous substrates below if not applicable.  Insert additional items to suit Project.

a.	Metal.

b.	Vinyl.

As previously noted in "Miscellaneous Materials" Article, purpose of primers is to improve adhesion of sealant to substrate.

Delete below if not required.

B.	Masking Tape:  Use masking tape where required to prevent contact of sealant with adjoining surfaces that otherwise would be permanently stained or damaged by such contact or by cleaning methods required to remove sealant smears.  Remove tape immediately after tooling without disturbing joint seal.

# 3.3	INSTALLATION OF JOINT SEALANTS

A.	General:  Comply with joint sealant manufacturer's written installation instructions for products and applications indicated, unless more stringent requirements apply.

B.	Sealant Installation Standard:  Comply with recommendations of ASTM C 1193 for use of joint sealants as applicable to materials, applications, and conditions indicated.

Delete paragraph below if the only use of acoustical sealants is specified in other Sections without reference to this Section.

C.	Acoustical Sealant Application Standard:  Comply with recommendations of ASTM C 919 for use of joint sealants in acoustical applications as applicable to materials, applications, and conditions indicated.

D.	Install sealant backings of type indicated to support sealants during application and at position required to produce cross-sectional shapes and depths of installed sealants relative to joint widths that allow optimum sealant movement capability.

1.	Do not leave gaps between ends of sealant backings.

2.	Do not stretch, twist, puncture, or tear sealant backings.

3.	Remove absorbent sealant backings that have become wet before sealant application and replace them with dry materials.

Retain paragraph below for sealants installed in moving joints without sealant backings.

E.	Install bond-breaker tape behind sealants where sealant backings are not used between sealants and back of joints.

F.	Install sealants by proven techniques to comply with the following and at the same time backings are installed:

1.	Place sealants so they directly contact and fully wet joint substrates.

2.	Completely fill recesses provided for each joint configuration.

3.	Produce uniform, cross-sectional shapes and depths relative to joint widths that allow optimum sealant movement capability.

G.	Tooling of Nonsag Sealants:  Immediately after sealant application and before skinning or curing begins, tool sealants according to requirements specified below to form smooth, uniform beads of configuration indicated; to eliminate air pockets; and to ensure contact and adhesion of sealant with sides of joint.

1.	Remove excess sealants from surfaces adjacent to joint.

2.	Use tooling agents that are approved in writing by sealant manufacturer and that do not discolor sealants or adjacent surfaces.

Retain one or more subparagraphs below to suit joint configurations required for Project.  First subparagraph makes concave configuration the default requirement; second and third subparagraphs, if retained, require that other configurations be indicated on Drawings.  Revise if one of the latter two configurations needs to become the default requirement.

3.	Provide concave joint configuration per Figure 5A in ASTM C 1193, unless otherwise indicated.

4.	Provide flush joint configuration, per Figure 5B in ASTM C 1193, where indicated.

5.	Provide recessed joint configuration, per Figure 5C in ASTM C 1193, of recess depth and at locations indicated.

a.	Use masking tape to protect adjacent surfaces of recessed tooled joints.

# 3.5	CLEANING

A.	Clean off excess sealants or sealant smears adjacent to joints as the Work progresses by methods and with cleaning materials approved in writing by manufacturers of joint sealants and of products in which joints occur.

# 3.6	PROTECTION

A.	Protect joint sealants during and after curing period from contact with contaminating substances and from damage resulting from construction operations or other causes so sealants are without deterioration or damage at time of Substantial Completion.  If, despite such protection, damage or deterioration occurs, cut out and remove damaged or deteriorated joint sealants immediately so installations with repaired areas are indistinguishable from the original work.

# 3.7	ELASTOMERIC JOINT-SEALANT TYPES & SCHEDULE

Modify this and succeeding schedules to suit Project.  Retain requirements in Part 2 that reference sealant standards but do not duplicate requirements in Part 2.  When editing schedules, remove brackets [ ] and boldfacing from text selected; also remove <uppercase editor's notes>. Refer to Editing Instruction No. 2 and a completed sample in the Evaluations for an explanation on how to use schedules.

For each type of sealant product, insert descriptions of applications where each sealant type is required, unless designations in paragraph titles are exclusively used on Drawings for this purpose.  If designations are retained, insert No. in place of [#] to complete designations. If product names are retained, see Editing Instruction No. 1 in the Evaluations for cautions about naming products and manufacturers. Retain only those products that comply with requirements retained for uses related to exposure and joint substrates. See tables in the Evaluations.

A.	Type 1 – General Purpose Exterior Sealant:  Polyurethane; ASTM C920, Type S, Grade NS, Class 25; single component.

- Sonolastic NP-1; Sonneborne

- Dymonic; Tremco

- Sikaflex-1a; Sika

- Dynatrol 1; Pecora

- Vulkem 921; Vulkem

- Chem-Calk 900; Bostik

B.	Type 2 – General Purpose Exterior Sealant; Polyurethane; ASTM C920, Type M, Grade NS, Class 25; two component.

1.		Sonolastic NP-1; Sonneborne

- Dymonic; Tremco

- Sikaflex-1a; Sika

- Dynatrol 1; Pecora

- Vulkem 921; Vulkem

- Chem-Calk 900; Bostik

C.	Type 3 – General Purpose Interior Sealant; Acrylic emulsion latex; ASTM C834, single component, paintable.

- Tremco Acrylic Latex; Tremco

- AC-20; Pecora

- Chem-Calk 600; Bostik

D.	Type 4 – Bathtub/Tile Sealant:  White silicone; ASTM C920, Uses M and A; single component, mildew resistant.

- Sanitary 1700; GE Silicones

- 898 Silicone; Pecora

- 786 MR Silicone; Dow Corning

E.	Type 5 – Acoustical Sealant:  Butyl or acrylic sealant; ASTM C920, Grade NS, Class 12-1/2, uses M and A; single component, solvent release curing, non-skimming.

F.	Type 6 – Interior Floor Joint Sealant:  Polyurethane, self-leveling; ASTM C920, Grade P, Class 25, uses T, M and A; single component.

- Sonolastic SL-1; Sonneborne

- Tremflex S/L; Tremco

- Sikaflex-1CSL; Sika

- NR-201; Pecora

- Vulkem 45; Vulkem

- Chem-Calk 950; Bostik

Type S, Grade NS products listed above are suitable for traffic and, for selected products, nontraffic uses; products below are for nontraffic use only.

# 3.8	SCHEDULE

A.	Control, expansion and soft joints in masonry and between masonry and adjacent work:  Type 2; colors as selected.

B.	Exterior joints for which no other sealant type is indicated:  Type 2; colors as selected.

C.	Joints between exterior metal frames and adjacent work:  Type 2; colors as selected.

D.	Under exterior door thresholds:  Type 1.

E.	Interior perimeter joints of exterior openings:  Type 3.

F.	Control and expansion joints in interior concrete slabs and floors left exposed: Type 6.

G.	Joints between plumbing fixtures and walls and floors and between countertops and walls:  Type 4.

H.	In STC-rated walls, between metal stud track/runner and adjacent construction:  Type 5.

I.	Interior joints for which no other sealants is indicated:  Type 3; colors as selected.

# END OF SECTION 07920