Copyright 1998, The American Institute of Architects (AIA)

- SECTION 08712 - DOOR HARDWARE (SCHEDULED BY DESCRIBING PRODUCTS)

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

See Editing Instruction No. 2 in the Evaluations in Division 8 Section "Door Hardware" before editing this Section.

- PART 1 - GENERAL

- 1.1	RELATED DOCUMENTS

A.	Site drawings produced by Pinkham and Greer Consulting Engineers, foundation/basement plan drawings produced by TFH Architects PA and Structural Design Consulting, building drawings produced by TFH Architects, mechanical drawings produced by TFH Architects, electrical and lighting drawings produced by TFH Architects.  Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections apply to all sections.

- 1.2	SUMMARY

A.	This Section includes the following:

1.	Door hardware for the following:

a.	Swinging doors.

b.	Other doors to the extent indicated.

2.	Cylinders for doors specified in other Sections.

3.	Electrified door hardware.

B.	Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1.	Division 8 Section "Steel Doors and Frames" for astragals provided as part of a fire-rated labeled assembly and for door silencers provided as part of the frame.

2.	Division 8 Section "Flush Wood Doors" for astragals provided as part of a fire-rated labeled assembly.

3.	Division 8 Section "Aluminum Entrances and Storefronts" for entrance door hardware, except cylinders.

4..	Division 10 Section "Wire Mesh Partitions" for wire mesh partition door hardware, except cylinders.

- 1.3	SUBMITTALS

A.	Product Data:  Include installation details, material descriptions, dimensions of individual components and profiles, and finishes.

Retain paragraph and subparagraphs below for electrified door hardware.

B.	Shop Drawings:  Details of electrified door hardware, indicating the following:

Delete subparagraph below if electrified door hardware is not complex (e.g., only electromagnetic locks or electric strikes are required).

- 1.	Wiring Diagrams:  Detail wiring for power, signal, and control systems and differentiate between manufacturer-installed and field-installed wiring.  Include the following:

a.	System schematic.

Retain options in subparagraph below to suit Project or delete if not required.

- 2.	Detail interface between electrified door hardware and fire alarm access control. system.

Retain one of two paragraphs below.  First is usually for plastic-laminate or acrylic armor, kick, mop, and stretcher plates.

C.	Samples for Initial Selection:  Manufacturer's color charts consisting of units or sections of units showing the full range of colors, textures, and patterns available for each type of door hardware indicated.

Delete paragraph above if colors and other characteristics are preselected and specified or scheduled.  Retain paragraph below with or without above.

D.	Samples:  For exposed door hardware of each type indicated below, in specified finish, full size.  Tag with full description for coordination with the Door Hardware Schedule.  Submit samples before, or concurrent with, submission of the final Door Hardware Schedule.

Delete items below not required or specified.  Add more detailed descriptions if required.

1.	Door Hardware:  As follows:

a.	Hinges.

b.	Locks and latches.

c.	Stops and holders.

d.	Door gasketing.

Retain subparagraph below unless Samples are delivered to Owner as extra materials.

2.	Samples will be returned to Contractor.  Units that are acceptable and remain undamaged through submittal, review, and field comparison process may, after final check of operation, be incorporated into the Work, within limitations of keying requirements.

Retain "Supplier Qualifications" Paragraph in "Quality Assurance" Article with paragraph below.

E.	Door Hardware Schedule:  Prepared by or under the supervision of supplier, detailing fabrication and assembly of door hardware, as well as procedures and diagrams.  Coordinate the final Door Hardware Schedule with doors, frames, and related work to ensure proper size, thickness, hand, function, and finish of door hardware.

1.	Format:  Comply with scheduling sequence and vertical format in DHI's "Sequence and Format for the Hardware Schedule."

2.	Organization:  Organize the Door Hardware Schedule into door hardware sets indicating complete designations of every item required for each door or opening.

Delete subparagraph below if Door Hardware Schedule is not at end of Part 3.

a.	Organize door hardware sets in same order as in the Door Hardware Schedule at the end of Part 3.

3.	Content:  Include the following information:

a.	Type, style, function, size, label, hand, and finish of each door hardware item.

b.	Manufacturer of each item.

c.	Fastenings and other pertinent information.

d.	Location of each door hardware set, cross-referenced to Drawings, both on floor plans and in door and frame schedule.

e.	Explanation of abbreviations, symbols, and codes contained in schedule.

f.	Mounting locations for door hardware.

g.	Door and frame sizes and materials.

Retain subparagraph below for electrified door hardware.

h.	Description of each electrified door hardware function, including location, sequence of operation, and interface with other building control systems.

Edit subparagraph below for type of door hardware and function.

1)	Sequence of Operation:  Include description of component functions that occur in the following situations:  authorized person wants to enter; authorized person wants to exit; unauthorized person wants to enter; unauthorized person wants to exit.

4.	Submittal Sequence:  Submit the final Door Hardware Schedule at earliest possible date, particularly where approval of the Door Hardware Schedule must precede fabrication of other work that is critical in the Project construction schedule.  Include Product Data, Samples, Shop Drawings of other work affected by door hardware, and other information essential to the coordinated review of the Door Hardware Schedule.

Delete subparagraph above or below, or both if early approval is not critical.  Sequence below fragments and extends review process.

5.	Submittal Sequence:  Submit initial draft of final schedule along with essential Product Data to facilitate the fabrication of other work that is critical in the Project construction schedule.  Submit the final Door Hardware Schedule after Samples, Product Data, coordination with Shop Drawings of other work, delivery schedules, and similar information has been completed and accepted.

Retain "Supplier Qualifications" Paragraph in "Quality Assurance" Article with paragraph below.

F.	Keying Schedule:  Prepared by or under the supervision of supplier, detailing Owner's final keying instructions for locks.  Include schematic keying diagram and index each key set to unique door designations.

Retain paragraph and subparagraph below for electrified door hardware.

G.	Product Certificates:  Signed by manufacturers of electrified door hardware certifying that products furnished comply with requirements.

1.	Certify that door hardware approved for use on types and sizes of labeled fire doors complies with listed fire door assemblies.

H.	Maintenance Data:  For each type of door hardware to include in maintenance manuals specified in Division 1.

I.	Warranties:  Special warranties specified in this Section.

- 1.4	QUALITY ASSURANCE

A.	Installer Qualifications:  An experienced installer who has completed door hardware similar in material, design, and extent to that indicated for this Project and whose work has resulted in construction with a record of successful in-service performance.

B.	Supplier Qualifications:  Door hardware supplier with warehousing facilities in Project's vicinity and who is or employs a qualified Architectural Hardware Consultant, available during the course of the Work to consult with Contractor, Architect, and Owner about door hardware and keying.

Retain subparagraph below if required.

1.	Electrified Door Hardware Supplier Qualifications:  An experienced door hardware supplier who has completed projects with electrified door hardware similar in material, design, and extent to that indicated for this Project, whose work has resulted in construction with a record of successful in-service performance, and who is acceptable to manufacturer of primary materials.

a.	Engineering Responsibility:  Prepare data for electrified door hardware, including Shop Drawings, based on testing and engineering analysis of manufacturer's standard units in assemblies similar to those indicated for this Project.

2.	Scheduling Responsibility:  Preparation of door hardware and keying schedules.

C.	Architectural Hardware Consultant Qualifications:  A person who is currently certified by the Door and Hardware Institute as an Architectural Hardware Consultant and who is experienced in providing consulting services for door hardware installations that are comparable in material, design, and extent to that indicated for this Project.

Delete subparagraph below if not required.

1.	Electrified Door Hardware Qualifications:  Experienced in providing consulting services for electrified door hardware installations.

D.	Source Limitations:  Obtain each type and variety of door hardware from a single manufacturer, unless otherwise indicated.

Delete subparagraph below if not required.

1.	Provide electrified door hardware from same manufacturer as mechanical door hardware, unless otherwise indicated.  Manufacturers that are listed to perform electrical modifications, by a testing and inspecting agency acceptable to authorities having jurisdiction, are acceptable.

E.	Regulatory Requirements:  Comply with provisions of the following:

Generally retain Americans with Disabilities Act Accessibility Guidelines below for private projects; FED-STD-795 for Federal, State, and local government projects.  Verify with authorities having jurisdiction.

1.	Where indicated to comply with accessibility requirements, comply with Americans with Disabilities Act (ADA), "Accessibility Guidelines for Buildings and Facilities (ADAAG)," as follows:

Delete items of door hardware below not required.

a.	Handles, Pulls, Latches, Locks, and other Operating Devices:  Shape that is easy to grasp with one hand and does not require tight grasping, tight pinching, or twisting of the wrist.

b.	Door Closers:  Comply with the following maximum opening-force requirements indicated:

1)	Interior Hinged Doors:  5 lbf (22.2 N) applied perpendicular to door.

2)	Sliding or Folding Doors:  5 lbf (22.2 N) applied parallel to door at latch.

3)	Fire Doors:  Minimum opening force allowable by authorities having jurisdiction.

c.	Thresholds:  Not more than 1/2 inch (13 mm) high.  Bevel raised thresholds with a slope of not more than 1:2.

2.	NFPA 101:  Comply with the following for means of egress doors:

Delete items of door hardware below not required.

a.	Latches, Locks, and Exit Devices:  Not more than 15 lbf (67 N) to release the latch.  Locks shall not require the use of a key, tool, or special knowledge for operation.

b.	Door Closers:  Not more than 30 lbf (133 N) to set door in motion and not more than 15 lbf (67 N) to open door to minimum required width.

c.	Thresholds:  Not more than 1/2 inch (13 mm) high.

3.	Electrified Door Hardware:  Listed and labeled as defined in NFPA 70, Article 100, by a testing agency acceptable to authorities having jurisdiction.

Delete paragraph and subparagraph below if not required.

F.	Fire-Rated Door Assemblies:  Provide door hardware for assemblies complying with NFPA 80 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire ratings indicated, based on testing according to NFPA 252.

Revise below if positive-pressure testing is required.

1.	Test Pressure:  Test at atmospheric pressure.

Delete paragraph below if keying is not extensive or complex enough to justify a keying conference.  If retaining, coordinate with Division 1.  Identify specific participants not mentioned in Division 1.

G.	Keying Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Meetings."  Incorporate keying conference decisions into final keying schedule after reviewing door hardware keying system including, but not limited to, the following:

1.	Function of building, flow of traffic, purpose of each area, degree of security required, and plans for future expansion.

2.	Preliminary key system schematic diagram.

3.	Requirements for key control system.

4.	Address for delivery of keys.

5.	Review and finalize construction schedule and verify availability of materials, installer’s personnel, equipment and facilities needd to make progress and avoid delays.

6.	Review required testing, inspecting and certifying procedures.

Delete paragraph below if work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

- 1.5	DELIVERY, STORAGE, AND HANDLING

A.	Inventory door hardware on receipt and provide secure lock-up for door hardware delivered to Project site.

B.	Tag each item or package separately with identification related to the final Door Hardware Schedule, and include basic installation instructions with each item or package.

C.	Deliver keys to manufacturer of key control system.

Delete paragraph above or below or revise to suit Project.  Retain below for high-security cylinders.

D.	Deliver keys to Owner by registered mail or overnight package service.

1.	Joe Booth, People’s Regional Opportunity Program, 510 Cumberland Avenue, Portland, Maine.

- 1.6	COORDINATION

Delete paragraph below if no recessed pivots or closers.

A.	Templates:  Obtain and distribute to the parties involved templates for doors, frames, and other work specified to be factory prepared for installing door hardware.  Check Shop Drawings of other work to confirm that adequate provisions are made for locating and installing door hardware to comply with indicated requirements.

Delete below if no electrified door hardware requires connections.

B.	Electrical System Roughing-in:  Coordinate layout and installation of electrified door hardware with connections to power supplies, fire alarm system and detection devices, access control system.

- 1.7	WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this Article are not less than remedies available to Owner under prevailing local laws.  Coordinate with Division 1 Section "Warranties."

A.	General Warranty:  Special warranties specified in this Article shall not deprive Owner of other rights Owner may have under other provisions of the Contract Documents and shall be in addition to, and run concurrent with, other warranties made by Contractor under requirements of the Contract Documents.

B.	Special Warranty:  Written warranty, executed by manufacturer agreeing to repair or replace components of door hardware that fail in materials or workmanship within specified warranty period.  Failures include, but are not limited to, the following:

1.	Structural failures including excessive deflection, cracking, or breakage.

2.	Faulty operation of operators and door hardware.

3.	Deterioration of metals, metal finishes, and other materials beyond normal weathering.

Verify available warranties in four paragraphs below and retain or insert number.

C.	Warranty Period:  Three years from date of Substantial Completion, unless otherwise indicated.

Retain paragraph below for electromagnetic and delayed-egress locks.

D.	Warranty Period for Electromagnetic Locks:  Five years from date of Substantial Completion.

Delete two paragraphs below if no closers.  Verify with manufacturers selected.

E.	Warranty Period for Manual Closers:  10 years from date of Substantial Completion.

- 1.8	MAINTENANCE SERVICE

A.	Maintenance Tools and Instructions:  Furnish a complete set of specialized tools and maintenance instructions as needed for Owner's continued adjustment, maintenance, and removal and replacement of door hardware.

Consider deleting below for light use.  Normally retain for critical units.  Revise starting date if required.  Obtain a copy of maintenance agreement before retaining or editing below.

B.	Maintenance Service:  Beginning at Substantial Completion, provide six months' full maintenance by skilled employees of door hardware Installer.  Include quarterly preventive maintenance, repair or replacement of worn or defective components, lubrication, cleaning, and adjusting as required for proper door hardware operation.  Provide parts and supplies as used in the manufacture and installation of original products.

- PART 2 - PRODUCTS

See Editing Instruction No. 4 in the Evaluations in Division 8 Section "Door Hardware" for selecting door hardware products.

Coordinate the following Articles with Door Hardware Schedule at end of Part 3.  Delete door hardware products not required.

- 2.1	SCHEDULED DOOR HARDWARE

Delete this Article if door hardware allowance is used or if there is no Door Hardware Schedule.

A.	General:  Provide door hardware for each door to comply with requirements in this Section door hardware sets indicated in door and frame schedule.

1.	Door Hardware Sets:  Requirements for quantity, item, design, grade, function, finish, size, and other distinctive qualities of each type of door hardware are indicated in the Door Hardware Schedule at the end of Part 3.  Products are identified by descriptive titles corresponding to requirements specified in Part 2.

Retain below for electrified door hardware.

2.	Sequence of Operation:  Provide electrified door hardware function, sequence of operation, and interface with other building control systems indicated.

- 2.2	HINGES AND PIVOTS, GENERAL

- A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

- B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 1 in the Evaluations in Division 8 Section "Door Hardware" for cautions about naming products and manufacturers.

1.	Hinges:

a.	Baldwin Hardware Corporation.

b.	Bommer Industries, Inc.

c.	Cal-Royal Products, Inc.

d.	Hager Companies.

e.	Lawrence Brothers, Inc.

f.	McKinney Products Company; Div. of ESSEX Industries, Inc.

g.	Mont-Hard Corporation; Div. of Fanal, SA.

h.	PBB, Inc.

i.	Sargent Manufacturing Company; Div. of ESSEX Industries, Inc.

j.	Stanley Commercial Hardware; Div. of The Stanley Works.

2.	Pivots and Pivot Hinges:

Manufacturers of pivot sets must be coordinated with manufacturers of floor closers.

a.	DORMA Door Controls Inc.; Member of The DORMA Group.

b.	Hager Companies.

c.	Lawrence Brothers, Inc.

d.	LCN Closers; an Ingersoll-Rand Company.

e.	Markar Products, Inc.

f.	McKinney Products Company; Div. of ESSEX Industries, Inc.

g.	NT Dor-O-Matic Hardware Div.; an Ingersoll-Rand Company.

h.	Rixson-Firemark, Inc.; Div. of Yale Security Inc.

i.	Sargent Manufacturing Company; Div. of ESSEX Industries, Inc.

j.	Stanley Commercial Hardware; Div. of The Stanley Works.

- C.	Standards:  Comply with the following:

1.	Butts and Hinges:  BHMA A156.1.

Subparagraph below is for hollow metal doors.

2.	Template Hinge Dimensions:  BHMA A156.7.

3.	Self-Closing Hinges and Pivots:  BHMA A156.17.

4.	Pivots:  BHMA A156.4.

Delete paragraph below if only continuous geared hinges are required or if quantity is included in Door Hardware Schedule.

- D.	Quantity:  Provide the following, unless otherwise indicated:

1.	Two Hinges:  For doors with heights up to 60 inches (1524 mm).

2.	Three Hinges:  For doors with heights 61 to 90 inches (1549 to 2286 mm).

3.	Four Hinges:  For doors with heights 91 to 120 inches (2311 to 3048 mm).

4.	For doors with heights more than 120 inches (3048 mm), provide 4 hinges, plus 1 hinge for every 30 inches (750 mm) of door height greater than 120 inches (3048 mm).

Add sizes not listed and delete sizes not required.  Delete paragraph and tables below if only continuous geared hinges are required or if sizes are in Door Hardware Schedule.

- E.	Size:  Provide the following, unless otherwise indicated, with hinge widths sized for door thickness and clearances required:

|  |  | Metal Thickness (inches) |  |
| --- | --- | --- | --- |
| Maximum Door Size (inches) | Hinge Height (inches) | Standard Weight | Heavy Weight |
| 32 by 84 by 1-3/8 | 3-1/2 | 0.123 | - |
| 36 by 84 by 1-3/8 | 4 | 0.130 | - |
| 36 by 84 by 1-3/4 | 4-1/2 | 0.134 | 0.180 |
| 42 by 90 by 1-3/4 | 4-1/2 | 0.134 | 0.180 |
| 48 by 120 by 1-3/4 | 5 | 0.146 | 0.190 |

- F.	Template Requirements:  Except for hinges and pivots to be installed entirely (both leaves) into wood doors and frames, provide only template-produced units.

Delete paragraph below if requirements are indicated in Door Hardware Schedule.

- G.	Hinge Applications:  Unless otherwise indicated, provide the following:

1.	Entrance Doors:  Heavy-weight hinges.

2.	Doors with Closers:  Antifriction-bearing hinges.

3.	Interior Doors:  Standard-weight hinges.

- H.	Hinge Base Metal:  Unless otherwise indicated, provide the following:

- Exterior Hinges:  Stainless steel, with stainless-steel pin.

- Interior Hinges:  Brass, with stainless-steel pin body and brass protruding heads].

3.	Hinges for Fire-Rated Assemblies:  Steel, with steel pin.

Delete paragraph and subparagraphs below if only continuous geared hinges are required.

- I.	Hinge Options:  Comply with the following where indicated in the Door Hardware Schedule or on Drawings:

Hospital tips below are used in locations where additional cleanliness and safety are required.

1.	Nonremovable Pins:  Provide set screw in hinge barrel that, when tightened into a groove in hinge pin, prevents removal of pin while door is closed; for the following applications:

Retain one or both subparagraphs below.

a.	Outswinging exterior doors.

b.	Outswinging corridor doors with locks.

Subparagraph below is used when door is set deep in jamb and frame is to be mortised.  Raised barrel limits swing to 90 degrees.

- J.	Electrified Functions for Hinges:  Comply with the following:

1.	Electrical Contact:  Exposed electrical contacts for transfer of power.

2.	Power Transfer:  Concealed PTFE-jacketed wires, secured at each leaf and continuous through hinge knuckle.

3.	Monitoring:  Concealed electrical monitoring switch.

4.	Power Transfer and Monitoring:  Concealed PTFE-jacketed wires, secured at each leaf and continuous through hinge knuckle, and with concealed electrical monitoring switch.

- K.	Fasteners:  Comply with the following:

1.	Machine Screws:  For metal doors and frames.  Install into drilled and tapped holes.

2.	Wood Screws:  For wood doors and frames.

3.	Threaded-to-the-Head Wood Screws:  For fire-rated wood doors.

4.	Screws:  Phillips flat-head screws; machine screws (drilled and tapped holes) for metal doors, wood screws for wood doors and frames.  Finish screw heads to match surface of hinges.

- 2.3	PIVOTS

See Editing Instruction No. 4 in the Evaluations in Division 8 Section "Door Hardware" for description of specifying methods.

A.	Single-Acting, Center-Hung, Door Pivots:  BHMA Grade 2, wrought brass or bronze top and bottom units, each containing rack-and-pinion assemblies permitting door to open 105 degrees; reversible.

Center pivot sets in paragraph below are not allowed on labeled fire doors.

- 2.4	LOCKS AND LATCHES, GENERAL

A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 1 in the Evaluations in Division 8 Section "Door Hardware" for cautions about naming products and manufacturers.

- 1.	Mechanical Locks and Latches:

a.	Accurate Lock and Hardware Co.

b.	Adams Rite Manufacturing Co.

c.	Architectural Builders Hardware Mfg., Inc.

d.	Arrow Architectural Hardware; Div. of ESSEX Industries, Inc.

e.	Best Lock Corporation.

f.	Brink:  R. R. Brink Locking Systems, Inc.

g.	Cal-Royal Products, Inc.

h.	Corbin Russwin Architectural Hardware; Div. of Yale Security Inc.

i.	Door Controls International.

j.	Folger Adam Security Inc.

k.	Glynn-Johnson; an Ingersoll-Rand Company.

l.	Hager Companies.

m.	Ives:  H. B. Ives.

n.	Lockwood Architectural Hardware; Div. of Lloyd Matheson Inc.

o.	Marks USA.

p.	McKinney Products Company; Div. of ESSEX Industries, Inc.

q.	Medeco High Security Locks, Inc.

r.	NT Falcon Lock Co.; an Ingersoll-Rand Company.

s.	PDQ Manufacturing Co.

t.	Rockwood Manufacturing Company.

u.	Sargent Manufacturing Company; Div. of ESSEX Industries, Inc.

v.	Schlage Lock Company; an Ingersoll-Rand Company.

w.	Security Door Controls.

x.	Simplex; Div. of UNICAN.

y.	Southern Steel Co.; Div. of Phelps-Tointon Inc.

z.	Triangle Brass Manufacturing Company, Inc.

aa.	Weiser Lock; Div. of Masco Building Products Corporation.

ab.	Yale Security Inc.; Div. of Williams Holdings.

- 2.	Electromagnetic Locks and Latches:

a.	American Device Manufacturing Company; Member of The DORMA Group.

b.	Door Controls International.

c.	Doorguard Systems, Inc.

d.	Dortronics Systems Inc.

e.	DynaLock Corp.

f.	Locknetics Security Engineering; a Harrow Company.

g.	Rixson-Firemark, Inc.; Div. of Yale Security Inc.

h.	Rutherford Controls Inc.; Div. of Fritz Fuss.

i.	Sargent Manufacturing Company; Div. of ESSEX Industries, Inc.

j.	Securitron Magnalock Corp.

k.	Security Door Controls.

l.	Von Duprin, Inc.; an Ingersoll-Rand Company.

m.	Yale Security Inc.; Div. of Williams Holdings.

Retain paragraph and subparagraphs below to establish minimum quality and performance requirements for locks and latches.

C.	Standards:  Comply with the following:

1.	Bored Locks and Latches:  BHMA A156.2.

2.	Mortise Locks and Latches:  BHMA A156.13.

3.	Electromagnetic Locks:  BHMA A156.23.

4.	Exit Locks:  BHMA A156.5.

Delete first four paragraphs below if grade is always indicated in door hardware sets.  Insert function requirements with each if an allowance is used to specify door hardware.

D.	Bored Locks:  BHMA Grade 1, unless Grade 2 is indicated; Series 4000.

E.	Mortise Locks:  Stamped steel case with steel or brass parts; BHMA Grade 1, unless Grade 2 is indicated; Series 1000.

F.	Certified Products:  Provide door hardware listed in the following BHMA directories:

1.	Mechanical Locks and Latches:  BHMA's "Directory of Certified Locks & Latches."

2.	Electromagnetic Locks:  BHMA's "Directory of Certified Electromagnetic & Delayed Egress Locks."

3.	Delayed-Egress Locks:  BHMA's "Directory of Certified Electromagnetic & Delayed Egress Locks."

G.	Lock Trim:  Comply with the following:

Most levers in subparagraph below are cast.

1.	Lever:  Wrought, forged, or cast.

Most knobs in subparagraph below are wrought.

2.	Knob:  Wrought, forged, or cast.

3.	Escutcheon (Rose):  Wrought, forged, or cast.

4.	Dummy Trim:  Match lever lock trim and escutcheons.

5.	Lockset Designs:  Provide lockset design designated below or, if sets are provided by another manufacturer, provide designs that match those designated:

Subparagraph below is an example that uses one type of lock.  Revise to suit lock type specified for Project.  Retain first option if BHMA standards are used to specify door hardware and lock design is indicated on Drawings.

- Bored Locks:  Sargent Series 7000, Series 8200 where mortise Type LB.

H.	Lock Functions:  Function numbers and descriptions indicated in the Door Hardware Schedule comply with the following:

1.	Bored Locks:  BHMA A156.2.

2.	Mortise Locks:  BHMA A156.13.

3.	Interconnected Locks:  BHMA A156.12.

I.	Backset:  2-3/4 inches (70 mm), unless otherwise indicated.

- 2.5	MECHANICAL LOCKS AND LATCHES

See Editing Instruction No. 4 in the Evaluations in Division 8 Section "Door Hardware" for description of specifying methods.

A.	Rim Auxiliary Locks:  Comply with the following:

1.	Material:  Brass.

2.	Latchbolt:  Operated by key outside and turn inside.

- 2.6	ELECTRIFIED LOCKS AND LATCHES

See Editing Instruction No. 4 in the Evaluations in Division 8 Section "Door Hardware" for description of specifying methods.

A.	Electromagnetic Locks:  Electrically powered locks of strength and configuration indicated; with electromagnet attached to frame and strike plate attached to door.  Comply with the following:

1.	Strength Ranking:  500 lbf (2224 N) as tested according to BHMA A156.23.

Retain one of two optional values in two subparagraphs below.  First value is from BHMA standard.  Second value is available from domestic manufacturers as standard.

- 2.7	DOOR BOLTS, GENERAL

A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 1 in the Evaluations in Division 8 Section "Door Hardware" for cautions about naming products and manufacturers.

- 1.	Flush Bolts:

a.	Adams Rite Manufacturing Co.

b.	Burns Manufacturing Incorporated.

c.	Cal-Royal Products, Inc.

d.	Door Controls International.

e.	Glynn-Johnson; an Ingersoll-Rand Company.

f.	Hager Companies.

g.	Hiawatha, Inc.

h.	Ives:  H. B. Ives.

i.	NT Quality Hardware; an Ingersoll-Rand Company.

j.	Rixson-Firemark, Inc.; Div. of Yale Security Inc.

k.	Rockwood Manufacturing Company.

l.	Sargent Manufacturing Company; Div. of ESSEX Industries, Inc.

m.	Triangle Brass Manufacturing Company, Inc.

Retain paragraph and subparagraphs below to establish minimum quality and performance requirements for bolts.

C.	Standards:  Comply with the following:

1.	Surface Bolts:  BHMA A156.16.

2.	Automatic and Self-Latching Flush Bolts:  BHMA A156.3.

3.	Manual Flush Bolts:  BHMA A156.16.

Delete paragraph and subparagraph below if grade is always indicated in door hardware sets.

D.	Surface Bolts:  BHMA Grade 1, unless Grade 2 is indicated.

- 2.8	DOOR BOLTS

See Editing Instruction No. 4 in the Evaluations in Division 8 Section "Door Hardware" for description of specifying methods.

A.	Half-Round Surface Bolts:  6-inch (152-mm) polished brass or burnished steel half-round rod and knob; minimum 7/8-inch (22-mm) throw; with universal strike.

B.	Interlocking Surface Bolts:  6-inch (152-mm) extruded brass or aluminum, interlocking track and rod; minimum 15/16-inch (24-mm) throw; with universal or mortise strike.

C.	Fire-Rated Surface Bolts:  8-inch (203-mm) steel bolt with 2 steel guides; minimum 1-inch (25-mm) throw; listed and labeled for fire-rated doors; with universal strike.

Revise paragraph below to a mortise strike for door application with a shelf.

D.	Dutch-Door Surface Bolts:  Polished brass bolt and knob, minimum 3/4-inch (19-mm) throw, with standard strike.

If needed, insert requirements for cremone bolts.

Flush bolts in first four paragraphs below are for inactive leaf of a pair of doors.

Doors with automatic flush bolts must usually be equipped with a coordinator.  Some models also require a carry-open bar.

E.	Automatic Flush Bolts:  Fabricated from steel and brass components, with spring-activated bolts that automatically retract when active leaf is opened and that automatically engage when active door depresses bolt trigger listed and labeled for fire-rated doors.  Provide brass or stainless-steel cover plate, top and bottom strikes, guides, guide supports, wear plates, and shims.

F.	Self-Latching Flush Bolts:  Fabricated from steel and brass components, with spring-activated bolts that automatically engage when active door depresses trigger listed and labeled for fire-rated doors.  Bolts are manually retracted by a slide in the bolt face.  Provide brass or stainless-steel cover plate, top and bottom strikes, guides, guide supports, wear plates, and shims.

G.	Manual-Extension Flush Bolts:  Fabricated from extruded brass or aluminum, with 12-inch (305-mm) rod actuated by flat lever listed and labeled for fire-rated doors.  Provide matching strike.

H.	Slide Flush Bolts:  Cast brass, with rod actuated by slide.  Provide matching strike.

I.	Tubular Bolts:  Polished brass or polished bronze oval turn knob and escutcheon; minimum 9/16-inch (14-mm) steel bolt with 1/2-inch (13-mm) throw.

- 2.9	EXIT DEVICES, GENERAL

A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 1 in the Evaluations in Division 8 Section "Door Hardware" for cautions about naming products and manufacturers.

1.	Adams Rite Manufacturing Co.

2.	American Device Manufacturing Company; Member of The DORMA Group.

3.	Arrow Architectural Hardware; Div. of ESSEX Industries, Inc.

4.	Corbin Russwin Architectural Hardware; Div. of Yale Security Inc.

5.	Door Controls International.

6.	DynaLock Corp.

7.	Locknetics Security Engineering; a Harrow Company.

8.	NT Dor-O-Matic Hardware Div.; an Ingersoll-Rand Company.

9.	NT Monarch Hardware; an Ingersoll-Rand Company.

10.	Precision Hardware, Inc.

11.	Sargent Manufacturing Company; Div. of ESSEX Industries, Inc.

12.	Securitron Magnalock Corp.

13.	Von Duprin; an Ingersoll-Rand Company.

14.	Yale Security Inc.; Div. of Williams Holdings.

Retain paragraph and subparagraph below to establish minimum quality and performance requirements for exit devices.

C.	Standard:  BHMA A156.3.

Delete subparagraph below if grade is always indicated in door hardware sets.

1.	BHMA Grade:  Grade 1.

D.	Certified Products:  Provide exit devices listed in BHMA's "Directory of Certified Exit Devices."

Retain one of first two paragraphs below, or both.  Only fire exit devices may be used for fire doors.  NFPA 80 distinguishes between panic exit hardware and fire exit hardware.  See the Evaluations in Division 8 Section "Door Hardware."

E.	Panic Exit Devices:  Listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for panic protection, based on testing according to UL 305.

UL test below includes operational test of 100,000 cycles.  BHMA A156.3 requires 250,000 cycles for Grade 1 and 100,000 cycles for Grade 2.

F.	Fire Exit Devices:  Complying with NFPA 80 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire and panic protection, based on testing according to UL 305 and NFPA 252.

G.	Dummy Push Bar:  Nonfunctioning push bar matching functional push bar.

1.	Operation:  Rigid.

Retain paragraph below if exit device levers, knobs, and pulls are required to match lockset and latchset designs.

H.	Outside Trim: Lever with cylinder; material and finish to match locksets, unless otherwise indicated.

1.	Match design for locksets and latchsets, unless otherwise indicated.

Include below if physical abuse is a design consideration.

I.	Through Bolts:  For exit devices and trim on metal doors.

- 2.10	CYLINDERS AND KEYING

A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1.	Cylinders:  Same manufacturer as for locks and latches.

Retain subparagraph above or subparagraph and list of manufacturers below.  Above significantly reduces competition and may result in higher costs.

2.	Cylinders:

See Editing Instruction No. 1 in the Evaluations in Division 8 Section "Door Hardware" for cautions about naming products and manufacturers.

a.	ABLOY High Security Locks; Div. of ASSA ABLOY, Inc.

b.	Arrow Architectural Hardware; Div. of ESSEX Industries, Inc.

c.	ASSA High Security Locks; Div. of ASSA ABLOY, Inc.

d.	Best Lock Corporation.

e.	Corbin Russwin Architectural Hardware; Div. of Yale Security Inc.

f.	Lockwood Architectural Hardware; Div. of Lloyd Matheson Inc.

g.	Marks USA.

h.	Medeco High Security Locks, Inc.

i.	NT Falcon Lock Co.; an Ingersoll-Rand Company.

j.	Sargent Manufacturing Company; Div. of ESSEX Industries, Inc.

k.	Schlage Lock Company; an Ingersoll-Rand Company.

l.	Weiser Lock; a Masco Building Products Corporation.

m.	Yale Security Inc.; Div. of Williams Holdings.

Retain paragraph and subparagraphs below to establish minimum quality and performance requirements for cylinders and key control systems.

C.	Standards:  Comply with the following:

1.	Cylinders:  BHMA A156.5.

Delete paragraph below if grade is always indicated in door hardware sets.

D.	Cylinder Grade:  BHMA Grade 1.

E.	Cylinders:  Manufacturer's standard tumbler type, constructed from brass or bronze, stainless steel, or nickel silver, and complying with the following:

Five pins in subparagraph below are not available for high-security cylinders.

1.	Number of Pins:  Five.

Retain applicable types from three subparagraphs below.

2.	Mortise Type:  Threaded cylinders with rings and straight- or clover-type cam.

3.	Rim Type:  Cylinders with back plate, flat-type vertical or horizontal tailpiece, and raised trim ring.

4.	Bored-Lock Type:  Cylinders with tailpieces to suit locks.

Retain subparagraph below with any of three subparagraphs above; not available in interchangeable core.

- a.	High-Security Grade:  BHMA Grade 1A, listed and labeled as complying with pick- and drill-resistant testing requirements of UL 437 (Suffix A).

F.	Keying System:  Unless otherwise indicated, provide a factory-registered keying system complying with the following requirements:

Retain one of four subparagraphs below.

1.	Master Key System:  Cylinders are operated by a change key and a master key.

- 2.11	STRIKES

A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 1 in the Evaluations in Division 8 Section "Door Hardware" for cautions about naming products and manufacturers.

a.	Adams Rite Manufacturing Co.

b.	Folger Adam Security Inc.

c.	Hanchett Entry Systems, Inc.

d.	Locknetics Security Engineering; a Harrow Company.

e.	Precision Hardware, Inc.

f.	Rutherford Controls Inc.; Div. of Fritz Fuss.

g.	Security Door Controls.

h.	Trine Products Company.

i.	Von Duprin, Inc.; an Ingersoll-Rand Company.

Retain paragraph and subparagraphs below to establish minimum quality and performance requirements for strikes.

- 2.12	CLOSERS, GENERAL

A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 1 in the Evaluations in Division 8 Section "Door Hardware" for cautions about naming products and manufacturers.

- 1.	Surface-Mounted Closers:

a.	Arrow Architectural Hardware; Div. of ESSEX Industries, Inc.

b.	Cal-Royal Products, Inc.

c.	Corbin Russwin Architectural Hardware; Div. of Yale Security Inc.

d.	DORMA Door Controls Inc.; Member of The DORMA Group.

e.	LCN Closers; an Ingersoll-Rand Company.

f.	Norton Door Controls; Div. of Yale Security Inc.

g.	Rixson-Firemark, Inc.; Div. of Yale Security Inc.

h.	Sargent Manufacturing Company; Div. of ESSEX Industries, Inc.

i.	Yale Security Inc.; Div. of Williams Holdings.

C.	Standards:  Comply with the following:

1.	Closers:  BHMA A156.4.

2.	Closer Holder Release Devices:  BHMA A156.15.

Delete first two paragraphs below if grade is always indicated in door hardware sets.

D.	Surface Closers:  BHMA Grade 1.

E.	Size of Units:  Unless otherwise indicated, comply with manufacturer's written recommendations for size of door closers depending on size of door, exposure to weather, and anticipated frequency of use.  Provide factory-sized closers, adjustable to meet field conditions and requirements for opening force.

- 2.13	CLOSERS

See Editing Instruction No. 4 in the Evaluations in Division 8 Section "Door Hardware" for description of specifying methods.

A.	Traditional Surface Closers:  Rack-and-pinion hydraulic type; with adjustable sweep and latch speeds controlled by key-operated valves; with forged-steel main arm; enclosed in a cast-aluminum alloy shell; complying with the following:

1.	Mounting:  Hinge side.

2.	Type:  Regular arm.

If delayed action closing is retained in subparagraph above, delete adjustable backcheck cushioning in subparagraph below.

3.	Backcheck:  Adjustable, effective between 60 and 85 degrees of door opening.

- 2.14	STOPS AND HOLDERS, GENERAL

A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 1 in the Evaluations in Division 8 Section "Door Hardware" for cautions about naming products and manufacturers.

1.	Architectural Builders Hardware Mfg., Inc.

2.	Baldwin Hardware Corporation.

3.	Burns Manufacturing Incorporated.

4.	Door Controls International.

5.	DORMA Door Controls Inc.; Member of The DORMA Group.

6.	Glynn-Johnson; an Ingersoll-Rand Company.

7.	Hager Companies.

8.	Hanchett Entry Systems, Inc.

9.	Hiawatha, Inc.

10.	Ives:  H. B. Ives.

11.	LCN Closers; an Ingersoll-Rand Company.

12.	Norton Door Controls; Div. of Yale Security Inc.

13.	NT Dor-O-Matic Hardware Div.; an Ingersoll-Rand Company.

14.	NT Quality Hardware; an Ingersoll-Rand Company.

15.	Rixson-Firemark, Inc.; Div. of Yale Security Inc.

16.	Rockwood Manufacturing Company.

17.	Sargent Manufacturing Company; Div. of ESSEX Industries, Inc.

18.	Triangle Brass Manufacturing Company, Inc.

19.	Yale Security Inc.; Div. of Williams Holdings.

Retain paragraph and subparagraphs below to establish minimum quality and performance requirements for stops and holders.

C.	Standards:  Comply with the following:

1.	Stops and Bumpers:  BHMA A156.16.

2.	Electromagnetic Door Holders:  BHMA A156.15.

3.	Door Silencers:  BHMA A156.16.

Delete first four paragraphs below if grade is always indicated in door hardware sets.

D.	Stops and Bumpers:  BHMA Grade 1.

E.	Combination Floor and Wall Stops and Holders:  BHMA Grade 1.

F.	Combination Overhead Stops and Holders:  BHMA Grade 1.

G.	Electromagnetic Door Holders for Labeled Fire Door Assemblies:  Coordinate with fire detectors and interface with fire alarm system.

H.	Floor Stops:  For doors, unless wall or other type stops are scheduled or indicated.  Do not mount floor stops where they will impede traffic.

1.	Where floor or wall stops are not appropriate, provide overhead holders.

Retain paragraph below unless silencers are specified with wood door frames in Division 6 Section "Interior Architectural Woodwork."

I.	Silencers for Metal Door Frames:  BHMA Grade 1; neoprene or rubber, minimum diameter 1/2 inch (13 mm); fabricated for drilled-in application to frame.

- 2.15	STOPS AND HOLDERS

See Editing Instruction No. 4 in the Evaluations in Division 8 Section "Door Hardware" for description of specifying methods.

A.	Wall Bumpers:  Polished cast brass or aluminum with rubber bumper; 2-1/2-inch (64-mm) diameter, minimum 3/4-inch (19-mm) projection from wall, with backplate for concealed fastener installation; with convex bumper configuration.

Roller-type door bumpers below are to prevent interfering doors from hitting.

B.	Dome-Type Floor Stop:  Polished cast brass, bronze, or aluminum, with rubber bumper; and as follows:

1.	Height:  Minimum 1 inch (25 mm) high, for doors without threshold.

Retain subparagraph below if required.

- 2.	Riser:  Extruded aluminum for carpet installations.

C.	Electromagnetic Door Holders:  BHMA Grade 1; consisting of electromagnet attached to wall or floor as indicated, and strike plate attached to swinging door.

1.	Configuration:  Wall-mounted single unit.

- 2.16	DOOR GASKETING, GENERAL

A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 1 in the Evaluations in Division 8 Section "Door Hardware" for cautions about naming products and manufacturers.

1.	Door Gasketing:

a.	Hager Companies.

b.	National Guard Products, Inc.

c.	Pemko Manufacturing Co., Inc.

d.	Reese Enterprises, Inc.

e.	Sealeze Corporation.

f.	Ultra Industries; a Macklanburg-Duncan Company.

g.	Zero International, Inc.

2.	Door Bottoms:

a.	Hager Companies.

b.	National Guard Products, Inc.

c.	Pemko Manufacturing Co., Inc.

d.	Reese Enterprises, Inc.

e.	Ultra Industries; a Macklanburg-Duncan Company.

f.	Zero International, Inc.

Retain paragraph below to establish minimum quality and performance requirements for door gasketing.

C.	Standard:  Comply with BHMA A156.22.

D.	General:  Provide continuous weather-strip gasketing on exterior doors and provide smoke, light, or sound gasketing on interior doors where indicated or scheduled.  Provide noncorrosive fasteners for exterior applications and elsewhere as indicated.

1.	Perimeter Gasketing:  Apply to head and jamb, forming seal between door and frame.

2.	Meeting Stile Gasketing:  Fasten to meeting stiles, forming seal when doors are closed.

3.	Door Bottoms:  Apply to bottom of door, forming seal with threshold when door is closed.

E.	Air Leakage:  Not to exceed 0.50 cfm per foot (0.000774 cu. m/s per m) of crack length for gasketing other than for smoke control, as tested according to ASTM E 283.

F.	Fire-Labeled Gasketing:  Assemblies complying with NFPA 80 that are listed and labeled by a testing and inspecting agency acceptable to authorities having jurisdiction, for fire ratings indicated, based on testing according to UL 10B or NFPA 252.

G.	Gasketing materials: Comply with ASTM D 2000 and AAMA 701/702.

- 2.17	THRESHOLDS, GENERAL

- A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary Specification.  Refer to Division 1 Section "Materials and Equipment."

- B.	Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

See Editing Instruction No. 1 in the Evaluations in Division 8 Section "Door Hardware" for cautions about naming products and manufacturers.

1.	Hager Companies.

2.	National Guard Products, Inc.

3.	NT Dor-O-Matic Hardware Div.; an Ingersoll-Rand Company.

4.	Pemko Manufacturing Co., Inc.

5.	Reese Enterprises, Inc.

6.	Rixson-Firemark, Inc.; Div. of Yale Security Inc.

7.	Ultra Industries; a Macklanburg-Duncan Company.

8.	Zero International, Inc.

Retain below to establish minimum quality and performance requirements for thresholds.

- C.	Standard:  Comply with BHMA A156.21.

- 2.18	THRESHOLDS

See Editing Instruction No. 4 in the Evaluations in Division 8 Section "Door Hardware" for description of specifying methods.

Retain materials in paragraph below to suit Project.  If retaining more than one, indicate location of each on Drawings or by inserts.

A.	Saddle Thresholds:  Type and base metal as follows:

1.	Type: Fluted top.

2.	Base Metal:  Aluminum.

See Editing Instruction No. 4 in the Evaluations in Division 8 Section "Door Hardware" for description of specifying methods.

- 2.19	FINISHES

A.	Standard:  Comply with BHMA A156.18.

B.	Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

C.	Appearance of Finished Work:  Variations in appearance of abutting or adjacent pieces are acceptable if they are within one-half of the range of approved Samples.  Noticeable variations in the same piece are not acceptable.  Variations in appearance of other components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

D.	BHMA Designations:  Comply with base material and finish requirements indicated by the following:

Retain one or more finish designations below; coordinate with those indicated in Door Hardware Schedule.  See the Evaluations in Division 8 Section "Door Hardware" for details of materials and finishes.  Note that oil-rubbed finishes (BHMA 613, BHMA 722) are unstable and are difficult to match.

1.	BHMA 606:  Satin brass, clear coated, over brass base metal, US4.

- PART 3 - EXECUTION

- 3.1	EXAMINATION

A.	Examine doors and frames, with Installer present, for compliance with requirements for installation tolerances, labeled fire door assembly construction, wall and floor construction, and other conditions affecting performance of door hardware.

B.	Examine roughing-in for electrical power systems to verify actual locations of wiring connections before electrified door hardware installation.

C.	Proceed with installation only after unsatisfactory conditions have been corrected.

- 3.2	PREPARATION

NFPA 80 restricts on-site door preparation to that required for surface-applied door hardware, function holes for mortise locks, holes for labeled viewers, undercutting of doors, and protection plates.

A.	Steel Doors and Frames:  Comply with DHI A115 series.

1.	Surface-Applied Door Hardware:  Drill and tap doors and frames according to SDI 107.

B.	Wood Doors:  Comply with DHI A115-W series.

- 3.3	INSTALLATION

A.	Mounting Heights:  Mount door hardware units at heights indicated in following applicable publications, unless specifically indicated or required to comply with governing regulations:

1.	Standard Steel Doors and Frames:  DHI's "Recommended Locations for Architectural Hardware for Standard Steel Doors and Frames."

2.	Wood Doors:  DHI WDHS.3, "Recommended Locations for Architectural Hardware for Wood Flush Doors."

B.	Install each door hardware item to comply with manufacturer's written instructions.  Where cutting and fitting are required to install door hardware onto or into surfaces that are later to be painted or finished in another way, coordinate removal, storage, and reinstallation of surface protective trim units with finishing work specified in Division 9 Sections.  Do not install surface-mounted items until finishes have been completed on substrates involved.

1.	Set units level, plumb, and true to line and location.  Adjust and reinforce attachment substrates as necessary for proper installation and operation.

2.	Drill and countersink units that are not factory prepared for anchorage fasteners.  Space fasteners and anchors according to industry standards.

C.	Key Control System:  Place keys on markers and hooks in key control system cabinet, as determined by final keying schedule.

Delete paragraph below if electrified door hardware is not required.  Verify acceptable location for power supplies with authorities having jurisdiction.

D.	Thresholds:  Set thresholds for exterior and acoustical doors in full bed of sealant complying with requirements specified in Division 7 Section "Joint Sealants."

- 3.4	FIELD QUALITY CONTROL

Delete this Article if not required.

Revise paragraph below if Contractor engages consultant.

A.	Independent Architectural Hardware Consultant:  Owner will engage a qualified independent Architectural Hardware Consultant to perform inspections and to prepare inspection reports.

1.	Independent Architectural Hardware Consultant will inspect door hardware and state in each report whether installed work complies with or deviates from requirements, including whether door hardware is properly installed and adjusted.

- 3.5	ADJUSTING

A.	Initial Adjustment:  Adjust and check each operating item of door hardware and each door to ensure proper operation or function of every unit.  Replace units that cannot be adjusted to operate as intended.  Adjust door control devices to compensate for final operation of heating and ventilating equipment and to comply with referenced accessibility requirements.

1.	Spring Hinges:  Adjust to achieve positive latching when door is allowed to close freely from an open position of 30 degrees.

2.	Electric Strikes:  Adjust horizontal and vertical alignment of keeper to properly engage lock bolt.

Subparagraph below is from Americans with Disabilities Act Accessibility Guidelines.

3.	Door Closers:  Adjust sweep period so that, from an open position of 70 degrees, the door will take at least 3 seconds to move to a point 3 inches (75 mm) from the latch, measured to the leading edge of the door.

Below will increase cost but is recommended as a good investment on substantial projects.

B.	Six-Month Adjustment:  Approximately six months after date of Substantial Completion, Installer shall perform the following:

1.	Examine and readjust each item of door hardware as necessary to ensure function of doors, door hardware, and electrified door hardware.

2.	Consult with and instruct Owner's personnel on recommended maintenance procedures.

3.	Replace door hardware items that have deteriorated or failed due to faulty design, materials, or installation of door hardware units.

- 3.6	CLEANING AND PROTECTION

A.	Clean adjacent surfaces soiled by door hardware installation.

B.	Clean operating items as necessary to restore proper function and finish.

C.	Provide final protection and maintain conditions that ensure door hardware is without damage or deterioration at time of Substantial Completion.

  - DOOR HARDWARE SCHEDULE

- See drawings.

Delete this Article if a schedule is not required.

Coordinate door hardware in Door Hardware Schedule with materials specified in Part 2.

Develop schedule of sets to suit Project.  Do not duplicate requirements inserted in Part 2.  Remove brackets [] and boldfacing from Section Text selected, and remove <insert notes> after editing schedule.  Insert quantities where [#] is indicated.  Refer to a completed example in the Evaluations in Division 8 Section "Door Hardware" for an explanation of how to use schedules.

Revise item name and insert description where indicated to suit Project.

Hanging devices below include hinges, pivot hinges, floor closers, and sliding and folding door tracks and hangers.

Securing devices (inactive leaf) below include flush bolts, surface bolts, removable mullions, exit devices, dummy trim, two-point locks, cremone bolts, door position switches, electric strikes, and magnetic locks.

Securing devices (active leaf) below include locksets, latchsets, dead locks, exit devices, two- or three-point locks, cylinders, electric strikes, door position switches, magnetic locks, electronic locking devices, and Dutch-door bolts.

Operating trim below includes door pulls, push plates, and push and pull bars.

Accessories for pairs of doors below include coordinators, removable mullions, and astragals.

Closing devices below include door closers, mounting brackets, and overhead stops and holders.

Protective trim units below include armor, kick, mop, and stretcher plates; and door edge protection.

Stops and holders below include floor stops and holders, wall stops and holders, and electromagnetic holders.

Accessories below include thresholds, weather stripping, door gasketing, and astragals.

Miscellaneous items below include door silencers, room numbers, room nameplates, door knockers, cardholders, letter box plates, and smoke- or fire-detection devices.

Miscellaneous items listed that should be added at end of Door Hardware Schedule include key control cabinets and software, electromechanical door hardware not otherwise listed (e.g., power supplies), Drawings, manuals, computers, printers, and wire.

Insert additional requirements and sequence of operation in schedule above for electrified door hardware if required.

- END OF SECTION 08712