Copyright 1999, The American Institute of Architects (AIA)

- SECTION 09912 - PAINTING (PROFESSIONAL LINE PRODUCTS)

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- PART 1 - GENERAL

- 1.1	RELATED DOCUMENTS

A.	Site drawings produced by Pinkham and Greer Consulting Engineers, foundation/basement plan drawings produced by TFH Architects PA and Structural Design Consulting, building drawings produced by TFH Architects, mechanical drawings produced by TFH Architects, electrical and lighting drawings produced by TFH Architects.  Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections apply to all sections.

- 1.2	SUMMARY

A.	This Section includes surface preparation and field painting of exposed exterior and interior items and surfaces.

1.	Surface preparation, priming, and finish coats specified in this Section are in addition to shop priming and surface treatment specified in other Sections.

Revise paragraph below to suit Project.

B.	Do not paint prefinished items, concealed surfaces, finished metal surfaces, operating parts, and labels.

1.	Prefinished items include the following factory-finished components:

Review list of prefinished items below.  Delete items not in Project; insert additional items to suit Project.

a.	Architectural woodwork.

b.	Unit kitchens.

c.	Finished mechanical and electrical equipment.

d.	Light fixtures.

2.	Concealed surfaces include walls or ceilings in the following generally inaccessible spaces:

Review list of spaces below that contain concealed surfaces not usually painted.  Delete spaces not in Project; insert additional spaces to suit Project.

a.	Foundation spaces.

b.	Furred areas.

c.	Ceiling plenums.

d.	Utility tunnels.

e.	Pipe spaces.

f.	Duct shafts.

C.	Related Sections include the following:

List below contains items that are usually shop primed and materials that might be specified in this Section.  List should only include products that the reader might expect to find in this Section but are specified elsewhere.  Revise to suit Project.

1.	Division 5 Section "Structural Steel" for shop priming structural steel.

2.	Division 5 Section "Metal Fabrications" for shop priming ferrous metal.

3.	Division 6 Section "Exterior Architectural Woodwork" for shop priming exterior architectural woodwork.

4.	Division 6 Section "Interior Architectural Woodwork" for shop priming interior architectural woodwork.

5.	Division 8 Section "Steel Doors and Frames" for factory priming steel doors and frames.

6.	Division 8 Section "Custom Steel Doors and Frames" for factory priming steel doors and frames.

7.	Division 8 Section "Wood Windows" for shop priming unclad wood windows.

8.	Division 9 Section "Gypsum Board Assemblies" for surface preparation of gypsum board.

- 1.3	DEFINITIONS

Standard terms used by the coatings industry are defined in ASTM D 16.

A.	General:  Standard coating terms defined in ASTM D 16 apply to this Section.

Delete gloss ranges below not required for Project.  Standard gloss ranges were developed by the National Paint and Coatings Association.

1.	Flat refers to a lusterless or matte finish with a gloss range below 15 when measured at an 85-degree meter.

2.	Eggshell refers to low-sheen finish with a gloss range between 20 and 35 when measured at a 60-degree meter.

3.	Semigloss refers to medium-sheen finish with a gloss range between 35 and 70 when measured at a 60-degree meter.

4.	Full gloss refers to high-sheen finish with a gloss range more than 70 when measured at a 60-degree meter.

- 1.4	SUBMITTALS

Revise paragraph and subparagraphs below to suit Project and products required.

A.	Product Data:  For each paint system indicated.  Include block fillers and primers.

1.	Material List:  An inclusive list of required coating materials.  Indicate each material and cross-reference specific coating, finish system, and application.  Identify each material by manufacturer's catalog number and general classification.

2.	Manufacturer's Information:  Manufacturer's technical information, including label analysis and instructions for handling, storing, and applying each coating material.

B.	Samples for Initial Selection:  For each type of finish-coat material indicated.

Revise subparagraph below if Architect reserves the right to make final color selection from field-applied Samples.

- 1.5	QUALITY ASSURANCE

A.	Applicator Qualifications:  A firm or individual experienced in applying paints and coatings similar in material, design, and extent to those indicated for this Project, whose work has resulted in applications with a record of successful in-service performance.

Always retain paragraph below.  Systems could fail if coats are incompatible.

B.	Source Limitations:  Obtain primers for each coating system from the same manufacturer as the finish coats.

Requirements in paragraph and subparagraphs below can be expensive if not specified carefully.  Delete on small projects and on simple projects where such requirements are unreasonable.  Retain on large projects and when Applicator must possess special skills or take unusual care in application.  Revise to suit Project.

C.	Benchmark Samples (Mockups):  Provide a full-coat benchmark finish sample for each type of coating and substrate required.  Duplicate finish of approved sample Submittals.

1.	Architect will select one room or surface to represent surfaces and conditions for application of each type of coating and substrate.

a.	Wall Surfaces:  Provide samples on at least 100 sq. ft. (9 sq. m).

b.	Small Areas and Items:  Architect will designate items or areas required.

2.	Apply benchmark samples, according to requirements for the completed Work, after permanent lighting and other environmental services have been activated.  Provide required sheen, color, and texture on each surface.

a.	After finishes are accepted, Architect will use the room or surface to evaluate coating systems of a similar nature.

Revise below if Architect reserves the right to make final color selection from benchmark samples.

3.	Final approval of colors will be from benchmark samples.

- 1.6	DELIVERY, STORAGE, AND HANDLING

A.	Deliver materials to Project site in manufacturer's original, unopened packages and containers bearing manufacturer's name and label and the following information:

Add other requirements to suit Project.

1.	Product name or title of material.

2.	Product description (generic classification or binder type).

3.	Manufacturer's stock number and date of manufacture.

4.	Contents by volume, for pigment and vehicle constituents.

5.	Thinning instructions.

6.	Application instructions.

7.	Color name and number.

B.	Store materials not in use in tightly covered containers in a well-ventilated area at a minimum ambient temperature of 45 deg F (7 deg C).  Maintain storage containers in a clean condition, free of foreign materials and residue.

1.	Protect from freezing.  Keep storage area neat and orderly.  Remove oily rags and waste daily.

Add special requirements for fire protection, heating, ventilation, and other special conditions for on-site storage areas, if necessary.

- 1.7	PROJECT CONDITIONS

Revise first two paragraphs below to suit Project and materials to be used.

A.	Apply waterborne paints only when temperatures of surfaces to be painted and surrounding air are between 50 and 90 deg F (10 and 32 deg C).

B.	Do not apply paint in snow, rain, fog, or mist; or when relative humidity exceeds 85 percent; or at temperatures less than 5 deg F (3 deg C) above the dew point; or to damp or wet surfaces.

1.	Painting may continue during inclement weather if surfaces and areas to be painted are enclosed and heated within temperature limits specified by manufacturer during application and drying periods.

- 1.8	EXTRA MATERIALS

Extra materials may not be allowed for publicly funded projects.

A.	Furnish extra paint materials from the same production run as the materials applied and in the quantities described below.  Package with protective covering for storage and identify with labels describing contents.  Deliver extra materials to owner.

Two alternate subparagraphs below specify the quantity of extra materials required.  Select one and delete the other.  Retain first subparagraph for projects that require large quantities of several categories of extra materials.

- PART 2 - PRODUCTS

- 2.1	MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations in Division 9 Section "Painting" for cautions about naming manufacturers and products.

A.	Products:  Subject to compliance with requirements, provide one of the products listed in other Part 2 articles.

B.	Manufacturers' Names:  Shortened versions (shown in parentheses) of the following manufacturers' names are used in other Part 2 articles:

Manufacturers listed in paint schedules produce an extensive line of nationally distributed paint products that are usually available locally.  Add local and regional paint manufacturers, if desired.  Edit Part 2 articles to suit Project and local product availability.

1.	Benjamin Moore & Co. (Benjamin Moore).

2.	ICI Dulux Paint Centers (ICI Dulux Paints).

3.	Sherwin-Williams Co. (Sherwin-Williams).

- California Paints  (Cal).

- Tnemec.

- 2.2	PAINT MATERIALS, GENERAL

Always retain first paragraph below.  Systems could fail if coatings are incompatible.

A.	Material Compatibility:  Provide block fillers, primers, and finish-coat materials that are compatible with one another and with the substrates indicated under conditions of service and application, as demonstrated by manufacturer based on testing and field experience.

B.	Material Quality:  Provide manufacturer's best-quality paint material of the various coating types specified that are factory formulated and recommended by manufacturer for application indicated.  Paint-material containers not displaying manufacturer's product identification will not be acceptable.

Delete subparagraph below if Project requirements prohibit naming manufacturer's products.

1.	Proprietary Names:  Use of manufacturer's proprietary product names to designate colors or materials is not intended to imply that products named are required to be used to the exclusion of equivalent products of other manufacturers.  Furnish manufacturer's material data and certificates of performance for proposed substitutions.

C.	Colors:  Provide color selections made by architect.

Indicate paint colors in a separate schedule or show location and extent on Drawings.  The number of colors used on a project and use of deep-tone colors will affect Project cost.  See the Evaluations in Division 9 Section "Painting."

Products listed in succeeding Part 2 articles have been researched and evaluated and are believed to be comparable to products of other manufacturers listed.  However, due to differences among manufacturers' individual product formulas, some products may have advantages or disadvantages when compared to similar products of other manufacturers.  Base selection of product on coating-performance characteristics required.

- PART 3 - EXECUTION

- 3.1	EXAMINATION

A.	Examine substrates, areas, and conditions, with Applicator present, for compliance with requirements for paint application.  Comply with procedures specified in PDCA P4.

1.	Proceed with paint application only after unsatisfactory conditions have been corrected and surfaces receiving paint are thoroughly dry.

2.	Start of painting will be construed as Applicator's acceptance of surfaces and conditions within a particular area.

Coordinate primers specified in other Sections with undercoats and finish materials specified in this Section to ensure compatibility of materials.  Some finish-coat materials, such as lacquers and epoxies, lift oil and oleoresinous air-dry primers.  A long-oil finish coat may crawl and have poor adhesion when used over zinc-dust phenolic or baked primers.

B.	Coordination of Work:  Review other Sections in which primers are provided to ensure compatibility of the total system for various substrates.  On request, furnish information on characteristics of finish materials to ensure use of compatible primers.

1.	Notify Architect about anticipated problems when using the materials specified over substrates primed by others.

- 3.2	PREPARATION

Revise first paragraph and subparagraph below if additional requirements are necessary to suit Project.

A.	General:  Remove hardware and hardware accessories, plates, machined surfaces, lighting fixtures, and similar items already installed that are not to be painted.  If removal is impractical or impossible because of size or weight of the item, provide surface-applied protection before surface preparation and painting.

1.	After completing painting operations in each space or area, reinstall items removed using workers skilled in the trades involved.

B.	Cleaning:  Before applying paint or other surface treatments, clean substrates of substances that could impair bond of the various coatings.  Remove oil and grease before cleaning.

1.	Schedule cleaning and painting so dust and other contaminants from the cleaning process will not fall on wet, newly painted surfaces.

Always retain first paragraph and subparagraphs below for surface preparation.  Proper surface preparation is essential for satisfactory coating performance.  If necessary, revise requirements to include special procedures requested by manufacturers or to suit Project.

C.	Surface Preparation:  Clean and prepare surfaces to be painted according to manufacturer's written instructions for each particular substrate condition and as specified.

Coordination of shop-applied primers with finish coats is critical.  See "Coordination of Work" Paragraph in "Examination" Article.  If compatibility problems develop, it may be necessary to provide barrier coats over shop-applied primers or to remove the primer and reprime the substrate.

1.	Provide barrier coats over incompatible primers or remove and reprime.

Delete subparagraph and associated subparagraphs below if cementitious surfaces are not to be painted, or revise to suit Project.

2.	Cementitious Materials:  Prepare concrete, concrete unit masonry, cement plaster, and mineral-fiber-reinforced cement panel surfaces to be painted.  Remove efflorescence, chalk, dust, dirt, grease, oils, and release agents.  Roughen as required to remove glaze.  If hardeners or sealers have been used to improve curing, use mechanical methods of surface preparation.

a.	Use abrasive blast-cleaning methods if recommended by paint manufacturer.

b.	Determine alkalinity and moisture content of surfaces by performing appropriate tests.  If surfaces are sufficiently alkaline to cause the finish paint to blister and burn, correct this condition before application.  Do not paint surfaces if moisture content exceeds that permitted in manufacturer's written instructions.

Delete subparagraph below if not required.

Delete subparagraph and associated subparagraphs below if wood surfaces are not to be painted, or revise to suit Project.

3.	Wood:  Clean surfaces of dirt, oil, and other foreign substances with scrapers, mineral spirits, and sandpaper, as required.  Sand surfaces exposed to view smooth and dust off.

a.	Sand exposed wood framing members to remove exposed grade stamps.

b.	Scrape and clean small, dry, seasoned knots, and apply a thin coat of white shellac or other recommended knot sealer before applying primer.  After priming, fill holes and imperfections in finish surfaces with putty or plastic wood filler.  Sand smooth when dried.

Delete four subparagraphs below if specified in other Sections.

c.	Prime, stain, or seal wood to be painted immediately on delivery.  Prime edges, ends, faces, undersides, and back sides of wood, including cabinets, counters, cases, and paneling.

Revise first subparagraph and associated subparagraphs below to suit Project.

4.	Ferrous Metals:  Clean ungalvanized ferrous-metal surfaces that have not been shop coated; remove oil, grease, dirt, loose mill scale, and other foreign substances.  Use solvent or mechanical cleaning methods that comply with SSPC's recommendations.

Delete subparagraph below if blast cleaning is not required.  SSPC-SP 10/NACE No. 2 requires a higher level of preparation than is often justified.  Reduce preparation level to SSPC-SP 6/NACE No. 3 if warranted.

Delete subparagraph below if treatment is not required.

a.	Treat bare and sandblasted or pickled clean metal with a metal treatment wash coat before priming.

Delete first subparagraph below if touchup painting of shop-applied primers will be done by material erector or Installer.

b.	Touch up bare areas and shop-applied prime coats that have been damaged.  Wire-brush, clean with solvents recommended by paint manufacturer, and touch up with same primer as the shop coat.

5.	Galvanized Surfaces:  Clean galvanized surfaces with nonpetroleum-based solvents so surface is free of oil and surface contaminants.  Remove pretreatment from galvanized sheet metal fabricated from coil stock by mechanical methods.

D.	Material Preparation:  Mix and prepare paint materials according to manufacturer's written instructions.

1.	Maintain containers used in mixing and applying paint in a clean condition, free of foreign materials and residue.

2.	Stir material before application to produce a mixture of uniform density.  Stir as required during application.  Do not stir surface film into material.  If necessary, remove surface film and strain material before using.

3.	Use only thinners approved by paint manufacturer and only within recommended limits.

If tinting is not required, delete below.  Different tints will show through as topcoat erodes.

E.	Tinting:  Tint each undercoat a lighter shade to simplify identification of each coat when multiple coats of same material are applied.  Tint undercoats to match the color of the finish coat, but provide sufficient differences in shade of undercoats to distinguish each separate coat.

- 3.3	APPLICATION

Revise this Article to suit Project.  Add special restrictions on application methods if required.

A.	General:  Apply paint according to manufacturer's written instructions.  Use applicators and techniques best suited for substrate and type of material being applied.

1.	Paint colors, surface treatments, and finishes are indicated in the paint schedules.

2.	Do not paint over dirt, rust, scale, grease, moisture, scuffed surfaces, or conditions detrimental to formation of a durable paint film.

3.	Provide finish coats that are compatible with primers used.

4.	The term "exposed surfaces" includes areas visible when permanent or built-in fixtures, grilles, convector covers, covers for finned-tube radiation, and similar components are in place.  Extend coatings in these areas, as required, to maintain system integrity and provide desired protection.

5.	Paint surfaces behind movable equipment and furniture the same as similar exposed surfaces.  Before final installation of equipment, paint surfaces behind permanently fixed equipment or furniture with prime coat only.

6.	Paint back sides of access panels and removable or hinged covers to match exposed surfaces.

7.	Finish exterior doors on tops, bottoms, and side edges the same as exterior faces.

Delete first subparagraph below if casework is prefinished.

8.	Sand lightly between each succeeding enamel or varnish coat.

B.	Scheduling Painting:  Apply first coat to surfaces that have been cleaned, pretreated, or otherwise prepared for painting as soon as practicable after preparation and before subsequent surface deterioration.

Insert restrictions or limits on using spray equipment if necessary to suit Project.

1.	The number of coats and film thickness required are the same regardless of application method.  Do not apply succeeding coats until previous coat has cured as recommended by manufacturer.  If sanding is required to produce a smooth, even surface according to manufacturer's written instructions, sand between applications.

2.	Omit primer over metal surfaces that have been shop primed and touchup painted.

3.	If undercoats, stains, or other conditions show through final coat of paint, apply additional coats until paint film is of uniform finish, color, and appearance.  Give special attention to ensure that edges, corners, crevices, welds, and exposed fasteners receive a dry film thickness equivalent to that of flat surfaces.

4.	Allow sufficient time between successive coats to permit proper drying.  Do not recoat surfaces until paint has dried to where it feels firm, and does not deform or feel sticky under moderate thumb pressure, and until application of another coat of paint does not cause undercoat to lift or lose adhesion.

Revise first paragraph and subparagraphs below if the use of spray equipment for paint application is limited or restricted.  Some owners prohibit or restrict the use of spray on their projects.  Spray application of paints can damage sensitive electronic operating equipment and might cause problems for personnel in occupied buildings.

C.	Application Procedures:  Apply paints and coatings by brush, roller, spray, or other applicators according to manufacturer's written instructions.

1.	Brushes:  Use brushes best suited for type of material applied.  Use brush of appropriate size for surface or item being painted.

2.	Rollers:  Use rollers of carpet, velvet-back, or high-pile sheep's wool as recommended by manufacturer for material and texture required.

3.	Spray Equipment:  Use airless spray equipment with orifice size as recommended by manufacturer for material and texture required.

D.	Minimum Coating Thickness:  Apply paint materials no thinner than manufacturer's recommended spreading rate to achieve dry film thickness indicated.  Provide total dry film thickness of the entire system as recommended by manufacturer.

First paragraph below is an example of painting requirements for mechanical and electrical work.  Revise to suit Project.

E.	Mechanical and Electrical Work:  Painting of mechanical and electrical work is limited to items exposed in equipment rooms and occupied spaces.

F.	Mechanical items to be painted exposed to public view include, but are not limited to, the following:

List below contains mechanical items that are usually field painted.  Add other items to suit Project.

1.	Uninsulated metal piping.

2.	Uninsulated plastic piping.

3.	Pipe hangers and supports.

4.	Tanks that do not have factory-applied final finishes.

5.	Visible portions of internal surfaces of metal ducts, without liner, behind air inlets and outlets.

6.	Duct, equipment, and pipe insulation having "all-service jacket" or other paintable jacket material.

7.	Mechanical equipment that is indicated to have a factory-primed finish for field painting.

G.	Electrical items to be painted include, but are not limited to, the following:

List below contains electrical items that are usually field painted.  Add other items to suit Project.

1.	Switchgear.

2.	Panelboards.

3.	Electrical equipment that is indicated to have a factory-primed finish for field painting.

H.	Prime Coats:  Before applying finish coats, apply a prime coat, as recommended by manufacturer, to material that is required to be painted or finished and that has not been prime coated by others.  Recoat primed and sealed surfaces where evidence of suction spots or unsealed areas in first coat appears, to ensure a finish coat with no burn-through or other defects due to insufficient sealing.

I.	Pigmented (Opaque) Finishes:  Completely cover surfaces as necessary to provide a smooth, opaque surface of uniform finish, color, appearance, and coverage.  Cloudiness, spotting, holidays, laps, brush marks, runs, sags, ropiness, or other surface imperfections will not be acceptable.

Delete transparent finishes below if not applicable.  Indicate locations in finish schedules.

J.	Completed Work:  Match approved samples for color, texture, and coverage.  Remove, refinish, or repaint work not complying with requirements.

- 3.4	CLEANING

A.	Cleanup:  At the end of each workday, remove empty cans, rags, rubbish, and other discarded paint materials from Project site.

Delete below if final cleaning is not done by painter.

1.	After completing painting, clean glass and paint-spattered surfaces.  Remove spattered paint by washing and scraping without scratching or damaging adjacent finished surfaces.

- 3.5	PROTECTION

A.	Protect work of other trades, whether being painted or not, against damage from painting.  Correct damage by cleaning, repairing or replacing, and repainting, as approved by Architect.

B.	Provide "Wet Paint" signs to protect newly painted finishes.  After completing painting operations, remove temporary protective wrappings provided by others to protect their work.

1.	After work of other trades is complete, touch up and restore damaged or defaced painted surfaces.

- 3.6	EXTERIOR PAINT SCHEDULE

Use schedule below as a guide only.  See suggested procedures in "Writing Guide" Article in the Evaluations in Division 9 Section "Painting" for guidance before editing schedule.  Below includes examples of paint systems for different exterior substrates.  Retain only substrates and paint systems suitable for Project.

Two finish coats over a primer are normally adequate over exterior gypsum soffit boards subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over exterior gypsum soffit boards subject to normal use and moderate environments.

Retain paint system below for a waterborne low-VOC semigloss acrylic-enamel finish over exterior wood siding and other smooth exterior wood surfaces, including bleeding woods such as cedar and redwood, subject to normal use and moderate environments.

- A.	Ferrous Metal:  Provide the following finish systems over exterior ferrous metal.  Primer is not required on shop-primed items.

Most manufacturers recommend two finish coats over a suitable primer over exterior ferrous metal subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a low-luster (eggshell) acrylic finish over exterior ferrous metal subject to normal use and moderate environments.

- 1.	Full-Gloss Acrylic-Enamel Finish:  Two finish coats over a rust-inhibitive primer.

a.	Primer:  Exterior ferrous-metal primer.

b.	Finish Coats:  Exterior full-gloss acrylic enamel for ferrous and other metals.

Retain paint system below for a full-gloss alkyd-enamel finish over exterior ferrous metal subject to normal use and moderate environments.

- 4.	Full-Gloss Alkyd-Enamel Finish:  Two finish coats over a rust-inhibitive primer.

a.	Primer:  Exterior ferrous-metal primer.

b.	Finish Coats:  Exterior full-gloss alkyd enamel.

- 3.7	INTERIOR PAINT SCHEDULE

Use schedule below as a guide only.  See suggested procedures in "Writing Guide" Article in the Evaluations in Division 9 Section "Painting" for guidance before editing schedule.  Below includes examples of paint systems for different interior substrates.  Retain only substrates and paint systems suitable for Project.

- A.	Gypsum Board:  Provide the following finish systems over interior gypsum board surfaces:

Two finish coats are normally adequate for interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.

- 1.	Flat Acrylic Finish:  Two finish coats over a primer.

a.	Primer:  Interior gypsum board primer.

b.	Finish Coats:  Interior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic-enamel finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.

- 2.	Low-Luster Acrylic-Enamel Finish:  Two finish coats over a primer.

a.	Primer:  Interior gypsum board primer.

b.	Finish Coats:  Interior low-luster acrylic enamel.

Retain paint system below for an acrylic-latex-based semigloss enamel finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.  This finish system is an alternative to solvent-based semigloss enamels.

- 3.	Semigloss Acrylic-Enamel Finish:  Two finish coats over a primer.

a.	Primer:  Interior gypsum board primer.

b.	Finish Coats:  Interior semigloss acrylic enamel.

Retain paint system below for a semigloss low-odor alkyd-enamel finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.

- 4.	Full-Gloss Acrylic-Enamel Finish:  Two finish coats over a primer.

a.	Primer:  Interior gypsum board primer.

b.	Finish Coats:  Interior full-gloss acrylic enamel.

Retain paint system below for a full-gloss low-odor alkyd-enamel finish over interior gypsum board wall and ceiling surfaces subject to normal use and moderate environments.

- B.	Wood and Hardboard:  Provide the following paint finish systems over new interior wood surfaces:

Most manufacturers recommend spot priming knots on new wood before applying primer.  Two finish coats are normally adequate over wood and hardboard subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a low-luster (eggshell) acrylic-enamel finish over interior wood subject to normal use and moderate environments.

- 1.	Low-Luster Acrylic-Enamel Finish:  Two finish coats over a primer.

a.	Primer:  Interior wood primer for acrylic-enamel and semigloss alkyd-enamel finishes.

b.	Finish Coats:  Interior low-luster acrylic enamel.

Retain paint system below for an acrylic-latex-based semigloss enamel finish over interior wood subject to normal use and moderate environments.  This finish system is an alternative to solvent-based semigloss enamels.

- 2.	Semigloss Acrylic-Enamel Finish: Two finish coats over a wood undercoater.

a.	Primer:  Interior wood primer for acrylic-enamel and semigloss alkyd-enamel finishes.

b.	Finish Coats:  Interior semigloss acrylic enamel.

Retain paint system below for a low-odor semigloss alkyd-enamel finish over interior wood subject to normal use and moderate environments.

- 3.	Full-Gloss Acrylic-Enamel Finish:  Two finish coats over a wood primer.

a.	Primer:  Interior wood primer for acrylic-enamel and semigloss alkyd-enamel finishes.

b.	Finish Coats:  Interior full-gloss acrylic enamel.

Retain paint system below for a full-gloss alkyd-enamel finish over interior wood subject to normal use and moderate environments.

- C.	Ferrous Metal:  Provide the following finish systems over ferrous metal:

Most architectural coatings withstand surface temperatures to approximately 200 deg F (93 deg C) without problems.  For hot-water and steam piping systems that are expected to exceed 200 deg F (93 deg C), insert a suitable acrylic or alkyd organic coating or a suitable epoxy coating from Division 9 Section "High-Temperature-Resistant Coatings"; refer to that Section for suitable coatings if higher temperatures are anticipated.

Two finish coats are normally adequate over interior ferrous metal subject to normal use and moderate environments; however, in some situations, additional coats may be necessary to obtain good coverage.

Retain paint system below for a flat acrylic finish over interior ferrous metal subject to normal use and moderate environments.

- 1.	Flat Acrylic Finish:  Two finish coats over a primer.

a.	Primer:  Interior ferrous-metal primer.

b.	Finish Coats:  Interior flat acrylic paint.

Retain paint system below for a low-luster (eggshell) acrylic-enamel finish over interior ferrous metal subject to normal use and moderate environments.

- 2.	Low-Luster Acrylic-Enamel Finish:  Two finish coats over a primer.

a.	Primer:  Interior ferrous-metal primer.

b.	Finish Coats:  Interior low-luster acrylic enamel.

Retain paint system below for an acrylic-latex-based semigloss enamel finish over interior ferrous metal subject to normal use and moderate environments.  This finish is an alternative to solvent-based semigloss enamels.

- 4.	Semigloss Alkyd-Enamel Finish:  Two finish coats over a primer.

a.	Primer:  Interior ferrous-metal primer.

b.	Finish Coats:  Interior semigloss alkyd enamel.

Retain paint system below for an acrylic-latex-based full-gloss enamel finish over interior ferrous metal subject to normal use and moderate environments.  This finish system is an alternative to solvent-based full-gloss enamels.

- 6.	Full-Gloss Alkyd-Enamel Finish:  Two finish coats over a primer.

a.	Primer:  Interior ferrous-metal primer.

b.	Finish Coats:  Interior full-gloss alkyd enamel for wood and metal surfaces.

- END OF SECTION 09912