CITY OF PORTLAND

DEPARTMENT OF PLANNING & URBAN DEVELOPMENT

389 Congress Street

Portland, Maine 04101

Inspection Violations

|  |  |  |
| --- | --- | --- |
| **Owner/Manager**CARDENTE LINDA A | **Inspector**Chuck Fagone | **Inspection Date**6/19/2013 |
| **Location**34 DIAMOND ST | **CBL**023 A002001 | **Status**Violations Exist | **Inspection Type**Complaint-Bldg w/o pmt & structu |

**Code Int/Ext Floor**

**Unit No.**

**Area**

**Compliance Date**

1) 105.1

**Violation: Notes:**

Interior

Building w/o Permit

Rear spinning room was built without a permit. As discussed, an electrical permit will be required to correct electrical deficiencies. Detailed building plans should be submitted for a building permit for the building work that has already been completed. Curtain or fabric on the ceiling should be removed immediately.

**Comments:**

Wiring in spinning room done in romex, no boxes, open splices. No permit for this work was taken out.