## Sheet1
| TIRE WAREHOUSE PORTLAND ME | Fire Panel -Firelite 9050UD
ALARM SYSTEM PARTS LIST
MANUFACTURER | EQUIPMENT TO BE INSTALLED | MODEL # | TOTAL | MATL CODE
HONEYWELL | 14/2 FPLP SOLID WIRE, RED (FT.) | 45135004 | 200 | WR0095N
HONEYWELL | 18/2 FPLP SOLID WIRE, RED (FT.) | 45065504 | 300 | WR0089N
HONEYWELL | 18/4 FPLP SOLID WIRE, RED (FT.) | 45071104 | 300 | WR0090N
DITEK | FIRE SURGE PROTECTOR KIT | DTKFPK1 | 1 | PS0008N
DITEK | 120VAC/20A PARALLEL CONNECTION | 120HW | 1 | CA1090N
FIRE-LITE | ANNUNCIATOR | ANN-80 | 1 | CA1657N
FIRE-LITE | ADDRESS. DUAL ACTION MANUAL PULL | BG-12LX | 3 | FD0520N
FIRE-LITE | ADDRESSABLE CONTROL RELAY | CRF-300 | 2 | CA1730N
FIRE-LITE | MINI-MONITOR MODULE | MMF-301 | 8 | FS0514N
FIRE-LITE | CONTROL RELAY | MR-101C/R | 2 | FD0442N
FIRE-LITE | FIRE ALARM CONTROL PANEL | MS-9050UD | 1 | CP0111N
FIRE-LITE | ADDRESS. PHOTOELEC. DET. | SD-355 | 1 | FS1154N
MIER | PLAN BOX | BW-DOCBOX | 1 | AC3688N
SYSTEM SENSOR | CARBON MONOXIDE DETECTOR | CO1224T | 2 | FS0015N
SYSTEM SENSOR | 115 CANDELA HORN STROBE (RED) | P2R | 5 | SR1534N
SYSTEM SENSOR | WEATHERPROOF HORN STROBE (RED) | P2RK | 1 | SR1535N
SYSTEM SENSOR | 115 CANDELA STROBE (RED) | SR | 3 | SR1536N
SYSTEM SENSOR | WEATHERPROOF BACK BOX | WBB | 1 | MC1742N
SYSTEM SENSOR | REMOTE TEST SWITCH | RTS-151KEY | 2 | FS1136N
TELGUARD | PRIMARY FIRE COMMUNICATOR | TG7GFS04 | 1 | CA1835N
ULTRA-TEC | 12V 7AH BATTERY | 1270 | 1 | BT0032N
UNIVERSAL POWER | 12V 12AH BATTERY | UB12120 | 2 | BT1016N
CONNECTION TO, BUT PROVIDED BY OTHERS
GENERIC | WATERFLOW SWITCH |  | 1
GENERIC | B-FLY SWITCH |  | 1
GENERIC | POST INDICATOR VALVE |  | 1
GENERIC | DUCTSMOKE DETECTOR |  | 2
ADDITIONAL COSTS
GENERIC | 3/4" EMT (FT) |  | 100 | MC0820N
RACO | BACK-BOX | 4X4X2 | 25 | CA2919N
A.H.J. | PERMIT FEE |  | 350
PROTECTION ONE | ENGINEERING HOURS |  | 6