## Memorandum

Department of Planning and Development

Planning Division

TO:		Inspections Department

FROM:	Philip DiPierro, Development Review Coordinator

DATE:	January 4, 2013

RE:		C. of O. for # 184 Pearl Street, Pearl Place II Phase I (Wing B)

(Id # 10-99700006) (CBL 026 E 002001)

After visiting the site, I have the following comments:

Site work incomplete:

- Landscaping, finish grading, loaming and seeding including repairing damaged lawn areas and replacing existing plants and trees damaged as a result of this construction,

- Planter at corner entrance,

- Paving at the intersection of Pearl & Lancaster Streets,

- Pavement repairs/shimming to correct puddling issues in the parking lot and at the driveway/street gutter line,

- Replacing the frame and grate that was installed on the catch basin on the east side of Pearl Street,

- Submission of “As-Built” plans,

- Miscellaneous minor site work.

I anticipate this work can be completed by June 1, 2013.

At this time, I recommend issuing a temporary Certificate of Occupancy.

Cc:	Tammy Munson, Inspection Services Manager

Barbara Barhydt, Development Review Services Manager