Insert Project Name, Project Number and Date in the Header.

SECTION 023200 - GEOTECHNICAL INVESTIGATIONS

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - This Section includes geotechnical investigations.

      - DESCRIPTION

        - Subsurface explorations have been done at the location of the project and soils reports have been compiled for the purpose of guidance in the design of the project facilities.  This work can include open excavation test pits, observation wells and soil borings.

        - The logs are not intended to indicate subsurface conditions except at the locations of the exploration (at the time explorations were made) and any interpretation the Contractor may make is his responsibility.

Confirm location of Boring Logs.

        - The subsurface investigations of the site were made in conjunction with design of the facility to be constructed under this Contract.  Portions of this investigation are presented in reports which are a part of the Contract Documents.  The reports present the opinion of the Geotechnical Engineer and shall not be interpreted to prescribe or dictate construction procedures or relieve the Contractor in any way of his responsibility for the construction.  The explorations are shown on the drawings and the logs are included in the report attached at the end of this section.

        - The water levels shown on the log at the exploration locations are based on observations made by the Field personnel at the same time the explorations were made and may or may not represent the groundwater surface in the immediate vicinity of the explorations.  They are presented only as an observation of the free-standing water surface in the exploration on the date noted.

        - The refusal depths shown at the exploration locations indicate only, that in the drill foreman's opinion, sufficient resistance to the advance of the casing, auger, probe rod or sampler was encountered to render further advance impossible or impractical by the procedures and equipment being used.  Although refusal may indicate the encountering of the bedrock surface, it may indicate the striking of large cobbles, boulders, very dense or cemented soil, or other buried natural or man- made objects or it may indicate the encountering of a harder zone after penetrating a considerable depth through a weathered or disintegrated zone of the bedrock.

- PRODUCTS (Not Used)

- EXECUTION (Not Used)

END OF SECTION 023200