## Memorandum

Department of Planning and Development

Planning Division

TO:		Inspections Department

FROM:	Philip DiPierro, Development Review Coordinator

DATE:	December 14, 2012

RE:		C. of O. for # 184 Pearl Street, Pearl Place II Phase I (Wing A)

(Id # 10-99700006) (CBL 026  E 002001)

After visiting the site, I have the following comments:

Site work incomplete:

- Stormwater system,

- Landscaping, finish grading, loaming and seeding,

- Planter at corner entrance,

- Curbing,

- Paving & striping,

- Bike racks,

- Submission of “As-Built” plans,

- Miscellaneous minor site work.

I anticipate most of this work can be completed by December 31, 2012 but no later than June 1, 2013.

At this time, I recommend issuing a temporary Certificate of Occupancy.

Cc:	Tammy Munson, Inspection Services Manager

Barbara Barhydt, Development Review Services Manager