## Sheet1
OWNER (S): | Mary Spear / Marken Properties | INSPECTOR: | Dennis J. Douglass
ADDRESS: | 41 Chestnut Street, Portland ME 04101
Summary report based on building Inspection performed on site with Code Enforcement: 10/5/12
Exterior | No railings on Entry stairs into Units 1-8
Entry stairs on Units 1A-8A were being rebuilt at the time of inspection. It appears this
stair will also require handrails.
Units 1-8 | All units passed code inspections with the exception of the smoke alarms which are
part of the scope of work outlined by Cunningham Security Systems
Units 1A-8A | All units passed code inspections with the exception of the smoke alarms which are
part of the scope of work outlined by Cunningham Security Systems
* Unit 1A has a kitchen ceiling fixture that is in the way of an overhead cabinet door.
Recommend that a new fixture is installed that does not interfere.
Basement | Laundry area needs smoke detector. Dryers need to be vented to exterior with hardpipe.