# KEYPAD ANNUNCIATOR DETAILS

# PROCEDURES TO FOLLOW IN THE EVENT OF A FIRE ALARM:

1) IF AN ACTUAL ALARM OCCURS, EVACUATE THE

PREMISES IMMEDIATELY! DO NOT SHUT OFF OR

RESET THE SYSTEM. WAIT FOR THE FIRE

DEPARTMENT TO RESPOND.

### PROCEDURES TO FOLLOW IF THE ALARM IS

ACTIVATED INADVERTENTLY OR BY TESTING:

1) WHEN SYSTEM IS IN ALARM, GO TO THE KEYPAD

AND DETERMINE THE LOCATION OF THE ALARM.

## THE KEYPAD IS PROGRAMMED WITH ENGLISH

DISPLAY FOR EASY NOTIFICATION.

2) ENTER IN THE PRE-DESIGNATED FOUR DIGIT CODE

“1234” FOLLOWED BY THE “OFF {#1}” KEY. THIS

WILL SILENCE THE ALARM.

3) ONCE THE ALARM DEVICE HAS BEEN RESET,

FOLLOW THE SAME PROCEDURE IN STEP #2. THIS

WILL RESET THE SYSTEM TO ITS NORMAL STATE.