To: Ben Wallace, Jr., Fire Prevention Officer

Portland Fire Dept.

Re: Fire Alarm sequence of operation                                           May 7, 2010

Whenever an initiating device, smoke detector, heat detector or manual pull station is

activated, this in turn will sound all of the notification devices throughout the building.    The notification devices consist of horn/strobes and strobe only in the common areas and mini sounders in all of the apartment bedrooms.

The procedure for the Fire Dept. when they arrive on site will be to go to the keypad annunciator location pre-determined by the Fire Dept. to pinpoint the area of the building the alarm has occurred. Each initiating device has its own specific zone number and description to easily locate alarm origins.

To silence the notification devices, a code of “12341” will need to be entered at the keypad. To reset alarms, repeat the same procedure.