Copyright 1997, The American Institute of Architects (AIA)

# SECTION 03300 - CAST-IN-PLACE CONCRETE

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

SUMMARY

This Section specifies cast-in place concrete, including formwork, reinforcement, concrete materials, mix design, placement procedures, and finishes for the following:

Footings.

Foundation walls.

Slabs-on-grade

Slabs–on–metal deck.

Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

Division 2 Section "Earthwork" for drainage fill under slabs-on-grade.

Division 2 Section "Cement Concrete Pavement" for concrete pavement and walks.

DEFINITIONS

Retain this definition, if required, to clarify what makes up the cementitious component of the water-cementitious materials ratio.

Cementitious Materials:  Portland cement alone or in combination with one or more of blended hydraulic cement, fly ash and other pozzolans, ground granulated blast-furnace slag, and silica fume.

SUBMITTALS

Product Data:  For each type of manufactured material and product indicated.

Design Mixes:  For each concrete mix.  Include alternate mix designs when characteristics of materials, project conditions, weather, test results, or other circumstances warrant adjustments.  Each mix design will also indicate where concrete will be used.

Indicate amounts of mix water to be withheld for later addition at Project site.

Delete paragraph below if not required.

Steel Reinforcement Shop Drawings:  Details of fabrication, bending, and placement, prepared according to ACI 315, "Details and Detailing of Concrete Reinforcement."  Include material, grade, bar schedules, stirrup spacing, bent bar diagrams, arrangement, and supports of concrete reinforcement.  Setting Drawings shall be complete in showing and identifying by mark or otherwise all the bars to be incorporated into the work.  Reinforcement of concrete walls shall be shown on wall elevations and reinforcement of beams shall be shown on beam elevations with sections as required.  Elevations of walls and beams shall be at least 1/4 inch scale.

Delete paragraph below if not required.  Review design responsibility with authorities having jurisdiction.  Retain below along with "Professional Engineer Qualifications" Paragraph in "Quality Assurance" Article.

Delete test reports below if not required.

Material Test Reports:  From a qualified testing agency indicating and interpreting test results for compliance of the following with requirements indicated, based on comprehensive testing of current materials.

Material Certificates:  For each of the following, signed by manufacturers:

Cementitious materials.

Admixtures.

Curing compounds.

Floor and slab treatments

Floor surface flatness and levelness measurements to determine compliance with specified tolerances.

Delete paragraph below if "Material Test Reports" Paragraph above is retained.

Retain list below with either paragraph above.  Edit to suit Project.

Delete below if no preinstallation conference.

QUALITY ASSURANCE

Installer Qualifications:  An experienced installer who has completed concrete Work similar in material, design, and extent to that indicated for this Project and whose work has resulted in construction with a record of successful in-service performance.

Delete paragraph below if Contractor is not required to engage the services of a qualified professional engineer in "Submittals" Article.

Manufacturer Qualifications:  A firm experienced in manufacturing ready-mixed concrete products complying with ASTM C 94 requirements for production facilities and equipment.

Delete subparagraph below if not required.

Manufacturer must be certified according to the National Ready Mixed Concrete Association's Certification of Ready Mixed Concrete Production Facilities.

Retain paragraph below if Contractor or manufacturer selects testing agency for mix design, material test reports, or field quality control.

Supplier Testing Agency Qualifications:  An independent testing agency, acceptable to authorities having jurisdiction, qualified according to ASTM C 1077 and ASTM E 329 to conduct the testing indicated, as documented according to ASTM E 548.

Retain subparagraph below, required by ACI 301 and ASTM C 31/C 31M, if emphasis is needed.  ASTM C 1077 notes relevant field or laboratory technician certification by ACI, NRMCA, PCA, or National Institute for Certification in Engineering Technologies may demonstrate evidence of competence.

Personnel conducting field tests shall be qualified as ACI Concrete Field Testing Technician, Grade 1, according to ACI CP-1 or an equivalent certification program.

Personnel performing laboratory tests shall be ACI-certified Concrete Strength Testing Technician and Concrete Laboratory Testing Technician - Grade I.  Testing Agency laboratory supervisor shall be an ACI-certified Concrete Laboratory Testing Technician - Grade II.

Source Limitations:  Obtain each type or class of cementitious material of the same brand from the same manufacturer's plant, each aggregate from one source, and each admixture from the same manufacturer.

Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

Before submitting design mixtures, review concrete design mixture and examine procedures for ensuring quality of concrete materials.  Require representatives of each entity directly concerned with cast-in-place concrete to attend, including the following:

Contractor's superintendent.

Independent testing agency responsible for concrete design mixtures.

Ready-mix concrete manufacturer.

Concrete subcontractor.

Review special inspection and testing and inspecting agency procedures for field quality control, concrete finishes and finishing, cold- and hot-weather concreting procedures, curing procedures, construction contraction and isolation joints, and joint-filler strips, semirigid joint fillers, vapor-retarder installation, floor and slab flatness and levelness measurement, concrete repair procedures, and concrete protection.

ACI Publications:  Comply with the following, unless more stringent provisions are indicated:

ACI 301, "Specification for Structural Concrete."

ACI 117, "Specifications for Tolerances for Concrete Construction and Materials."

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, concrete type, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

Delete paragraph below if work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1 Section "Project Meetings."

Insert agenda items not listed in Division 1 Section "Project Meetings" here.

DELIVERY, STORAGE, AND HANDLING

Deliver, store, and handle steel reinforcement to prevent bending and damage.

Delete both subparagraphs below if coated steel reinforcement is not required.

PRODUCTS

FORM-FACING MATERIALS

Smooth-Formed Finished Concrete:  Form-facing panels that will provide continuous, true, and smooth concrete surfaces.  Furnish in largest practicable sizes to minimize number of joints.

Forms in paragraph below leave joint impressions in spiral or straight lines.  Limit types of forms if a particular pattern of joint is required.  Different release treatments of forms also affect appearance of as-cast surfaces.

Forms for Cylindrical Columns, Pedestals, and Supports:  Metal, glass-fiber-reinforced plastic, paper, or fiber tubes that will produce surfaces with gradual or abrupt irregularities not exceeding specified formwork surface class.  Provide units with sufficient wall thickness to resist plastic concrete loads without detrimental deformation.

Retain void forms below, sometimes called "carton forms," if required for expansive soils or block outs.

Delete chamfer strips if chamfering is not permitted.

Chamfer Strips:  Wood, metal, PVC, or rubber strips, 3/4 by 3/4 inch (19 by 19 mm), minimum.

Form-Release Agent:  Commercially formulated form-release agent that will not bond with, stain, or adversely affect concrete surfaces and will not impair subsequent treatments of concrete surfaces.

Form Ties:  Factory-fabricated, removable or snap-off metal or glass-fiber-reinforced plastic form ties designed to resist lateral pressure of fresh concrete on forms and to prevent spalling of concrete on removal.

Delete or revise subparagraphs below to suit Project.

Furnish units that will leave no corrodible metal closer than 1 inch (25 mm) to the plane of the exposed concrete surface.

Furnish ties that, when removed, will leave holes not larger than 1 inch (25 mm) in diameter in concrete surface.

STEEL REINFORCEMENT

Delete or revise paragraphs and subparagraphs below to suit steel reinforcement requirements.

Reinforcing Bars:  ASTM A 615/A 615M, Grade 60 (Grade 420), deformed.

Retain paragraph below for reinforcement that is welded or if added ductility is sought.

Select paragraph above or below.

Plain-Steel Wire: ASTM A82

Plain-Steel Welded Wire Fabric:  ASTM A 185, fabricated from as-drawn steel wire into flat sheets.

REINFORCEMENT ACCESSORIES

Bar Supports:  Bolsters, chairs, spacers, and other devices for spacing, supporting, and fastening reinforcing bars and welded wire fabric in place.  Manufacture bar supports according to CRSI's "Manual of Standard Practice" from steel wire, plastic, or precast concrete or fiber-reinforced concrete of greater compressive strength than concrete, and as follows:

Delete or revise subparagraphs below to suit Project.

For concrete surfaces exposed to view where legs of wire bar supports contact forms, use CRSI Class 1 plastic-protected or CRSI Class 2 stainless-steel bar supports.

For chairs supporting reinforcement above soil, provide sand plates to properly support bars.

Add other products for dowels or dowel sleeves if required.  These include circular and rectangular plastic dowel sleeves, square dowels, and plastic-surfaced or reinforced-paper-covered dowels.

Slab On Grade Construction Joint Dowel Bars:  Plain-steel bars, ASTM A 615/A 615M, Grade 60 (Grade 420).  Cut bars true to length with ends square and free of burrs.

Add mechanical splices and connections for steel reinforcement here if required.

CONCRETE MATERIALS

Portland Cement: ASTM 150, Type I/II. Can be supplemented with the following:

Fly Ash:  ASTM C 618, Class C.

Silica Fume:  ASTM C 1240, amorphous silica.

Select portland cement type from five paragraphs below.  Delete portland cement if only blended hydraulic cement is required.  If supplementary cementing materials are required, usually retain portland cement with either fly ash or slag from subparagraphs below and allow Contractor option of using blended hydraulic cements.

ASTM C 33 limits deleterious substances in coarse aggregate depending on climate severity and in-service location of concrete.  See Evaluations for further information.

Normal-Weight Aggregate:  ASTM C 33, uniformly graded, and as follows:

Retain one of three subparagraphs below based on weathering region of Project.  ASTM C 33 default classes for Severe, Moderate, and Negligible weathering regions are repeated.  Revise first and second subparagraphs, respectively, to either 4S or 5S or 4M or 5M if required.  Higher numbers are for concrete exposed to frequent wetting and for exposed architectural concrete, respectively.  Class 1N is the higher of two numbers in Negligible weathering class.  60 percent of the U.S. lies within Severe weathering region.

Delete subparagraph below if aggregate grading in ASTM C 33 is adequate.  Gradation below is based on ACI 301's Optional Requirements Checklist, Article 4.2.1.2.

Combined Aggregate Gradation:  Well graded from coarsest to finest with not more than 18 percent and not less than 8 percent retained on an individual sieve, except that less than 8 percent may be retained on coarsest sieve and on No. 50 (0.3-mm) sieve, and less than 8 percent may be retained on sieves finer than No. 50 (0.3 mm).

Lightweight Aggregate:  ASTM C 330.

Select lightweight coarse-aggregate size from four subparagraphs below.  If using different aggregate sizes for concrete, indicate location of each on Drawings.

Nominal Maximum Aggregate Size:  3/4 inch (19 mm).

Water:  Potable and complying with ASTM C 94.

ADMIXTURES

General:  Admixtures certified by manufacturer to contain not more than 0.1 percent water-soluble chloride ions by mass of cementitious material and to be compatible with other admixtures and cementitious materials.  Do not use admixtures containing calcium chloride.

Air-Entraining Admixture:  ASTM C 260.

Select chemical admixtures from paragraphs below.

Water-Reducing Admixture:  ASTM C 494, Type A.

High-Range, Water-Reducing Admixture:  ASTM C 494, Type F.

Water-Reducing and Accelerating Admixture:  ASTM C 494, Type E.

Water-Reducing and Retarding Admixture:  ASTM C 494, Type D.

Delete paragraph below if not required.  Select products required because no product standards exist.  Manufacturers offer formulations that act differently.

WATERSTOPS

Select profile from five subparagraphs below.  Insert others if required.

Flexible PVC Waterstops:  CE CRD-C 572, for embedding in concrete to prevent passage of fluids through joints.  Factory fabricate corners, intersections, and directional changes.

Select profile from five subparagraphs below.  Insert others if required.

Self-Expanding Strip Waterstops:  Manufactured rectangular or trapezoidal strip, sodium bentonite or other hydrophylic material for adhesive bonding to concrete.

VAPOR RETARDERS

Vapor Retarder

Vapor Retarder membrane must have the following qualities

Water Vapor Transmission Rate 	ASTM E 96			0.04 Perms or lower

Water Vapor Retarder			ASTM E 1745		Meets or Exceeds Class C

Thickness of Retarder (plastic)	ACI 302.1R-96		Not less than 10 mils

Select from two subparagraphs below or retain both.  First describes "Moistop Plus" by Fortifiber Corporation; second, "Griffolyn T-65" by Reef Industries.

Delete paragraph below if bituminous vapor retarder is not required.

Retain above for nonproprietary or below for a proprietary specification.  Refer to Division 1 Section "Materials and Equipment."

Delete two paragraphs below if not using a granular course over vapor retarder.

Paragraph above and below are based on ACI 302.1R descriptions of granular materials placed over vapor retarder.  This blotter course is not drainage course specified in Division 2 Section "Earthwork" that supports slab and acts as a capillary water barrier under vapor retarder.  Fine-graded granular material above, rather than sand, is used for choking off surface of a granular fill base or to serve alone as blotter course.  Alternatively, a granular fill base below, at least 4 inches (100 mm) thick, can be used.

Granular Fill:  Clean mixture of crushed stone or crushed or uncrushed gravel; ASTM D 448, Size 57, with 100 percent passing a 1-1/2-inch (38-mm) sieve and 0 to 5 percent passing a No. 8 (2.36-mm) sieve.

CURING MATERIALS

Evaporation retarder below temporarily reduces moisture loss from concrete surfaces awaiting finishing in hot, dry, and windy conditions.  Evaporation retarders are not curing compounds.

Moisture-Retaining Cover:  ASTM C 171, polyethylene film or white burlap-polyethylene sheet.

Water:  Potable.

Below is a clear, solvent-borne, membrane-forming curing compound.  Delete if waterborne, low-VOC-emission compounds are required.  Nondissipating-type products have generally been listed.

Below is a clear, nonyellowing, waterborne, membrane-forming curing and sealing compound meeting recently developed ASTM C 1315 requirements.  Retain if lower-voc emissions and a curing compound with sealing properties are required.  Verify curing compounds meet maximum emission limits of authorities having jurisdiction.

Clear, Waterborne, Membrane-Forming Curing and Sealing Compound:  ASTM C 1315, Type 1, Class A.

RELATED MATERIALS

Select one of three paragraphs below.  Joint-filler strips are used in floor isolation joints.

Joint-Filler Strips:  ASTM D 1751, asphalt-saturated cellulosic fiber.

Retain paragraph below if semirigid joint filler is required to fill joints and support edges of trafficked contraction and construction joints.

Epoxy Joint Filler:  Two-component, semirigid, 100 percent solids, epoxy resin with a Shore A hardness of 80 per ASTM D 2240.

Bonding agent in paragraph below may be used directly from container or as an admixture in cement or sand-cement slurries and rubbing grout.

Bonding Agent:  ASTM C 1059, Type II, non-redispersible, acrylic emulsion or styrene butadiene.

CONCRETE MIXES

Prepare design mixes for each type and strength of concrete determined by either laboratory trial mix or field test data bases, as follows:

Proportion normal-weight concrete according to ACI 211.1 and ACI 301.

Proportion lightweight structural concrete according to ACI 211.2 and ACI 301.

Five paragraphs below are examples of portions of structures often needing different concrete mixes.  Revise locations, adding others if more concrete mixes are required.

Footings and Foundation Walls:  Proportion normal-weight concrete mix as follows:

Select compressive strength from subparagraphs below or revise to suit Project.

Compressive Strength (28 Days):  Refer to plans.

Select slump limits from subparagraphs below or revise to suit Project.

Delete subparagraph below if superplasticizers are not permitted.

Maximum Slump for Concrete Containing High-Range Water-Reducing Admixture:  8 inches (200 mm) after admixture is added to concrete with 2- to 4-inch (50- to 100-mm) slump.

Insert water-cementitious materials ratio here if required.  See Editing Instruction No. 2 in the Evaluations.

Slab-on-Grade:  Proportion normal-weight concrete mix as follows:

Select compressive strength from subparagraphs below or revise to suit Project.

Compressive Strength (28 Days):   Refer to plans.

Select cementitious materials content from subparagraphs below or delete if ACI 301 default for floors is sufficient.  ACI 302.1R recommends quantities in listed order below, for nominal maximum aggregate sizes 1-1/2, 1, and 3/4 inch (38, 25, and 19 mm).  ACI 301 sets identical quantities, but for minimum cement rather than cementitious materials content.

Select slump limits from subparagraphs below or revise to suit Project.  ACI 302.1R recommends a maximum slump of 5 inches (125 mm) for floors.

Maximum Slump:  4 inches (100 mm) before adding additives.

### Suspended Slabs:  Proportion light-weight concrete mixture as follows:

Select strength from five options in subparagraph below or revise to suit Project.

#### Minimum Compressive Strength:  Refer to plans.

Retain one of three options in subparagraph below or revise to suit Project.  Options are based on minimum requirements set by ACI 301 for floors and relate to nominal maximum aggregate sizes 1-1/2 inches, 1 inch, and 3/4 inch (38, 25, and 19 mm), respectively.

Select slump limit from two options in subparagraph below or revise to suit Project.

#### Slump Limit:  4 inches (100 mm), plus or minus 1 inch (25 mm) prior to the addition of a water reducing admixture..

Retain one or more of first three subparagraphs below.  Percentages in options in first two subparagraphs are default air contents required by ACI 301 for severe exposure.

#### Air Content:  6 percent, plus or minus 1.5 percent at point of delivery for 3/4-inch (19-mm) nominal maximum aggregate size.

Air content below is maximum recommended by ACI 302.1R for trowel-finished floors.

#### Air Content:  Do not allow air content of troweled finished floors to exceed 3 percent.

Insert water-cementitious materials ratio here if required.  See Editing Instruction No. 2 in the Evaluations.

Delete paragraph and subparagraphs below if lightweight structural concrete is used.  Suspended slabs include formed concrete, composite or noncomposite concrete on metal deck, and concrete topping on structural precast concrete.  If Project has more than one type of suspended slab with different properties, indicate location of each on Drawings.

Select slump limits from subparagraphs below or revise to suit Project.

Insert water-cementitious materials ratio here if required.  See Editing Instruction No. 2 in the Evaluations.

Cementitious Materials:  For concrete exposed to deicers, limit percentage, by weight, of cementitious materials other than portland cement according to ACI 301 requirements.

Usually retain paragraph above or paragraph and applicable subparagraphs below; retain both and indicate exposure conditions of concrete if required.  Neither ACI 301 nor ACI 318 (ACI 318M) limits amount of cementitious material that can replace portland cement unless concrete is exposed to deicing chemicals.

Cementitious Materials:  Limit percentage, by weight, of cementitious materials other than portland cement in concrete as follows:

Percentages below repeat ACI 301 limits for concrete exposed to deicing chemicals.  Revise to suit Project.

Combined Fly Ash and Pozzolan:  25 percent.

For concrete subject to special exposure conditions, select one or more water-cementitious materials ratios from three paragraphs below.  Indicate portions of structure affected by each requirement, here or on Drawings.  See Editing Instruction No. 2 in the Evaluations.

Maximum Water-Cementitious Materials Ratio:  0.45 for concrete exposed to deicers or subject to freezing and thawing while moist.

Retain paragraph above or paragraph and applicable subparagraphs below; retain both and indicate exposure conditions of concrete if required.  Consider above for indoor concrete or outdoor concrete not exposed to freezing or deicing chemicals where air content is desired for improved workability of fresh concrete rather than for durability.

Air Content:  Where required, add air-entraining admixture at manufacturer's prescribed rate to result in concrete at point of placement having an air content as follows within a tolerance of plus 1 or minus 1.5 percent, unless otherwise indicated:

Retain applicable air-entrainment percentages from subparagraphs below or revise to suit Project.  Percentages are from ACI 301 default values based on severe-exposure service conditions.  Air content of concrete may be reduced by 1 to 1.5 percent for moderate exposure and 2.5 to 3 percent for mild exposure.

Air Content:  6 percent for 3/4-inch- (19-mm-) nominal maximum aggregate size.

Air content below is maximum recommended by ACI 302.1R.

Do not air entrain concrete to trowel-finished interior floors and suspended slabs.  Do not allow entrapped air content to exceed 2 percent.

Retain paragraph below or delete if classifying portions of the structure that will be exposed to chlorides, exposed to dampness, or dry or protected from moisture.  Percentage below, from ACI 301, Article 4.2.2.6, is the most restrictive for non-prestressed reinforced concrete and eliminates the need to designate concrete exposure.  ACI 301 and ACI 318 (ACI 318M) express this percentage by weight of cement, not cementitious material.

Delete paragraph below if no steel-fiber reinforcement.  Indicate location, on Drawings, of concrete using steel fiber.  Revise application rate to suit Project.

Select paragraph above or below, or delete both if synthetic fiber is not required.  Indicate location, on Drawings, of concrete using synthetic fiber.  Application rate above is manufacturers' consensus for reducing plastic shrinkage crack formation; below is for improving hardened concrete properties.  Revise amount of fiber if required.

Admixtures:  Use admixtures according to manufacturer's written instructions.

Delete or revise subparagraphs below to suit Project.

Use water-reducing admixture in concrete, as required, for placement and workability.

Use water-reducing and retarding admixture when required by high temperatures, low humidity, or other adverse placement conditions.

Edit subparagraph below to suit Project.

Use water-reducing admixture in pumped concrete, concrete for heavy-use industrial slabs, concrete required to be watertight, and concrete with a water-cementitious materials ratio below 0.50.

Add locations and dosage of corrosion-inhibiting admixture below if required.

FABRICATING REINFORCEMENT

Fabricate steel reinforcement according to CRSI's "Manual of Standard Practice."

CONCRETE MIXING

Select paragraph above or below.  Select below if steel or synthetic fibers are required.

Ready-Mixed Concrete:  Measure, batch, mix, and deliver concrete according to ASTM C 94 and ASTM C 1116, and furnish batch ticket information.  Provide amount of water withheld from Design Mix on batch ticket.

When air temperature is between 85 and 90 deg F (30 and 32 deg C), reduce mixing and delivery time from 1-1/2 hours to 75 minutes; when air temperature is above 90 deg F (32 deg C), reduce mixing and delivery time to 60 minutes.

Delete Project-site mixing if not permitted.  ACI 301 applies measuring, batching, and mixing requirements from ASTM C 94 to Project-site mixing.

EXECUTION

FORMWORK

Design, erect, shore, brace, and maintain formwork, according to ACI 301, to support vertical, lateral, static, and dynamic loads, and construction loads that might be applied, until concrete structure can support such loads.

Construct formwork so concrete members and structures are of size, shape, alignment, elevation, and position indicated, within tolerance limits of ACI 117.

Limit concrete surface irregularities, designated by ACI 347R as abrupt or gradual, as follows:

Select surface classes, usually two or more, from subparagraphs below.  Indicate where each class applies.  Classes are taken from ACI 347R.  See Evaluations.

Class B, 1/4 inch (6 mm).

Construct forms tight enough to prevent loss of concrete mortar.

Chamfer edges of permanently exposed concrete, as indicated on the drawings.

Retain paragraph above or below.  ACI 301 default requires chamfers above.  Retain below if chamfers are not required.

Form openings, chases, offsets, sinkages, keyways, reglets, blocking, screeds, and bulkheads required in the Work.  Determine sizes and locations from trades providing such items.

Clean forms and adjacent surfaces to receive concrete.  Remove chips, wood, sawdust, dirt, and other debris just before placing concrete.

Retighten forms and bracing before placing concrete, as required, to prevent mortar leaks and maintain proper alignment.

Coat contact surfaces of forms with form-release agent, according to manufacturer's written instructions, before placing reinforcement.

EMBEDDED ITEMS

Specify embedded items and anchorage devices for other work attached to or supported by cast-in-place concrete.  Add specific requirements for installing embedded items, if any, that are part of the Work.

Place and secure anchorage devices and other embedded items required for adjoining work that is attached to or supported by cast-in-place concrete.  Use Setting Drawings, templates, diagrams, instructions, and directions furnished with items to be embedded.

Install anchor bolts, accurately located, to elevations required.  All anchor bolts shall be dryset (set prior to placement – wetsetting is unacceptable).

Select applicable subparagraphs below and add others if required.  Revise to suit Project.

REMOVING AND REUSING FORMS

Revise removal time in paragraph below if required.  Period of 24 hours is halved to 12 hours in ACI 347R.  Commentary in ACI 318 (ACI 318M) recognizes 12 hours for concrete using regular portland cement but advises that this period may be insufficient for concrete using Type II and Type V portland cements or ASTM C 595M cements, concrete with retarding admixtures, and concrete using ice during mixing.

General:  Formwork, for sides of beams, walls, columns, and similar parts of the Work, that does not support weight of concrete may be removed after cumulatively curing at not less than 50 deg F (10 deg C) for 24 hours after placing concrete provided concrete is hard enough to not be damaged by form-removal operations and provided curing and protection operations are maintained.

Clean and repair surfaces of forms to be reused in the Work.  Split, frayed, delaminated, or otherwise damaged form-facing material will not be acceptable for exposed surfaces.  Apply new form-release agent.

When forms are reused, clean surfaces, remove fins and laitance, and tighten to close joints.  Align and secure joints to avoid offsets.  Do not use patched forms for exposed concrete surfaces unless approved by Architect.

VAPOR RETARDERS

Vapor Retarder:  Place, protect, and repair vapor-retarder sheets according to ASTM E 1643 and manufacturer's written instructions.

Lap joints 6 inches (150 mm) and seal with manufacturer's recommended tape.

Delete paragraphs and subparagraph below if not using a granular course over vapor retarder.

Retain paragraph above if using fine-graded granular material.  Retain paragraph below if using granular fill.

Granular Fill:  Place vapor retarder over 8” of granular fill compacted with mechanical equipment to elevation tolerances of plus 0 inch (0 mm) or minus 3/4 inch (19 mm).

Retain below if a thin choking-off layer is needed over granular fill.

STEEL REINFORCEMENT

General:  Comply with CRSI's "Manual of Standard Practice" for placing reinforcement.

Do not cut or puncture vapor retarder.  Repair damage and reseal vapor retarder before placing concrete.

Clean reinforcement of loose rust and mill scale, earth, ice, and other foreign materials.

Accurately position, support, and secure reinforcement against displacement.  Locate and support reinforcement with bar supports to maintain minimum concrete cover.  Do not tack weld crossing reinforcing bars.

Delete subparagraph below if welding is not permitted or required.

Set wire ties with ends directed into concrete, not toward exposed concrete surfaces.

Install welded wire fabric in longest practicable lengths on bar supports spaced to minimize sagging.  Lap edges and ends of adjoining sheets at least one mesh spacing.  Offset laps of adjoining sheet widths to prevent continuous laps in either direction.  Lace overlaps with wire.  Use sand chair supports at slabs on grade.

JOINTS

Coordinate joint types, description, and location with Drawings.  Joints types have been consolidated in this Article for consistency rather than for strict sequence of installation.

General:  Construct joints true to line with faces perpendicular to surface plane of concrete.

Revise criteria for locating construction joints, in paragraph and subparagraphs below, to suit Project.

Construction Joints:  Install so strength and appearance of concrete are not impaired, at locations indicated or as approved by Architect.

Place joints perpendicular to main reinforcement.  Continue reinforcement across construction joints, unless otherwise indicated.  Do not continue reinforcement through sides of strip placements of floors and slabs.

Form from preformed galvanized steel, plastic keyway-section forms, or bulkhead forms with keys, unless otherwise indicated.  Embed keys at least 1-1/2 inches (38mm) into concrete.

Delete keyed joints if not used.  Keyed joints are used in walls and floors and between walls and slabs or footings.  ACI 302.1R recommends limiting keyed joints to lightly trafficked floors.

Insert spacing of construction joints in subparagraph below to suit Project.

Space vertical joints in walls as indicated.  Locate joints beside piers integral with walls, near corners, and in concealed locations where possible.

Select subparagraph above or below, or delete both if a bonding material is not permitted.

Use neat cement slurry at locations where fresh concrete is placed against hardened or partially hardened concrete surfaces.

Insert spacing of contraction joints here or on Drawings if required.  Contraction-joint spacings vary with slab thickness, aggregate size, and slump based on PCA's recommendations.

Contraction Joints in Slabs-on-Grade:  Form weakened-plane contraction joints, sectioning concrete into areas as indicated.  Construct contraction joints for a depth equal to at least one-fourth of concrete thickness, as follows:

Select type of joint-forming method required or retain both subparagraphs below as Contractor's option.  Add spacing of joints if not indicated on Drawings.

Delete subparagraph below if saw cutting is not permitted.  Description below does not distinguish conventional wet- and dry-cut saws from early entry dry-cut saws.  Timing is critical to sawed joints.  "Soff-cut" early entry dry-cut saws have been used within one to two hours of finishing concrete.  Conventional saw cutting must be delayed to leave concrete undamaged, usually 4 to 12 hours, but not so long that uncontrolled cracking occurs.

Sawed Joints:  Form contraction joints with power saws equipped with shatterproof abrasive or diamond-rimmed blades.  Cut 1/8-inch- (3-mm-) wide joints into concrete when cutting action will not tear, abrade, or otherwise damage surface and before concrete develops random contraction cracks.

Delete paragraph below if no dowel joints are required; revise if limiting Contractor's choice of dowel joint installation.

Slab On Grade Construction Joints:  Install dowel sleeves and dowels or dowel bar and support assemblies at joints where indicated.  Refer to drawings for details.

Construction joints shall be saw cut and filled with joint filler.

WATERSTOPS

Flexible Waterstops:  Install in construction joints as indicated to form a continuous diaphragm.  Install in longest lengths practicable.  Support and protect exposed waterstops during progress of Work.  Field-fabricate joints in waterstops according to manufacturer's written instructions.

Retain paragraph above or below if waterstops are required.

Self-Expanding Strip Waterstops:  Install in construction joints and at other locations indicated, according to manufacturer's written instructions, bonding or mechanically fastening and firmly pressing into place.  Install in longest lengths practicable.

CONCRETE PLACEMENT

Before placing concrete, verify that installation of formwork, reinforcement, and embedded items is complete and that required inspections have been performed.

Retain paragraph above or paragraph and subparagraph below.  ACI 301 allows water to be added to concrete mix on-site, up to amount allowed in design mix.

Before placing concrete, water may be added at Project site, subject to limitations of ACI 301.

Delete subparagraph below if high-range water-reducing admixtures are not permitted.

Do not add water to concrete after adding high-range water-reducing admixtures to mix.

Deposit concrete continuously or in layers of such thickness that no new concrete will be placed on concrete that has hardened enough to cause seams or planes of weakness.  If a section cannot be placed continuously, provide construction joints as specified.  Deposit concrete to avoid segregation.

If required, insert below a height limitation, usually 60 inches (1500 mm), for dropping concrete in forms.

Deposit concrete in forms in horizontal layers no deeper than 24 inches (600 mm) and in a manner to avoid inclined construction joints.  Place each layer while preceding layer is still plastic, to avoid cold joints.

Consolidate placed concrete with mechanical vibrating equipment.  Use equipment and procedures for consolidating concrete recommended by ACI 309R.

Do not use vibrators to transport concrete inside forms.  Insert and withdraw vibrators vertically at uniformly spaced locations no farther than the visible effectiveness of the vibrator.  Place vibrators to rapidly penetrate placed layer and at least 6 inches (150 mm) into preceding layer.  Do not insert vibrators into lower layers of concrete that have begun to lose plasticity.  At each insertion, limit duration of vibration to time necessary to consolidate concrete and complete embedment of reinforcement and other embedded items without causing mix constituents to segregate.

Deposit and consolidate concrete for floors and slabs in a continuous operation, within limits of construction joints, until placement of a panel or section is complete.

Consolidate concrete during placement operations so concrete is thoroughly worked around reinforcement and other embedded items and into corners.

Maintain reinforcement in position on chairs during concrete placement.

Screed slab surfaces with a straightedge and strike off to correct elevations.

Slope surfaces uniformly to drains where required.

Begin initial floating using bull floats or darbies to form a uniform and open-textured surface plane, free of humps or hollows, before excess moisture or bleedwater appears on the surface.  Do not further disturb slab surfaces before starting finishing operations.

Cold-Weather Placement:  Comply with ACI 306.1 and as follows.  Protect concrete work from physical damage or reduced strength that could be caused by frost, freezing actions, or low temperatures.

When air temperature has fallen to or is expected to fall below 40 deg F (4.4 deg C), uniformly heat water and aggregates before mixing to obtain a concrete mixture temperature of not less than 50 deg F (10 deg C) and not more than 80 deg F (27 deg C) at point of placement.

Do not use frozen materials or materials containing ice or snow.  Do not place concrete on frozen subgrade or on subgrade containing frozen materials.

Do not use calcium chloride, salt, or other materials containing antifreeze agents or chemical accelerators, unless otherwise specified and approved in mix designs.

Hot-Weather Placement:  Place concrete according to recommendations in ACI 305R and as follows, when hot-weather conditions exist:

Cool ingredients before mixing to maintain concrete temperature below 90 deg F (32 deg C) at time of placement.  Chilled mixing water or chopped ice may be used to control temperature, provided water equivalent of ice is calculated to total amount of mixing water.  Using liquid nitrogen to cool concrete is Contractor's option.

Cover steel reinforcement with water-soaked burlap so steel temperature will not exceed ambient air temperature immediately before embedding in concrete.

Fog-spray forms, steel reinforcement, and subgrade just before placing concrete.  Keep subgrade moisture uniform without standing water, soft spots, or dry areas.

FINISHING FORMED SURFACES

Coordinate finishes selected from below with finish schedule or indicate location of each on Drawings.

Smooth-Formed Finish:  As-cast concrete texture imparted by form-facing material, arranged in an orderly and symmetrical manner with a minimum of seams.  Repair and patch tie holes and defective areas.  Remove fins and other projections exceeding 1/8 inch (3 mm) in height.

Revise locations below to suit Project.

Apply to concrete surfaces exposed to public view or to be covered with a coating or covering material applied directly to concrete, such as waterproofing, dampproofing, veneer plaster, or painting.

Delete subparagraph below if a rubbed finish is required.

Do not apply rubbed finish to smooth-formed finish.

Rubbed Finish:  Apply the following to smooth-formed finished concrete, as indicated on plans:

Select one rubbed finish from subparagraphs below if required.

Smooth-Rubbed Finish:  Not later than one day after form removal, moisten concrete surfaces and rub with carborundum brick or another abrasive until producing a uniform color and texture.  Do not apply cement grout other than that created by the rubbing process.

Related Unformed Surfaces:  At tops of walls, horizontal offsets, and similar unformed surfaces adjacent to formed surfaces, strike off smooth and finish with a texture matching adjacent formed surfaces.  Continue final surface treatment of formed surfaces uniformly across adjacent unformed surfaces, unless otherwise indicated.

FINISHING FLOORS AND SLABS

General:  Comply with recommendations in ACI 302.1R for screeding, restraightening, and finishing operations for concrete surfaces.  Do not wet concrete surfaces.

Select types of slab finishes required.

Float Finish:  Consolidate surface with power-driven floats or by hand floating if area is small or inaccessible to power driven floats.  Restraighten, cut down high spots, and fill low spots.  Repeat float passes and restraightening until surface is left with a uniform, smooth, granular texture.

Revise locations of finish in subparagraph below to suit Project.

Apply float finish to surfaces indicated, to surfaces to receive trowel finish.

Trowel Finish:  After applying float finish, apply first trowel finish and consolidate concrete by hand or power-driven trowel.  Continue troweling passes and restraighten until surface is free of trowel marks and uniform in texture and appearance.  Grind smooth any surface defects that would telegraph through applied coatings or floor coverings.

Revise locations of finish in subparagraph below to suit Project.

Apply a trowel finish to surfaces indicated and to floor and slab surfaces exposed to view or to be covered with resilient flooring, carpet, ceramic or quarry tile set over a cleavage membrane, paint, or another thin film-finish coating system

Revise surface plane tolerances to suit Project.  See Evaluations for description of F-number system.  ACI 301 suggests that all residential floors and nonresidential floors less than 10,000 sq. ft. (929 sq. m) be measured by straightedge method and that other nonresidential floors be measured by F-number system.

Finish surfaces to the following tolerances, measured within 24 hours according to ASTM E 1155/E 1155M for a randomly trafficked floor surface:

Select floor flatness values and levelness values required for Project or revise values to suit type of floor.  ACI 302.1R suggests first subparagraph values below be used for carpeted slabs; second and third, for thin floor coverings; and fourth, for very flat floors for high-speed forklifts, air pallets, and ice and roller rinks.

Specified overall values of flatness, F(F) 25; and levelness, F(L) 20; with minimum local values of flatness, F(F) 17; and levelness, F(L) 15 for slabs-on grade.

Specified overall values of flatness, F(F) 25; for elevated slabs on steel beams and metal deck (equivalent to ¼” gap under 10-foot straightedge).  Elevated slab elevations shall be set by lasers taking in consideration that beams and deck shall deflect due to dead load..

Retain straightedge method below if deleting F-number system above.

Trowel and Fine-Broom Finish:  Apply a partial trowel finish, stopping after second troweling, to surfaces indicated and to surfaces where ceramic or quarry tile is to be installed by either thickset or thin-set method.  Immediately after second troweling, and when concrete is still plastic, slightly scarify surface with a fine broom.

Delete paragraph and subparagraph below if not applicable.  Generally used on exterior concrete steps and platforms, ramps, and other surfaces subject to light foot traffic.

Broom Finish:  Apply a broom finish to exterior concrete platforms, steps, and ramps, and elsewhere as indicated.

Immediately after float finishing, slightly roughen trafficked surface by brooming with fiber-bristle broom perpendicular to main traffic route.  Coordinate required final finish with Architect before application.

Delete paragraph and subparagraphs below if not applicable.  Generally used on interior and exterior concrete treads, platforms, and ramps subject to moderate foot traffic.

Retain paragraph and subparagraphs below if mineral dry-shake hardener finish, either pigmented, or unpigmented, is required.

MISCELLANEOUS CONCRETE ITEMS

Paragraphs below are examples only.  Add, revise, or delete to suit Project.

Filling In:  Fill in holes and openings left in concrete structures, unless otherwise indicated, after work of other trades is in place.  Mix, place, and cure concrete, as specified, to blend with in-place construction.  Provide other miscellaneous concrete filling indicated or required to complete Work.

Equipment Bases and Foundations:  Provide machine and equipment bases and foundations as shown on Drawings.  Set anchor bolts for machines and equipment at correct elevations, complying with diagrams or templates of manufacturer furnishing machines and equipment.

Steel Pan Stairs:  Provide concrete fill for steel pan stair treads, landings, and associated items.  Cast-in inserts and accessories as shown on Drawings.  Screed, tamp, and trowel-finish concrete surfaces.

CONCRETE PROTECTION AND CURING

General:  Protect freshly placed concrete from premature drying and excessive cold or hot temperatures.  Comply with ACI 306.1 for cold-weather protection and with recommendations in ACI 305R for hot-weather protection during curing.

If evaporation rate in paragraph below is exceeded, ACI 305R states that plastic shrinkage cracking is probable.  See manufacturers' literature or ACI 305R for estimated moisture-loss chart relating relative humidity, air and concrete temperature, and wind velocity to rate of evaporation.

Evaporation Retarder:  Apply evaporation retarder to unformed concrete surfaces if hot, dry, or windy conditions cause moisture loss approaching 0.2 lb/sq. ft. x h (1 kg/sq. m x h) before and during finishing operations.  Apply according to manufacturer's written instructions after placing, screeding, and bull floating or darbying concrete, but before float finishing.

Unformed Surfaces:  Begin curing immediately after finishing concrete.  Cure unformed surfaces, including floors and slabs, by one or a combination of the following methods:

Select curing method(s) from subparagraphs below.  Delete options or restrict use of curing method(s) to specific locations or types of surfaces if required.

Moisture Curing:  Keep surfaces continuously moist for not less than seven days with the following materials:

Retain three subparagraphs below as Contractor's options, unless not suited for Project.

Water.

Continuous water-fog spray.

Absorptive cover, water saturated, and kept continuously wet.  Cover concrete surfaces and edges with 12-inch (300-mm) lap over adjacent absorptive covers.

Moisture-Retaining-Cover Curing:  Cover concrete surfaces with moisture-retaining cover for curing concrete, placed in widest practicable width, with sides and ends lapped at least 12 inches (300 mm), and sealed by waterproof tape or adhesive.  Cure for not less than seven days.  Immediately repair any holes or tears during curing period using cover material and waterproof tape.

Retain subparagraphs below to suit Project.

Moisture cure or use moisture-retaining covers to cure concrete surfaces to receive floor coverings.

Moisture cure or use moisture-retaining covers to cure concrete surfaces to receive penetrating liquid floor treatments or adhesive applied floor finishes.

Cure concrete surfaces to receive floor coverings with either a moisture-retaining cover or a curing compound that the manufacturer recommends for use with floor coverings.

Curing Compound:  Apply uniformly in continuous operation by power spray or roller according to manufacturer's written instructions.  Recoat areas subjected to heavy rainfall within three hours after initial application.  Maintain continuity of coating and repair damage during curing period.

Curing and sealing compound below is usually for floors and slabs and may act as a permanent surface finish.

JOINT FILLING

Delete this Article if no joint filling.

Prepare, clean, and install joint filler according to manufacturer's written instructions.

ACI 302.1R recommends joint filling be deferred as long as possible in concrete floors.  Typically, up to 30 percent of concrete shrinkage takes place in first month, with 80 to 90 percent during first 12 months.  Revise period below if too short or too long.  Joints must be filled before industrial floors can be placed in service.

Defer joint filling until concrete has aged at least six months.  Do not fill joints until construction traffic has permanently ceased.

Remove dirt, debris, saw cuttings, curing compounds, and sealers from joints; leave contact faces of joint clean and dry.

Install semirigid epoxy joint filler full depth in saw-cut joints and at least 1.5 inches deep in formed joints.  Overfill joint and trim joint filler flush with top of joint after hardening.

CONCRETE SURFACE REPAIRS

This Article provides basic applications for repairing concrete surfaces.  Revise or delete to suit Project.

Defective Concrete:  Repair and patch defective areas when approved by Architect.  Remove and replace concrete that cannot be repaired and patched to Architect's approval.

Patching Mortar:  Mix dry-pack patching mortar, consisting of one part portland cement to two and one-half parts fine aggregate passing a No. 16 (1.2-mm) sieve, using only enough water for handling and placing.

Insert provision for testing repair technique on a mockup or surface to be concealed later, before repairing surfaces.

Repairing Formed Surfaces:  Surface defects include color and texture irregularities, cracks, spalls, air bubbles, honeycombs, rock pockets, fins and other projections on the surface, and stains and other discolorations that cannot be removed by cleaning.

Immediately after form removal, cut out honeycombs, rock pockets, and voids more than 1/2 inch (13 mm) in any dimension in solid concrete but not less than 1 inch (25 mm) in depth.  Make edges of cuts perpendicular to concrete surface.  Clean, dampen with water, and brush-coat holes and voids with bonding agent.  Fill and compact with patching mortar before bonding agent has dried.  Fill form-tie voids with patching mortar or cone plugs secured in place with bonding agent.

Repair defects on surfaces exposed to view by blending white portland cement and standard portland cement so that, when dry, patching mortar will match surrounding color.  Patch a test area at inconspicuous locations to verify mixture and color match before proceeding with patching.  Compact mortar in place and strike off slightly higher than surrounding surface.

Repair defects on concealed formed surfaces that affect concrete's durability and structural performance as determined by Architect.

Repairing Unformed Surfaces:  Test unformed surfaces, such as floors and slabs, for finish and verify surface tolerances specified for each surface.  Correct low and high areas.  Test surfaces sloped to drain for trueness of slope and smoothness; use a sloped template.

Repair finished surfaces containing defects.  Surface defects include spalls, popouts, honeycombs, rock pockets, crazing and cracks in excess of 0.01 inch (0.25 mm) wide or that penetrate to reinforcement or completely through unreinforced sections regardless of width, and other objectionable conditions.

After concrete has cured at least 14 days, correct high areas by grinding.

Correct localized low areas during or immediately after completing surface finishing operations by cutting out low areas and replacing with patching mortar.  Finish repaired areas to blend into adjacent concrete.

Correct other low areas scheduled to receive floor coverings with a repair underlayment.  Prepare, mix, and apply repair underlayment and primer according to manufacturer's written instructions to produce a smooth, uniform, plane, and level surface.  Feather edges to match adjacent floor elevations by removal and replacement.

Delete subparagraph above and below, or retain both if applicable.  Above uses an underlayment; below, a topping.

Repair defective areas and low areas, except random cracks and single holes 1 inch (25 mm) or less in diameter, by cutting out and replacing with fresh concrete.  Remove defective areas with clean, square cuts and expose steel reinforcement with at least 3/4 inch (19 mm) clearance all around.  Dampen concrete surfaces in contact with patching concrete and apply bonding agent.  Mix patching concrete of same materials and mix as original concrete except without coarse aggregate.  Place, compact, and finish to blend with adjacent finished concrete.  Cure in same manner as adjacent concrete.

Correct low areas scheduled to remain exposed by removal and replacement.

Perform structural repairs of concrete, subject to Architect's approval, using epoxy adhesive and patching mortar.

Repair materials and installation not specified above may be used, subject to Architect's approval.

FIELD QUALITY CONTROL

Revise field quality-control testing below to suit Project or delete if not required for small projects.

Retain paragraph above if Contractor engages testing agency.  Retain paragraph below if Owner engages testing agency.

Testing Agency:  Owner will engage a qualified independent testing and inspecting agency to sample materials, perform tests, and submit test reports during concrete placement.  Sampling and testing for quality control may include those specified in this Article.

Testing Services:  Testing of composite samples of fresh concrete obtained according to ASTM C 172 shall be performed according to the following requirements:

Testing Frequency:  Obtain one composite sample for each day's pour of each concrete mix exceeding 5 cu. yd. (4 cu. m), but less than 25 cu. yd. (19 cu. m), plus one set for each additional 50 cu. yd. (38 cu. m) or fraction thereof.

Retain subparagraph above or below.  Above is an example that produces more frequent testing than below.  Below is testing frequency required to comply with ACI 301.

Testing Frequency:  Obtain at least one composite sample for each 100 cu. yd. (76 cu. m) or fraction thereof of each concrete mix placed each day.

Retain subparagraph below with either subparagraph selected above.

When frequency of testing will provide fewer than five compressive-strength tests for each concrete mix, testing shall be conducted from at least five randomly selected batches or from each batch if fewer than five are used.

Slump:  ASTM C 143; one test at point of placement for each composite sample, but not less than one test for each day's pour of each concrete mix.  Perform additional tests when concrete consistency appears to change.

Air Content:  ASTM C 231, pressure method, for normal-weight concrete; ASTM C 173, volumetric method, for structural lightweight concrete; one test for each composite sample, but not less than one test for each day's pour of each concrete mix.

Concrete Temperature:  ASTM C 1064; one test hourly when air temperature is 40 deg F (4.4 deg C) and below and when 80 deg F (27 deg C) and above, and one test for each composite sample.

Delete unit weight test below if no structural lightweight concrete.

Unit Weight:  ASTM C 567, fresh unit weight of structural lightweight concrete; one test for each composite sample, but not less than one test for each day's pour of each concrete mix.

Revise number of laboratory- or field-cured test specimens below if required.

Compression Test Specimens:  ASTM C 31/C 31M; cast and laboratory cure one set of four standard cylinder specimens for each composite sample.

Field-cured specimens below may be required to verify adequacy of curing and protection of concrete or to verify strength for removal of shoring and reshoring in multistory construction.

Cast and field cure one set of four standard cylinder specimens for each composite sample.

Coordinate number of compression test specimens in subparagraph and associated subparagraph above with number of compressive-strength tests in subparagraph and associated subparagraphs below.

Compressive-Strength Tests:  ASTM C 39; test two laboratory-cured specimens at 7 days and two at 28 days.

Revise age at testing or delete if not required.  Limit field testing to concrete in designated structural elements if not required throughout Project.

Test two field-cured specimens at 7 days and two at 28 days.

A compressive-strength test shall be the average compressive strength from two specimens obtained from same composite sample and tested at age indicated.

Delete paragraph below if field-cured specimens are not required.

When strength of field-cured cylinders is less than 85 percent of companion laboratory-cured cylinders, Contractor shall evaluate operations and provide corrective procedures for protecting and curing in-place concrete.

Strength of each concrete mix will be satisfactory if every average of any three consecutive compressive-strength tests equals or exceeds specified compressive strength and no compressive-strength test value falls below specified compressive strength by more than 500 psi (3.4 MPa).

Test results shall be reported in writing to Architect, the SER, concrete manufacturer, and Contractor within 48 hours of testing.  Reports of compressive-strength tests shall contain Project identification name and number, date of concrete placement, name of concrete testing and inspecting agency, location of concrete batch in Work, design compressive strength at 28 days, concrete mix proportions and materials, compressive breaking strength, and type of break for both 7-and 28-day tests.

Nondestructive Testing:  Impact hammer, sonoscope, or other nondestructive device may be permitted by Architect but will not be used as sole basis for approval or rejection of concrete.

Additional Tests:  Testing and inspecting agency shall make additional tests of concrete when test results indicate that slump, air entrainment, compressive strengths, or other requirements have not been met, as directed by Architect.  Testing and inspecting agency may conduct tests to determine adequacy of concrete by cored cylinders complying with ASTM C 42 or by other methods as directed by Architect.

Measure floor and slab flatness and levelness according to ASTM E 1155 (ASTM E 1155M) within 24 hours of finishing.

# END OF SECTION 03300