# MEMORANDUM

- TO:	Jean Fraser, Planner

- FROM:	David Senus, P.E. & Ashley Auger, E.I.T.

- DATE:	July 25, 2012

- RE:	Jordan’s Site Mixed Use Development, Level III Final Site Plan/Subdivision Application

Woodard & Curran has reviewed the response to comments on the Level III Final Site Plan/Subdivision Application for the Jordan’s Site Mixed Use Development located at 203 Fore Street in Portland, Maine. The project consists of development of a five story mixed use condominium building with retail space, office space, and residential units.

Documents Provided By Applicant

- Cover Letter and attachments, dated July 23, 2012, prepared by Opechee Construction Corporation, on behalf of Fore Middle India LLC.

Comments

- The detail of the pavement area treated by tree box filter adequately addresses the comment contained in the Woodard & Curran memorandum dated June 6, 2012.