May 1, 2015

City of Portland

Electrical Inspection Division

389 Congress St

Portland, ME 04101

RE:	FLATBREAD PIZZA 72 COMMERCIAL ST PORTLAND - WATER DAMAGE

Thursday April 30th –

Check the electrical for water damage at Flatbread Pizza Restaurant.  Was able to turn the freezer and cooler power back on, however the wet zone was left off.

Returned on Friday May 1st and checked the wet zone electrical.  Cleaned lights wiped out water and repaired.

Sincerely;

T A Napolitano Electric