|  | Form Completion Date: | 6-3-2020 | Supplemental Pages Attached: | 1 |  |
| --- | --- | --- | --- | --- | --- |

1.	Property Information

| Name of property: | Flatbread Wharf |
| --- | --- |
| Address: | 72 Commercial Street Portland Me |
| Description of property: | Commercial |
| Name of property representative: |  |
| Address: |  |
| Phone: |  | Fax: |  | E-mail: |  |

2.	INSTALLATION, SERVICE, TESTING, AND MONITORING INFORMATION

| Installation contractor: | Longchamps Electric |
| --- | --- |
| Address: | 700 Harvey Road Manchester, NH |
| Phone: | 603-625-5954 | Fax: |  | E-mail: |  |
| Service organization: |  |
| Address: |  |
| Phone: |  | Fax: |  | E-mail: |  |
| Testing organization: |  |
| Address: |  |
| Phone: |  | Fax: |  | E-mail: |  |
| Effective date for test and inspection contract: |  |
| Monitoring organization: | Centralarm |
| Address: | 994 Candia Road Manchester,NH |
| Phone: | 800-639-2266 | Fax: |  | E-mail: |  |
| Account number: | 62401408 | Phone line 1: |  | Phone line 2: |  |
| Means of transmission: |  |
| Entity to which alarms are retransmitted: | Same as Above | Phone: |  |

3.	DOCUMENTATION

| On-site location of the required record documents and site-specific software: |  |
| --- | --- |

4.	DESCRIPTION OF SYSTEM OR SERVICE

| This is a: | New system | Modification to existing system | Permit number: |  |
| --- | --- | --- | --- | --- |
| NFPA 72 edition: | 2013 |
| 4.1 Control Unit |
| Manufacturer: | Notifier | Model number: | NFS2640 |
| 4.2 Software and Firmware |
| Firmware revision number: | 27 |
| 4.3 Alarm Verification | This system does not incorporate alarm verification. |
| Number of devices subject to alarm verification: |  | Alarm verification set for |  | seconds |

5.	SYSTEM POWER

| 5.1 Control Unit |
| --- |
| 5.1.1 Primary Power |
| Input voltage of control panel: |  | Control panel amps: |  |
| Overcurrent protection: Type: |  | Amps: |  |
| Branch circuit disconnecting means location: |  | Number: |  |
| 5.1.2 Secondary Power |
| Type of secondary power: |  |
| Location, if remote from the plant: |  |
| Calculated capacity of secondary power to drive the system: |
| In standby mode (hours): |  | In alarm mode (minutes): |  |
| 5.2 Control Unit |
| This system does not have power extender panels |
| Power extender panels are listed on supplementary sheet A |

6.	CIRCUITS AND PATHWAYS

| Pathway Type | Dual Media Pathway | Separate Pathway | Class | Survivability Level |
| --- | --- | --- | --- | --- |
| Signaling Line |  |  |  |  |
| Device Power |  |  |  |  |
| Initiating Device |  |  |  |  |
| Notification Appliance |  |  |  |  |
| Other (specify): |  |  |  |  |

7.	REMOTE ANNUNCIATORS

| Type | Location |
| --- | --- |

8.	INITIATING DEVICES

| Type | Quantity | Addressable or Conventional | Alarm or Supervisory | Sensing Technology |
| --- | --- | --- | --- | --- |
| Manual Pull Stations | 11 | Addressable | Alarm |  |
| Smoke Detectors | 5 | Addressable | Alarm |  |
| Duct Smoke Detectors |  |  |  |  |
| Heat Detectors | 3 | Addressable | Alarm |  |
| Gas Detectors |  |  |  |  |
| Waterflow Switches | 2 | Addressable | Alarm |  |
| Tamper Switches | 2 | Addressable | Supervisory |  |

9.	NOTIFICATION APPLIANCES

| Type | Quantity | Description |
| --- | --- | --- |
| Audible |  |  |
| Visible | 10 |  |
| Combination Audible and Visible | 16 |  |

10.	  SYSTEM CONTROL FUNCTIONS

| Type | Quantity |
| --- | --- |
| Hold-Open Door Releasing Devices |  |
| HVAC Shutdown |  |
| Fire/Smoke Dampers |  |
| Door Unlocking |  |
| Elevator Recall | 3 |
| Elevator Shunt Trip | 1 |

11.	  INTERCONNECTED SYSTEMS

| This system does not have interconnected systems. |
| --- |
| Interconnected systems are listed on supplementary sheet |  | . |

12.	  CERTIFICATION AND APPROVALS

| 12.1 System Installation Contractor |
| --- |
| This system as specified herein has been installed according to all NFPA standards cited herein. |
| Signed: |  | Printed name: | Matt | Date: | 6-3-2020 |
| Organization: | Longchamps Electirc | Title: |  | Phone: |  |
| 12.2 System Operational Test |
| This system as specified herein has tested according to all NFPA standards cited herein. |
| Signed: |  | Printed name: | Rich Veilleux | Date: | 6-3-2020 |
| Organization: | BK Systems Inc | Title: | Service Tech | Phone: | 603-851-5129 |
| 12.3 Acceptance Test |
| Date and time of acceptance test: |  |
| Installing contractor representative: |  |
| Testing contractor representative: |  |
| Property representative: |  |
| AHJ representative: |  |