| Inspection/Test Start Date/Time: | 6-3-2020 | Inspection/Test Completion Date/Time: | 6-3-2020 |
| --- | --- | --- | --- |
|  | Supplemental Form(s) Attached: |  | (yes/no) |

1.	Property Information

| Name of property: | Flatbread Wharf |
| --- | --- |
| Address: | 72 Commercial Street Portland, Me |
| Description of property: | Commercial |
| Name of property representative: | Anthony Grenon |
| Address: |  |
| Phone: | 603-498-9312 | Fax: |  | E-mail: |  |

2.	TESTING AND MONITORING INFORMATION

| Testing organization: | Bk Systems Inc |
| --- | --- |
| Address: | 27 Sheep Davis Road Pembroke, Nh |
| Phone: | 603-647-8775 | Fax: |  | E-mail: |  |
| Monitoring organization: | Centralarm |
| Address: | 994 Candia Rd Manchester, NH |
| Phone: | 800-639-2066 | Fax: |  | E-mail: |  |
| Account number: | 62401408 | Phone line 1: |  | Phone line 2: |  |
| Means of transmission: | Udact |
| Entity to which alarms are retransmitted: |  | Phone: |  |

3.	DOCUMENTATION

| On-site location of the required record documents and site-specific software: |  |
| --- | --- |

4.	DESCRIPTION OF SYSTEM OR SERVICE

| 4.1 Control Unit |
| --- |
| Manufacturer: | Notifier | Model number: | NFS2640 |
| 4.2 Software and Firmware |
| Firmware revision number: | 27 |
| 4.3 System Power |
| 4.3.1 Primary (Main) Power |
| Nominal voltage: | 120 | Amps: | 20 | Location: |  |
| Overcurrent protection type: |  | Amps: |  | Disconnecting means location: |  |

4.	DESCRIPTION OF SYSTEM OR SERVICE (continued)

| 4.3.2 Secondary Power |
| --- |
| Type: |  | Location: |  |
| Battery type (if applicable): |  |
| Calculated capacity of batteries to drive the system: |
| In standby mode (hours): |  | In alarm mode (minutes): |  |

5.	NOTIFICATIONS MADE PRIOR TO TESTING

| Monitoring organization | Contact: |  | Time: |  |
| --- | --- | --- | --- | --- |
| Building management | Contact: |  | Time: |  |
| Building occupants | Contact: |  | Time: |  |
| Authority having jurisdiction | Contact: |  | Time: |  |
| Other, if required |  | Contact: |  | Time: |  |

6.	TESTING RESULTS

| 6.1 Control Unit and Related Equipment |
| --- |
| Description | Visual Inspection | Functional Test | Comments |
| Control unit |  |  |  |
| Lamps/LEDs/LCDs |  |  |  |
| Fuses |  |  |  |
| Trouble signals |  |  |  |
| Disconnect switches |  |  |  |
| Ground-fault monitoring |  |  |  |
| Supervision |  |  |  |
| Local annunciator |  |  |  |
| Remote annunciators |  |  |  |
| Remote power panels |  |  |  |
| 6.2 Secondary Power |
| Description | Visual Inspection | Functional Test | Comments |
| Battery condition |  |  |  |
| Load voltage |  |  |  |
| Discharge test |  |  |  |
| Charger test |  |  |  |
| Remote panel batteries |  |  |  |

6.	TESTING RESULTS (continued)

| 6.3 Alarm and Supervisory Alarm Initiating Device |
| --- |
| Attach supplementary device test sheets for all initiating devices. |
| 6.4 Notification Appliances |
| Attach supplementary appliance test sheets for all notification appliances. |
| 6.5 Interface Equipment |
| Attach supplementary interface component test sheets for all interface components. |
|  | Circuit Interface / Signaling Line Circuit Interface / Fire Alarm Control Interface |
| 6.6 Supervising Station Monitoring |
| Description | Yes | No | Time | Comments |
| Alarm signal |  |  |  | Verified on Boldnet App. |
| Alarm restoration |  |  |  | Verified on Boldnet App. |
| Trouble signal |  |  |  | Verified on Boldnet App. |
| Trouble restoration |  |  |  | Verified on Boldnet App. |
| Supervisory signal |  |  |  | Verified on Boldnet App. |
| Supervisory restoration |  |  |  | Verified on Boldnet App. |
| 6.7 Public Emergency Alarm Reporting System |
| Description | Yes | No | Time | Comments |
| Alarm signal |  |  |  |  |
| Alarm restoration |  |  |  |  |
| Trouble signal |  |  |  |  |
| Trouble restoration |  |  |  |  |
| Supervisory signal |  |  |  |  |
| Supervisory restoration |  |  |  |  |

7.	NOTIFICATIONS THAT TESTING IS COMPLETE

| Monitoring organization | Contact: |  | Time: |  |
| --- | --- | --- | --- | --- |
| Building management | Contact: |  | Time: |  |
| Building occupants | Contact: |  | Time: |  |
| Authority having jurisdiction | Contact: |  | Time: |  |
| Other, if required |  | Contact: |  | Time: |  |

8.	SYSTEM RESTORED TO NORMAL OPERATION

| Date: | 6-3-2020 | Time: |  |
| --- | --- | --- | --- |

9.	CERTIFICATION

| This system as specified herein has been inspected and tested according to NFPA 72, 2013 edition, Chapter 14. |
| --- |
| Signed: |  | Printed name: | Rich Veilleux | Date: | 6-3-2020 |
| Organization: | BK Systems Inc | Title: | Service Tech | Phone: | 603-647-8775 |
| Qualifications (refer to 10.5.3): |  |

10.	 DEFECTS OR MALFUNCTIONS NOT CORRECTED AT CONCLUSION OF SYSTEM INSPECTION,

TESTING, OR MAINTENANCE

| 10.1 Acceptance by Owner or Owner’s Representative: |
| --- |
| The undersigned accepted the test report for the system as specified herein: |
| Signed: |  | Printed name: |  | Date: |  |
| Organization: |  | Title: |  | Phone: |  |