NOTE FOR FILE  12.10.09

Re:       WIND ENERGY ORDINANCE DEVELOPMENT plus

DiMillo’s Exemption Application for WINDSPIRE Wind Generator

I had a telephone conversation today with Mark Hellen of Nelson and Small (Technical Consultant)  775-5661 Ext 237  [He apologized for not getting back to us but has had a difficult couple of weeks;  I called him after leaving message yesterday].

ORDINANCE DEVELOPMENT

- Scope in Portland:

  - Windspire (30 ft high at min) operates OK at 4mph (uses opposing magnetic coupling) and suitable for waterfront and other windy areas (max 37mph).  At the moment probably not economic for householders (oil cost currently low) but would be attractive for commercial.  A 3.0 kW Windspire soon to be available thought specs not yet available (1.2 kW currently available), and this is likely to be popular.

  - Windspire could be attached to a building but not a residential one as couldn’t take the torque;  a flat-roofed bank or similar would be OK or new building where strengthening built in.  Most likely to be located in parking lots and similar.

  - Nelson & Small have a Skystream in front of their offices (on 45’ pole;  rotors are 12 ft in diameter) but this is mainly for “advertising” and to train their reps as it doesn’t get enough wind to generate much electricity.  These more suitable on hills or where open area.

- Re Ordinance:

  - He appreciates that height limits are a hurdle as well as potential public opposition.  He had suggested the one at DiMillos (hes a friend of Steve DiMIllo) as that environment less sensitive yet highly visible.

  - Will be getting back to me re ice throw; shadow flicker and whether there is one we could go and look at (see note below).  Interested to be involved in discussion of the draft Ordinance.

RE THE PROPOSAL AT DI MILLOS-  AS GIVEN TO BARBARA 12.10.09

- Proposals for security:

- The site already has fencing on the 2 water sides (high chain link for one segment and a lower tubular steel for the other – visible in photos) and they would fence the other 2 sides with 6 ft high black vinyl-coated chain link fence if we would like it to be fenced.  This would not be within 5 ft of the water as its on the inland side.

- Instead/in addition he can add a 5 ft extender to the pole so that the height before reaching the moving spinner is increased from 9’1” to 14’.

- He confirmed that if someone put their hands into the vertical spinning mechanism that they would probably break their hand.

- Also he confirmed that for the City’s Building Inspector they are getting a PE to review and stamp the plans etc.

- Re shadow flicker/ice shedding, he doesn’t think these are issues but will check (and get back to me) with the company as they have piloted these in Colorado (where is snow/ice).

- They will do whatever we feel is appropriate as they want this installation to give a positive “message” about wind energy;  they are likely to wait until Spring to install so to allow all the necessary discussions to take place with us as they want everyone “happy”.

- Context information:

- He was unaware of any other Windspire being installed in the Portland area and this one at DiMillos is the first one that Nelson & Small have been involved with (they have an approx 50 ft high Skystream (horizontal axis) in their front yard).  He is going to check whether there is one installed nearby by others and get back to me.

- He is confident of the wind resource at DiMillo’s (he knows Steve DiMillo and had suggested this);  thinks the Windspire will work well as only needs 4mph;  he anticipates that these will initially be most popular with small commercial uses and be located in parking lots (a 3kW version is soon to be available;  currently the Skystream is 2.4kW and Windspire is 1.2-1.5kW).  Householders probably won’t be interested (now) as cost too high compared to savings given current cost of oil.

- He is supportive of the Ordinance development and willing to participate in any discussions I arrange etc.

Jean Fraser, Planner Ext 8728  12.10.09