3/2/12

Scope of Work:  390 Congress St.

The building is being renovated by Electrical Maintenance & Install.  There is an existing addressable fire alarm system with voice evacuation in the building.  All existing fire alarm equipment will be reused/relocated according to the plans.

EMI will add a radio master box, knox box and records cabinet per city requirements.