Applicant: Norris Inc.

App Phone #: 207-883-3473

Building Name: Old Portland Press Herald

Building z

Building Address: 390 Congress St

Occupancy: High-rise business

Assembly OL>300, 20 unit apartment building, etc. Emergency Contact: Steve Stewart

Emergency phone #: 207-878-5000

Date of Application: 3/21/12

Billing Address: Electrical Maintenance &


Installation, Inc.

PO Box 15007, Portland, ME 04112

Comments: Use Market St enterance

**Applicant completes red box and submits with Fire Alarm Permit**

Fire Prevention: Approved 🞏 Denied



**1**

10 / 14 / 11 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date Fire Prevention Officer

Zone 1: Water flow Zone 2: City disconnect: Water Flow .

Zone 3: Sub-basement – 4th floor . Zone 4: City disconnect: Sub-basement – 4th floor

Zone 5: 5th floor – penthouse Zone 6: City disconnect: 5th floor – penthouse.


Zone 7: Unassigned Zone 8: AES Tamper switch . .

Modify City Box response to alarm sounding in CAD­­­­­: 🞏 YES NO .



**2**

Fire Alarm: Box #: Reuse 4428; discontinue 4429



Electrical Division: 🞏 Approved 🞏 Denied

Box Type: AES Radio Box / \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

New Other

**3**

Test Date: \_\_\_\_\_/\_\_\_\_\_/\_\_\_\_\_ In Service Date: \_\_\_\_\_/\_\_\_\_\_/\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fire Alarm Technician

AES

Circuit if applicable:

Fire Alarm: Same Running Assignment As Box: \_\_\_\_\_

**4**

Notifications: 🞏 All Stations 🞏 Run Books 🞏 Digitizer 🞏 Computer 🞏 Cad Box Test

🞏 South Portland 🞏 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Other Dispatcher

**5**

Billing: 🞏 Entered \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Financial Officer