Bull Feeney Irish Pub

375 Fore Street 								         November 21, 2007

Portland, Maine   04101

CBL: 032  F007001	                                                                         Hand Delivery

Located at 375 FORE ST

Dear Mr. Fuss,

SECOND NOTICE OF VIOLATION

An evaluation of the above-referenced property on  11,21,2007 revealed that the structure remains non-compliant

with the  Maine State Plumbing Code.  The following Maine State Plumbing Code  violations have not

been  corrected.

303.0 Disposal of Liquid Waste:

It shall be unlawful for any person to cause, suffer, or permit the disposal of sewage, human excrement,

or other liquid wastes, in any place or manner, except through and by means of an approved drainage

system, installed and maintained in accordance with the provisions of this Code.

1.16 Health and Safety: Whenever compliance with all the provisions of the Code fails to eliminate

or alleviate a nuisance or any dangerous or insanitary conditions that may involve health or safety

hazards, the owner or licensed plumber shall install such additional plumbing and drainage facilities or

shall make such repairs or alterations as may be ordered by the Department, Board or LPI.

This is a SECOND notice of violation pursuant to Section 6-118 of the Code.  All referenced violations shall be

corrected by December 4, 2007.   A re-inspection will occur on   December 4, 2007at which time  compliance will be required.

Failure to comply will result in this office referring the matter to the City of Portland  Corporation Counsel for legal action

and possible  civil penalties, as provided for in Section 1-15 of the Code and in Title 30-A M.R.S.A ss 4452

Please contact me is you wish to discuss this matter further or have any questions

Sincerely,

Suzanne Hunt @ (207) 874-8707

Code Enforcement Officer

cc. Eleven Exhange LLC,   certified mail #  7007 0710  0002 4976 1405

Mary Costigan,   City of Portland, Associate, City Corporate Council