Inspection Services                                       Department of Urban Development

Michael J. Nugent			                                      Joseph E. Gray, Jr.

Manager                                                                                                    Director

CITY OF PORTLAND

STOP WORK NOTICE

February 17, 2000

Joseph Soley

P.O. Box 367

Portland, ME 04112

RE:	10 Exchange St.

CBL:	032-I-12

Hand Delivered

Dear Mr. Soley:

An evaluation of the property at 10 Exchange Street on 02-17-00 revealed that the Site Plan fails to comply with Section 111.3 of the Building Code of the City of Portland.

Work shall conform to the approved application and construction documents for which the permit has been issued

This is a STOP WORK ORDER pursuant to Section 117.1 of the Building Code(1996 BOCA). All construction activity must Stop immediately.

The permit was issued for a penetration in a “Non-loadbearing” wall . On site inspection revealed that the wall is loadbearing.

Failure to comply will result in this office referring the matter to the City of Portland Corporation Counsel for legal action and possible civil penalties, as provided for in Section 1-15 of the Code and in Title 30-A M.R.S.A. Ss 4452. This constitutes an appealable decision pursuant to Section 121.5 of the Code. Please feel free to contact me at 874-8715, if you wish to discuss the matter or have any questions.

Sincerely,

Jeanie Bourke

Code Enforcement Officer

Cc: Central File

Joseph Gray