From: 	Greg Shinberg <gls@shinbergconsulting.com>
To:	HCD@portlandmaine.gov
Date: 	8/15/2013 11:16 AM
Subject: 	FW: Roof Top Equip Decibel Outputs - Rev1
Attachments:	HPP dBA - Roof Top Units July 2013.pdf

Hi Nell:

Please see the attached information and the email below.

A Co‑ Gen system is a new generator that produces electricity (it is on the
roof) and the by product is heating water that will be used in hotel rooms.

Do not hesitate to contact me with any questions.

Greg

Shinberg Consulting, LLC

477 Congress Street, Suite 1012

Portland, Maine 04101

Office 207 772 7070

Fax 207 772 7080

Cell 207 653 7510

gls@shinbergconsulting.com <blocked::mailto:gls@shinbergconsulting.com>

www.shinbergconsulting.com
  ‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑‑

*From:* Schneider, Timothy [mailto:TSchneider@consigli.com]
*Sent:* Tuesday, August 06, 2013 6:47 PM
*To:* Greg Shinberg
*Cc:* Hossfeld, Matthew; Dorval, Jerry
*Subject:* RE: Roof Top Equip Decibel Outputs ‑ Rev1

Greg,

As discussed earlier the Co‑Gen decibel rating is 54 – 56.
http://us.yanmar.com/products/energy‑systems/details/

Thanks.

[image: Description: S:\Business
Development\Logo\Consigli_Email_Signature.JPG] <http://www.consigli.com/>

Timothy Schneider, LEED AP
Project Manager
Consigli Construction Co., Inc.
15 Franklin Street
Portland, ME  04101
c. 207.317.6220
t. 207.791.2518
f. 207.791.2568

*An Affirmative Action / Equal Opportunity Employer*

*From:* Schneider, Timothy
*Sent:* Friday, August 02, 2013 1:37 PM
*To:* Greg Shinberg
*Cc:* Hossfeld, Matthew; Dorval, Jerry
*Subject:* Roof Top Equip Decibel Outputs ‑ Rev1

Greg

Here's us a list of the decibel rating for all roof top mounted equipment.

Let us know of you need anything further on this.

Thanks.

Timothy Schneider, LEED AP

Project Manager

Consigli Construction Co., Inc.

15 Franklin Street

Portland, ME  04101

c. 207.317.6220

t. 207.791.2518

f. 207.791.2568

Begin forwarded message:

 *From:* "Hossfeld, Matthew" <MHossfeld@consigli.com>
*Date:* August 2, 2013, 1:30:40 PM EDT
*To:* "Schneider, Timothy" <TSchneider@consigli.com>
*Subject:* *FW: Roof Top Equip Decibel Outputs ‑ Rev1*

 See attached and below for dBA’s for roof top units