From: 	David Margolis-Pineo
To:	Helen Donaldson
Date: 	11/14/2013 11:17 AM
Subject: 	Please review

Nell,
 
Public Services have reviewed the attached stamped light pole base design with Denise Cameron as submitted by Woodard and Curran.
 
Public Services is agreeable with the proposed design.  However it is critical that the contractor compact the soils under this spread footing for the light pole bases to facilitate weight distribution off the CMP conduit.  In discussion with Micky Hall, the site foreman for Shaw Brothers Construction Company, the soils beside the conduit were never disturbed.  This is ideal and we feel the risk to the CMP conduit is minimal.
 
Please proceed as proposed.